|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00src426

Empirical formula 	C19H16O3S3

Formula weight 	388.50

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 10.349(2) Å	 = 91.00(3)°

b = 12.081(2) Å	 = 103.07(3)°

c = 15.099(3) Å	  = 90.72(3)°

Volume	1838.3(6) Å3

Z	4

Density (calculated)	1.404 Mg / m3

Absorption coefficient	0.418 mm1

F(000)	808

Crystal	block; yellow

Crystal size	0.20  0.10  0.10 mm3

 range for data collection	3.04  27.49°

Index ranges	13  h  13, 15  k  15, 19  l  19

Reflections collected	27358

Independent reflections	8248 [Rint = 0.0490]

Completeness to  = 27.49°	97.7 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9594 and 0.9210

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	8248 / 0 / 456

Goodness-of-fit on F2	1.021

Final R indices [F2 > 2(F2)]	R1 = 0.0412, wR2 = 0.0948

R indices (all data)	R1 = 0.0651, wR2 = 0.1038

Extinction coefficient	0.0032(9)

Largest diff. peak and hole	0.324 and 0.350 e Å3

Diffractometer: Enraf Nonius KappaCCD area detector ( scans and  scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Program used to solve structure:

SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	8309(2)	3576(2)	4013(1)	33(1)	1

C2	8806(2)	5389(2)	3290(1)	29(1)	1

C3	9986(2)	4980(2)	3656(1)	29(1)	1

C4	8948(2)	6459(2)	2822(1)	30(1)	1

C5	11086(2)	5711(2)	3460(1)	30(1)	1

C6	8391(2)	7459(2)	3203(1)	27(1)	1

C7	9181(2)	8312(2)	3660(1)	34(1)	1

C8	8628(2)	9243(2)	3965(2)	40(1)	1

C9	7272(2)	9316(2)	3820(1)	37(1)	1

C10	6453(2)	8463(2)	3378(1)	33(1)	1

C11	7018(2)	7547(2)	3065(1)	27(1)	1

C12	4914(2)	6636(2)	2510(2)	50(1)	1

C13	11928(2)	5111(2)	2920(1)	27(1)	1

C14	11771(2)	5222(2)	1997(1)	31(1)	1

C15	12493(2)	4583(2)	1518(2)	40(1)	1

C16	13386(2)	3841(2)	1970(2)	46(1)	1

C17	13597(2)	3732(2)	2899(2)	43(1)	1

C18	12865(2)	4364(2)	3375(1)	35(1)	1

C19	13831(4)	3520(3)	4784(2)	87(1)	1

C20	6997(2)	8494(2)	809(1)	31(1)	1

C21	5465(2)	9933(2)	1286(1)	26(1)	1

C22	6678(2)	10375(2)	1534(1)	26(1)	1

C23	4466(2)	10693(2)	1561(1)	28(1)	1

C24	6645(2)	11492(2)	1985(1)	28(1)	1

C25	3849(2)	10222(2)	2292(1)	26(1)	1

C26	4173(2)	10613(2)	3180(1)	30(1)	1

C27	3626(2)	10135(2)	3838(2)	39(1)	1

C28	2750(2)	9251(2)	3601(2)	46(1)	1

C29	2385(2)	8851(2)	2713(2)	39(1)	1

C30	2937(2)	9344(2)	2061(1)	30(1)	1

C31	1714(3)	8173(2)	848(2)	60(1)	1

C32	7266(2)	12431(2)	1579(1)	28(1)	1

C33	6525(2)	13247(2)	1072(1)	32(1)	1

C34	7156(2)	14126(2)	750(2)	41(1)	1

C35	8516(2)	14173(2)	925(2)	46(1)	1

C36	9275(2)	13354(2)	1406(2)	43(1)	1

C37	8639(2)	12489(2)	1738(1)	34(1)	1

C38	10694(2)	11604(2)	2373(2)	64(1)	1

O1	10364(1)	6574(1)	2934(1)	38(1)	1

O2	6318(1)	6660(1)	2612(1)	39(1)	1

O3	12942(2)	4312(1)	4290(1)	49(1)	1

O4	5249(1)	11666(1)	1883(1)	33(1)	1

O5	2669(1)	9039(1)	1156(1)	41(1)	1

O6	9282(1)	11637(1)	2233(1)	45(1)	1

S1	7554(1)	2521(1)	4379(1)	44(1)	1

S2	7428(1)	4640(1)	3409(1)	32(1)	1

S3	10018(1)	3742(1)	4209(1)	34(1)	1

S4	7611(1)	7405(1)	385(1)	45(1)	1

S5	7973(1)	9610(1)	1322(1)	32(1)	1

S6	5317(1)	8640(1)	769(1)	31(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1S1	1.654(2)

C1S3	1.735(2)

C1S2	1.735(2)

C2C3	1.326(3)

C2C4	1.505(3)

C2S2	1.724(2)

C3C5	1.517(3)

C3S3	1.723(2)

C4O1	1.441(2)

C4C6	1.506(3)

C5O1	1.434(2)

C5C13	1.506(3)

C6C7	1.380(3)

C6C11	1.395(3)

C7C8	1.386(3)

C8C9	1.374(3)

C9C10	1.387(3)

C10C11	1.382(3)

C11O2	1.368(2)

C12O2	1.427(3)

C13C14	1.375(3)

C13C18	1.404(3)

C14C15	1.384(3)

C15C16	1.372(3)

C16C17	1.379(3)

C17C18	1.383(3)

C18O3	1.368(3)

C19O3	1.434(3)

C20S4	1.649(2)

C20S5	1.735(2)

C20S6	1.737(2)

C21C22	1.328(3)

C21C23	1.514(3)

C21S6	1.723(2)

C22C24	1.506(3)

C22S5	1.722(2)

C23O4	1.432(2)

C23C25	1.510(3)

C24O4	1.437(2)

C24C32	1.503(3)

C25C26	1.381(3)

C25C30	1.396(3)

C26C27	1.381(3)

C27C28	1.380(3)

C28C29	1.386(3)

C29C30	1.385(3)

C30O5	1.374(2)

C31O5	1.427(3)

C32C37	1.387(3)

C32C33	1.388(3)

C33C34	1.391(3)

C34C35	1.372(3)

C35C36	1.381(3)

C36C37	1.388(3)

C37O6	1.371(3)

C38O6	1.429(3)

S1C1S3	124.05(13)

S1C1S2	121.82(13)

S3C1S2	114.12(12)

C3C2C4	110.85(17)

C3C2S2	117.38(16)

C4C2S2	131.77(15)

C2C3C5	110.72(17)

C2C3S3	117.40(16)

C5C3S3	131.82(15)

O1C4C6	110.88(16)

O1C4C2	102.74(15)

C6C4C2	115.25(16)

O1C5C13	110.44(16)

O1C5C3	102.48(15)

C13C5C3	112.41(16)

C7C6C11	118.40(18)

C7C6C4	122.76(18)

C11C6C4	118.81(17)

C6C7C8	121.03(19)

C9C8C7	119.7(2)

C8C9C10	120.6(2)

C11C10C9	119.06(19)

O2C11C10	124.64(18)

O2C11C6	114.18(17)

C10C11C6	121.18(18)

C14C13C18	118.86(18)

C14C13C5	122.90(18)

C18C13C5	118.16(17)

C13C14C15	120.8(2)

C16C15C14	119.6(2)

C15C16C17	121.2(2)

C16C17C18	119.1(2)

O3C18C17	125.1(2)

O3C18C13	114.34(17)

C17C18C13	120.5(2)

S4C20S5	122.87(13)

S4C20S6	123.25(13)

S5C20S6	113.88(11)

C22C21C23	110.36(17)

C22C21S6	117.04(15)

C23C21S6	132.56(15)

C21C22C24	110.68(17)

C21C22S5	117.61(15)

C24C22S5	131.69(14)

O4C23C25	111.30(16)

O4C23C21	102.54(15)

C25C23C21	113.18(16)

O4C24C32	110.34(16)

O4C24C22	102.67(15)

C32C24C22	115.68(16)

C26C25C30	118.99(18)

C26C25C23	122.39(18)

C30C25C23	118.61(17)

C25C26C27	120.8(2)

C28C27C26	119.4(2)

C27C28C29	121.3(2)

C30C29C28	118.5(2)

O5C30C29	125.07(19)

O5C30C25	113.97(17)

C29C30C25	120.97(19)

C37C32C33	119.10(18)

C37C32C24	118.12(18)

C33C32C24	122.77(18)

C32C33C34	120.3(2)

C35C34C33	119.6(2)

C34C35C36	121.3(2)

C35C36C37	118.8(2)

O6C37C32	114.81(18)

O6C37C36	124.24(19)

C32C37C36	120.9(2)

C5O1C4	113.13(15)

C11O2C12	117.95(17)

C18O3C19	116.93(19)

C23O4C24	112.64(14)

C30O5C31	118.14(18)

C37O6C38	117.89(19)

C2S2C1	95.53(10)

C3S3C1	95.57(10)

C22S5C20	95.62(10)

C21S6C20	95.83(10)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	50(1) 	25(1)	26(1) 	2(1)	12(1) 	0(1)

C2	34(1) 	25(1)	31(1) 	0(1)	12(1) 	2(1)

C3	37(1) 	25(1)	29(1) 	2(1)	15(1) 	6(1)

C4	26(1) 	29(1)	35(1) 	4(1)	9(1) 	1(1)

C5	29(1) 	27(1)	35(1) 	2(1)	11(1) 	5(1)

C6	27(1) 	24(1)	29(1) 	6(1)	6(1) 	3(1)

C7	25(1) 	34(1)	39(1) 	2(1)	1(1) 	1(1)

C8	42(1) 	32(1)	40(1) 	5(1)	0(1) 	0(1)

C9	45(1) 	32(1)	34(1) 	1(1)	9(1) 	10(1)

C10	26(1) 	33(1)	40(1) 	11(1)	11(1) 	8(1)

C11	26(1) 	24(1)	31(1) 	7(1)	4(1) 	0(1)

C12	28(1) 	42(1)	72(2) 	18(1)	4(1) 	7(1)

C13	26(1) 	24(1)	33(1) 	4(1)	9(1) 	1(1)

C14	29(1) 	31(1)	34(1) 	1(1)	7(1) 	8(1)

C15	48(1) 	44(1)	35(1) 	9(1)	22(1) 	16(1)

C16	53(2) 	34(1)	63(2) 	7(1)	40(1) 	2(1)

C17	41(1) 	31(1)	65(2) 	6(1)	27(1) 	10(1)

C18	37(1) 	32(1)	37(1) 	2(1)	14(1) 	7(1)

C19	104(3) 	102(3)	59(2) 	39(2)	23(2) 	64(2)

C20	40(1) 	29(1)	25(1) 	3(1)	9(1) 	4(1)

C21	31(1) 	24(1)	24(1) 	4(1)	9(1) 	0(1)

C22	32(1) 	24(1)	24(1) 	3(1)	9(1) 	2(1)

C23	27(1) 	25(1)	31(1) 	3(1)	9(1) 	0(1)

C24	31(1) 	24(1)	30(1) 	1(1)	10(1) 	1(1)

C25	25(1) 	24(1)	30(1) 	7(1)	9(1) 	7(1)

C26	27(1) 	31(1)	34(1) 	4(1)	10(1) 	7(1)

C27	36(1) 	53(2)	32(1) 	8(1)	12(1) 	8(1)

C28	38(1) 	61(2)	45(1) 	26(1)	21(1) 	9(1)

C29	30(1) 	36(1)	54(2) 	14(1)	14(1) 	2(1)

C30	27(1) 	28(1)	36(1) 	6(1)	10(1) 	3(1)

C31	50(2) 	61(2)	65(2) 	13(1)	4(1) 	25(1)

C32	30(1) 	24(1)	30(1) 	4(1)	8(1) 	2(1)

C33	31(1) 	31(1)	34(1) 	1(1)	10(1) 	3(1)

C34	45(1) 	33(1)	46(1) 	9(1)	10(1) 	6(1)

C35	44(1) 	36(1)	59(2) 	4(1)	15(1) 	17(1)

C36	32(1) 	37(1)	59(2) 	8(1)	9(1) 	12(1)

C37	31(1) 	26(1)	42(1) 	9(1)	4(1) 	4(1)

C38	31(1) 	58(2)	95(2) 	11(2)	4(1) 	10(1)

O1	29(1) 	29(1)	61(1) 	13(1)	20(1) 	8(1)

O2	26(1) 	26(1)	60(1) 	3(1)	0(1) 	2(1)

O3	53(1) 	55(1)	39(1) 	14(1)	12(1) 	24(1)

O4	34(1) 	22(1)	50(1) 	1(1)	21(1) 	0(1)

O5	38(1) 	42(1)	42(1) 	5(1)	9(1) 	11(1)

O6	29(1) 	36(1)	63(1) 	2(1)	3(1) 	4(1)

S1	63(1) 	31(1)	38(1) 	3(1)	13(1) 	10(1)

S2	35(1) 	26(1)	38(1) 	2(1)	11(1) 	2(1)

S3	46(1) 	27(1)	31(1) 	5(1)	14(1) 	8(1)

S4	61(1) 	34(1)	42(1) 	7(1)	13(1) 	13(1)

S5	31(1) 	28(1)	37(1) 	0(1)	9(1) 	5(1)

S6	39(1) 	26(1)	27(1) 	1(1)	8(1) 	3(1)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H4	8523	6370	2160	36	1

H5	11650	6024	4039	36	1

H7	10119	8260	3768	40	1

H8	9183	9828	4272	48	1

H9	6893	9956	4024	44	1

H10	5517	8507	3292	39	1

H12A	4705	6673	3111	74	1

H12B	4543	5948	2195	74	1

H12C	4528	7271	2155	74	1

H14	11161	5742	1685	37	1

H15	12369	4658	879	49	1

H16	13869	3395	1638	55	1

H17	14235	3230	3208	52	1

H19A	13564	2774	4540	130	1

H19B	13801	3560	5428	130	1

H19C	14736	3684	4723	130	1

H23	3756	10871	1016	33	1

H24	7077	11446	2646	34	1

H26	4780	11219	3341	36	1

H27	3851	10411	4447	47	1

H28	2391	8910	4057	55	1

H29	1768	8251	2554	47	1

H31A	2002	7498	1181	90	1

H31B	1632	8034	196	90	1

H31C	853	8393	955	90	1

H33	5584	13205	943	38	1

H34	6649	14691	411	50	1

H35	8945	14779	712	55	1

H36	10215	13383	1508	52	1

H38A	10938	11539	1785	96	1

H38B	11025	10965	2743	96	1

H38C	11085	12286	2689	96	1