|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005src0655

Empirical formula 	C116H100Cl6O2P4Pd5S4

Formula weight 	2522.78

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Tetragonal

Space group 	P4

Unit cell dimensions	a = 32.315(6) Å	( = 90°

b = 32.315(6) Å	( = 90°

c = 15.243(4) Å	(  = 90°

Volume	15918(6) Å3

Z	4

Density (calculated)	1.053 Mg / m3

Absorption coefficient	0.781 mm(1

F(000)	5072

Crystal	Block; Red

Crystal size	0.28 ( 0.26 ( 0.18 mm3

( range for data collection	2.92 ( 27.48°

Index ranges	(41 ( h ( 33, (41 ( k ( 41, (19 ( l ( 19

Reflections collected	81894

Independent reflections	30756 [Rint = 0.0611]

Completeness to ( = 27.48°	89.0 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.8721 and 0.8109

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	30756 / 541 / 1236

Goodness-of-fit on F2	1.054

Final R indices [F2 > 2((F2)]	R1 = 0.0917, wR2 = 0.2249

R indices (all data)	R1 = 0.1089, wR2 = 0.2357

Absolute structure parameter	0.31(3)

Extinction coefficient	0.0312(8)

Largest diff. peak and hole	1.490 and (1.528 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP3 for Windows (L. J. Farrugia, J. Appl. Crystallogr. 1997, 30, 565).

Special details:

All hydrogen atoms were fixed.

SQUEEZE was used to remove some disordered solvent from the calculations.

It was not possible to locate (or sensibly fix) the hydrogen atoms of the 2 water molecules in the asymmetric unit.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Cl1	2650(1)	1077(1)	15986(2)	62(1)	1

Cl2	1647(1)	1199(1)	15722(2)	61(1)	1

Cl3	2938(1)	2275(1)	12987(2)	70(1)	1

Cl4	1746(1)	3047(1)	12797(2)	65(1)	1

Cl5	3175(1)	4030(1)	10098(2)	56(1)	1

Cl6	2185(1)	4261(1)	9862(2)	64(1)	1

Pd1	2223(1)	1362(1)	14919(1)	47(1)	1

Pd2	1567(1)	2207(1)	14322(1)	42(1)	1

Pd3	2340(1)	2659(1)	12897(1)	47(1)	1

Pd4	3159(1)	3020(1)	11499(1)	41(1)	1

Pd5	2592(1)	3928(1)	10918(1)	48(1)	1

O1	2768(3)	1510(4)	14263(7)	85(3)	1

O2	2038(3)	3838(3)	11604(8)	83(3)	1

C1	1464(3)	1277(3)	13299(6)	53(2)	1

C2	1405(4)	1371(3)	12309(5)	55(3)	1

C3	1535(3)	982(3)	11744(6)	50(2)	1

C4	1263(3)	625(3)	12069(7)	58(3)	1

C5	1016(3)	396(3)	11539(8)	66(3)	1

C6	794(4)	80(4)	11933(9)	79(4)	1

C7	818(3)	5(3)	12846(8)	63(3)	1

C8	1082(3)	245(3)	13341(7)	54(2)	1

C9	1306(3)	540(3)	12980(6)	52(2)	1

C10	1633(3)	816(2)	13408(6)	53(2)	1

C11	2029(3)	795(3)	12889(6)	47(2)	1

C12	2406(3)	704(4)	13207(7)	63(3)	1

C13	2751(3)	701(4)	12650(8)	67(3)	1

C14	2705(3)	794(4)	11754(8)	69(3)	1

C15	2318(3)	912(3)	11411(8)	63(3)	1

C16	1979(3)	887(3)	12003(7)	60(3)	1

C17	1074(2)	1336(2)	13843(6)	45(2)	1

C18	698(3)	2103(3)	13086(6)	53(2)	1

C19	789(4)	2510(3)	12860(8)	62(3)	1

C20	594(4)	2691(4)	12129(7)	65(3)	1

C21	281(3)	2477(4)	11719(7)	73(4)	1

C22	201(4)	2074(4)	11900(8)	74(4)	1

C23	410(3)	1878(4)	12589(7)	66(3)	1

C24	536(2)	1863(4)	14867(6)	55(2)	1

C25	160(3)	2028(4)	14713(7)	62(3)	1

C26	(143(3)	2021(5)	15398(8)	79(4)	1

C27	(52(3)	1849(6)	16168(8)	100(6)	1

C28	333(5)	1647(9)	16309(10)	126(9)	1

C29	634(4)	1671(5)	15665(7)	76(4)	1

P1	952(1)	1881(1)	14051(2)	46(1)	1

S1	1880(1)	1627(1)	13710(2)	43(1)	1

C31	2209(3)	2963(3)	15080(5)	54(3)	1

C32	2552(4)	3266(3)	14729(6)	68(4)	1

C33	2925(3)	3311(3)	15373(6)	62(3)	1

C34	3085(3)	2877(3)	15546(7)	69(3)	1

C35	3460(3)	2731(4)	15326(7)	63(3)	1

C36	3554(4)	2342(4)	15568(8)	85(5)	1

C37	3263(3)	2065(4)	15901(7)	68(3)	1

C38	2864(3)	2214(3)	16090(7)	54(3)	1

C39	2779(3)	2604(3)	15914(5)	58(3)	1

C40	2362(3)	2808(3)	16017(5)	50(2)	1

C41	2412(4)	3199(3)	16577(6)	63(3)	1

C42	2217(4)	3291(3)	17327(6)	65(3)	1

C43	2281(5)	3667(4)	17742(8)	77(4)	1

C44	2608(5)	3926(4)	17450(6)	98(7)	1

C45	2829(5)	3823(3)	16671(7)	71(4)	1

C46	2711(4)	3456(3)	16220(6)	69(3)	1

C47	1780(3)	3156(3)	15064(7)	63(3)	1

C48	1291(4)	2632(4)	16270(6)	69(3)	1

C49	1400(4)	2243(4)	16571(7)	72(3)	1

C50	1389(5)	2126(5)	17440(8)	93(5)	1

C51	1237(6)	2420(6)	18016(9)	105(6)	1

C52	1123(6)	2795(7)	17737(9)	124(9)	1

C53	1155(4)	2929(5)	16868(7)	100(6)	1

C54	893(3)	3061(4)	14847(7)	79(4)	1

C55	886(5)	3350(5)	14185(9)	123(8)	1

C56	512(6)	3552(7)	13910(11)	120(7)	1

C57	171(7)	3449(7)	14368(15)	146(11)	1

C58	161(5)	3157(6)	15037(17)	197(19)	1

C59	507(4)	2920(5)	15221(10)	93(5)	1

P31	1359(1)	2768(1)	15118(2)	55(1)	1

S31	2227(1)	2488(1)	14368(1)	46(1)	1

C61	2431(3)	2344(3)	10756(6)	59(3)	1

C62	2063(3)	2064(4)	11105(6)	65(3)	1

C63	1726(3)	2030(3)	10407(6)	75(4)	1

C64	1915(3)	1849(3)	9569(6)	54(2)	1

C65	1819(5)	1495(4)	9170(6)	79(4)	1

C66	2045(5)	1393(4)	8431(8)	79(4)	1

C67	2353(4)	1648(3)	8072(7)	62(3)	1

C68	2438(3)	2021(3)	8503(7)	59(3)	1

C69	2244(3)	2108(3)	9232(5)	48(2)	1

C70	2313(3)	2499(3)	9774(6)	58(3)	1

C71	1893(3)	2725(3)	9875(7)	61(3)	1

C72	1819(4)	3130(4)	9687(7)	67(3)	1

C73	1431(4)	3290(4)	9839(8)	70(3)	1

C74	1117(4)	3037(5)	10190(8)	91(6)	1

C75	1178(3)	2620(4)	10355(7)	60(3)	1

C76	1582(3)	2469(4)	10199(7)	75(4)	1

C77	2826(3)	2107(3)	10772(7)	63(3)	1

C78	3385(3)	2574(3)	9544(5)	56(3)	1

C79	3272(4)	2966(3)	9238(6)	58(3)	1

C80	3301(4)	3069(5)	8347(8)	86(5)	1

C81	3452(4)	2769(6)	7794(9)	112(8)	1

C82	3545(5)	2383(5)	8080(8)	83(4)	1

C83	3528(4)	2280(4)	8958(7)	73(3)	1

C84	3715(3)	2088(3)	10960(7)	64(3)	1

C85	4094(4)	2176(4)	10600(9)	94(5)	1

C86	4448(5)	1934(5)	10867(15)	137(10)	1

C87	4398(8)	1636(6)	11478(16)	173(15)	1

C88	4009(7)	1544(6)	11827(14)	132(9)	1

C89	3659(5)	1765(4)	11559(9)	87(4)	1

P61	3295(1)	2440(1)	10694(2)	50(1)	1

S61	2466(1)	2826(1)	11423(2)	48(1)	1

C91	3372(2)	3936(2)	12492(5)	42(2)	1

C92	3428(3)	3842(3)	13489(6)	47(2)	1

C93	3337(3)	4246(3)	14029(6)	55(2)	1

C94	2911(3)	4402(3)	13793(6)	55(2)	1

C95	2584(3)	4427(4)	14338(7)	63(3)	1

C96	2206(3)	4594(4)	14023(8)	71(3)	1

C97	2180(3)	4678(4)	13120(8)	72(3)	1

C98	2519(3)	4647(3)	12572(7)	62(3)	1

C99	2865(3)	4497(3)	12870(6)	52(2)	1

C100	3263(3)	4413(3)	12367(7)	51(2)	1

C101	3616(3)	4648(3)	12802(7)	58(3)	1

C102	3875(3)	4916(3)	12422(7)	58(3)	1

C103	4183(4)	5105(3)	12879(8)	69(3)	1

C104	4199(3)	5042(4)	13811(9)	79(4)	1

C105	3954(3)	4751(3)	14225(8)	58(3)	1

C106	3647(3)	4570(3)	13691(7)	66(3)	1

C107	3750(3)	3824(2)	11942(5)	41(2)	1

C108	4027(3)	3029(3)	12745(6)	62(3)	1

C109	4329(3)	3237(3)	13256(6)	51(2)	1

C110	4524(4)	3031(4)	13964(7)	73(4)	1

C111	4417(4)	2616(4)	14089(6)	63(3)	1

C112	4124(3)	2425(4)	13603(7)	63(3)	1

C113	3939(3)	2618(3)	12903(6)	50(2)	1

C114	4218(3)	3250(3)	10950(6)	57(3)	1

C115	4586(3)	3048(4)	11091(6)	52(2)	1

C116	4876(4)	3000(5)	10393(8)	79(4)	1

C117	4783(4)	3138(6)	9581(7)	86(5)	1

C118	4408(4)	3336(5)	9428(7)	72(3)	1

C119	4119(4)	3395(4)	10083(7)	66(3)	1

P91	3807(1)	3266(1)	11766(2)	46(1)	1

S91	2915(1)	3631(1)	12110(2)	43(1)	1

Table 3. Bond lengths [Å] and angles [°].

Cl1(Pd1	2.324(3)

Cl2(Pd1	2.288(3)

Cl3(Pd3	2.300(3)

Cl4(Pd3	2.298(3)

Cl5(Pd5	2.287(3)

Cl6(Pd5	2.341(3)

Pd1(O1	2.080(10)

Pd1(S1	2.315(2)

Pd2(P31	2.284(3)

Pd2(P1	2.287(3)

Pd2(S31	2.321(2)

Pd2(S1	2.324(3)

Pd3(S31	2.336(2)

Pd3(S61	2.347(2)

Pd4(P91	2.274(3)

Pd4(P61	2.283(3)

Pd4(S91	2.322(3)

Pd4(S61	2.329(3)

Pd5(O2	2.093(9)

Pd5(S91	2.306(3)

C1(C17	1.522(11)

C1(C2	1.551(11)

C1(C10	1.595(11)

C1(S1	1.866(8)

C2(C3	1.581(11)

C2(H2A	0.9900

C2(H2B	0.9900

C3(C16	1.517(12)

C3(C4	1.532(12)

C3(H3	1.0000

C4(C5	1.357(12)

C4(C9	1.423(12)

C5(C6	1.384(14)

C5(H5	0.9500

C6(C7	1.414(14)

C6(H6	0.9500

C7(C8	1.379(12)

C7(H7	0.9500

C8(C9	1.315(11)

C8(H8	0.9500

C9(C10	1.531(11)

C10(C11	1.505(11)

C10(H10	1.0000

C11(C12	1.344(12)

C11(C16	1.393(12)

C12(C13	1.400(13)

C12(H12	0.9500

C13(C14	1.406(14)

C13(H13	0.9500

C14(C15	1.407(14)

C14(H14	0.9500

C15(C16	1.423(12)

C15(H15	0.9500

C17(P1	1.832(8)

C17(H17A	0.9900

C17(H17B	0.9900

C18(C19	1.392(12)

C18(C23	1.406(13)

C18(P1	1.830(9)

C19(C20	1.407(13)

C19(H19	0.9500

C20(C21	1.376(14)

C20(H20	0.9500

C21(C22	1.358(15)

C21(H21	0.9500

C22(C23	1.400(13)

C22(H22	0.9500

C23(H23	0.9500

C24(C25	1.347(12)

C24(C29	1.402(13)

C24(P1	1.832(8)

C25(C26	1.431(13)

C25(H25	0.9500

C26(C27	1.331(16)

C26(H26	0.9500

C27(C28	1.421(18)

C27(H27	0.9500

C28(C29	1.383(14)

C28(H28	0.9500

C29(H29	0.9500

C31(C47	1.522(12)

C31(C32	1.572(11)

C31(C40	1.591(11)

C31(S31	1.880(8)

C32(C33	1.562(12)

C32(H32A	0.9900

C32(H32B	0.9900

C33(C34	1.518(13)

C33(C46	1.537(12)

C33(H33	1.0000

C34(C35	1.343(13)

C34(C39	1.440(12)

C35(C36	1.346(15)

C35(H35	0.9500

C36(C37	1.394(14)

C36(H36	0.9500

C37(C38	1.407(13)

C37(H37	0.9500

C38(C39	1.318(12)

C38(H38	0.9500

C39(C40	1.507(12)

C40(C41	1.533(12)

C40(H40	1.0000

C41(C42	1.339(12)

C41(C46	1.384(12)

C42(C43	1.386(13)

C42(H42	0.9500

C43(C44	1.419(14)

C43(H43	0.9500

C44(C45	1.424(14)

C44(H44	0.9500

C45(C46	1.423(12)

C45(H45	0.9500

C47(P31	1.850(9)

C47(H47A	0.9900

C47(H47B	0.9900

C48(C49	1.382(13)

C48(C53	1.395(13)

C48(P31	1.825(9)

C49(C50	1.378(14)

C49(H49	0.9500

C50(C51	1.384(16)

C50(H50	0.9500

C51(C52	1.336(17)

C51(H51	0.9500

C52(C53	1.397(15)

C52(H52	0.9500

C53(H53	0.9500

C54(C55	1.376(15)

C54(C59	1.447(15)

C54(P31	1.825(9)

C55(C56	1.433(15)

C55(H55	0.9500

C56(C57	1.346(18)

C56(H56	0.9500

C57(C58	1.39(2)

C57(H57	0.9500

C58(C59	1.383(16)

C58(H58	0.9500

C59(H59	0.9500

C61(C77	1.491(13)

C61(C62	1.586(11)

C61(C70	1.623(11)

C61(S61	1.861(9)

C62(C63	1.525(12)

C62(H62A	0.9900

C62(H62B	0.9900

C63(C76	1.525(14)

C63(C64	1.532(12)

C63(H63	1.0000

C64(C65	1.334(12)

C64(C69	1.446(11)

C65(C66	1.382(14)

C65(H65	0.9500

C66(C67	1.406(14)

C66(H66	0.9500

C67(C68	1.400(12)

C67(H67	0.9500

C68(C69	1.307(12)

C68(H68	0.9500

C69(C70	1.528(11)

C70(C71	1.547(12)

C70(H70	1.0000

C71(C72	1.361(13)

C71(C76	1.393(12)

C72(C73	1.375(13)

C72(H72	0.9500

C73(C74	1.410(14)

C73(H73	0.9500

C74(C75	1.383(15)

C74(H74	0.9500

C75(C76	1.416(12)

C75(H75	0.9500

C77(P61	1.860(9)

C77(H77A	0.9900

C77(H77B	0.9900

C78(C83	1.383(12)

C78(C79	1.397(12)

C78(P61	1.829(8)

C79(C80	1.402(13)

C79(H79	0.9500

C80(C81	1.375(16)

C80(H80	0.9500

C81(C82	1.356(16)

C81(H81	0.9500

C82(C83	1.381(14)

C82(H82	0.9500

C83(H83	0.9500

C84(C85	1.374(14)

C84(C89	1.397(14)

C84(P61	1.816(9)

C85(C86	1.445(15)

C85(H85	0.9500

C86(C87	1.350(18)

C86(H86	0.9500

C87(C88	1.40(2)

C87(H87	0.9500

C88(C89	1.399(16)

C88(H88	0.9500

C89(H89	0.9500

C91(C107	1.525(11)

C91(C92	1.560(10)

C91(C100	1.593(11)

C91(S91	1.869(7)

C92(C93	1.570(11)

C92(H92A	0.9900

C92(H92B	0.9900

C93(C94	1.513(12)

C93(C106	1.538(13)

C93(H93	1.0000

C94(C95	1.345(12)

C94(C99	1.447(12)

C95(C96	1.421(13)

C95(H95	0.9500

C96(C97	1.405(14)

C96(H96	0.9500

C97(C98	1.383(13)

C97(H97	0.9500

C98(C99	1.301(12)

C98(H98	0.9500

C99(C100	1.521(11)

C100(C101	1.524(11)

C100(H100	1.0000

C101(C102	1.334(12)

C101(C106	1.383(13)

C102(C103	1.361(13)

C102(H102	0.9500

C103(C104	1.437(15)

C103(H103	0.9500

C104(C105	1.381(14)

C104(H104	0.9500

C105(C106	1.410(12)

C105(H105	0.9500

C107(P91	1.832(8)

C107(H10A	0.9900

C107(H10B	0.9900

C108(C113	1.377(12)

C108(C109	1.417(12)

C108(P91	1.823(9)

C109(C110	1.416(12)

C109(H109	0.9500

C110(C111	1.396(15)

C110(H110	0.9500

C111(C112	1.352(14)

C111(H111	0.9500

C112(C113	1.372(12)

C112(H112	0.9500

C113(H113	0.9500

C114(C115	1.374(12)

C114(C119	1.438(12)

C114(P91	1.821(9)

C115(C116	1.428(13)

C115(H115	0.9500

C116(C117	1.349(15)

C116(H116	0.9500

C117(C118	1.390(16)

C117(H117	0.9500

C118(C119	1.379(13)

C118(H118	0.9500

C119(H119	0.9500

O1(Pd1(Cl2	176.3(3)

O1(Pd1(S1	86.5(3)

Cl2(Pd1(S1	97.00(9)

O1(Pd1(Cl1	85.6(3)

Cl2(Pd1(Cl1	91.00(11)

S1(Pd1(Cl1	171.22(11)

P31(Pd2(P1	101.86(10)

P31(Pd2(S31	86.74(10)

P1(Pd2(S31	170.08(9)

P31(Pd2(S1	169.02(10)

P1(Pd2(S1	86.28(9)

S31(Pd2(S1	85.86(8)

Cl4(Pd3(Cl3	179.40(12)

Cl4(Pd3(S31	93.60(9)

Cl3(Pd3(S31	86.93(10)

Cl4(Pd3(S61	87.51(10)

Cl3(Pd3(S61	91.97(10)

S31(Pd3(S61	178.86(11)

P91(Pd4(P61	101.95(10)

P91(Pd4(S91	86.76(9)

P61(Pd4(S91	168.30(10)

P91(Pd4(S61	170.95(9)

P61(Pd4(S61	86.37(10)

S91(Pd4(S61	85.52(9)

O2(Pd5(Cl5	176.8(3)

O2(Pd5(S91	86.3(3)

Cl5(Pd5(S91	96.76(9)

O2(Pd5(Cl6	85.8(3)

Cl5(Pd5(Cl6	91.20(11)

S91(Pd5(Cl6	171.14(11)

C17(C1(C2	113.8(8)

C17(C1(C10	110.3(7)

C2(C1(C10	109.1(7)

C17(C1(S1	109.6(6)

C2(C1(S1	107.2(6)

C10(C1(S1	106.5(6)

C1(C2(C3	109.9(7)

C1(C2(H2A	109.7

C3(C2(H2A	109.7

C1(C2(H2B	109.7

C3(C2(H2B	109.7

H2A(C2(H2B	108.2

C16(C3(C4	107.9(8)

C16(C3(C2	105.7(8)

C4(C3(C2	105.6(7)

C16(C3(H3	112.4

C4(C3(H3	112.4

C2(C3(H3	112.4

C5(C4(C9	122.2(9)

C5(C4(C3	123.9(9)

C9(C4(C3	113.9(8)

C4(C5(C6	116.7(11)

C4(C5(H5	121.7

C6(C5(H5	121.7

C5(C6(C7	121.7(10)

C5(C6(H6	119.1

C7(C6(H6	119.1

C8(C7(C6	118.4(9)

C8(C7(H7	120.8

C6(C7(H7	120.8

C9(C8(C7	121.2(9)

C9(C8(H8	119.4

C7(C8(H8	119.4

C8(C9(C4	119.7(8)

C8(C9(C10	128.5(9)

C4(C9(C10	111.7(7)

C11(C10(C9	109.7(7)

C11(C10(C1	106.2(7)

C9(C10(C1	105.2(7)

C11(C10(H10	111.8

C9(C10(H10	111.8

C1(C10(H10	111.8

C12(C11(C16	120.1(8)

C12(C11(C10	126.2(9)

C16(C11(C10	113.6(7)

C11(C12(C13	120.3(10)

C11(C12(H12	119.9

C13(C12(H12	119.9

C12(C13(C14	120.2(10)

C12(C13(H13	119.9

C14(C13(H13	119.9

C13(C14(C15	120.9(9)

C13(C14(H14	119.5

C15(C14(H14	119.5

C14(C15(C16	115.6(10)

C14(C15(H15	122.2

C16(C15(H15	122.2

C11(C16(C15	122.5(9)

C11(C16(C3	113.9(8)

C15(C16(C3	123.5(9)

C1(C17(P1	113.3(5)

C1(C17(H17A	108.9

P1(C17(H17A	108.9

C1(C17(H17B	108.9

P1(C17(H17B	108.9

H17A(C17(H17B	107.7

C19(C18(C23	119.7(9)

C19(C18(P1	118.4(7)

C23(C18(P1	121.9(7)

C18(C19(C20	119.7(9)

C18(C19(H19	120.2

C20(C19(H19	120.2

C21(C20(C19	118.7(10)

C21(C20(H20	120.7

C19(C20(H20	120.7

C22(C21(C20	122.0(10)

C22(C21(H21	119.0

C20(C21(H21	119.0

C21(C22(C23	119.7(11)

C21(C22(H22	120.1

C23(C22(H22	120.1

C22(C23(C18	119.3(10)

C22(C23(H23	120.3

C18(C23(H23	120.3

C25(C24(C29	122.1(8)

C25(C24(P1	122.1(8)

C29(C24(P1	115.9(7)

C24(C25(C26	118.8(10)

C24(C25(H25	120.6

C26(C25(H25	120.6

C27(C26(C25	119.9(10)

C27(C26(H26	120.0

C25(C26(H26	120.0

C26(C27(C28	121.3(11)

C26(C27(H27	119.4

C28(C27(H27	119.4

C29(C28(C27	118.8(12)

C29(C28(H28	120.6

C27(C28(H28	120.6

C28(C29(C24	118.8(11)

C28(C29(H29	120.6

C24(C29(H29	120.6

C18(P1(C24	103.2(4)

C18(P1(C17	109.5(4)

C24(P1(C17	104.2(5)

C18(P1(Pd2	110.8(3)

C24(P1(Pd2	122.0(3)

C17(P1(Pd2	106.6(3)

C1(S1(Pd1	112.8(3)

C1(S1(Pd2	108.1(3)

Pd1(S1(Pd2	100.74(9)

C47(C31(C32	112.5(8)

C47(C31(C40	115.2(7)

C32(C31(C40	106.5(7)

C47(C31(S31	110.6(6)

C32(C31(S31	106.8(6)

C40(C31(S31	104.6(6)

C33(C32(C31	112.9(7)

C33(C32(H32A	109.0

C31(C32(H32A	109.0

C33(C32(H32B	109.0

C31(C32(H32B	109.0

H32A(C32(H32B	107.8

C34(C33(C46	106.7(8)

C34(C33(C32	106.5(8)

C46(C33(C32	102.1(8)

C34(C33(H33	113.5

C46(C33(H33	113.5

C32(C33(H33	113.5

C35(C34(C39	120.1(10)

C35(C34(C33	126.1(9)

C39(C34(C33	113.6(8)

C34(C35(C36	117.7(10)

C34(C35(H35	121.2

C36(C35(H35	121.2

C35(C36(C37	123.2(12)

C35(C36(H36	118.4

C37(C36(H36	118.4

C36(C37(C38	118.2(11)

C36(C37(H37	120.9

C38(C37(H37	120.9

C39(C38(C37	118.5(9)

C39(C38(H38	120.7

C37(C38(H38	120.7

C38(C39(C34	121.5(9)

C38(C39(C40	125.6(8)

C34(C39(C40	112.8(8)

C39(C40(C41	108.8(8)

C39(C40(C31	108.7(7)

C41(C40(C31	105.9(7)

C39(C40(H40	111.1

C41(C40(H40	111.1

C31(C40(H40	111.1

C42(C41(C46	122.0(9)

C42(C41(C40	127.5(8)

C46(C41(C40	110.5(8)

C41(C42(C43	121.0(10)

C41(C42(H42	119.5

C43(C42(H42	119.5

C42(C43(C44	118.9(10)

C42(C43(H43	120.5

C44(C43(H43	120.5

C43(C44(C45	119.7(9)

C43(C44(H44	120.1

C45(C44(H44	120.1

C46(C45(C44	117.7(9)

C46(C45(H45	121.2

C44(C45(H45	121.2

C41(C46(C45	119.8(9)

C41(C46(C33	117.5(8)

C45(C46(C33	122.5(9)

C31(C47(P31	113.2(6)

C31(C47(H47A	108.9

P31(C47(H47A	108.9

C31(C47(H47B	108.9

P31(C47(H47B	108.9

H47A(C47(H47B	107.8

C49(C48(C53	119.2(10)

C49(C48(P31	120.6(8)

C53(C48(P31	120.0(9)

C50(C49(C48	124.2(12)

C50(C49(H49	117.9

C48(C49(H49	117.9

C49(C50(C51	115.5(13)

C49(C50(H50	122.3

C51(C50(H50	122.3

C52(C51(C50	121.2(13)

C52(C51(H51	119.4

C50(C51(H51	119.4

C51(C52(C53	124.2(14)

C51(C52(H52	117.9

C53(C52(H52	117.9

C48(C53(C52	115.4(13)

C48(C53(H53	122.3

C52(C53(H53	122.3

C55(C54(C59	119.2(11)

C55(C54(P31	122.2(10)

C59(C54(P31	117.3(9)

C54(C55(C56	122.5(15)

C54(C55(H55	118.8

C56(C55(H55	118.8

C57(C56(C55	115.3(15)

C57(C56(H56	122.4

C55(C56(H56	122.4

C56(C57(C58	124.5(15)

C56(C57(H57	117.7

C58(C57(H57	117.7

C59(C58(C57	120.3(17)

C59(C58(H58	119.8

C57(C58(H58	119.8

C58(C59(C54	116.3(14)

C58(C59(H59	121.8

C54(C59(H59	121.8

C48(P31(C54	104.1(5)

C48(P31(C47	107.2(5)

C54(P31(C47	104.2(6)

C48(P31(Pd2	110.7(4)

C54(P31(Pd2	122.3(4)

C47(P31(Pd2	107.3(4)

C31(S31(Pd2	108.0(3)

C31(S31(Pd3	111.5(3)

Pd2(S31(Pd3	101.94(9)

C77(C61(C62	110.1(8)

C77(C61(C70	112.0(8)

C62(C61(C70	108.1(7)

C77(C61(S61	111.5(6)

C62(C61(S61	109.8(7)

C70(C61(S61	105.1(6)

C63(C62(C61	109.9(7)

C63(C62(H62A	109.7

C61(C62(H62A	109.7

C63(C62(H62B	109.7

C61(C62(H62B	109.7

H62A(C62(H62B	108.2

C76(C63(C62	107.2(8)

C76(C63(C64	107.7(8)

C62(C63(C64	109.0(9)

C76(C63(H63	110.9

C62(C63(H63	110.9

C64(C63(H63	110.9

C65(C64(C69	120.4(9)

C65(C64(C63	128.0(9)

C69(C64(C63	111.6(7)

C64(C65(C66	116.9(10)

C64(C65(H65	121.5

C66(C65(H65	121.5

C65(C66(C67	123.5(10)

C65(C66(H66	118.3

C67(C66(H66	118.3

C68(C67(C66	117.6(9)

C68(C67(H67	121.2

C66(C67(H67	121.2

C69(C68(C67	119.2(9)

C69(C68(H68	120.4

C67(C68(H68	120.4

C68(C69(C64	122.2(8)

C68(C69(C70	124.5(8)

C64(C69(C70	113.2(7)

C69(C70(C71	108.5(8)

C69(C70(C61	106.1(7)

C71(C70(C61	105.0(8)

C69(C70(H70	112.3

C71(C70(H70	112.3

C61(C70(H70	112.3

C72(C71(C76	121.2(10)

C72(C71(C70	126.0(9)

C76(C71(C70	112.7(8)

C71(C72(C73	119.2(11)

C71(C72(H72	120.4

C73(C72(H72	120.4

C72(C73(C74	120.1(11)

C72(C73(H73	120.0

C74(C73(H73	120.0

C75(C74(C73	122.1(11)

C75(C74(H74	118.9

C73(C74(H74	118.9

C74(C75(C76	116.0(9)

C74(C75(H75	122.0

C76(C75(H75	122.0

C71(C76(C75	121.3(10)

C71(C76(C63	114.0(9)

C75(C76(C63	124.7(9)

C61(C77(P61	113.6(6)

C61(C77(H77A	108.8

P61(C77(H77A	108.8

C61(C77(H77B	108.8

P61(C77(H77B	108.8

H77A(C77(H77B	107.7

C83(C78(C79	119.5(9)

C83(C78(P61	120.6(8)

C79(C78(P61	119.6(7)

C78(C79(C80	121.6(11)

C78(C79(H79	119.2

C80(C79(H79	119.2

C81(C80(C79	116.6(12)

C81(C80(H80	121.7

C79(C80(H80	121.7

C82(C81(C80	122.1(13)

C82(C81(H81	118.9

C80(C81(H81	118.9

C81(C82(C83	121.6(13)

C81(C82(H82	119.2

C83(C82(H82	119.2

C82(C83(C78	118.4(12)

C82(C83(H83	120.8

C78(C83(H83	120.8

C85(C84(C89	122.2(10)

C85(C84(P61	116.6(9)

C89(C84(P61	121.1(9)

C84(C85(C86	118.8(13)

C84(C85(H85	120.6

C86(C85(H85	120.6

C87(C86(C85	119.0(15)

C87(C86(H86	120.5

C85(C86(H86	120.5

C86(C87(C88	121.7(15)

C86(C87(H87	119.2

C88(C87(H87	119.2

C87(C88(C89	120.4(16)

C87(C88(H88	119.8

C89(C88(H88	119.8

C84(C89(C88	117.9(14)

C84(C89(H89	121.1

C88(C89(H89	121.1

C84(P61(C78	104.1(5)

C84(P61(C77	103.5(5)

C78(P61(C77	109.1(5)

C84(P61(Pd4	122.5(3)

C78(P61(Pd4	110.5(3)

C77(P61(Pd4	106.5(3)

C61(S61(Pd4	108.2(3)

C61(S61(Pd3	108.7(3)

Pd4(S61(Pd3	100.45(9)

C107(C91(C92	113.4(7)

C107(C91(C100	110.0(6)

C92(C91(C100	109.3(7)

C107(C91(S91	109.6(5)

C92(C91(S91	106.9(5)

C100(C91(S91	107.3(6)

C91(C92(C93	109.1(7)

C91(C92(H92A	109.9

C93(C92(H92A	109.9

C91(C92(H92B	109.9

C93(C92(H92B	109.9

H92A(C92(H92B	108.3

C94(C93(C106	106.6(8)

C94(C93(C92	108.8(7)

C106(C93(C92	105.6(7)

C94(C93(H93	111.8

C106(C93(H93	111.8

C92(C93(H93	111.8

C95(C94(C99	120.6(9)

C95(C94(C93	126.0(9)

C99(C94(C93	113.2(8)

C94(C95(C96	119.2(9)

C94(C95(H95	120.4

C96(C95(H95	120.4

C97(C96(C95	117.2(10)

C97(C96(H96	121.4

C95(C96(H96	121.4

C98(C97(C96	122.0(11)

C98(C97(H97	119.0

C96(C97(H97	119.0

C99(C98(C97	119.9(10)

C99(C98(H98	120.1

C97(C98(H98	120.1

C98(C99(C94	120.3(8)

C98(C99(C100	128.0(9)

C94(C99(C100	111.6(8)

C99(C100(C101	109.0(8)

C99(C100(C91	107.4(7)

C101(C100(C91	105.3(7)

C99(C100(H100	111.6

C101(C100(H100	111.6

C91(C100(H100	111.6

C102(C101(C106	119.9(9)

C102(C101(C100	127.1(9)

C106(C101(C100	112.9(8)

C101(C102(C103	121.9(10)

C101(C102(H102	119.1

C103(C102(H102	119.1

C102(C103(C104	117.9(10)

C102(C103(H103	121.0

C104(C103(H103	121.0

C105(C104(C103	121.9(9)

C105(C104(H104	119.0

C103(C104(H104	119.0

C104(C105(C106	114.9(10)

C104(C105(H105	122.5

C106(C105(H105	122.5

C101(C106(C105	122.7(9)

C101(C106(C93	113.9(7)

C105(C106(C93	123.2(9)

C91(C107(P91	113.2(5)

C91(C107(H10A	108.9

P91(C107(H10A	108.9

C91(C107(H10B	108.9

P91(C107(H10B	108.9

H10A(C107(H10B	107.7

C113(C108(C109	120.2(8)

C113(C108(P91	117.9(7)

C109(C108(P91	121.3(7)

C110(C109(C108	120.1(9)

C110(C109(H109	120.0

C108(C109(H109	120.0

C111(C110(C109	116.5(10)

C111(C110(H110	121.7

C109(C110(H110	121.7

C112(C111(C110	122.4(10)

C112(C111(H111	118.8

C110(C111(H111	118.8

C111(C112(C113	121.6(11)

C111(C112(H112	119.2

C113(C112(H112	119.2

C112(C113(C108	119.0(9)

C112(C113(H113	120.5

C108(C113(H113	120.5

C115(C114(C119	119.4(9)

C115(C114(P91	122.5(7)

C119(C114(P91	117.2(7)

C114(C115(C116	120.3(9)

C114(C115(H115	119.9

C116(C115(H115	119.9

C117(C116(C115	120.0(10)

C117(C116(H116	120.0

C115(C116(H116	120.0

C116(C117(C118	120.1(10)

C116(C117(H117	120.0

C118(C117(H117	120.0

C119(C118(C117	122.1(10)

C119(C118(H118	118.9

C117(C118(H118	118.9

C118(C119(C114	118.1(10)

C118(C119(H119	121.0

C114(C119(H119	121.0

C114(P91(C108	105.2(5)

C114(P91(C107	101.5(4)

C108(P91(C107	109.5(4)

C114(P91(Pd4	122.6(4)

C108(P91(Pd4	111.1(4)

C107(P91(Pd4	106.2(3)

C91(S91(Pd5	112.6(3)

C91(S91(Pd4	107.7(3)

Pd5(S91(Pd4	101.09(9)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Cl1	72(2) 	55(1)	59(1) 	(1(1)	(16(1) 	(1(1)

Cl2	66(2) 	68(2)	49(1) 	12(1)	4(1) 	3(1)

Cl3	70(2) 	93(2)	47(1) 	17(1)	6(1) 	2(2)

Cl4	67(2) 	83(2)	43(1) 	14(1)	5(1) 	(7(1)

Cl5	63(1) 	60(1)	45(1) 	7(1)	8(1) 	1(1)

Cl6	77(2) 	60(2)	55(1) 	4(1)	(12(1) 	1(1)

Pd1	50(1) 	45(1)	46(1) 	0(1)	(3(1) 	(4(1)

Pd2	45(1) 	43(1)	38(1) 	0(1)	(2(1) 	(7(1)

Pd3	56(1) 	52(1)	33(1) 	0(1)	(2(1) 	(21(1)

Pd4	47(1) 	41(1)	36(1) 	(1(1)	0(1) 	(8(1)

Pd5	54(1) 	45(1)	44(1) 	0(1)	(2(1) 	(6(1)

O1	59(5) 	120(8)	77(6) 	(4(6)	(5(5) 	(10(5)

O2	46(4) 	97(7)	106(7) 	8(6)	0(5) 	(5(4)

C1	53(6) 	46(5)	60(6) 	13(4)	(19(5) 	(15(4)

C2	84(7) 	30(4)	51(5) 	(2(4)	13(5) 	(13(4)

C3	54(5) 	47(5)	48(5) 	(12(4)	1(4) 	(1(4)

C4	47(5) 	51(6)	75(7) 	(3(5)	10(5) 	6(4)

C5	44(5) 	65(7)	88(8) 	(31(6)	(12(6) 	0(5)

C6	58(7) 	50(6)	129(12) 	2(7)	(26(8) 	4(5)

C7	52(6) 	29(4)	107(9) 	(1(6)	8(6) 	(3(4)

C8	52(6) 	36(5)	74(7) 	10(5)	3(5) 	(4(4)

C9	55(5) 	39(5)	63(6) 	2(4)	(8(5) 	2(4)

C10	76(7) 	35(5)	47(5) 	4(4)	(3(5) 	(7(4)

C11	47(5) 	40(5)	55(5) 	4(4)	0(4) 	(9(4)

C12	65(7) 	61(7)	63(6) 	(10(5)	5(5) 	(3(5)

C13	58(7) 	51(6)	91(9) 	18(6)	6(6) 	(1(5)

C14	48(6) 	70(7)	88(9) 	(26(7)	26(6) 	(1(5)

C15	70(7) 	48(6)	72(7) 	(12(5)	20(6) 	1(5)

C16	44(5) 	49(6)	86(8) 	(19(5)	9(5) 	(6(4)

C17	37(4) 	35(4)	63(5) 	14(4)	(3(4) 	(13(3)

C18	45(5) 	68(7)	45(5) 	(4(5)	6(4) 	(2(5)

C19	66(7) 	55(6)	66(7) 	(6(6)	1(6) 	(6(5)

C20	81(8) 	56(6)	57(6) 	5(5)	(10(6) 	(25(6)

C21	42(5) 	126(12)	50(6) 	22(7)	(9(5) 	12(6)

C22	49(6) 	121(12)	53(6) 	18(7)	3(5) 	(11(7)

C23	47(6) 	80(8)	71(7) 	18(6)	25(5) 	8(5)

C24	32(4) 	88(7)	44(5) 	(10(5)	8(4) 	(8(5)

C25	40(5) 	91(8)	55(6) 	(18(6)	(7(4) 	2(5)

C26	40(6) 	111(11)	86(9) 	(24(8)	(19(6) 	2(6)

C27	35(6) 	210(20)	58(7) 	(20(9)	15(5) 	(27(8)

C28	74(10) 	230(30)	72(10) 	44(13)	20(8) 	8(13)

C29	68(7) 	90(9)	70(8) 	27(7)	24(6) 	13(7)

P1	40(1) 	51(1)	47(1) 	0(1)	1(1) 	(6(1)

S1	41(1) 	44(1)	44(1) 	1(1)	1(1) 	(12(1)

C31	86(8) 	41(5)	34(4) 	(12(4)	0(5) 	(20(5)

C32	114(10) 	59(6)	30(4) 	1(4)	(8(5) 	(51(7)

C33	96(8) 	51(6)	39(5) 	10(4)	4(5) 	(40(6)

C34	65(7) 	94(9)	47(6) 	(8(6)	(15(5) 	(34(7)

C35	69(7) 	78(8)	42(5) 	(5(5)	(8(5) 	(22(6)

C36	87(9) 	125(13)	44(6) 	(16(7)	25(6) 	(29(9)

C37	76(8) 	86(8)	41(5) 	(5(6)	1(5) 	(9(6)

C38	50(6) 	66(7)	46(5) 	(6(5)	(8(4) 	(22(5)

C39	79(7) 	78(7)	16(3) 	(5(4)	(7(4) 	(37(6)

C40	60(6) 	59(6)	32(4) 	3(4)	5(4) 	(12(5)

C41	85(8) 	60(6)	46(5) 	5(5)	1(5) 	(32(6)

C42	96(9) 	66(7)	34(5) 	(5(5)	1(5) 	(19(6)

C43	109(11) 	69(8)	53(6) 	(17(6)	6(7) 	(10(7)

C44	205(19) 	63(7)	27(5) 	(8(5)	(3(7) 	(72(10)

C45	113(10) 	53(6)	49(6) 	(11(5)	4(6) 	(31(7)

C46	103(9) 	75(8)	28(4) 	(7(5)	6(5) 	(27(7)

C47	98(9) 	44(5)	46(5) 	(8(4)	(24(6) 	(19(5)

C48	69(7) 	89(9)	49(6) 	(19(6)	(19(5) 	16(6)

C49	70(7) 	96(9)	49(6) 	(11(6)	3(6) 	(12(7)

C50	80(9) 	128(14)	70(9) 	17(9)	(30(8) 	(10(9)

C51	113(14) 	154(18)	47(7) 	(13(10)	(5(8) 	(40(13)

C52	74(10) 	210(30)	91(13) 	(63(16)	1(9) 	(16(14)

C53	63(8) 	190(19)	49(6) 	(41(9)	5(6) 	(10(10)

C54	89(9) 	100(10)	49(6) 	(28(7)	(35(7) 	41(8)

C55	153(17) 	132(15)	84(10) 	(39(10)	(51(11) 	98(14)

C56	145(19) 	147(19)	67(9) 	3(11)	(31(11) 	45(16)

C57	190(30) 	112(16)	131(18) 	0(15)	(40(20) 	87(18)

C58	85(13) 	134(19)	370(50) 	(130(30)	(100(20) 	45(13)

C59	107(12) 	84(10)	88(10) 	(21(8)	(22(9) 	16(9)

P31	66(2) 	54(2)	44(1) 	(9(1)	(8(1) 	4(1)

S31	56(1) 	50(1)	33(1) 	0(1)	(5(1) 	(18(1)

C61	76(7) 	54(6)	48(5) 	(2(5)	(1(5) 	(32(5)

C62	85(8) 	60(6)	51(6) 	10(5)	(2(5) 	(45(6)

C63	81(8) 	96(10)	48(6) 	1(6)	(7(6) 	(58(8)

C64	67(6) 	57(6)	38(4) 	4(4)	(3(4) 	(19(5)

C65	127(12) 	71(8)	38(5) 	8(5)	(15(6) 	(37(8)

C66	113(11) 	56(7)	69(8) 	(10(6)	(19(8) 	(25(7)

C67	76(7) 	67(7)	43(5) 	4(5)	3(5) 	3(6)

C68	62(6) 	60(6)	54(6) 	(9(5)	(12(5) 	(14(5)

C69	65(6) 	44(5)	34(4) 	9(4)	(8(4) 	(20(4)

C70	60(6) 	60(6)	54(6) 	5(5)	(14(5) 	(19(5)

C71	66(7) 	71(7)	46(5) 	5(5)	(2(5) 	(26(6)

C72	84(9) 	77(8)	39(5) 	15(5)	(11(5) 	(3(6)

C73	79(8) 	75(8)	57(6) 	(21(6)	(8(6) 	(6(6)

C74	51(7) 	175(18)	46(6) 	(33(8)	10(5) 	(6(9)

C75	59(6) 	69(7)	51(6) 	(5(5)	23(5) 	(19(5)

C76	70(8) 	115(11)	39(5) 	(3(6)	9(5) 	(44(8)

C77	101(9) 	48(6)	40(5) 	(8(4)	9(5) 	(27(6)

C78	52(6) 	80(7)	36(5) 	(4(5)	4(4) 	14(5)

C79	65(6) 	67(6)	41(5) 	(3(5)	(13(5) 	(15(5)

C80	55(7) 	134(14)	71(8) 	28(9)	(3(6) 	(8(8)

C81	48(7) 	220(30)	66(9) 	(5(13)	0(7) 	(43(11)

C82	74(9) 	122(13)	54(7) 	(13(8)	8(6) 	(10(9)

C83	66(7) 	104(10)	48(6) 	(23(6)	(2(5) 	11(7)

C84	76(8) 	58(6)	58(6) 	(25(5)	(17(6) 	17(6)

C85	152(16) 	66(8)	64(8) 	(10(7)	(36(10) 	(15(9)

C86	116(14) 	76(10)	220(30) 	(64(14)	(85(17) 	47(10)

C87	250(40) 	117(17)	150(20) 	(18(17)	(30(20) 	140(20)

C88	170(20) 	109(15)	116(15) 	(29(13)	(61(16) 	77(16)

C89	106(11) 	79(9)	76(9) 	(10(8)	(30(8) 	15(8)

P61	65(2) 	46(1)	40(1) 	(8(1)	(5(1) 	0(1)

S61	55(1) 	54(1)	34(1) 	1(1)	(3(1) 	(16(1)

C91	46(5) 	41(5)	38(4) 	1(4)	5(4) 	(19(4)

C92	37(4) 	49(5)	55(5) 	(4(4)	(6(4) 	(10(4)

C93	50(5) 	60(6)	54(5) 	(22(5)	3(4) 	1(5)

C94	60(6) 	41(5)	65(6) 	(18(5)	10(5) 	7(4)

C95	71(7) 	76(7)	42(5) 	11(5)	8(5) 	(11(6)

C96	57(7) 	80(8)	77(8) 	(4(7)	2(6) 	(1(6)

C97	52(6) 	83(9)	81(8) 	18(7)	1(6) 	1(6)

C98	69(7) 	58(6)	61(6) 	(19(5)	13(5) 	(30(6)

C99	54(6) 	44(5)	58(6) 	(11(5)	12(5) 	(1(4)

C100	47(5) 	45(5)	62(6) 	(1(5)	15(5) 	(6(4)

C101	66(6) 	32(5)	77(7) 	(2(5)	6(6) 	(12(4)

C102	56(6) 	40(5)	78(7) 	3(5)	3(5) 	2(4)

C103	66(7) 	51(6)	92(9) 	(13(6)	10(7) 	4(5)

C104	38(5) 	55(6)	145(13) 	(26(8)	(31(7) 	(4(5)

C105	58(6) 	33(4)	81(7) 	(2(5)	(8(6) 	(7(4)

C106	62(7) 	60(7)	77(7) 	(41(6)	(8(6) 	(6(5)

C107	48(5) 	35(4)	40(4) 	(1(3)	(2(4) 	(5(4)

C108	61(6) 	82(8)	43(5) 	(2(5)	2(5) 	28(6)

C109	46(5) 	54(6)	53(5) 	9(4)	1(4) 	12(4)

C110	54(6) 	117(11)	48(6) 	31(7)	2(5) 	(24(7)

C111	63(7) 	86(8)	39(5) 	9(5)	(1(5) 	19(6)

C112	57(6) 	81(8)	50(6) 	(5(5)	1(5) 	14(6)

C113	61(6) 	50(5)	39(4) 	9(4)	2(4) 	(3(4)

C114	61(6) 	59(6)	52(5) 	8(5)	5(5) 	(15(5)

C115	40(5) 	73(7)	42(5) 	(7(5)	0(4) 	1(4)

C116	55(7) 	97(10)	85(9) 	(5(8)	14(6) 	24(6)

C117	58(7) 	160(15)	41(5) 	3(7)	13(5) 	8(8)

C118	72(8) 	103(10)	41(5) 	4(6)	10(5) 	0(7)

C119	65(7) 	69(7)	63(7) 	0(6)	4(6) 	(9(6)

P91	44(1) 	52(1)	41(1) 	1(1)	1(1) 	(6(1)

S91	44(1) 	43(1)	44(1) 	0(1)	2(1) 	(9(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H2A	1576	1612	12142	66	1

H2B	1112	1440	12192	66	1

H3	1505	1032	11100	60	1

H5	996	449	10927	79	1

H6	620	(90	11582	95	1

H7	656	(206	13111	75	1

H8	1103	197	13954	65	1

H10	1678	742	14038	64	1

H12	2439	642	13812	75	1

H13	3016	635	12877	80	1

H14	2937	777	11376	82	1

H15	2286	1003	10822	76	1

H17A	1108	1192	14412	54	1

H17B	838	1206	13534	54	1

H19	981	2666	13199	75	1

H20	678	2956	11922	78	1

H21	116	2616	11296	88	1

H22	4	1926	11561	89	1

H23	357	1595	12719	79	1

H25	96	2147	14159	74	1

H26	(409	2138	15304	95	1

H27	(247	1862	16632	120	1

H28	383	1498	16835	152	1

H29	902	1560	15762	91	1

H32A	2655	3162	14158	81	1

H32B	2427	3541	14629	81	1

H33	3143	3507	15160	74	1

H35	3652	2897	15011	76	1

H36	3832	2251	15509	102	1

H37	3332	1783	15997	81	1

H38	2660	2038	16339	65	1

H40	2157	2613	16285	60	1

H42	2033	3096	17578	78	1

H43	2108	3751	18214	92	1

H44	2680	4167	17773	118	1

H45	3047	3993	16461	86	1

H47A	1749	3319	14519	75	1

H47B	1753	3348	15567	75	1

H49	1488	2044	16152	86	1

H50	1481	1862	17631	112	1

H51	1213	2354	18621	125	1

H52	1014	2983	18156	149	1

H53	1089	3204	16696	120	1

H55	1138	3419	13899	147	1

H56	506	3744	13439	144	1

H57	(80	3586	14225	175	1

H58	(85	3119	15369	237	1

H59	491	2678	15573	111	1

H62A	2169	1785	11251	79	1

H62B	1946	2188	11645	79	1

H63	1491	1856	10619	90	1

H65	1604	1321	9383	94	1

H66	1989	1136	8151	95	1

H67	2499	1571	7556	74	1

H68	2635	2209	8268	71	1

H70	2531	2682	9516	69	1

H72	2032	3300	9454	80	1

H73	1375	3572	9708	84	1

H74	855	3156	10317	109	1

H75	961	2447	10561	72	1

H77A	2827	1909	10278	76	1

H77B	2840	1946	11323	76	1

H79	3174	3166	9643	69	1

H80	3220	3334	8136	104	1

H81	3492	2834	7192	135	1

H82	3625	2178	7666	100	1

H83	3611	2014	9155	87	1

H85	4123	2393	10182	113	1

H86	4713	1983	10616	165	1

H87	4632	1486	11676	208	1

H88	3982	1329	12249	159	1

H89	3392	1699	11778	105	1

H92A	3714	3747	13603	56	1

H92B	3235	3620	13669	56	1

H93	3367	4198	14675	65	1

H95	2607	4334	14927	76	1

H96	1980	4648	14406	86	1

H97	1921	4758	12879	86	1

H98	2500	4736	11980	75	1

H100	3235	4487	11733	62	1

H102	3842	4976	11816	70	1

H103	4382	5274	12591	83	1

H104	4383	5205	14153	95	1

H105	3990	4678	14825	69	1

H10A	4001	3930	12238	49	1

H10B	3729	3963	11365	49	1

H109	4400	3515	13123	61	1

H110	4716	3167	14335	87	1

H111	4556	2462	14532	75	1

H112	4044	2151	13749	75	1

H113	3753	2471	12534	60	1

H115	4647	2941	11656	62	1

H116	5135	2870	10499	95	1

H117	4973	3100	9114	104	1

H118	4349	3435	8855	87	1

H119	3863	3527	9964	79	1