|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	02src121

Empirical formula 	C20H26N6O4

Formula weight 	414.47

Temperature 	120(2) K

Wavelength 	0.71069 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 15.449(5) Å

b = 9.065(5) Å	( = 96.233(5)°

c = 29.222(5) Å

Volume	4068(3) Å3

Z	8

Density (calculated)	1.353 Mg / m3

Absorption coefficient	0.097 mm(1

F(000)	1760

Crystal	Orange block

Crystal size	0.15 ( 0.08 ( 0.04 mm3

( range for data collection	3.03 ( 25.03°

Index ranges	(18 ( h ( 17, (10 ( k ( 8, (30 ( l ( 34

Reflections collected	18351

Independent reflections	6942 [Rint = 0.1055]

Completeness to ( = 25.03°	96.4 %

Max. and min. transmission	0.9961 and 0.9856

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6942 / 0 / 558

Goodness-of-fit on F2	0.838

Final R indices [F2 > 2((F2)]	R1 = 0.0690, wR2 = 0.1644

R indices (all data)	R1 = 0.1763, wR2 = 0.2305

Extinction coefficient	0.0024(6)

Largest diff. peak and hole	0.284 and (0.327 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:  All hydrogen atoms were placed in idealised positions and refined using a riding model.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1835(3)	4984(5)	8678(2)	35(1)	1

C2	1651(3)	5883(5)	8241(2)	34(1)	1

C3	604(3)	7673(5)	7880(2)	30(1)	1

C4	(109(3)	8741(5)	7987(2)	31(1)	1

C5	(1351(3)	7034(4)	8058(2)	29(1)	1

C6	(1014(3)	5457(5)	8127(2)	30(1)	1

C7	(462(3)	3639(5)	8707(2)	34(1)	1

C8	467(3)	3546(5)	8588(2)	34(1)	1

C9	(1029(3)	9098(4)	8607(2)	28(1)	1

C10	(446(3)	9488(4)	8988(2)	31(1)	1

C11	(703(3)	10384(5)	9334(2)	35(1)	1

C12	(1556(3)	10880(5)	9314(2)	36(1)	1

C13	(2145(3)	10523(5)	8943(2)	33(1)	1

C14	(1866(3)	9684(5)	8593(2)	29(1)	1

C15	1253(3)	3985(5)	9341(2)	30(1)	1

C16	1463(3)	2503(5)	9434(2)	35(1)	1

C17	1654(3)	1986(6)	9874(2)	46(1)	1

C19	1422(3)	4370(5)	10173(2)	35(1)	1

C20	1244(3)	4888(5)	9727(2)	31(1)	1

C21	5415(3)	6265(5)	8514(2)	35(1)	1

C22	4464(3)	6162(5)	8597(2)	35(1)	1

C23	4010(3)	4183(4)	8061(2)	30(1)	1

C24	3663(3)	2619(4)	8009(2)	29(1)	1

C25	4906(3)	846(5)	8032(2)	31(1)	1

C26	5631(3)	1875(5)	7931(2)	32(1)	1

C27	6621(3)	3780(5)	8265(2)	34(1)	1

C28	6775(3)	4799(5)	8682(2)	34(1)	1

C29	6067(3)	5866(5)	9303(2)	36(1)	1

C30	6056(3)	7360(6)	9418(2)	54(2)	1

C31	6163(4)	7808(8)	9870(2)	74(2)	1

C32	6313(3)	6821(8)	10229(2)	62(2)	1

C33	6338(3)	5320(6)	10130(2)	48(1)	1

C34	6197(3)	4895(5)	9673(2)	34(1)	1

C35	3849(3)	586(4)	8580(2)	26(1)	1

C36	4341(3)	152(4)	8989(2)	32(1)	1

C37	3991(3)	(701(5)	9314(2)	37(1)	1

C38	3126(3)	(1132(5)	9259(2)	36(1)	1

C39	2623(3)	(738(5)	8860(2)	33(1)	1

C40	2987(3)	58(4)	8528(1)	26(1)	1

C18	1634(3)	2897(6)	10249(2)	44(1)	1

N1	1046(2)	4525(4)	8882(1)	28(1)	1

N2	1067(3)	7111(4)	8302(1)	28(1)	1

N3	(734(2)	8116(4)	8277(1)	28(1)	1

N4	(888(2)	5076(4)	8617(1)	28(1)	1

N5	(2488(3)	9487(4)	8178(1)	33(1)	1

N6	1008(2)	6440(4)	9677(1)	31(1)	1

N7	5957(2)	5335(4)	8841(1)	31(1)	1

N8	4073(2)	4693(4)	8534(1)	28(1)	1

N9	4223(2)	1547(4)	8274(1)	26(1)	1

N10	6050(2)	2564(4)	8354(1)	28(1)	1

N11	2441(2)	256(4)	8090(1)	31(1)	1

N12	6184(3)	3294(5)	9589(1)	44(1)	1

O1	(2250(2)	9834(4)	7804(1)	42(1)	1

O2	(3220(2)	9023(3)	8228(1)	38(1)	1

O3	1322(2)	7194(3)	9393(1)	44(1)	1

O4	514(2)	6946(4)	9943(1)	49(1)	1

O5	1696(2)	738(3)	8096(1)	39(1)	1

O6	2736(2)	(134(4)	7735(1)	41(1)	1

O7	5528(3)	2751(4)	9385(1)	62(1)	1

O8	6830(3)	2578(4)	9737(1)	62(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(N1	1.474(5)

C1(C2	1.516(6)

C2(N2	1.456(6)

C3(N2	1.448(5)

C3(C4	1.524(6)

C4(N3	1.468(5)

C5(N3	1.466(5)

C5(C6	1.527(6)

C6(N4	1.466(5)

C7(N4	1.470(5)

C7(C8	1.516(6)

C8(N1	1.469(5)

C9(C14	1.394(6)

C9(C10	1.399(6)

C9(N3	1.422(5)

C10(C11	1.388(6)

C11(C12	1.387(6)

C12(C13	1.375(6)

C13(C14	1.381(6)

C14(N5	1.476(6)

C15(C20	1.394(6)

C15(C16	1.402(6)

C15(N1	1.432(5)

C16(C17	1.371(6)

C17(C18	1.374(7)

C19(C20	1.385(6)

C19(C18	1.387(7)

C20(N6	1.456(6)

C21(N7	1.466(5)

C21(C22	1.518(6)

C22(N8	1.467(6)

C23(N8	1.451(5)

C23(C24	1.518(6)

C24(N9	1.466(5)

C25(N9	1.476(5)

C25(C26	1.511(6)

C26(N10	1.471(5)

C27(N10	1.453(6)

C27(C28	1.526(6)

C28(N7	1.475(5)

C29(C34	1.392(7)

C29(C30	1.396(7)

C29(N7	1.427(6)

C30(C31	1.374(8)

C31(C32	1.379(9)

C32(C33	1.392(8)

C33(C34	1.384(7)

C34(N12	1.472(6)

C35(C36	1.400(6)

C35(C40	1.407(6)

C35(N9	1.418(5)

C36(C37	1.381(6)

C37(C38	1.385(6)

C38(C39	1.374(6)

C39(C40	1.378(6)

C40(N11	1.465(5)

N5(O2	1.229(4)

N5(O1	1.230(5)

N6(O3	1.217(5)

N6(O4	1.234(4)

N11(O6	1.230(4)

N11(O5	1.233(4)

N12(O7	1.222(5)

N12(O8	1.230(5)

N1(C1(C2	113.9(4)

N2(C2(C1	111.7(4)

N2(C3(C4	110.5(4)

N3(C4(C3	114.1(4)

N3(C5(C6	111.9(3)

N4(C6(C5	110.9(3)

N4(C7(C8	115.1(4)

N1(C8(C7	111.3(4)

C14(C9(C10	116.1(4)

C14(C9(N3	125.7(4)

C10(C9(N3	118.1(4)

C11(C10(C9	121.1(4)

C12(C11(C10	120.3(4)

C13(C12(C11	120.0(4)

C12(C13(C14	118.7(4)

C13(C14(C9	123.5(4)

C13(C14(N5	116.6(4)

C9(C14(N5	119.8(4)

C20(C15(C16	115.4(4)

C20(C15(N1	122.4(4)

C16(C15(N1	122.2(4)

C17(C16(C15	122.1(5)

C16(C17(C18	121.4(5)

C20(C19(C18	119.8(5)

C19(C20(C15	122.9(4)

C19(C20(N6	116.3(4)

C15(C20(N6	120.7(4)

N7(C21(C22	110.7(4)

N8(C22(C21	115.4(4)

N8(C23(C24	112.3(4)

N9(C24(C23	112.6(3)

N9(C25(C26	114.3(4)

N10(C26(C25	111.4(4)

N10(C27(C28	111.2(4)

N7(C28(C27	112.7(4)

C34(C29(C30	115.5(5)

C34(C29(N7	121.0(4)

C30(C29(N7	123.5(5)

C31(C30(C29	121.0(6)

C30(C31(C32	122.1(6)

C31(C32(C33	118.8(5)

C34(C33(C32	117.9(5)

C33(C34(C29	124.6(5)

C33(C34(N12	115.7(4)

C29(C34(N12	119.7(4)

C36(C35(C40	114.7(4)

C36(C35(N9	119.3(4)

C40(C35(N9	125.9(4)

C37(C36(C35	121.8(4)

C36(C37(C38	121.5(4)

C39(C38(C37	118.4(4)

C38(C39(C40	119.8(4)

C39(C40(C35	123.6(4)

C39(C40(N11	116.1(4)

C35(C40(N11	120.2(4)

C17(C18(C19	118.4(5)

C15(N1(C8	113.7(3)

C15(N1(C1	111.4(3)

C8(N1(C1	114.3(3)

C3(N2(C2	114.8(4)

C9(N3(C5	118.4(3)

C9(N3(C4	115.4(3)

C5(N3(C4	116.3(3)

C6(N4(C7	113.2(3)

O2(N5(O1	124.2(4)

O2(N5(C14	118.0(4)

O1(N5(C14	117.9(4)

O3(N6(O4	122.7(4)

O3(N6(C20	119.8(4)

O4(N6(C20	117.5(4)

C29(N7(C21	115.1(4)

C29(N7(C28	113.0(3)

C21(N7(C28	115.7(4)

C23(N8(C22	113.1(4)

C35(N9(C24	118.9(3)

C35(N9(C25	113.6(3)

C24(N9(C25	116.4(3)

C27(N10(C26	113.2(3)

O6(N11(O5	123.2(4)

O6(N11(C40	118.0(4)

O5(N11(C40	118.7(4)

O7(N12(O8	123.9(5)

O7(N12(C34	118.3(5)

O8(N12(C34	117.8(4)

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	29(3) 	42(3)	35(3) 	3(2)	9(2) 	10(2)

C2	30(3) 	42(3)	30(3) 	(2(2)	7(2) 	4(2)

C3	28(3) 	36(3)	25(3) 	3(2)	1(2) 	(8(2)

C4	30(3) 	29(2)	32(3) 	5(2)	0(2) 	(3(2)

C5	29(3) 	30(3)	27(3) 	1(2)	1(2) 	(2(2)

C6	19(2) 	36(3)	34(3) 	(3(2)	(2(2) 	(3(2)

C7	31(3) 	26(3)	44(3) 	(1(2)	(1(2) 	(3(2)

C8	36(3) 	30(3)	34(3) 	(2(2)	(4(2) 	4(2)

C9	33(3) 	20(2)	31(3) 	7(2)	5(2) 	0(2)

C10	28(3) 	22(2)	41(3) 	4(2)	(4(2) 	(4(2)

C11	45(3) 	24(2)	33(3) 	1(2)	(4(2) 	(4(2)

C12	40(3) 	26(3)	40(3) 	1(2)	7(3) 	0(2)

C13	32(3) 	30(3)	37(3) 	(1(2)	8(2) 	1(2)

C14	22(3) 	31(2)	33(3) 	5(2)	2(2) 	(2(2)

C15	20(3) 	35(3)	34(3) 	2(2)	5(2) 	(1(2)

C16	33(3) 	24(3)	45(3) 	1(2)	(1(2) 	3(2)

C17	44(3) 	42(3)	50(4) 	13(3)	0(3) 	1(2)

C19	23(3) 	47(3)	36(3) 	3(2)	1(2) 	(7(2)

C20	22(3) 	35(3)	34(3) 	1(2)	2(2) 	(2(2)

C21	34(3) 	28(3)	43(3) 	5(2)	(2(2) 	(4(2)

C22	29(3) 	29(3)	46(3) 	1(2)	(1(2) 	2(2)

C23	26(3) 	25(2)	37(3) 	4(2)	(1(2) 	6(2)

C24	30(3) 	27(2)	29(3) 	(5(2)	3(2) 	1(2)

C25	26(3) 	30(2)	35(3) 	(5(2)	0(2) 	(1(2)

C26	29(3) 	37(3)	30(3) 	2(2)	3(2) 	7(2)

C27	31(3) 	39(3)	34(3) 	4(2)	9(2) 	(3(2)

C28	27(3) 	34(3)	42(3) 	0(2)	5(2) 	(4(2)

C29	20(3) 	47(3)	40(3) 	(9(3)	(3(2) 	2(2)

C30	55(4) 	36(3)	68(4) 	(16(3)	(15(3) 	5(3)

C31	66(5) 	68(4)	81(5) 	(44(4)	(19(4) 	19(3)

C32	37(4) 	91(5)	56(4) 	(41(4)	(5(3) 	2(3)

C33	29(3) 	74(4)	41(3) 	(13(3)	4(2) 	(2(3)

C34	23(3) 	38(3)	42(3) 	(7(2)	3(2) 	(3(2)

C35	31(3) 	18(2)	29(3) 	(7(2)	1(2) 	2(2)

C36	33(3) 	21(2)	39(3) 	(6(2)	(2(2) 	(1(2)

C37	50(3) 	29(3)	29(3) 	(3(2)	(3(2) 	5(2)

C38	39(3) 	30(3)	40(3) 	1(2)	9(2) 	(5(2)

C39	34(3) 	30(3)	36(3) 	(6(2)	8(2) 	(6(2)

C40	31(3) 	23(2)	25(3) 	(4(2)	1(2) 	1(2)

C18	33(3) 	55(4)	42(3) 	14(3)	2(2) 	(7(2)

N1	21(2) 	32(2)	30(2) 	(2(2)	3(2) 	1(2)

N2	27(2) 	32(2)	27(2) 	(1(2)	4(2) 	(3(2)

N3	22(2) 	32(2)	29(2) 	0(2)	2(2) 	(5(2)

N4	25(2) 	25(2)	32(2) 	(1(2)	(1(2) 	2(2)

N5	27(2) 	31(2)	41(3) 	5(2)	(1(2) 	2(2)

N6	26(2) 	37(2)	31(2) 	(3(2)	5(2) 	0(2)

N7	22(2) 	33(2)	35(2) 	0(2)	(1(2) 	1(2)

N8	22(2) 	29(2)	32(2) 	(2(2)	0(2) 	2(2)

N9	20(2) 	25(2)	34(2) 	0(2)	4(2) 	0(2)

N10	20(2) 	36(2)	28(2) 	(2(2)	5(2) 	0(2)

N11	23(2) 	29(2)	40(3) 	(2(2)	1(2) 	(7(2)

N12	54(3) 	50(3)	31(3) 	2(2)	9(2) 	(7(3)

O1	38(2) 	52(2)	33(2) 	11(2)	(4(2) 	5(2)

O2	22(2) 	37(2)	55(2) 	2(2)	0(2) 	(2(1)

O3	45(2) 	36(2)	53(2) 	4(2)	15(2) 	(2(2)

O4	50(2) 	49(2)	52(2) 	(12(2)	17(2) 	1(2)

O5	24(2) 	41(2)	52(2) 	5(2)	3(2) 	(2(2)

O6	40(2) 	53(2)	28(2) 	(14(2)	4(2) 	(5(2)

O7	76(3) 	58(2)	53(3) 	2(2)	6(2) 	(29(2)

O8	74(3) 	61(3)	53(3) 	5(2)	10(2) 	16(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	2168	4092	8609	42	1

H1B	2206	5574	8907	42	1

H2A	2206	6269	8149	40	1

H2B	1387	5239	7990	40	1

H3A	342	6842	7694	36	1

H3B	1018	8185	7698	36	1

H4A	167	9619	8143	37	1

H4B	(429	9075	7693	37	1

H5A	(1455	7247	7724	34	1

H5B	(1913	7127	8188	34	1

H6A	(1435	4764	7963	36	1

H6B	(454	5357	7994	36	1

H7A	(813	2876	8529	41	1

H7B	(465	3403	9038	41	1

H8A	676	2516	8627	41	1

H8B	483	3824	8261	41	1

H10	135	9134	9010	37	1

H11	(293	10659	9585	41	1

H12	(1733	11467	9556	43	1

H13	(2732	10847	8928	39	1

H16	1474	1836	9184	41	1

H17	1804	977	9921	55	1

H19	1399	5022	10426	42	1

H21A	5481	5946	8195	43	1

H21B	5611	7303	8548	43	1

H22A	4409	6492	8916	42	1

## H22B	4125	6857	8386	42	1

H23A	4594	4225	7951	36	1

H23B	3621	4852	7866	36	1

H24A	3074	2583	8112	34	1

H24B	3609	2341	7679	34	1

H25A	4633	429	7738	37	1

H25B	5161	17	8222	37	1

H26A	6071	1316	7779	38	1

H26B	5392	2653	7715	38	1

H27A	6358	4350	7996	41	1

H27B	7186	3385	8190	41	1

H28A	7113	4263	8937	41	1

H28B	7125	5656	8601	41	1

H30	5973	8077	9180	65	1

H31	6134	8831	9937	89	1

H32	6396	7160	10538	74	1

H33	6449	4611	10368	57	1

H36	4933	452	9043	38	1

H37	4352	(1000	9582	44	1

H38	2886	(1687	9490	43	1

H39	2027	(1013	8814	40	1

H18	1762	2527	10553	52	1

H4N	5570(30)	2870(40)	8476(13)	13(11)	1

H1N	680(30)	6860(40)	8478(15)	25(13)	1

H2N	(550(30)	5750(50)	8767(15)	33(13)	1

H3N	4430(30)	4080(60)	8703(17)	58(17)	1

Table 6. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N10(H4N...N9	0.90(4)	2.42(4)	2.954(5)	118(3)

N10(H4N...O7	0.90(4)	2.67(4)	3.208(5)	120(3)

N2(H1N...N3	0.86(4)	2.48(4)	2.922(5)	113(3)