|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005src1659 / MAB/CP/02

Empirical formula 	C24H28B3P

Formula weight 	379.86

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Tetragonal

Space group 	I(4

Unit cell dimensions	a = 27.593(2) Å	( = 90°

b = 27.593(2) Å	( = 90°

c = 7.0313(5) Å	(  = 90°

Volume	5353.4(7) Å3

Z	10

Density (calculated)	1.178 Mg / m3

Absorption coefficient	0.135 mm(1

F(000)	2020

Crystal	Rod; Colourless

Crystal size	0.42 ( 0.10 ( 0.08 mm3

( range for data collection	2.99 ( 27.48°

Index ranges	(35 ( h ( 35, (33 ( k ( 35, (9 ( l ( 8

Reflections collected	15012

Independent reflections	5893 [Rint = 0.0862]

Completeness to ( = 27.48°	99.2 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9893 and 0.9454

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5893 / 362 / 368

Goodness-of-fit on F2	1.404

Final R indices [F2 > 2((F2)]	R1 = 0.1292, wR2 = 0.3403

R indices (all data)	R1 = 0.1533, wR2 = 0.3675

Absolute structure parameter	0.2(2)

Extinction coefficient	0.116(11)

Largest diff. peak and hole	0.773 and (1.072 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP3 for Windows (L. J. Farrugia, J. Appl. Crystallogr. 1997, 30, 565).

Special details:

All hydrogen atoms were fixed.

The B3H8 groups were disordered

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	7057(2)	6559(1)	985(6)	40(1)	1

C2	7423(2)	6537(2)	(372(7)	49(1)	1

C3	7501(2)	6922(2)	(1597(7)	54(1)	1

C4	7192(2)	7334(2)	(1505(7)	56(1)	1

C5	6831(2)	7359(2)	(182(7)	51(1)	1

C6	6752(2)	6970(2)	1079(7)	45(1)	1

C7	6456(2)	6130(2)	4010(6)	44(1)	1

C8	6469(2)	6507(2)	5335(7)	48(1)	1

C9	6077(2)	6580(2)	6547(8)	61(2)	1

C10	5677(2)	6268(2)	6480(9)	72(2)	1

C11	5675(2)	5885(2)	5208(9)	73(2)	1

C12	6050(2)	5818(2)	3941(8)	60(1)	1

C13	6908(2)	5528(2)	1009(6)	48(1)	1

C14	6530(2)	5537(2)	(327(8)	70(2)	1

C15	6467(3)	5144(2)	(1497(8)	79(2)	1

C16	6787(2)	4738(2)	(1437(8)	69(2)	1

C17	7155(2)	4738(2)	(112(7)	55(2)	1

C18	7229(2)	5125(1)	1113(7)	45(1)	1

C19	7498(2)	5964(1)	3993(6)	38(1)	1

C20	7488(2)	5601(2)	5365(6)	41(1)	1

C21	7888(2)	5535(2)	6562(7)	47(1)	1

C22	8287(2)	5837(2)	6415(7)	47(1)	1

C23	8295(2)	6198(2)	5087(7)	47(1)	1

C24	7909(2)	6271(2)	3866(7)	45(1)	1

P1	6978(1)	6047(1)	2503(2)	39(1)	1

C31	9481(2)	5130(2)	9012(6)	43(1)	1

C32	9519(2)	5516(2)	10309(7)	50(1)	1

C33	9130(2)	5604(2)	11508(7)	44(1)	1

C34	8718(2)	5298(1)	11453(6)	36(1)	1

C35	8690(2)	4922(1)	10186(6)	36(1)	1

C36	9070(2)	4835(2)	8954(7)	44(1)	1

P31	10000	5000	7500	60(1)	1

B1	8990(5)	7116(10)	(1714(17)	57(5)	0.43(2)

B2	8654(6)	7062(9)	150(30)	79(6)	0.43(2)

B3	9288(5)	7091(6)	282(17)	37(3)	0.43(2)

B101	8724(5)	6896(8)	490(20)	84(5)	0.57(2)

B102	9033(5)	6853(6)	(1330(20)	63(4)	0.57(2)

B103	9279(6)	6991(5)	990(30)	75(5)	0.57(2)

B11	5305(4)	5052(5)	155(18)	57(3)	0.50

B12	5000	5000	1890(20)	90(7)	0.50

Table 3. Bond lengths [Å] and angles [°].

C1(C2	1.390(7)

C1(C6	1.412(5)

C1(P1	1.786(4)

C2(C3	1.385(7)

C2(H2	0.9500

C3(C4	1.422(6)

C3(H3	0.9500

C4(C5	1.365(7)

C4(H4	0.9500

C5(C6	1.410(6)

C5(H5	0.9500

C6(H6	0.9500

C7(C8	1.396(7)

C7(C12	1.414(7)

C7(P1	1.802(5)

C8(C9	1.393(7)

C8(H8	0.9500

C9(C10	1.402(8)

C9(H9	0.9500

C10(C11	1.385(8)

C10(H10	0.9500

C11(C12	1.377(8)

C11(H11	0.9500

C12(H12	0.9500

C13(C14	1.403(6)

C13(C18	1.422(6)

C13(P1	1.786(4)

C14(C15	1.373(7)

C14(H14	0.9500

C15(C16	1.427(8)

C15(H15	0.9500

C16(C17	1.378(7)

C16(H16	0.9500

C17(C18	1.388(6)

C17(H17	0.9500

C18(H18	0.9500

C19(C20	1.392(6)

C19(C24	1.416(6)

C19(P1	1.792(4)

C20(C21	1.400(6)

C20(H20	0.9500

C21(C22	1.385(7)

C21(H21	0.9500

C22(C23	1.364(7)

C22(H22	0.9500

C23(C24	1.383(6)

C23(H23	0.9500

C24(H24	0.9500

C31(C36	1.397(6)

C31(C32	1.405(6)

C31(P31	1.819(5)

C32(C33	1.387(7)

C32(H32	0.9500

C33(C34	1.416(5)

C33(H33	0.9500

C34(C35	1.370(5)

C34(H34	0.9500

C35(C36	1.383(6)

C35(H35	0.9500

C36(H36	0.9500

P31(C31i	1.819(5)

P31(C31ii	1.819(5)

P31(C31iii	1.819(5)

B1(B2	1.614(19)

B1(B3	1.628(15)

B1(H1A	0.9900

B1(H1B	0.9900

B1(H4A	0.92(3)

B1(H5A	0.97(3)

B1(H104	1.00(5)

B2(B3	1.75(2)

B2(H2A	0.9900

B2(H2B	0.9900

B2(H4A	0.94(3)

B2(H104	0.79(4)

B2(H105	1.43(5)

B3(H3A	0.9900

B3(H3B	0.9900

B3(H5A	0.91(3)

B3(H105	1.28(4)

B101(B102	1.548(19)

B101(B103	1.594(18)

B101(H4A	1.30(5)

B101(H10A	0.9900

B101(H10B	0.9900

B101(H104	0.95(3)

B101(H105	1.03(3)

B102(B103	1.81(2)

B102(H4A	1.18(7)

B102(H5A	1.13(7)

B102(H10C	0.9900

B102(H10D	0.9900

B102(H104	0.91(3)

B103(H5A	1.47(4)

B103(H10E	0.9900

B103(H10F	0.9900

B103(H105	0.88(3)

B11(B12	1.490(18)

B11(B11iv	1.71(2)

B11(H11A	0.9900

B11(H11B	0.9900

B11(H13A	0.93(3)

B12(B11iv	1.490(18)

B12(H12A	0.9900

B12(H12B	0.9900

B12(H13A	0.92(3)

C2(C1(C6	120.1(4)

C2(C1(P1	117.6(3)

C6(C1(P1	122.3(4)

C3(C2(C1	120.3(4)

C3(C2(H2	119.8

C1(C2(H2	119.8

C2(C3(C4	119.4(5)

C2(C3(H3	120.3

C4(C3(H3	120.3

C5(C4(C3	120.7(5)

C5(C4(H4	119.7

C3(C4(H4	119.7

C4(C5(C6	120.1(4)

C4(C5(H5	119.9

C6(C5(H5	119.9

C5(C6(C1	119.3(5)

C5(C6(H6	120.3

C1(C6(H6	120.3

C8(C7(C12	119.8(5)

C8(C7(P1	117.8(4)

C12(C7(P1	122.4(4)

C9(C8(C7	119.7(5)

C9(C8(H8	120.1

C7(C8(H8	120.1

C8(C9(C10	120.2(6)

C8(C9(H9	119.9

C10(C9(H9	119.9

C11(C10(C9	119.6(6)

C11(C10(H10	120.2

C9(C10(H10	120.2

C12(C11(C10	121.1(6)

C12(C11(H11	119.4

C10(C11(H11	119.4

C11(C12(C7	119.5(6)

C11(C12(H12	120.2

C7(C12(H12	120.2

C14(C13(C18	120.8(4)

C14(C13(P1	117.3(3)

C18(C13(P1	121.9(3)

C15(C14(C13	118.7(5)

C15(C14(H14	120.6

C13(C14(H14	120.6

C14(C15(C16	121.5(5)

C14(C15(H15	119.2

C16(C15(H15	119.2

C17(C16(C15	118.5(5)

C17(C16(H16	120.7

C15(C16(H16	120.7

C16(C17(C18	121.7(5)

C16(C17(H17	119.1

C18(C17(H17	119.1

C17(C18(C13	118.6(4)

C17(C18(H18	120.7

C13(C18(H18	120.7

C20(C19(C24	119.4(4)

C20(C19(P1	118.6(4)

C24(C19(P1	121.9(3)

C19(C20(C21	119.6(5)

C19(C20(H20	120.2

C21(C20(H20	120.2

C22(C21(C20	120.2(4)

C22(C21(H21	119.9

C20(C21(H21	119.9

C23(C22(C21	120.3(4)

C23(C22(H22	119.9

C21(C22(H22	119.9

C22(C23(C24	121.2(5)

C22(C23(H23	119.4

C24(C23(H23	119.4

C23(C24(C19	119.3(4)

C23(C24(H24	120.3

C19(C24(H24	120.3

C1(P1(C13	107.3(2)

C1(P1(C19	110.6(2)

C13(P1(C19	109.22(18)

C1(P1(C7	110.34(19)

C13(P1(C7	111.2(2)

C19(P1(C7	108.2(2)

C36(C31(C32	121.4(4)

C36(C31(P31	120.4(4)

C32(C31(P31	118.1(3)

C33(C32(C31	118.0(4)

C33(C32(H32	121.0

C31(C32(H32	121.0

C32(C33(C34	120.0(4)

C32(C33(H33	120.0

C34(C33(H33	120.0

C35(C34(C33	121.0(4)

C35(C34(H34	119.5

C33(C34(H34	119.5

C34(C35(C36	119.7(4)

C34(C35(H35	120.1

C36(C35(H35	120.1

C35(C36(C31	119.8(4)

C35(C36(H36	120.1

C31(C36(H36	120.1

C31i(P31(C31ii	109.98(15)

C31i(P31(C31	109.98(15)

C31ii(P31(C31	108.5(3)

C31i(P31(C31iii	108.5(3)

C31ii(P31(C31iii	109.98(15)

C31(P31(C31iii	109.98(15)

B2(B1(B3	65.5(9)

B2(B1(H1A	117.2

B3(B1(H1A	117.2

B2(B1(H1B	117.2

B3(B1(H1B	117.2

H1A(B1(H1B	114.2

B2(B1(H4A	30.5(17)

B3(B1(H4A	96.0(19)

H1A(B1(H4A	102.9

H1B(B1(H4A	105.4

B2(B1(H5A	93(2)

B3(B1(H5A	29.1(19)

H1A(B1(H5A	98.3

H1B(B1(H5A	112.4

H4A(B1(H5A	123(3)

B2(B1(H104	22(4)

B3(B1(H104	77(2)

H1A(B1(H104	130.8

H1B(B1(H104	95.1

H4A(B1(H104	29(7)

H5A(B1(H104	106(3)

B1(B2(B3	57.6(7)

B1(B2(H2A	118.0

B3(B2(H2A	118.0

B1(B2(H2B	118.0

B3(B2(H2B	118.0

H2A(B2(H2B	115.2

B1(B2(H4A	29.8(16)

B3(B2(H4A	87.5(19)

H2A(B2(H4A	107.4

H2B(B2(H4A	105.0

B1(B2(H104	29(6)

B3(B2(H104	74(3)

H2A(B2(H104	89.7

H2B(B2(H104	135.5

H4A(B2(H104	31(9)

B1(B2(H105	98.9(16)

B3(B2(H105	45.9(16)

H2A(B2(H105	82.3

H2B(B2(H105	117.8

H4A(B2(H105	127(4)

H104(B2(H105	101(4)

B1(B3(B2	56.9(8)

B1(B3(H3A	118.1

B2(B3(H3A	118.1

B1(B3(H3B	118.1

B2(B3(H3B	118.1

H3A(B3(H3B	115.3

B1(B3(H5A	30.9(19)

B2(B3(H5A	87(2)

H3A(B3(H5A	98.8

H3B(B3(H5A	113.9

B1(B3(H105	105.0(17)

B2(B3(H105	53(2)

H3A(B3(H105	116.0

H3B(B3(H105	76.5

H5A(B3(H105	136(3)

B102(B101(B103	70.3(11)

B102(B101(H4A	48(3)

B103(B101(H4A	102(2)

B102(B101(H10A	116.6

B103(B101(H10A	116.6

H4A(B101(H10A	130.2

B102(B101(H10B	116.6

B103(B101(H10B	116.6

H4A(B101(H10B	70.5

H10A(B101(H10B	113.6

B102(B101(H104	33(2)

B103(B101(H104	96(3)

H4A(B101(H104	17(6)

H10A(B101(H104	122.9

H10B(B101(H104	87.3

B102(B101(H105	96(2)

B103(B101(H105	30.5(19)

H4A(B101(H105	132(3)

H10A(B101(H105	91.1

H10B(B101(H105	119.1

H104(B101(H105	125(3)

B101(B102(B103	56.0(9)

B101(B102(H4A	55(2)

B103(B102(H4A	96(3)

B101(B102(H5A	96(3)

B103(B102(H5A	54.1(17)

H4A(B102(H5A	92(6)

B101(B102(H10C	118.2

B103(B102(H10C	118.2

H4A(B102(H10C	66.2

H5A(B102(H10C	67.4

B101(B102(H10D	118.2

B103(B102(H10D	118.2

H4A(B102(H10D	133.6

H5A(B102(H10D	132.8

H10C(B102(H10D	115.4

B101(B102(H104	35(2)

B103(B102(H104	84(2)

H4A(B102(H104	22(5)

H5A(B102(H104	100(6)

H10C(B102(H104	88.1

H10D(B102(H104	126.5

B101(B103(B102	53.7(7)

B101(B103(H5A	81.6(14)

B102(B103(H5A	39(3)

B101(B103(H10E	118.4

B102(B103(H10E	118.4

H5A(B103(H10E	133.4

B101(B103(H10F	118.4

B102(B103(H10F	118.4

H5A(B103(H10F	82.4

H10E(B103(H10F	115.6

B101(B103(H105	36(2)

B102(B103(H105	85(2)

H5A(B103(H105	118(2)

H10E(B103(H105	89.3

H10F(B103(H105	122.7

B12(B11(B11iv	55.0(5)

B12(B11(H11A	118.3

B11iv(B11(H11A	118.3

B12(B11(H11B	118.3

B11iv(B11(H11B	118.3

H11A(B11(H11B	115.5

B12(B11(H13A	36(2)

B11iv(B11(H13A	91(2)

H11A(B11(H13A	106.9

H11B(B11(H13A	100.7

B11iv(B12(B11	69.9(10)

B11iv(B12(H12A	116.6

B11(B12(H12A	116.6

B11iv(B12(H12B	116.6

B11(B12(H12B	116.6

H12A(B12(H12B	113.6

B11iv(B12(H13A	106(3)

B11(B12(H13A	37(2)

H12A(B12(H13A	103.1

H12B(B12(H13A	97.0

Symmetry transformations used to generate equivalent atoms:

(i) (y+3/2,x(1/2,(z+3/2    (ii) (x+2,(y+1,z    (iii) y+1/2,(x+3/2,(z+3/2

(iv)  (x+1,(y+1,z

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	66(3) 	20(2)	34(2) 	0(2)	(14(2) 	21(2)

C2	72(3) 	41(2)	35(2) 	(5(2)	(11(2) 	33(2)

C3	95(4) 	37(3)	31(2) 	(7(2)	(4(2) 	19(2)

C4	97(4) 	37(3)	34(2) 	5(2)	(16(3) 	16(2)

C5	77(4) 	32(2)	44(3) 	(1(2)	(18(2) 	23(2)

C6	58(3) 	32(2)	44(3) 	4(2)	(12(2) 	26(2)

C7	49(2) 	45(3)	39(2) 	7(2)	(22(2) 	11(2)

C8	43(3) 	57(3)	43(3) 	(1(2)	(14(2) 	18(2)

C9	49(3) 	86(4)	49(3) 	(2(3)	(18(2) 	31(2)

C10	53(3) 	107(5)	57(3) 	24(3)	(14(3) 	15(3)

C11	53(3) 	92(4)	76(4) 	36(3)	(19(3) 	(2(3)

C12	64(3) 	56(3)	60(3) 	25(3)	(28(3) 	3(2)

C13	85(4) 	21(2)	38(2) 	(4(2)	(32(2) 	5(2)

C14	115(5) 	40(3)	54(3) 	0(2)	(54(3) 	13(3)

C15	145(6) 	36(3)	56(3) 	4(2)	(59(4) 	(10(3)

C16	130(5) 	27(2)	49(3) 	1(2)	(35(3) 	(24(3)

C17	107(4) 	21(2)	37(3) 	2(2)	(22(3) 	(6(2)

C18	78(3) 	19(2)	39(2) 	0(2)	(13(2) 	(1(2)

C19	56(3) 	27(2)	32(2) 	(8(2)	(21(2) 	21(2)

C20	60(3) 	32(2)	30(2) 	(1(2)	(16(2) 	16(2)

C21	73(3) 	42(2)	25(2) 	1(2)	(13(2) 	24(2)

C22	66(3) 	40(2)	34(2) 	(8(2)	(18(2) 	21(2)

C23	59(3) 	42(2)	41(2) 	(15(2)	(15(2) 	11(2)

C24	74(3) 	22(2)	39(2) 	(6(2)	(18(2) 	14(2)

P1	62(1) 	22(1)	34(1) 	0(1)	(21(1) 	15(1)

C31	59(3) 	32(2)	39(3) 	1(2)	1(2) 	(2(2)

C32	53(3) 	54(3)	43(3) 	(4(2)	1(2) 	(27(2)

C33	56(3) 	39(2)	36(2) 	(5(2)	2(2) 	(12(2)

C34	53(3) 	20(2)	36(2) 	4(2)	(5(2) 	(12(2)

C35	50(2) 	20(2)	37(2) 	(1(2)	(6(2) 	2(2)

C36	69(3) 	27(2)	36(2) 	(1(2)	(4(2) 	6(2)

P31	71(1) 	71(1)	37(1) 	0	0 	0

B1	25(6) 	133(15)	14(5) 	1(7)	1(4) 	9(9)

B2	37(6) 	143(15)	57(10) 	27(10)	17(7) 	60(8)

B3	37(5) 	55(8)	19(5) 	26(5)	(1(4) 	9(6)

B101	43(6) 	158(14)	50(6) 	55(8)	(23(5) 	(2(8)

B102	45(6) 	71(9)	74(7) 	(18(7)	(11(5) 	28(6)

B103	65(7) 	38(6)	123(11) 	38(7)	(77(9) 	(21(5)

B11	66(7) 	51(6)	53(6) 	(6(6)	(12(5) 	1(7)

B12	220(20) 	30(8)	19(6) 	0	0 	(14(13)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H2	7620	6255	(459	59	1

H3	7758	6911	(2492	65	1

H4	7237	7594	(2372	67	1

H5	6632	7640	(112	61	1

H6	6496	6983	1983	54	1

H8	6745	6712	5410	58	1

H9	6081	6843	7421	74	1

H10	5408	6318	7303	87	1

H11	5411	5664	5208	88	1

H12	6035	5565	3028	72	1

H14	6323	5811	(421	83	1

H15	6203	5142	(2366	95	1

H16	6748	4474	(2291	83	1

H17	7364	4465	(34	66	1

H18	7488	5122	2003	54	1

H20	7211	5398	5488	49	1

H21	7886	5282	7477	56	1

H22	8555	5794	7243	56	1

H23	8571	6402	4999	56	1

H24	7919	6524	2951	54	1

H32	9803	5710	10364	60	1

H33	9139	5870	12365	53	1

H34	8457	5355	12308	44	1

H35	8410	4722	10154	43	1

H36	9053	4575	8071	53	1

H1A	8983	7432	(2383	69	0.43(2)

H1B	9013	6832	(2567	69	0.43(2)

H2A	8497	6746	390	94	0.43(2)

H2B	8467	7349	575	94	0.43(2)

H3A	9438	7393	766	44	0.43(2)

H3B	9468	6790	581	44	0.43(2)

H4A	8685(10)	7100(40)	(1170(40)	55	0.43(2)

H5A	9282(12)	7170(40)	(980(40)	55	0.43(2)

H10A	8580	6592	989	100	0.57(2)

H10B	8504	7179	578	100	0.57(2)

H10C	9014	7118	(2280	76	0.57(2)

H10D	9091	6526	(1865	76	0.57(2)

H10E	9461	6735	1667	90	0.57(2)

H10F	9384	7328	1251	90	0.57(2)

H104	8752(12)	6960(30)	(830(40)	113	0.57(2)

H105	9008(12)	6870(30)	1430(40)	113	0.57(2)

H11A	5524	4782	(193	68	0.50

H11B	5421	5380	(193	68	0.50

H12A	5051	4704	2662	108	0.25

H12B	4949	5296	2662	108	0.25

H13A	5310(20)	5070(70)	1470(50)	134	0.50