|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	01SOT039

Empirical formula 	C15H20O4

Formula weight 	264.31

Temperature 	150(2) K

## Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 7.5556(3) Å

b = 8.0446(3) Å

c = 22.9549(8) Å

Volume	1395.24(9) Å3

Z	4

Density (calculated)	1.258 Mg / m3

Absorption coefficient	0.090 mm1

F(000)	568

Crystal	Colourless block

Crystal size	0.25  0.10  0.08 mm3

 range for data collection	3.23  23.25°

Index ranges	7  h  8, 8  k  7, 25  l  22

Reflections collected	3873

Independent reflections	1860 [Rint = 0.0609]

Completeness to  = 23.25°	97.6 %

Max. and min. transmission	0.9928 and 0.9778

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1860 / 0 / 175

Goodness-of-fit on F2	1.033

Final R indices [F2 > 2(F2)]	R1 = 0.0507, wR2 = 0.1298

R indices (all data)	R1 = 0.0565, wR2 = 0.1368

Extinction coefficient	0.016(9)

Largest diff. peak and hole	0.192 and 0.239 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill Ewald sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:  All hydrogen atoms were placed in idealised positions and refined using a riding model.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2736(4)	6913(4)	1043(1)	37(1)	1

C2	1755(4)	6411(4)	554(1)	44(1)	1

C3	1218(4)	7566(5)	145(1)	51(1)	1

C4	1645(4)	9217(4)	211(1)	49(1)	1

C5	2593(4)	9740(4)	694(1)	45(1)	1

C6	3131(4)	8598(4)	1107(1)	40(1)	1

C7	3336(4)	5615(4)	1459(1)	38(1)	1

C8	4678(4)	6064(3)	1928(1)	38(1)	1

C9	6510(4)	6181(4)	1636(1)	39(1)	1

C10	8070(4)	6119(4)	2064(1)	46(1)	1

C11	8556(4)	4280(4)	2065(1)	44(1)	1

C12	8153(4)	3735(4)	1447(1)	39(1)	1

C13	7572(4)	1959(4)	1358(1)	40(1)	1

C14	8904(4)	761(4)	1631(2)	52(1)	1

C15	7308(5)	1569(4)	711(1)	54(1)	1

O1	2827(2)	4173(3)	1420(1)	49(1)	1

O2	4660(3)	4844(3)	2371(1)	46(1)	1

O3	6736(2)	4792(2)	1249(1)	39(1)	1

O4	5913(2)	1663(3)	1655(1)	41(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1C6	1.396(4)

C1C2	1.405(4)

C1C7	1.486(4)

C2C3	1.380(5)

C3C4	1.375(5)

C4C5	1.386(4)

C5C6	1.381(4)

C7O1	1.225(4)

C7C8	1.523(4)

C8O2	1.413(3)

C8C9	1.541(4)

C9O3	1.438(3)

C9C10	1.536(4)

C10C11	1.524(4)

C11C12	1.515(4)

C12O3	1.441(3)

C12C13	1.509(4)

C13O4	1.447(3)

C13C14	1.528(4)

C13C15	1.530(4)

C6C1C2	118.4(3)

C6C1C7	123.3(2)

C2C1C7	118.2(3)

C3C2C1	120.3(3)

C4C3C2	120.5(3)

C3C4C5	120.1(3)

C6C5C4	120.0(3)

C5C6C1	120.7(3)

O1C7C1	121.5(3)

O1C7C8	119.1(3)

C1C7C8	119.4(2)

O2C8C7	109.7(2)

O2C8C9	111.3(2)

C7C8C9	107.7(2)

O3C9C10	106.2(2)

O3C9C8	109.1(2)

C10C9C8	114.2(2)

C11C10C9	102.5(2)

C12C11C10	103.4(2)

O3C12C13	107.4(2)

O3C12C11	105.9(2)

C13C12C11	117.4(2)

O4C13C12	110.1(2)

O4C13C14	105.8(2)

C12C13C14	110.5(2)

O4C13C15	108.1(2)

C12C13C15	111.4(2)

C14C13C15	110.8(3)

C9O3C12	110.6(2)

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	29(1) 	46(2)	36(2) 	2(1)	2(1) 	0(1)

C2	36(1) 	55(2)	41(2) 	4(2)	2(1) 	3(2)

C3	44(2) 	69(2)	41(2) 	2(2)	6(1) 	1(2)

C4	45(2) 	61(2)	43(2) 	7(2)	0(1) 	6(2)

C5	38(2) 	49(2)	49(2) 	0(1)	2(1) 	4(1)

C6	36(2) 	47(2)	37(2) 	2(1)	1(1) 	4(1)

C7	30(1) 	41(2)	41(2) 	3(1)	6(1) 	1(1)

C8	42(2) 	41(2)	31(1) 	4(1)	1(1) 	5(1)

C9	38(1) 	39(2)	39(2) 	1(1)	5(1) 	4(1)

C10	41(2) 	44(2)	53(2) 	1(1)	14(1) 	3(1)

C11	36(2) 	46(2)	51(2) 	3(1)	10(1) 	4(1)

C12	29(1) 	44(2)	44(2) 	5(1)	4(1) 	2(1)

C13	41(2) 	44(2)	35(1) 	2(1)	5(1) 	1(1)

C14	50(2) 	45(2)	60(2) 	3(2)	5(1) 	6(2)

C15	66(2) 	52(2)	44(2) 	5(2)	8(2) 	3(2)

O1	42(1) 	48(1)	58(1) 	5(1)	7(1) 	6(1)

O2	57(1) 	48(1)	34(1) 	2(1)	4(1) 	8(1)

O3	35(1) 	44(1)	36(1) 	0(1)	1(1) 	3(1)

O4	38(1) 	43(1)	41(1) 	2(1)	3(1) 	5(1)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H2	1459	5273	503	53	1

H3	549	7218	183	62	1

H4	1290	10000	76	59	1

H5	2872	10883	741	55	1

H6	3776	8963	1438	48	1

H8	4362	7167	2100	45	1

H9	6576	7235	1406	47	1

H10A	9069	6811	1926	55	1

H10B	7711	6497	2457	55	1

H11A	9823	4120	2158	53	1

H11B	7830	3656	2350	53	1

H12	9219	3947	1200	47	1

H14A	8509	386	1569	78	1

H14B	8991	981	2050	78	1

H14C	10066	919	1450	78	1

H15A	6929	411	667	81	1

H15B	8425	1739	502	81	1

H15C	6400	2308	550	81	1

H2A	4484	5301	2695	70	1

H4A	5262	2504	1622	61	1

Table 6. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

O2H2A...O4i	0.84	1.88	2.708(3)	170.2

O4H4A...O3	0.84	2.32	2.755(3)	113.0

O4H4A...O1	0.84	2.32	3.132(3)	161.2

O4H4A...O2	0.84	2.59	3.185(3)	129.0

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y+1/2,z+1/2

Molecular structure with thermal ellipsoids drawn at the 35 % probablity level

Part of the hydrogen bonded chain that extends along the b axis