|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005src1569 / 384/3

Empirical formula 	C18H26O

Formula weight 	258.39

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 7.8292(3) Å	( = 90°

b = 8.3124(4) Å	( = 99.150(2)°

c = 24.1663(9) Å	(  = 90°

Volume	1552.72(11) Å3

Z	4

Density (calculated)	1.105 Mg / m3

Absorption coefficient	0.066 mm(1

F(000)	568

Crystal	Slab; Colourless

Crystal size	0.28 ( 0.18 ( 0.06 mm3

( range for data collection	2.99 ( 27.48°

Index ranges	(10 ( h ( 10, (10 ( k ( 10, (31 ( l ( 31

Reflections collected	16525

Independent reflections	3535 [Rint = 0.0483]

Completeness to ( = 27.48°	99.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9961 and 0.9818

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3535 / 0 / 177

Goodness-of-fit on F2	1.034

Final R indices [F2 > 2((F2)]	R1 = 0.0480, wR2 = 0.1070

R indices (all data)	R1 = 0.0659, wR2 = 0.1155

Largest diff. peak and hole	0.265 and (0.164 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP3 for Windows (L. J. Farrugia, J. Appl. Crystallogr. 1997, 30, 565).

Special details:

All hydrogen atoms were fixed.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	116(2)	6616(2)	2900(1)	29(1)	1

C2	425(2)	8161(2)	3214(1)	23(1)	1

C3	2073(2)	8240(2)	3662(1)	20(1)	1

C4	1576(2)	8203(2)	4260(1)	20(1)	1

C5	688(2)	6632(2)	4342(1)	26(1)	1

C6	(915(2)	6482(2)	4435(1)	36(1)	1

C7	3124(2)	8524(2)	4732(1)	23(1)	1

C8	4482(2)	7199(2)	4798(1)	35(1)	1

C9	2493(2)	8824(2)	5287(1)	31(1)	1

C10	3269(2)	9603(2)	3540(1)	19(1)	1

C11	4788(2)	9222(2)	3323(1)	21(1)	1

C12	5879(2)	10451(2)	3195(1)	22(1)	1

C13	5526(2)	12063(2)	3275(1)	22(1)	1

C14	4003(2)	12431(2)	3474(1)	23(1)	1

C15	2865(2)	11248(2)	3603(1)	21(1)	1

C16	5298(2)	7509(2)	3210(1)	24(1)	1

C17	6750(2)	13369(2)	3150(1)	28(1)	1

C18	1244(2)	11809(2)	3812(1)	27(1)	1

O1	1068(2)	5468(1)	2942(1)	38(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1	1.2051(18)

C1(C2	1.4919(19)

C1(H1	0.9500

C2(C3	1.5473(17)

C2(H2A	0.9900

C2(H2B	0.9900

C3(C10	1.5287(18)

C3(C4	1.5563(19)

C3(H3	1.0000

C4(C5	1.5079(18)

C4(C7	1.5501(18)

C4(H4	1.0000

C5(C6	1.316(2)

C5(H5	0.9500

C6(H6A	0.9500

C6(H6B	0.9500

C7(C8	1.522(2)

C7(C9	1.523(2)

C7(H7	1.0000

C8(H8A	0.9800

C8(H8B	0.9800

C8(H8C	0.9800

C9(H9A	0.9800

C9(H9B	0.9800

C9(H9C	0.9800

C10(C11	1.4091(19)

C10(C15	1.4171(18)

C11(C12	1.3983(19)

C11(C16	1.5151(18)

C12(C13	1.3879(19)

C12(H12	0.9500

C13(C14	1.388(2)

C13(C17	1.5091(19)

C14(C15	1.3953(19)

C14(H14	0.9500

C15(C18	1.5123(19)

C16(H16A	0.9800

C16(H16B	0.9800

C16(H16C	0.9800

C17(H17A	0.9800

C17(H17B	0.9800

C17(H17C	0.9800

C18(H18A	0.9800

C18(H18B	0.9800

C18(H18C	0.9800

O1(C1(C2	126.23(13)

O1(C1(H1	116.9

C2(C1(H1	116.9

C1(C2(C3	116.21(11)

C1(C2(H2A	108.2

C3(C2(H2A	108.2

C1(C2(H2B	108.2

C3(C2(H2B	108.2

H2A(C2(H2B	107.4

C10(C3(C2	111.41(10)

C10(C3(C4	116.43(11)

C2(C3(C4	110.15(11)

C10(C3(H3	106.0

C2(C3(H3	106.0

C4(C3(H3	106.0

C5(C4(C7	112.05(11)

C5(C4(C3	109.11(11)

C7(C4(C3	113.50(11)

C5(C4(H4	107.3

C7(C4(H4	107.3

C3(C4(H4	107.3

C6(C5(C4	125.22(14)

C6(C5(H5	117.4

C4(C5(H5	117.4

C5(C6(H6A	120.0

C5(C6(H6B	120.0

H6A(C6(H6B	120.0

C8(C7(C9	110.20(12)

C8(C7(C4	113.83(11)

C9(C7(C4	110.57(12)

C8(C7(H7	107.3

C9(C7(H7	107.3

C4(C7(H7	107.3

C7(C8(H8A	109.5

C7(C8(H8B	109.5

H8A(C8(H8B	109.5

C7(C8(H8C	109.5

H8A(C8(H8C	109.5

H8B(C8(H8C	109.5

C7(C9(H9A	109.5

C7(C9(H9B	109.5

H9A(C9(H9B	109.5

C7(C9(H9C	109.5

H9A(C9(H9C	109.5

H9B(C9(H9C	109.5

C11(C10(C15	118.24(12)

C11(C10(C3	118.96(11)

C15(C10(C3	122.69(12)

C12(C11(C10	119.95(12)

C12(C11(C16	117.36(12)

C10(C11(C16	122.67(12)

C13(C12(C11	122.17(13)

C13(C12(H12	118.9

C11(C12(H12	118.9

C12(C13(C14	117.51(13)

C12(C13(C17	121.28(13)

C14(C13(C17	121.21(12)

C13(C14(C15	122.42(12)

C13(C14(H14	118.8

C15(C14(H14	118.8

C14(C15(C10	119.63(12)

C14(C15(C18	117.18(12)

C10(C15(C18	123.19(12)

C11(C16(H16A	109.5

C11(C16(H16B	109.5

H16A(C16(H16B	109.5

C11(C16(H16C	109.5

H16A(C16(H16C	109.5

H16B(C16(H16C	109.5

C13(C17(H17A	109.5

C13(C17(H17B	109.5

H17A(C17(H17B	109.5

C13(C17(H17C	109.5

H17A(C17(H17C	109.5

H17B(C17(H17C	109.5

C15(C18(H18A	109.5

C15(C18(H18B	109.5

H18A(C18(H18B	109.5

C15(C18(H18C	109.5

H18A(C18(H18C	109.5

H18B(C18(H18C	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	26(1) 	32(1)	26(1) 	(6(1)	(2(1) 	(2(1)

C2	24(1) 	21(1)	23(1) 	1(1)	(1(1) 	2(1)

C3	21(1) 	17(1)	20(1) 	(1(1)	0(1) 	2(1)

C4	21(1) 	18(1)	21(1) 	0(1)	2(1) 	2(1)

C5	32(1) 	22(1)	23(1) 	1(1)	1(1) 	(1(1)

C6	34(1) 	36(1)	38(1) 	2(1)	5(1) 	(10(1)

C7	24(1) 	23(1)	19(1) 	1(1)	0(1) 	(1(1)

C8	29(1) 	44(1)	28(1) 	(4(1)	(3(1) 	11(1)

C9	33(1) 	37(1)	23(1) 	(3(1)	2(1) 	1(1)

C10	22(1) 	19(1)	17(1) 	1(1)	(1(1) 	2(1)

C11	24(1) 	20(1)	17(1) 	(1(1)	(1(1) 	4(1)

C12	22(1) 	25(1)	19(1) 	0(1)	1(1) 	3(1)

C13	25(1) 	22(1)	18(1) 	3(1)	(1(1) 	1(1)

C14	28(1) 	17(1)	24(1) 	0(1)	1(1) 	4(1)

C15	24(1) 	20(1)	19(1) 	0(1)	0(1) 	4(1)

C16	26(1) 	22(1)	26(1) 	(4(1)	4(1) 	4(1)

C17	29(1) 	24(1)	29(1) 	1(1)	3(1) 	(2(1)

C18	29(1) 	19(1)	35(1) 	0(1)	8(1) 	5(1)

O1	38(1) 	29(1)	44(1) 	(13(1)	(5(1) 	4(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1	(931	6529	2642	34	1

H2A	(588	8379	3401	28	1

H2B	486	9036	2940	28	1

H3	2719	7219	3623	24	1

H4	713	9081	4278	24	1

H5	1338	5673	4325	31	1

H6A	(1608	7412	4455	43	1

H6B	(1379	5444	4482	43	1

H7	3702	9533	4632	27	1

H8A	5470	7525	5077	52	1

H8B	4869	7008	4437	52	1

H8C	3980	6208	4923	52	1

H9A	1981	7835	5409	47	1

H9B	1621	9679	5240	47	1

H9C	3471	9149	5570	47	1

H12	6896	10174	3048	26	1

H14	3725	13528	3523	28	1

H16A	6220	7518	2980	36	1

H16B	4292	6932	3012	36	1

H16C	5711	6967	3567	36	1

H17A	6106	14183	2909	41	1

H17B	7647	12900	2960	41	1

H17C	7291	13870	3502	41	1

H18A	1408	11729	4221	41	1

H18B	266	11132	3649	41	1

H18C	1006	12930	3699	41	1