|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	04src0772     (DP3-56)

Empirical formula 	C34H36Cl2N2O2Zr

Formula weight 	666.77

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 8.7496(11) Å	( = 72.530(10)°

b = 13.8365(19) Å	( = 75.045(10)°

c = 14.3072(17) Å	(  = 75.284(10)°

Volume	1566.7(3) Å3

Z	2

Density (calculated)	1.413 Mg / m3

Absorption coefficient	0.555 mm(1

F(000)	688

Crystal	rod; yellow

Crystal size	0.18 ( 0.04 ( 0.04 mm3

( range for data collection	3.31 ( 27.50°

Index ranges	(10 ( h ( 11, (16 ( k ( 17, 0 ( l ( 18

Reflections collected	7095

Independent reflections	7095 [Rint = 0.0000]

Completeness to ( = 27.50°	98.4 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9782 and 0.9068

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7095 / 0 / 377

Goodness-of-fit on F2	1.110

Final R indices [F2 > 2((F2)]	R1 = 0.0661, wR2 = 0.1568

R indices (all data)	R1 = 0.0813, wR2 = 0.1695

Largest diff. peak and hole	1.283 and (1.054 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Twin structure. Diffraction deconvoluted and structure refined with HKLF5  format data. 180( rotation about the c axis.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	4044(6)	1548(4)	3830(3)	20(1)	1

C2	4865(6)	534(3)	3732(3)	19(1)	1

C3	3968(6)	(254(4)	4097(3)	22(1)	1

C4	4724(6)	(1254(4)	4095(3)	24(1)	1

C5	6367(6)	(1476(4)	3777(4)	23(1)	1

C6	7344(6)	(730(3)	3401(3)	20(1)	1

C7	6535(5)	310(3)	3337(3)	18(1)	1

C8	9177(6)	(1005(3)	3101(4)	21(1)	1

C9	10000(6)	(561(4)	3668(4)	28(1)	1

C10	9784(7)	(2182(4)	3363(4)	32(1)	1

C11	9714(6)	(597(4)	1964(4)	26(1)	1

C12	3546(6)	3301(3)	3771(3)	21(1)	1

C13	2042(6)	3575(4)	3514(4)	27(1)	1

C14	1040(7)	4496(4)	3670(4)	37(1)	1

C15	1552(8)	5118(4)	4080(5)	41(2)	1

C16	3032(8)	4825(4)	4350(4)	36(1)	1

C17	4043(7)	3917(4)	4194(4)	27(1)	1

C18	4259(5)	3701(4)	1189(3)	19(1)	1

C19	4210(5)	4720(3)	1274(3)	19(1)	1

C20	2993(6)	5511(4)	910(3)	21(1)	1

C21	2936(6)	6506(4)	935(4)	26(1)	1

C22	4157(6)	6718(4)	1259(4)	24(1)	1

C23	5415(6)	5964(3)	1610(3)	19(1)	1

C24	5357(5)	4934(3)	1674(3)	17(1)	1

C25	6804(6)	6242(3)	1885(4)	22(1)	1

C26	8425(6)	5776(4)	1316(4)	32(1)	1

C27	6698(7)	7411(4)	1619(4)	33(1)	1

C28	6738(7)	5837(4)	3019(4)	27(1)	1

C29	4915(6)	1939(4)	1352(3)	21(1)	1

C30	6197(6)	1210(4)	1019(4)	23(1)	1

C31	5897(7)	293(4)	964(4)	29(1)	1

C32	4347(7)	113(4)	1221(4)	31(1)	1

C33	3070(6)	845(4)	1528(4)	28(1)	1

C34	3348(6)	1761(4)	1603(4)	23(1)	1

N1	4645(5)	2385(3)	3569(3)	18(1)	1

N2	5237(5)	2848(3)	1493(3)	18(1)	1

O1	7304(4)	1086(2)	2911(2)	17(1)	1

O2	6395(4)	4147(2)	2108(2)	18(1)	1

Cl1	8386(2)	2676(1)	3798(1)	28(1)	1

Cl2	9367(1)	2559(1)	1106(1)	26(1)	1

Zr1	7109(1)	2620(1)	2500(1)	16(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(N1	1.306(6)

C1(C2	1.435(6)

C1(H1	0.9500

C2(C3	1.399(6)

C2(C7	1.414(7)

C3(C4	1.375(7)

C3(H3	0.9500

C4(C5	1.374(7)

C4(H4	0.9500

C5(C6	1.402(6)

C5(H5	0.9500

C6(C7	1.420(6)

C6(C8	1.527(7)

C7(O1	1.319(5)

C8(C10	1.540(6)

C8(C11	1.541(7)

C8(C9	1.543(7)

C9(H9A	0.9800

C9(H9B	0.9800

C9(H9C	0.9800

C10(H10A	0.9800

C10(H10B	0.9800

C10(H10C	0.9800

C11(H11A	0.9800

C11(H11B	0.9800

C11(H11C	0.9800

C12(C17	1.384(7)

C12(C13	1.387(7)

C12(N1	1.440(6)

C13(C14	1.394(7)

C13(H13	0.9500

C14(C15	1.386(10)

C14(H14	0.9500

C15(C16	1.374(9)

C15(H15	0.9500

C16(C17	1.383(7)

C16(H16	0.9500

C17(H17	0.9500

C18(N2	1.299(6)

C18(C19	1.440(6)

C18(H18	0.9500

C19(C20	1.398(6)

C19(C24	1.404(6)

C20(C21	1.377(7)

C20(H20	0.9500

C21(C22	1.392(7)

C21(H21	0.9500

C22(C23	1.393(6)

C22(H22	0.9500

C23(C24	1.413(6)

C23(C25	1.534(6)

C24(O2	1.333(5)

C25(C27	1.530(6)

C25(C26	1.532(7)

C25(C28	1.540(7)

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

C28(H28A	0.9800

C28(H28B	0.9800

C28(H28C	0.9800

C29(C34	1.391(7)

C29(C30	1.393(7)

C29(N2	1.436(6)

C30(C31	1.386(7)

C30(H30	0.9500

C31(C32	1.378(8)

C31(H31	0.9500

C32(C33	1.381(8)

C32(H32	0.9500

C33(C34	1.390(7)

C33(H33	0.9500

C34(H34	0.9500

N1(Zr1	2.334(4)

N2(Zr1	2.354(4)

O1(Zr1	2.000(3)

O2(Zr1	1.993(3)

Cl1(Zr1	2.4300(12)

Cl2(Zr1	2.4227(13)

N1(C1(C2	127.9(4)

N1(C1(H1	116.0

C2(C1(H1	116.0

C3(C2(C7	120.3(4)

C3(C2(C1	117.4(4)

C7(C2(C1	122.1(4)

C4(C3(C2	119.7(5)

C4(C3(H3	120.1

C2(C3(H3	120.1

C5(C4(C3	119.6(4)

C5(C4(H4	120.2

C3(C4(H4	120.2

C4(C5(C6	123.9(5)

C4(C5(H5	118.0

C6(C5(H5	118.0

C5(C6(C7	116.0(4)

C5(C6(C8	122.7(4)

C7(C6(C8	121.2(4)

O1(C7(C2	118.4(4)

O1(C7(C6	121.5(4)

C2(C7(C6	120.1(4)

C6(C8(C10	111.4(4)

C6(C8(C11	110.2(4)

C10(C8(C11	107.6(4)

C6(C8(C9	110.8(4)

C10(C8(C9	106.5(4)

C11(C8(C9	110.3(4)

C8(C9(H9A	109.5

C8(C9(H9B	109.5

H9A(C9(H9B	109.5

C8(C9(H9C	109.5

H9A(C9(H9C	109.5

H9B(C9(H9C	109.5

C8(C10(H10A	109.5

C8(C10(H10B	109.5

H10A(C10(H10B	109.5

C8(C10(H10C	109.5

H10A(C10(H10C	109.5

H10B(C10(H10C	109.5

C8(C11(H11A	109.5

C8(C11(H11B	109.5

H11A(C11(H11B	109.5

C8(C11(H11C	109.5

H11A(C11(H11C	109.5

H11B(C11(H11C	109.5

C17(C12(C13	121.0(5)

C17(C12(N1	118.6(4)

C13(C12(N1	120.4(4)

C12(C13(C14	119.0(5)

C12(C13(H13	120.5

C14(C13(H13	120.5

C15(C14(C13	119.9(6)

C15(C14(H14	120.1

C13(C14(H14	120.1

C16(C15(C14	120.4(5)

C16(C15(H15	119.8

C14(C15(H15	119.8

C15(C16(C17	120.4(6)

C15(C16(H16	119.8

C17(C16(H16	119.8

C16(C17(C12	119.4(5)

C16(C17(H17	120.3

C12(C17(H17	120.3

N2(C18(C19	128.6(4)

N2(C18(H18	115.7

C19(C18(H18	115.7

C20(C19(C24	120.5(4)

C20(C19(C18	117.3(4)

C24(C19(C18	122.2(4)

C21(C20(C19	119.5(5)

C21(C20(H20	120.2

C19(C20(H20	120.2

C20(C21(C22	119.2(4)

C20(C21(H21	120.4

C22(C21(H21	120.4

C21(C22(C23	123.5(4)

C21(C22(H22	118.2

C23(C22(H22	118.2

C22(C23(C24	116.2(4)

C22(C23(C25	121.7(4)

C24(C23(C25	122.1(4)

O2(C24(C19	118.7(4)

O2(C24(C23	120.8(4)

C19(C24(C23	120.5(4)

C27(C25(C26	107.6(4)

C27(C25(C23	111.7(4)

C26(C25(C23	110.2(4)

C27(C25(C28	107.5(4)

C26(C25(C28	110.0(4)

C23(C25(C28	109.8(4)

C25(C26(H26A	109.5

C25(C26(H26B	109.5

H26A(C26(H26B	109.5

C25(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C25(C27(H27A	109.5

C25(C27(H27B	109.5

H27A(C27(H27B	109.5

C25(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C25(C28(H28A	109.5

C25(C28(H28B	109.5

H28A(C28(H28B	109.5

C25(C28(H28C	109.5

H28A(C28(H28C	109.5

H28B(C28(H28C	109.5

C34(C29(C30	120.4(4)

C34(C29(N2	120.2(4)

C30(C29(N2	119.4(4)

C31(C30(C29	119.3(5)

C31(C30(H30	120.4

C29(C30(H30	120.4

C32(C31(C30	120.4(5)

C32(C31(H31	119.8

C30(C31(H31	119.8

C31(C32(C33	120.5(5)

C31(C32(H32	119.8

C33(C32(H32	119.8

C32(C33(C34	120.0(5)

C32(C33(H33	120.0

C34(C33(H33	120.0

C33(C34(C29	119.5(5)

C33(C34(H34	120.3

C29(C34(H34	120.3

C1(N1(C12	116.2(4)

C1(N1(Zr1	125.6(3)

C12(N1(Zr1	116.6(3)

C18(N2(C29	115.3(4)

C18(N2(Zr1	125.9(3)

C29(N2(Zr1	117.7(3)

C7(O1(Zr1	146.0(3)

C24(O2(Zr1	146.3(3)

O2(Zr1(O1	167.04(12)

O2(Zr1(N1	92.60(13)

O1(Zr1(N1	76.66(13)

O2(Zr1(N2	76.80(13)

O1(Zr1(N2	92.90(13)

N1(Zr1(N2	72.78(13)

O2(Zr1(Cl2	95.18(10)

O1(Zr1(Cl2	93.06(10)

N1(Zr1(Cl2	161.23(10)

N2(Zr1(Cl2	92.41(10)

O2(Zr1(Cl1	93.36(10)

O1(Zr1(Cl1	94.72(9)

N1(Zr1(Cl1	94.70(10)

N2(Zr1(Cl1	163.42(10)

Cl2(Zr1(Cl1	101.85(5)

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	20(2) 	23(2)	15(2) 	(1(2)	(3(2) 	(6(2)

C2	23(2) 	19(2)	17(2) 	(4(2)	(8(2) 	(4(2)

C3	26(2) 	25(2)	17(2) 	(2(2)	(6(2) 	(10(2)

C4	32(3) 	21(2)	18(2) 	2(2)	(4(2) 	(15(2)

C5	31(3) 	18(2)	22(2) 	(2(2)	(10(2) 	(9(2)

C6	27(2) 	18(2)	17(2) 	(1(2)	(9(2) 	(6(2)

C7	20(2) 	18(2)	17(2) 	(2(2)	(6(2) 	(6(2)

C8	24(2) 	13(2)	26(2) 	(3(2)	(7(2) 	(2(2)

C9	26(3) 	26(2)	33(3) 	(5(2)	(13(2) 	(2(2)

C10	33(3) 	16(2)	43(3) 	(4(2)	(9(2) 	(1(2)

C11	23(2) 	25(2)	29(3) 	(8(2)	(6(2) 	(3(2)

C12	21(2) 	16(2)	19(2) 	0(2)	1(2) 	(2(2)

C13	29(3) 	25(2)	21(2) 	(2(2)	(3(2) 	(2(2)

C14	28(3) 	33(3)	34(3) 	2(2)	(2(2) 	5(2)

C15	44(3) 	21(3)	37(3) 	(3(2)	15(3) 	3(2)

C16	50(4) 	21(2)	30(3) 	(9(2)	8(2) 	(10(2)

C17	30(3) 	20(2)	28(3) 	(5(2)	1(2) 	(5(2)

C18	17(2) 	23(2)	17(2) 	(1(2)	(6(2) 	(6(2)

C19	17(2) 	21(2)	15(2) 	(2(2)	(3(2) 	(2(2)

C20	20(2) 	20(2)	17(2) 	1(2)	(4(2) 	(2(2)

C21	30(3) 	19(2)	22(2) 	0(2)	(6(2) 	0(2)

C22	29(3) 	16(2)	24(2) 	(2(2)	(5(2) 	(1(2)

C23	24(2) 	18(2)	14(2) 	(3(2)	(2(2) 	(5(2)

C24	22(2) 	14(2)	13(2) 	0(2)	(4(2) 	(3(2)

C25	26(2) 	16(2)	25(2) 	(2(2)	(9(2) 	(7(2)

C26	27(3) 	32(3)	39(3) 	(12(2)	0(2) 	(15(2)

C27	47(3) 	20(2)	34(3) 	(4(2)	(17(2) 	(7(2)

C28	37(3) 	18(2)	30(3) 	(7(2)	(14(2) 	(5(2)

C29	27(2) 	20(2)	18(2) 	(3(2)	(9(2) 	(8(2)

C30	26(2) 	21(2)	21(2) 	(2(2)	(8(2) 	(6(2)

C31	39(3) 	20(2)	30(3) 	(6(2)	(16(2) 	(2(2)

C32	42(3) 	20(2)	39(3) 	(7(2)	(25(2) 	(5(2)

C33	29(3) 	27(3)	31(3) 	(1(2)	(14(2) 	(12(2)

C34	30(3) 	18(2)	21(2) 	(1(2)	(9(2) 	(9(2)

N1	21(2) 	16(2)	17(2) 	(1(1)	(7(2) 	(3(1)

N2	18(2) 	17(2)	17(2) 	(2(1)	(2(1) 	(7(1)

O1	17(2) 	13(1)	22(2) 	(2(1)	(6(1) 	(3(1)

O2	20(2) 	13(1)	21(2) 	(2(1)	(7(1) 	(2(1)

Cl1	33(1) 	26(1)	31(1) 	(3(1)	(18(1) 	(8(1)

Cl2	20(1) 	25(1)	27(1) 	(2(1)	(1(1) 	(5(1)

Zr1	16(1) 	13(1)	20(1) 	(1(1)	(6(1) 	(5(1)