|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	01SOT120

Empirical formula 	C15H19FO4

Formula weight 	282.30

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pna21

Unit cell dimensions	a = 10.973(2) Å

b = 12.764(3) Å

c = 20.721(4) Å

Volume	2902.2(10) Å3

Z	8

Density (calculated)	1.292 Mg / m3

Absorption coefficient	0.101 mm(1

F(000)	1200

Crystal	Colourless Block

Crystal size	0.10 ( 0.10 ( 0.10 mm3

( range for data collection	3.14 ( 25.02°

Index ranges	(11 ( h ( 13, (13 ( k ( 15, (22 ( l ( 24

Reflections collected	22611

Independent reflections	5008 [Rint = 0.0812]

Completeness to ( = 25.02°	99.7 %

Max. and min. transmission	0.9900 and 0.9900

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	5008 / 1 / 366

Goodness-of-fit on F2	0.882

Final R indices [F2 > 2((F2)]	R1 = 0.0452, wR2 = 0.1013

R indices (all data)	R1 = 0.1088, wR2 = 0.1305

Absolute structure parameter	not reliably determined

Extinction coefficient	0.0100(12)

Largest diff. peak and hole	0.116 and (0.129 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:  Relative chirality: Molecule 1 – C4 = S ; C7 = R; C8 = S.  Molecule 2 – C19 = S; C22 = R; C23 = S

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

F1	9050(3)	6712(2)	3593(2)	121(1)	1

O1	702(3)	4229(3)	3575(2)	102(1)	1

O2	3238(2)	4348(2)	3700(1)	67(1)	1

O3	3325(3)	4025(2)	5096(2)	80(1)	1

O4	3907(3)	5938(2)	4815(2)	93(1)	1

C1	822(4)	3644(4)	2498(2)	94(2)	1

C2	1712(5)	5376(4)	2822(3)	104(2)	1

C3	1486(4)	4259(3)	3031(2)	71(1)	1

C4	2672(3)	3740(3)	3202(2)	68(1)	1

C5	2629(5)	2632(3)	3479(3)	103(2)	1

C6	3560(4)	2592(3)	4002(2)	77(1)	1

C7	4109(3)	3687(3)	4015(2)	64(1)	1

C8	4357(3)	4151(3)	4681(2)	63(1)	1

C9	4670(4)	5305(3)	4631(2)	69(1)	1

C10	5832(4)	5647(3)	4357(2)	64(1)	1

C11	6797(3)	4965(3)	4236(2)	67(1)	1

C12	7879(4)	5321(3)	3975(2)	76(1)	1

C13	7990(5)	6352(4)	3850(2)	83(1)	1

C14	7100(6)	7063(4)	3976(2)	95(2)	1

C15	5996(5)	6705(3)	4232(2)	83(1)	1

F2	8764(3)	11927(2)	988(2)	119(1)	1

O5	778(2)	9282(2)	1382(2)	80(1)	1

O6	3407(2)	9330(2)	1427(1)	64(1)	1

O7	3744(3)	7664(2)	448(2)	85(1)	1

O8	4169(3)	9568(2)	(23(2)	87(1)	1

C16	692(4)	9755(4)	2484(2)	95(1)	1

C17	1725(5)	10924(3)	1676(3)	99(2)	1

C18	1471(4)	9798(3)	1873(2)	69(1)	1

C19	2662(3)	9212(3)	1987(2)	64(1)	1

C20	2586(4)	8041(3)	2076(2)	76(1)	1

C21	3833(4)	7655(3)	1866(2)	77(1)	1

C22	4340(3)	8547(3)	1449(2)	64(1)	1

C23	4654(4)	8268(3)	750(2)	67(1)	1

C24	4888(4)	9293(3)	389(2)	66(1)	1

C25	5923(3)	9963(3)	571(2)	62(1)	1

C26	7000(3)	9568(3)	822(2)	68(1)	1

C27	7965(4)	10228(3)	962(2)	74(1)	1

C28	7816(4)	11275(3)	851(2)	79(1)	1

C29	6775(4)	11699(3)	614(2)	81(1)	1

C30	5826(4)	11033(3)	465(2)	75(1)	1

Table 3. Bond lengths [Å] and angles [°].

F1(C13	1.359(5)

O1(C3	1.419(5)

O2(C4	1.434(4)

O2(C7	1.432(4)

O3(C8	1.430(5)

O4(C9	1.224(4)

C1(C3	1.537(6)

C2(C3	1.510(6)

C3(C4	1.502(5)

C4(C5	1.526(5)

C5(C6	1.490(6)

C6(C7	1.522(5)

C7(C8	1.526(5)

C8(C9	1.517(5)

C9(C10	1.462(6)

C10(C15	1.388(5)

C10(C11	1.394(5)

C11(C12	1.382(6)

C12(C13	1.347(6)

C13(C14	1.358(7)

C14(C15	1.399(7)

F2(C28	1.362(5)

O5(C18	1.431(5)

O6(C22	1.432(4)

O6(C19	1.428(5)

O7(C23	1.407(4)

O8(C24	1.213(4)

C16(C18	1.529(6)

C17(C18	1.521(6)

C18(C19	1.524(5)

C19(C20	1.508(5)

C20(C21	1.517(6)

C21(C22	1.534(5)

C22(C23	1.530(6)

C23(C24	1.530(6)

C24(C25	1.470(5)

C25(C26	1.387(5)

C25(C30	1.388(5)

C26(C27	1.383(5)

C27(C28	1.366(5)

C28(C29	1.356(6)

C29(C30	1.380(6)

C4(O2(C7	107.4(3)

O1(C3(C2	110.6(4)

O1(C3(C4	109.0(3)

C2(C3(C4	110.0(3)

O1(C3(C1	105.6(3)

C2(C3(C1	110.8(4)

C4(C3(C1	110.8(4)

O2(C4(C3	107.9(3)

O2(C4(C5	104.1(3)

C3(C4(C5	118.1(3)

C6(C5(C4	106.6(3)

C5(C6(C7	104.6(3)

O2(C7(C6	105.6(3)

O2(C7(C8	107.6(3)

C6(C7(C8	116.3(4)

O3(C8(C9	109.3(3)

O3(C8(C7	111.0(3)

C9(C8(C7	110.8(3)

O4(C9(C10	121.4(4)

O4(C9(C8	117.7(4)

C10(C9(C8	120.9(3)

C15(C10(C11	118.4(4)

C15(C10(C9	118.5(4)

C11(C10(C9	123.1(3)

C12(C11(C10	121.2(4)

C13(C12(C11	118.4(4)

C12(C13(F1	118.9(5)

C12(C13(C14	123.4(4)

F1(C13(C14	117.7(4)

C13(C14(C15	118.5(4)

C10(C15(C14	120.1(4)

C22(O6(C19	108.0(3)

O5(C18(C19	109.9(3)

O5(C18(C16	105.9(3)

C19(C18(C16	109.5(3)

O5(C18(C17	110.0(4)

C19(C18(C17	110.4(3)

C16(C18(C17	111.0(3)

O6(C19(C20	103.7(3)

O6(C19(C18	108.2(3)

C20(C19(C18	117.3(3)

C19(C20(C21	103.7(3)

C20(C21(C22	104.3(3)

O6(C22(C21	106.1(3)

O6(C22(C23	107.0(3)

C21(C22(C23	116.2(3)

O7(C23(C24	111.7(3)

O7(C23(C22	112.9(3)

C24(C23(C22	107.6(3)

O8(C24(C25	121.0(4)

O8(C24(C23	118.8(4)

C25(C24(C23	120.1(4)

C26(C25(C30	118.8(3)

C26(C25(C24	122.9(3)

C30(C25(C24	118.2(3)

C27(C26(C25	120.7(4)

C28(C27(C26	118.0(4)

C29(C28(F2	118.3(4)

C29(C28(C27	123.5(4)

F2(C28(C27	118.1(4)

C28(C29(C30	118.1(4)

C29(C30(C25	120.9(4)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

F1	109(2) 	131(2)	124(2) 	8(2)	7(2) 	(51(2)

O1	63(2) 	156(3)	87(2) 	(8(2)	7(2) 	1(2)

O2	71(2) 	59(1)	71(2) 	5(1)	(9(1) 	(3(1)

O3	70(2) 	98(2)	71(2) 	2(2)	16(2) 	4(1)

O4	91(2) 	85(2)	105(3) 	(17(2)	15(2) 	19(2)

C1	86(3) 	116(4)	81(3) 	(18(3)	(11(3) 	(6(2)

C2	123(4) 	84(3)	104(4) 	13(3)	(34(3) 	2(3)

C3	67(3) 	90(3)	56(3) 	(2(2)	2(2) 	(1(2)

C4	65(2) 	75(2)	65(3) 	(8(2)	0(2) 	(10(2)

C5	114(4) 	66(3)	131(5) 	1(3)	(32(4) 	(8(2)

C6	81(3) 	61(3)	89(3) 	3(2)	4(3) 	8(2)

C7	59(2) 	67(2)	65(3) 	(4(2)	5(2) 	6(2)

C8	56(2) 	75(2)	59(2) 	6(2)	7(2) 	10(2)

C9	68(3) 	70(3)	68(3) 	(6(2)	(1(2) 	11(2)

C10	71(3) 	62(2)	60(2) 	(1(2)	(10(2) 	3(2)

C11	66(2) 	64(2)	71(3) 	(2(2)	(8(2) 	(2(2)

C12	66(3) 	85(3)	76(3) 	(4(2)	(3(2) 	(12(2)

C13	79(3) 	90(3)	81(3) 	4(2)	(6(2) 	(26(3)

C14	120(4) 	72(3)	95(4) 	13(2)	(14(3) 	(19(3)

C15	96(3) 	70(3)	81(3) 	2(2)	(10(3) 	9(2)

F2	102(2) 	103(2)	150(3) 	(2(2)	(11(2) 	(34(2)

O5	66(2) 	101(2)	71(2) 	(9(2)	(10(2) 	2(1)

O6	68(2) 	60(2)	65(2) 	5(1)	5(1) 	5(1)

O7	79(2) 	80(2)	96(2) 	(21(2)	(14(2) 	(5(1)

O8	76(2) 	115(2)	69(2) 	10(2)	(12(2) 	(5(2)

C16	78(3) 	130(4)	75(3) 	(21(3)	8(3) 	17(3)

C17	112(4) 	66(3)	119(4) 	(6(2)	(4(3) 	19(2)

C18	63(2) 	80(3)	64(3) 	(17(2)	(3(2) 	9(2)

C19	64(2) 	63(2)	64(3) 	(2(2)	1(2) 	0(2)

C20	81(3) 	74(3)	71(3) 	7(2)	6(2) 	(1(2)

C21	75(3) 	70(3)	85(3) 	10(2)	4(2) 	8(2)

C22	60(2) 	62(2)	70(3) 	0(2)	(4(2) 	6(2)

C23	58(2) 	72(2)	73(3) 	(14(2)	(2(2) 	7(2)

C24	59(2) 	82(3)	57(3) 	(6(2)	(1(2) 	11(2)

C25	59(2) 	66(2)	61(2) 	1(2)	2(2) 	7(2)

C26	61(3) 	72(2)	69(3) 	7(2)	1(2) 	2(2)

C27	61(3) 	86(3)	76(3) 	6(2)	0(2) 	3(2)

C28	73(3) 	81(3)	82(3) 	(3(2)	2(2) 	(12(2)

C29	89(3) 	74(3)	81(3) 	5(2)	2(3) 	5(2)

C30	71(3) 	84(3)	70(3) 	(2(2)	(4(2) 	10(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1	(13	4371	3459	153	1

H3	2816	4500	5021	119	1

H1A	52	3995	2395	141	1

H1B	656	2931	2649	141	1

H1C	1335	3616	2112	141	1

H2A	934	5711	2716	156	1

H2B	2241	5380	2441	156	1

H2C	2107	5760	3174	156	1

H4	3212	3741	2813	82	1

H5A	1809	2479	3654	124	1

H5B	2819	2111	3139	124	1

H6A	4191	2061	3905	92	1

H6B	3177	2420	4421	92	1

H7	4883	3687	3761	77	1

H8	5066	3774	4877	76	1

H11	6709	4242	4334	80	1

H12	8529	4851	3886	91	1

H14	7225	7787	3891	114	1

H15	5358	7188	4320	99	1

H5	1166	9296	1033	119	1

H7A	3253	8063	257	127	1

H16A	526	9022	2595	142	1

H16B	(80	10121	2408	142	1

H16C	1129	10093	2840	142	1

H17A	2213	10931	1280	149	1

H17B	2172	11280	2021	149	1

H17C	952	11288	1599	149	1

H19	3090	9526	2366	77	1

H20A	1936	7737	1803	91	1

H20B	2425	7859	2532	91	1

H21A	3763	7000	1613	92	1

H21B	4363	7526	2244	92	1

H22	5079	8846	1663	77	1

H23	5426	7853	751	81	1

H26	7076	8838	900	81	1

H27	8708	9961	1130	89	1

H29	6702	12434	553	98	1

H30	5097	11311	287	90	1