|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	03src0102

Empirical formula 	C15H20O5S

Formula weight 	312.37

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21

Unit cell dimensions	a = 5.4663(2) Å

b = 17.8280(12) Å	( = 90.423(3)°

c = 8.1473(5) Å

Volume	793.96(8) Å3

Z	2

Density (calculated)	1.307 Mg / m3

Absorption coefficient	0.222 mm(1

F(000)	332

Crystal	Colourless Block

Crystal size	0.30 ( 0.15 ( 0.10 mm3

( range for data collection	3.39 ( 25.02°

Index ranges	(6 ( h ( 5, (21 ( k ( 21, (9 ( l ( 9

Reflections collected	7744

Independent reflections	2685 [Rint = 0.0593]

Completeness to ( = 25.02°	99.7 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9782 and 0.9365

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2685 / 1 / 194

Goodness-of-fit on F2	0.761

Final R indices [F2 > 2((F2)]	R1 = 0.0418, wR2 = 0.1167

R indices (all data)	R1 = 0.0538, wR2 = 0.1301

Absolute structure parameter	0.13(10)

Extinction coefficient	0.024(7)

Largest diff. peak and hole	0.208 and (0.233 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:  All hydrogen atoms were placed in idealised positions and refined using a riding model.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

S1	6670(1)	7723(1)	9973(1)	45(1)	1

O3	4624(4)	7406(1)	8801(2)	38(1)	1

O2	3877(4)	6310(1)	6376(2)	37(1)	1

C14	6009(5)	7787(2)	13252(4)	39(1)	1

C9	5100(5)	7998(2)	11737(3)	30(1)	1

C11	1904(6)	8677(2)	13013(4)	40(1)	1

C12	2774(6)	8477(2)	14542(4)	35(1)	1

O4	8313(4)	7130(2)	10394(3)	64(1)	1

O1	1139(4)	5371(1)	6227(3)	48(1)	1

C8	3570(6)	6675(2)	9154(4)	36(1)	1

C15	1504(7)	8740(2)	16067(5)	52(1)	1

C13	4840(6)	8031(2)	14640(4)	39(1)	1

C7	2190(5)	6464(2)	7642(4)	31(1)	1

C10	3055(6)	8443(2)	11590(4)	40(1)	1

C3	641(5)	5736(2)	7741(4)	36(1)	1

O5	7567(5)	8357(2)	9131(3)	71(1)	1

C4	2623(6)	5834(2)	5241(4)	37(1)	1

C6	1002(8)	6286(2)	4093(5)	54(1)	1

C1	(150(10)	5051(2)	10323(5)	67(1)	1

C2	1298(8)	5213(2)	9105(5)	52(1)	1

C5	4473(7)	5366(3)	4366(5)	63(1)	1

Table 3. Bond lengths [Å] and angles [°].

S1(O5	1.413(3)

S1(O4	1.427(3)

S1(O3	1.571(2)

S1(C9	1.749(3)

O3(C8	1.454(4)

O2(C7	1.415(3)

O2(C4	1.427(4)

C14(C13	1.373(4)

C14(C9	1.380(4)

C9(C10	1.375(4)

C11(C12	1.377(5)

C11(C10	1.386(4)

C12(C13	1.384(5)

C12(C15	1.502(4)

O1(C4	1.413(4)

O1(C3	1.423(4)

C8(C7	1.488(4)

C7(C3	1.552(4)

C3(C2	1.493(5)

C4(C5	1.496(5)

C4(C6	1.516(5)

C1(C2	1.306(6)

O5(S1(O4	119.31(19)

O5(S1(O3	103.93(15)

O4(S1(O3	108.90(13)

O5(S1(C9	110.37(16)

O4(S1(C9	108.82(15)

O3(S1(C9	104.40(12)

C8(O3(S1	118.91(19)

C7(O2(C4	105.9(2)

C13(C14(C9	119.0(3)

C10(C9(C14	121.5(3)

C10(C9(S1	119.6(2)

C14(C9(S1	118.9(2)

C12(C11(C10	121.5(3)

C11(C12(C13	118.5(3)

C11(C12(C15	120.6(3)

C13(C12(C15	120.9(3)

C4(O1(C3	109.8(2)

O3(C8(C7	105.2(2)

C14(C13(C12	121.3(3)

O2(C7(C8	108.8(2)

O2(C7(C3	103.6(2)

C8(C7(C3	116.2(2)

C9(C10(C11	118.3(3)

O1(C3(C2	108.3(3)

O1(C3(C7	103.3(2)

C2(C3(C7	115.6(3)

O1(C4(O2	104.8(2)

O1(C4(C5	109.7(3)

O2(C4(C5	108.5(3)

O1(C4(C6	109.1(3)

O2(C4(C6	111.1(3)

C5(C4(C6	113.4(3)

C1(C2(C3	124.0(4)

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

S1	33(1) 	67(1)	34(1) 	(18(1)	9(1) 	(11(1)

O3	39(1) 	46(1)	30(1) 	(7(1)	3(1) 	(7(1)

O2	34(1) 	46(1)	31(1) 	(11(1)	3(1) 	(3(1)

C14	37(2) 	44(2)	35(2) 	4(2)	1(1) 	3(2)

C9	27(1) 	35(2)	29(1) 	(8(1)	5(1) 	(6(1)

C11	39(2) 	37(2)	44(2) 	0(1)	5(1) 	9(1)

C12	45(2) 	28(2)	31(2) 	(1(1)	11(1) 	(7(1)

O4	29(1) 	101(2)	60(2) 	(38(2)	(3(1) 	16(1)

O1	62(2) 	42(1)	41(1) 	(7(1)	11(1) 	(16(1)

C8	34(2) 	41(2)	32(2) 	0(1)	3(1) 	0(1)

C15	64(2) 	50(2)	42(2) 	(2(2)	19(2) 	1(2)

C13	45(2) 	43(2)	30(2) 	6(1)	1(1) 	2(1)

C7	29(1) 	36(2)	28(1) 	1(1)	4(1) 	2(1)

C10	39(2) 	52(2)	30(2) 	1(1)	2(1) 	3(1)

C3	35(2) 	40(2)	32(2) 	0(1)	4(1) 	(2(1)

O5	73(2) 	98(2)	42(1) 	(14(2)	25(1) 	(48(2)

C4	36(2) 	40(2)	35(2) 	(8(1)	3(1) 	(6(1)

C6	72(2) 	52(2)	38(2) 	(2(2)	(15(2) 	(3(2)

C1	99(3) 	55(3)	46(2) 	1(2)	6(2) 	(16(2)

C2	65(2) 	43(2)	48(2) 	3(2)	(5(2) 	(10(2)

C5	51(2) 	77(3)	61(2) 	(36(2)	4(2) 	6(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H14	7420	7478	13334	46	1

H11	483	8982	12930	48	1

H8A	2462	6704	10107	43	1

H8B	4871	6304	9394	43	1

H15A	724	9226	15856	78	1

H15B	2703	8792	16960	78	1

H15C	257	8373	16379	78	1

H13	5463	7890	15687	47	1

H7	1113	6891	7301	37	1

H10	2445	8587	10542	48	1

H3	(1136	5866	7798	43	1

H6A	226	5950	3293	81	1

H6B	1995	6659	3515	81	1

H6C	(262	6543	4729	81	1

H1A	(1730	5271	10377	80	1

H1B	377	4714	11156	80	1

H2	2867	4984	9087	62	1

H5A	5553	5123	5171	94	1

H5B	5446	5686	3643	94	1

H5C	3633	4982	3711	94	1