|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2009src1152

Empirical formula 	C22H18N4O4

Formula weight 	402.40

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 8.3907(5) Å	( = 87.410(4)°

b = 8.7207(4) Å	( = 75.837(3)°

c = 15.3024(9) Å	(  = 62.831(3)°

Volume	963.02(9) Å3

Z	2

Density (calculated)	1.388 Mg / m3

Absorption coefficient	0.098 mm(1

F(000)	420

Crystal	plate; colourless

Crystal size	0.14 ( 0.10 ( 0.01 mm3

( range for data collection	2.92 ( 25.00°

Index ranges	(9 ( h ( 9, (10 ( k ( 10, (18 ( l ( 18

Reflections collected	15539

Independent reflections	3379 [Rint = 0.1087]

Completeness to ( = 25.00°	99.5 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9990 and 0.9864

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3379 / 1 / 276

Goodness-of-fit on F2	1.147

Final R indices [F2 > 2((F2)]	R1 = 0.1043, wR2 = 0.1950

R indices (all data)	R1 = 0.1629, wR2 = 0.2259

Extinction coefficient	0.010(3)

Largest diff. peak and hole	0.356 and (0.386 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS (Sheldrick, G. M. (2007). SADABS. Version 2007/2. Bruker AXS Inc., Madison, Wisconsin, USA.). Structure solution: SHELXS97 (Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.). Structure refinement: SHELXL97 (G Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.). Graphics: CAMERON (Watkin, D. M., Pearce, L. & Prout, C. K. (1993). Chemical Crystallography Lab, University of Oxford)

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	(316(8)	6787(6)	956(3)	21(1)	1

C2	3020(8)	5313(7)	788(4)	25(1)	1

C3	2205(7)	8333(6)	1160(3)	21(1)	1

C4	295(8)	9147(6)	1332(4)	23(1)	1

C5	(630(8)	10946(7)	1339(4)	27(1)	1

C6	331(8)	11880(7)	1166(4)	30(1)	1

C7	2252(8)	11063(7)	938(4)	28(1)	1

C8	3179(8)	9274(7)	929(4)	25(1)	1

C9	(2420(7)	8809(6)	2225(4)	22(1)	1

C10	(4107(8)	9956(7)	2070(4)	27(1)	1

C11	(5699(8)	10449(7)	2767(4)	30(1)	1

C12	(5596(8)	9780(7)	3608(4)	31(1)	1

C13	(3895(8)	8635(8)	3750(4)	33(1)	1

C14	(2315(8)	8154(7)	3068(4)	28(1)	1

C15	4680(8)	5880(7)	1687(4)	26(1)	1

C16	4263(8)	4993(7)	2537(4)	27(1)	1

C17	5598(8)	3442(8)	3701(4)	30(1)	1

C18	7151(8)	3231(7)	4082(4)	27(1)	1

C19	8415(8)	3820(7)	3728(4)	32(1)	1

C20	9761(8)	3603(7)	4152(4)	32(1)	1

C21	9787(8)	2780(7)	4964(4)	33(1)	1

C22	8483(9)	2216(8)	5269(4)	37(2)	1

N1	1461(6)	5902(6)	440(3)	23(1)	1

N2	3181(6)	6516(5)	1246(3)	23(1)	1

N3	(719(6)	8173(5)	1515(3)	23(1)	1

N4	7158(7)	2436(6)	4872(3)	33(1)	1

O1	(1523(5)	6379(5)	926(3)	26(1)	1

O2	4185(5)	3787(5)	670(3)	29(1)	1

O3	2810(6)	4987(5)	2869(3)	34(1)	1

O4	5755(5)	4264(5)	2860(3)	29(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1	1.228(6)

C1(N1	1.368(7)

C1(N3	1.373(6)

C2(O2	1.227(6)

C2(N2	1.361(7)

C2(N1	1.400(7)

C3(C8	1.383(7)

C3(C4	1.383(7)

C3(N2	1.431(6)

C4(C5	1.396(7)

C4(N3	1.430(7)

C5(C6	1.363(8)

C5(H5	0.9500

C6(C7	1.388(8)

C6(H6	0.9500

C7(C8	1.388(8)

C7(H7	0.9500

C8(H8	0.9500

C9(C10	1.383(8)

C9(C14	1.392(8)

C9(N3	1.449(7)

C10(C11	1.387(8)

C10(H10	0.9500

C11(C12	1.395(8)

C11(H11	0.9500

C12(C13	1.383(8)

C12(H12	0.9500

C13(C14	1.371(8)

C13(H13	0.9500

C14(H14	0.9500

C15(N2	1.446(7)

C15(C16	1.531(8)

C15(H15A	0.9900

C15(H15B	0.9900

C16(O3	1.203(7)

C16(O4	1.328(7)

C17(O4	1.453(6)

C17(C18	1.488(8)

C17(H17A	0.9900

C17(H17B	0.9900

C18(N4	1.365(7)

C18(C19	1.369(8)

C19(C20	1.373(8)

C19(H19	0.9500

C20(C21	1.405(8)

C20(H20	0.9500

C21(C22	1.369(9)

C21(H21	0.9500

C22(N4	1.330(7)

C22(H22	0.9500

N1(H1N	1.00(2)

O1(C1(N1	122.0(5)

O1(C1(N3	120.5(5)

N1(C1(N3	117.4(5)

O2(C2(N2	122.3(5)

O2(C2(N1	121.0(5)

N2(C2(N1	116.7(5)

C8(C3(C4	120.3(5)

C8(C3(N2	119.6(5)

C4(C3(N2	120.1(5)

C3(C4(C5	118.6(5)

C3(C4(N3	120.8(4)

C5(C4(N3	120.5(5)

C6(C5(C4	120.7(5)

C6(C5(H5	119.6

C4(C5(H5	119.6

C5(C6(C7	120.8(5)

C5(C6(H6	119.6

C7(C6(H6	119.6

C8(C7(C6	118.6(5)

C8(C7(H7	120.7

C6(C7(H7	120.7

C3(C8(C7	120.6(5)

C3(C8(H8	119.7

C7(C8(H8	119.7

C10(C9(C14	120.6(5)

C10(C9(N3	121.8(5)

C14(C9(N3	117.5(5)

C9(C10(C11	119.1(5)

C9(C10(H10	120.4

C11(C10(H10	120.4

C10(C11(C12	120.3(5)

C10(C11(H11	119.8

C12(C11(H11	119.8

C13(C12(C11	119.8(6)

C13(C12(H12	120.1

C11(C12(H12	120.1

C14(C13(C12	120.2(6)

C14(C13(H13	119.9

C12(C13(H13	119.9

C13(C14(C9	120.0(5)

C13(C14(H14	120.0

C9(C14(H14	120.0

N2(C15(C16	111.1(4)

N2(C15(H15A	109.4

C16(C15(H15A	109.4

N2(C15(H15B	109.4

C16(C15(H15B	109.4

H15A(C15(H15B	108.0

O3(C16(O4	125.5(5)

O3(C16(C15	125.7(5)

O4(C16(C15	108.8(5)

O4(C17(C18	107.7(5)

O4(C17(H17A	110.2

C18(C17(H17A	110.2

O4(C17(H17B	110.2

C18(C17(H17B	110.2

H17A(C17(H17B	108.5

N4(C18(C19	121.7(5)

N4(C18(C17	112.7(5)

C19(C18(C17	125.6(5)

C18(C19(C20	120.7(6)

C18(C19(H19	119.6

C20(C19(H19	119.6

C19(C20(C21	118.1(6)

C19(C20(H20	120.9

C21(C20(H20	120.9

C22(C21(C20	117.5(6)

C22(C21(H21	121.2

C20(C21(H21	121.2

N4(C22(C21	125.1(6)

N4(C22(H22	117.5

C21(C22(H22	117.5

C1(N1(C2	123.5(5)

C1(N1(H1N	107(3)

C2(N1(H1N	111(3)

C2(N2(C3	123.1(4)

C2(N2(C15	116.6(4)

C3(N2(C15	119.0(4)

C1(N3(C4	122.6(4)

C1(N3(C9	117.0(4)

C4(N3(C9	119.7(4)

C22(N4(C18	116.9(5)

C16(O4(C17	117.2(4)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	32(3) 	21(3)	15(3) 	6(2)	(9(2) 	(16(3)

C2	28(3) 	25(3)	23(3) 	4(2)	(3(2) 	(15(3)

C3	28(3) 	19(3)	17(3) 	0(2)	(9(2) 	(11(2)

C4	30(3) 	20(3)	22(3) 	3(2)	(8(2) 	(15(2)

C5	27(3) 	23(3)	30(3) 	0(2)	(6(3) 	(10(3)

C6	35(4) 	22(3)	36(4) 	11(3)	(15(3) 	(15(3)

C7	35(4) 	30(3)	29(3) 	9(2)	(13(3) 	(22(3)

C8	29(3) 	25(3)	27(3) 	2(2)	(9(3) 	(15(3)

C9	26(3) 	21(3)	23(3) 	(3(2)	(4(2) 	(14(2)

C10	29(3) 	29(3)	25(3) 	4(2)	(11(3) 	(12(3)

C11	26(3) 	30(3)	33(3) 	0(3)	(8(3) 	(10(3)

C12	27(3) 	36(3)	29(3) 	(5(3)	4(3) 	(19(3)

C13	30(4) 	35(3)	29(3) 	3(3)	(3(3) 	(13(3)

C14	21(3) 	26(3)	33(3) 	8(3)	(6(3) 	(9(2)

C15	27(3) 	27(3)	27(3) 	3(2)	(8(3) 	(14(2)

C16	26(3) 	23(3)	29(3) 	(2(2)	(8(3) 	(9(2)

C17	42(4) 	35(3)	24(3) 	11(3)	(13(3) 	(24(3)

C18	26(3) 	22(3)	31(3) 	5(2)	(9(3) 	(9(2)

C19	38(4) 	26(3)	36(4) 	4(3)	(13(3) 	(16(3)

C20	30(3) 	34(3)	32(4) 	2(3)	(5(3) 	(16(3)

C21	35(4) 	34(3)	28(3) 	(7(3)	(10(3) 	(12(3)

C22	39(4) 	33(3)	34(4) 	4(3)	(17(3) 	(9(3)

N1	23(3) 	21(2)	26(3) 	2(2)	(7(2) 	(10(2)

N2	23(3) 	19(2)	28(3) 	3(2)	(7(2) 	(11(2)

N3	23(3) 	19(2)	27(3) 	(2(2)	(6(2) 	(9(2)

N4	44(3) 	33(3)	30(3) 	10(2)	(15(2) 	(23(2)

O1	29(2) 	25(2)	27(2) 	(1(2)	(5(2) 	(16(2)

O2	26(2) 	19(2)	38(2) 	(3(2)	(4(2) 	(9(2)

O3	32(3) 	47(3)	30(2) 	11(2)	(9(2) 	(23(2)

O4	31(2) 	35(2)	24(2) 	10(2)	(12(2) 	(16(2)