Table 1. Crystal data and structure refinement details.

Identification code 	2010src0792ra

Empirical formula 	C15H12BrNO2

Formula weight 	318.17

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2/c

Unit cell dimensions	a = 19.623(3) Å	( = 90°

b = 4.0710(5) Å	( = 101.698(3)°

c = 32.979(4) Å	(  = 90°

Volume	2579.8(6) Å3

Z	8

Density (calculated)	1.638 Mg / m3

Absorption coefficient	3.183 mm(1

F(000)	1280

Crystal	block; yellow

Crystal size	0.10 ( 0.04 ( 0.02 mm3

( range for data collection	2.95 ( 27.48°

Index ranges	(24 ( h ( 24, (4 ( k ( 5, (42 ( l ( 41

Reflections collected	9093

Independent reflections	2888 [Rint = 0.0715]

Completeness to ( = 27.48°	97.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9391 and 0.7414

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2888 / 7 / 181

Goodness-of-fit on F2	1.125

Final R indices [F2 > 2((F2)]	R1 = 0.0785, wR2 = 0.1445

R indices (all data)	R1 = 0.1198, wR2 = 0.1671

Largest diff. peak and hole	0.654 and (0.813 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS (Sheldrick, G. M. (2007). SADABS. Version 2007/2. Bruker AXS Inc., Madison, Wisconsin, USA.). Structure solution: SHELXS97 (Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.) Structure refinement: SHELXL97 (G Sheldrick, G.M. (2008). Acta Cryst. A64, 112-122.). Graphics: OLEX2 (Dolomanov, O. V., Bourhis, L. J., Gildea, R. J., Howard, J. A. K. & Puschmann, H. (2009). J. Appl. Cryst. 42, 339-341.)

Special details:

The solvent water molecule is disordered over two orientations (50:50)

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2772(4)	(5058(18)	4522(2)	25(2)	1

C2	2785(3)	(3241(18)	4129(2)	24(1)	1

C3	2090(3)	(1948(18)	3991(2)	23(1)	1

C4	1755(4)	36(17)	3660(2)	24(2)	1

C5	1064(4)	943(18)	3631(2)	28(2)	1

C6	691(4)	(81(18)	3926(2)	29(2)	1

C7	1011(4)	(1959(19)	4263(2)	28(2)	1

C8	1699(3)	(2880(17)	4286(2)	21(1)	1

C9	3395(4)	(3067(18)	3994(2)	25(2)	1

C10	3502(4)	(1743(18)	3593(2)	25(2)	1

C11	3038(4)	(2444(17)	3226(2)	25(2)	1

C12	3166(4)	(1394(17)	2848(2)	24(2)	1

C13	3770(4)	373(18)	2846(2)	25(2)	1

C14	4252(4)	1064(17)	3205(2)	27(2)	1

C15	4113(4)	(33(19)	3581(2)	28(2)	1

N1	2114(3)	(4745(15)	4597(2)	25(1)	1

O1	3249(3)	(6563(13)	4746(1)	30(1)	1

Br1	3939(1)	1889(2)	2328(1)	31(1)	1

O1W	4678(4)	(7460(30)	4769(2)	107(4)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1	1.231(8)

C1(N1	1.369(9)

C1(C2	1.497(9)

C2(C9	1.360(9)

C2(C3	1.447(10)

C3(C8	1.408(9)

C3(C4	1.410(10)

C4(C5	1.389(10)

C4(H4	0.9500

C5(C6	1.395(9)

C5(H5	0.9500

C6(C7	1.392(10)

C6(H6	0.9500

C7(C8	1.388(9)

C7(H7	0.9500

C8(N1	1.397(9)

C9(C10	1.483(9)

C9(H9	0.9500

C10(C11	1.388(9)

C10(C15	1.395(10)

C11(C12	1.391(9)

C11(H11	0.9500

C12(C13	1.388(10)

C12(H12	0.9500

C13(C14	1.388(10)

C13(Br1	1.907(6)

C14(C15	1.393(9)

C14(H14	0.9500

C15(H15	0.9500

N1(H1	0.8800

O1W(H1W	0.85(2)

O1W(H2WA	0.854(19)

O1W(H2WB	0.85(2)

O1(C1(N1	124.7(6)

O1(C1(C2	128.3(6)

N1(C1(C2	107.0(6)

C9(C2(C3	135.5(6)

C9(C2(C1	118.7(6)

C3(C2(C1	105.8(5)

C8(C3(C4	117.1(6)

C8(C3(C2	107.1(6)

C4(C3(C2	135.7(6)

C5(C4(C3	120.0(6)

C5(C4(H4	120.0

C3(C4(H4	120.0

C4(C5(C6	121.1(7)

C4(C5(H5	119.4

C6(C5(H5	119.4

C7(C6(C5	120.4(7)

C7(C6(H6	119.8

C5(C6(H6	119.8

C8(C7(C6	117.9(6)

C8(C7(H7	121.0

C6(C7(H7	121.0

C7(C8(N1	126.9(6)

C7(C8(C3	123.4(6)

N1(C8(C3	109.6(6)

C2(C9(C10	127.2(7)

C2(C9(H9	116.4

C10(C9(H9	116.4

C11(C10(C15	119.6(6)

C11(C10(C9	121.1(7)

C15(C10(C9	119.1(6)

C10(C11(C12	120.9(7)

C10(C11(H11	119.6

C12(C11(H11	119.6

C13(C12(C11	118.3(6)

C13(C12(H12	120.9

C11(C12(H12	120.9

C12(C13(C14	122.4(6)

C12(C13(Br1	118.4(5)

C14(C13(Br1	119.2(5)

C13(C14(C15	118.2(7)

C13(C14(H14	120.9

C15(C14(H14	120.9

C14(C15(C10	120.7(7)

C14(C15(H15	119.6

C10(C15(H15	119.6

C1(N1(C8	110.4(5)

C1(N1(H1	124.8

C8(N1(H1	124.8

H1W(O1W(H2WA	106(5)

H1W(O1W(H2WB	107(5)

H2WA(O1W(H2WB	108(10)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	29(4) 	26(4)	18(3) 	(6(3)	5(3) 	(6(3)

C2	24(4) 	27(4)	21(3) 	(5(3)	8(3) 	(2(3)

C3	23(3) 	24(4)	21(3) 	(13(3)	5(3) 	(8(3)

C4	36(4) 	18(4)	22(3) 	(6(3)	11(3) 	(3(3)

C5	32(4) 	25(4)	27(3) 	(2(3)	8(3) 	3(3)

C6	26(4) 	32(4)	29(3) 	(5(3)	6(3) 	(2(3)

C7	29(4) 	33(4)	23(3) 	(2(3)	7(3) 	3(4)

C8	23(3) 	22(4)	18(3) 	(5(3)	1(2) 	(3(3)

C9	31(4) 	18(3)	28(3) 	(3(3)	10(3) 	6(3)

C10	27(4) 	24(4)	22(3) 	0(3)	6(3) 	9(3)

C11	23(4) 	24(4)	31(3) 	2(3)	11(3) 	3(3)

C12	29(4) 	23(4)	21(3) 	1(3)	4(3) 	(3(3)

C13	30(4) 	26(4)	23(3) 	2(3)	16(3) 	1(3)

C14	29(4) 	22(4)	34(4) 	(2(3)	16(3) 	0(3)

C15	23(4) 	33(4)	31(3) 	(2(3)	8(3) 	7(3)

N1	19(3) 	38(4)	19(3) 	(4(3)	6(2) 	1(3)

O1	25(3) 	43(3)	21(2) 	2(2)	2(2) 	(1(3)

Br1	37(1) 	32(1)	28(1) 	5(1)	14(1) 	1(1)

O1W	31(4) 	223(12)	71(5) 	43(7)	17(4) 	16(6)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H4	2001	754	3456	29	1

H5	843	2284	3407	33	1

H6	214	506	3896	35	1

H7	767	(2591	4472	34	1

H9	3796	(3884	4177	30	1

H11	2627	(3657	3234	31	1

H12	2848	(1874	2597	29	1

H14	4665	2253	3196	32	1

H15	4438	387	3830	34	1

H1	1972	(5597	4811	30	1

H1W	4260(30)	(7900(400)	4790(50)	161	1

H2WA	4940(50)	(8900(500)	4920(110)	161	0.50

H2WB	4770(70)	(5570(170)	4880(50)	161	0.50

Table 6. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N1(H1...O1i	0.88	1.98	2.844(7)	166.9

O1W(H1W...O1	0.85(2)	2.04(7)	2.815(9)	151(13)

O1W(H2WA...O1Wii	0.854(19)	1.88(2)	2.720(19)	167(12)

O1W(H2WB...O1Wiii	0.85(2)	1.88(2)	2.68(3)	154(8)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1/2,(y(3/2,(z+1    (ii) (x+1,(y(2,(z+1    (iii) (x+1,(y(1,(z+1