|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	01src105

Empirical formula 	C14H13NO

Formula weight 	211.25

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Iba2

Unit cell dimensions	a = 9.2463(18) Å	( = 90°

b = 33.461(7) Å	( = 90°

c = 7.2285(14) Å	(  = 90°

Volume	2236.4(8) Å3

Z	8

Density (calculated)	1.255 Mg / m3

Absorption coefficient	0.079 mm(1

F(000)	896

Crystal	plate; colourless

Crystal size	0.60 ( 0.30 ( 0.08 mm3

( range for data collection	3.65 ( 27.49°

Index ranges	(11 ( h ( 11, (41 ( k ( 43, (8 ( l ( 9

Reflections collected	7063

Independent reflections	2481 [Rint = 0.0717]

Completeness to ( = 27.49°	99.0 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9937 and 0.9541

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2481 / 1 / 147

Goodness-of-fit on F2	1.022

Final R indices [F2 > 2((F2)]	R1 = 0.0576, wR2 = 0.1372

R indices (all data)	R1 = 0.0722, wR2 = 0.1471

Absolute structure parameter	0.1(19)

Extinction coefficient	0.029(5)

Largest diff. peak and hole	0.209 and (0.273 e Å(3

Diffractometer: Enraf Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Program used to solve structure:

SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	8144(3)	5374(1)	15788(3)	46(1)	1

C2	7348(2)	5636(1)	12893(3)	29(1)	1

C3	8481(2)	5908(1)	12827(3)	29(1)	1

C4	8596(2)	6163(1)	11307(3)	28(1)	1

C5	7626(2)	6151(1)	9849(3)	26(1)	1

C6	6491(2)	5871(1)	9952(3)	31(1)	1

C7	6364(2)	5617(1)	11444(3)	32(1)	1

C8	7827(2)	6423(1)	8289(3)	26(1)	1

C9	7025(2)	6451(1)	6767(3)	28(1)	1

C10	7329(2)	6727(1)	5236(3)	26(1)	1

C11	8912(2)	7155(1)	3791(3)	31(1)	1

C12	7937(2)	7246(1)	2417(3)	34(1)	1

C13	6603(3)	7066(1)	2465(3)	36(1)	1

C14	6291(2)	6801(1)	3879(3)	32(1)	1

N1	8645(2)	6903(1)	5191(2)	28(1)	1

O1	7117(2)	5373(1)	14319(2)	40(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1	1.424(3)

C2(O1	1.372(2)

C2(C7	1.389(3)

C2(C3	1.389(3)

C3(C4	1.394(3)

C4(C5	1.384(3)

C5(C6	1.411(3)

C5(C8	1.461(3)

C6(C7	1.377(3)

C8(C9	1.330(3)

C9(C10	1.468(3)

C10(N1	1.352(3)

C10(C14	1.394(3)

C11(N1	1.340(3)

C11(C12	1.376(3)

C12(C13	1.374(3)

C13(C14	1.383(3)

O1(C2(C7	115.76(17)

O1(C2(C3	124.31(19)

C7(C2(C3	119.93(18)

C2(C3(C4	118.97(19)

C5(C4(C3	122.32(18)

C4(C5(C6	117.36(19)

C4(C5(C8	119.24(18)

C6(C5(C8	123.39(19)

C7(C6(C5	121.1(2)

C6(C7(C2	120.36(18)

C9(C8(C5	127.71(18)

C8(C9(C10	124.14(18)

N1(C10(C14	121.72(19)

N1(C10(C9	117.62(19)

C14(C10(C9	120.66(18)

N1(C11(C12	124.4(2)

C13(C12(C11	118.1(2)

C12(C13(C14	119.2(2)

C13(C14(C10	119.3(2)

C11(N1(C10	117.20(18)

C2(O1(C1	117.06(18)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	72(2) 	25(1)	41(1) 	9(1)	(6(1) 	(1(1)

C2	41(1) 	17(1)	29(1) 	(1(1)	6(1) 	3(1)

C3	39(1) 	22(1)	27(1) 	(3(1)	1(1) 	2(1)

C4	35(1) 	18(1)	30(1) 	(3(1)	3(1) 	(2(1)

C5	31(1) 	18(1)	30(1) 	(4(1)	5(1) 	0(1)

C6	34(1) 	24(1)	33(1) 	(4(1)	0(1) 	(2(1)

C7	37(1) 	21(1)	37(1) 	(3(1)	6(1) 	(6(1)

C8	31(1) 	17(1)	31(1) 	(1(1)	4(1) 	0(1)

C9	31(1) 	20(1)	32(1) 	(4(1)	2(1) 	(1(1)

C10	33(1) 	18(1)	28(1) 	(6(1)	2(1) 	5(1)

C11	37(1) 	21(1)	35(1) 	1(1)	4(1) 	2(1)

C12	48(1) 	24(1)	32(1) 	3(1)	3(1) 	10(1)

C13	47(1) 	32(1)	30(1) 	(2(1)	(8(1) 	12(1)

C14	35(1) 	26(1)	35(1) 	(6(1)	(3(1) 	2(1)

N1	35(1) 	21(1)	30(1) 	0(1)	1(1) 	3(1)

O1	58(1) 	25(1)	36(1) 	5(1)	2(1) 	(6(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	8201	5642	16326	69	1

H1B	9095	5297	15307	69	1

H1C	7843	5183	16741	69	1

H3	9168	5921	13803	35	1

H4	9366	6350	11270	33	1

H6	5804	5856	8978	37	1

H7	5598	5428	11482	38	1

H8	8626	6601	8371	32	1

H9	6204	6282	6664	33	1

H11	9835	7278	3745	37	1

H12	8179	7429	1461	41	1

H13	5904	7122	1538	43	1

H14	5378	6671	3926	38	1