|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2005slh0246

Empirical formula 	C18H13Br2IN6

Formula weight 	600.06

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 10.9213(8) Å	( = 90°

b = 11.8985(7) Å	( = 90°

c = 14.8920(11) Å	(  = 90°

Volume	1935.2(2) Å3

Z	4

Density (calculated)	2.060 Mg / m3

Absorption coefficient	5.801 mm(1

F(000)	1144

Crystal	block; orange

Crystal size	0.60 ( 0.46 ( 0.25 mm3

( range for data collection	3.31 ( 27.49°

Index ranges	(13 ( h ( 14, (14 ( k ( 15, (18 ( l ( 19

Reflections collected	21807

Independent reflections	4405 [Rint = 0.0343]

Completeness to ( = 27.49°	99.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.3249 and 0.1285

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4405 / 0 / 245

Goodness-of-fit on F2	1.102

Final R indices [F2 > 2((F2)]	R1 = 0.0441, wR2 = 0.1264

R indices (all data)	R1 = 0.0498, wR2 = 0.1303

Absolute structure parameter	0.12(2)

Extinction coefficient	0.0045(5)

Largest diff. peak and hole	1.368 and (1.934 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details: There is one negative charge present in the ASU, which is counter-balanced by one additional proton which is disordered over three possible positions.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2953(7)	(1655(6)	(673(5)	16(1)	1

C2	2310(6)	(2737(6)	475(5)	17(1)	1

C3	1712(7)	(3122(6)	(934(5)	14(1)	1

C4	3633(6)	(671(5)	(1028(4)	15(1)	1

C5	3494(7)	(260(6)	(1881(5)	20(2)	1

C6	4136(7)	695(6)	(2154(5)	19(1)	1

C7	4947(8)	1215(7)	(1568(5)	24(2)	1

C8	5090(7)	739(6)	(726(5)	19(1)	1

C9	2336(7)	(2996(6)	1459(4)	16(1)	1

C10	1543(7)	(3773(7)	1746(4)	19(2)	1

C11	1571(8)	(3995(8)	2639(5)	30(2)	1

C12	2347(8)	(3468(7)	3233(5)	26(2)	1

C13	3119(8)	(2674(7)	2929(5)	27(2)	1

C14	1072(6)	(3857(6)	(1592(5)	15(1)	1

C15	243(6)	(4581(5)	(1259(4)	8(1)	1

C16	(336(7)	(5271(7)	(1837(6)	22(2)	1

C17	(100(7)	(5259(7)	(2748(5)	23(2)	1

C18	727(8)	(4512(6)	(3082(5)	23(2)	1

N1	2332(6)	(2242(5)	(1277(4)	15(1)	1

N2	3015(6)	(1851(5)	193(4)	15(1)	1

N3	1662(6)	(3381(5)	(65(4)	16(1)	1

N4	4449(5)	(170(5)	(467(4)	18(1)	1

N5	3124(7)	(2421(7)	2032(5)	34(2)	1

N6	1348(7)	(3802(6)	(2495(5)	31(2)	1

Br2	(233(1)	(890(1)	399(1)	35(1)	1

Br1	2915(1)	2500(1)	481(1)	42(1)	1

I1	1296(1)	832(1)	442(1)	19(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(N2	1.312(9)

C1(N1	1.326(9)

C1(C4	1.483(9)

C2(N3	1.316(9)

C2(N2	1.372(9)

C2(C9	1.497(10)

C3(N3	1.331(9)

C3(N1	1.348(9)

C3(C14	1.488(10)

C4(N4	1.359(9)

C4(C5	1.369(10)

C5(C6	1.396(11)

C5(H5	0.9500

C6(C7	1.389(11)

C6(H6	0.9500

C7(C8	1.384(10)

C7(H7	0.9500

C8(N4	1.344(9)

C8(H8	0.9500

C9(C10	1.337(11)

C9(N5	1.393(10)

C10(C11	1.357(10)

C10(H10	0.9500

C11(C12	1.376(12)

C11(H11	0.9500

C12(C13	1.346(12)

C12(H12	0.9500

C13(N5	1.368(11)

C13(H13	0.9500

C14(C15	1.344(9)

C14(N6	1.379(10)

C15(C16	1.347(10)

C15(H15	0.9500

C16(C17	1.381(11)

C16(H16	0.9500

C17(C18	1.361(11)

C17(H17	0.9500

C18(N6	1.392(11)

C18(H18	0.9500

N4(H4	0.8800

N5(H5A	0.8800

N6(H6A	0.8800

Br2(I1	2.6442(10)

Br1(I1	2.6582(11)

N2(C1(N1	126.8(7)

N2(C1(C4	117.7(6)

N1(C1(C4	115.5(6)

N3(C2(N2	124.2(7)

N3(C2(C9	119.2(6)

N2(C2(C9	116.6(6)

N3(C3(N1	124.7(7)

N3(C3(C14	119.0(7)

N1(C3(C14	116.3(6)

N4(C4(C5	119.1(6)

N4(C4(C1	117.1(6)

C5(C4(C1	123.8(6)

C4(C5(C6	120.4(7)

C4(C5(H5	119.8

C6(C5(H5	119.8

C7(C6(C5	119.9(7)

C7(C6(H6	120.0

C5(C6(H6	120.0

C8(C7(C6	117.3(7)

C8(C7(H7	121.3

C6(C7(H7	121.3

N4(C8(C7	122.0(7)

N4(C8(H8	119.0

C7(C8(H8	119.0

C10(C9(N5	123.0(7)

C10(C9(C2	116.3(6)

N5(C9(C2	120.7(7)

C9(C10(C11	115.7(7)

C9(C10(H10	122.1

C11(C10(H10	122.1

C10(C11(C12	123.7(8)

C10(C11(H11	118.1

C12(C11(H11	118.1

C13(C12(C11	119.3(7)

C13(C12(H12	120.3

C11(C12(H12	120.3

C12(C13(N5	119.0(8)

C12(C13(H13	120.5

N5(C13(H13	120.5

C15(C14(N6	122.5(6)

C15(C14(C3	116.7(6)

N6(C14(C3	120.8(7)

C14(C15(C16	118.1(6)

C14(C15(H15	121.0

C16(C15(H15	121.0

C15(C16(C17	122.3(7)

C15(C16(H16	118.9

C17(C16(H16	118.9

C18(C17(C16	119.3(7)

C18(C17(H17	120.3

C16(C17(H17	120.3

C17(C18(N6	119.3(7)

C17(C18(H18	120.4

N6(C18(H18	120.4

C1(N1(C3	114.1(6)

C1(N2(C2	114.2(6)

C2(N3(C3	115.9(7)

C8(N4(C4	121.2(6)

C8(N4(H4	119.4

C4(N4(H4	119.4

C13(N5(C9	119.2(8)

C13(N5(H5A	120.4

C9(N5(H5A	120.4

C14(N6(C18	118.5(7)

C14(N6(H6A	120.7

C18(N6(H6A	120.7

Br2(I1(Br1	177.47(3)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	18(3) 	17(3)	13(3) 	(3(2)	2(3) 	4(3)

C2	14(3) 	20(3)	17(3) 	(4(3)	0(3) 	6(2)

C3	13(3) 	16(3)	14(3) 	(3(3)	1(3) 	2(3)

C4	14(3) 	16(3)	15(3) 	(1(2)	0(3) 	1(3)

C5	19(4) 	23(4)	18(3) 	0(3)	(2(3) 	1(3)

C6	22(3) 	18(3)	17(3) 	7(3)	(1(3) 	4(3)

C7	25(4) 	20(3)	25(4) 	1(3)	8(3) 	1(3)

C8	18(3) 	19(3)	20(3) 	1(3)	3(3) 	(2(3)

C9	17(3) 	21(3)	11(3) 	(4(3)	1(3) 	5(3)

C10	25(4) 	28(4)	3(3) 	4(3)	(1(3) 	(10(3)

C11	35(5) 	37(5)	19(4) 	5(3)	0(3) 	(10(4)

C12	29(4) 	38(5)	10(3) 	(2(3)	0(3) 	5(3)

C13	30(4) 	30(4)	21(4) 	1(3)	(6(3) 	2(3)

C14	16(3) 	15(3)	13(3) 	(1(2)	(3(3) 	3(2)

C15	7(3) 	11(3)	6(3) 	(2(2)	(1(2) 	0(2)

C16	15(3) 	24(4)	26(4) 	(1(3)	(3(3) 	(1(3)

C17	19(4) 	29(4)	20(4) 	(7(3)	(4(3) 	2(3)

C18	29(4) 	25(4)	15(3) 	(6(3)	(1(3) 	(2(3)

N1	16(3) 	18(3)	12(3) 	2(2)	(2(2) 	1(2)

N2	20(3) 	12(3)	13(3) 	2(2)	(1(2) 	3(2)

N3	16(3) 	18(3)	13(3) 	(2(2)	(4(2) 	5(2)

N4	17(3) 	26(3)	10(3) 	(2(3)	(3(2) 	(5(2)

N5	38(4) 	38(4)	26(4) 	(5(3)	(5(3) 	(1(3)

N6	32(4) 	36(4)	25(3) 	0(3)	0(3) 	(5(3)

Br2	31(1) 	36(1)	38(1) 	(2(1)	(3(1) 	(7(1)

Br1	54(1) 	37(1)	36(1) 	0(1)	(3(1) 	(2(1)

I1	21(1) 	21(1)	14(1) 	(2(1)	(1(1) 	4(1)