|  | University of Southampton · School of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	2007src0325  (DbSN11)

Empirical formula 	C13H12N2O4

Formula weight 	260.25

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 11.0751(2) Å	a = 90°

b = 4.94410(10) Å	b = 97.5560(10)°

c = 22.8470(5) Å	g  = 90°

Volume	1240.16(4) Å3

Z	4

Density (calculated)	1.394 Mg / m3

Absorption coefficient	0.105 mm-1

F(000)	544

Crystal	blade; colourless

Crystal size	0.45 ´ 0.03 ´ 0.01 mm3

q range for data collection	3.07 - 27.50°

Index ranges	-14 £ h £ 14, -5 £ k £ 6, -27 £ l £ 29

Reflections collected	18385

Independent reflections	2853 [Rint = 0.0560]

Completeness to q = 27.50°	99.6 %

Absorption correction	Semi-empirical from equivalents

Max. and min. transmission	0.9989 and 0.9542

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2853 / 0 / 182

Goodness-of-fit on F2	1.030

Final R indices [F2 > 2s(F2)]	R1 = 0.0461, wR2 = 0.1109

R indices (all data)	R1 = 0.0652, wR2 = 0.1226

Largest diff. peak and hole	0.277 and -0.338 e Å-3

Diffractometer: Nonius KappaCCD area detector (f scans and w scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307-326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SADABS Version 2.10. (G. M. Sheldrick (2003)) Bruker AXS Inc., Madison, Wisconsin, USA. Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467-473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: PLATON  (A.L. Spek, J. Appl. Crystallogr. 2003, 36, 7).

Special details:

Table 2. Atomic coordinates [´ 104], equivalent isotropic displacement parameters [Å2 ´ 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	10083(1)	10462(3)	2829(1)	20(1)	1

C2	9775(1)	12578(3)	3244(1)	20(1)	1

C3	10621(1)	13245(3)	3738(1)	23(1)	1

C4	10336(2)	15208(4)	4135(1)	29(1)	1

C5	9226(2)	16515(4)	4039(1)	33(1)	1

C6	8381(2)	15891(4)	3549(1)	31(1)	1

C7	8659(1)	13929(3)	3157(1)	25(1)	1

O1	9247(1)	9936(2)	2387(1)	23(1)	1

O2	11087(1)	9304(2)	2899(1)	26(1)	1

O3	11729(1)	12023(3)	3839(1)	30(1)	1

C8	8625(1)	2510(3)	324(1)	21(1)	1

C9	9455(1)	3305(3)	870(1)	20(1)	1

C10	9189(1)	5446(3)	1225(1)	21(1)	1

C11	10932(1)	4703(3)	1877(1)	23(1)	1

C12	11263(1)	2530(3)	1548(1)	25(1)	1

C13	10506(1)	1810(3)	1039(1)	22(1)	1

N1	9909(1)	6117(3)	1725(1)	22(1)	1

N2	8026(1)	4487(3)	13(1)	27(1)	1

O4	8517(1)	98(2)	184(1)	27(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1-O2	1.2424(18)

C1-O1	1.3037(17)

C1-C2	1.480(2)

C2-C7	1.397(2)

C2-C3	1.408(2)

C3-O3	1.3597(19)

C3-C4	1.394(2)

C4-C5	1.380(2)

C5-C6	1.395(3)

C6-C7	1.383(2)

C8-O4	1.2362(19)

C8-N2	1.333(2)

C8-C9	1.501(2)

C9-C10	1.389(2)

C9-C13	1.390(2)

C10-N1	1.3465(19)

C11-N1	1.338(2)

C11-C12	1.388(2)

C12-C13	1.387(2)

O2-C1-O1	122.71(14)

O2-C1-C2	121.38(13)

O1-C1-C2	115.91(13)

C7-C2-C3	118.98(14)

C7-C2-C1	121.44(13)

C3-C2-C1	119.58(13)

O3-C3-C4	118.31(14)

O3-C3-C2	121.55(14)

C4-C3-C2	120.15(14)

C5-C4-C3	119.68(15)

C4-C5-C6	120.92(15)

C7-C6-C5	119.45(16)

C6-C7-C2	120.82(15)

O4-C8-N2	123.03(14)

O4-C8-C9	119.66(14)

N2-C8-C9	117.31(13)

C10-C9-C13	118.52(14)

C10-C9-C8	122.03(14)

C13-C9-C8	119.41(14)

N1-C10-C9	122.38(14)

N1-C11-C12	122.61(14)

C13-C12-C11	118.60(15)

C12-C13-C9	119.26(15)

C11-N1-C10	118.60(13)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2´ 103]. The anisotropic displacement

factor exponent takes the form: -2p 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	20(1) 	21(1)	18(1) 	1(1)	2(1) 	-1(1)

C2	22(1) 	19(1)	18(1) 	0(1)	3(1) 	-1(1)

C3	25(1) 	23(1)	20(1) 	1(1)	1(1) 	2(1)

C4	36(1) 	29(1)	22(1) 	-5(1)	2(1) 	0(1)

C5	40(1) 	30(1)	30(1) 	-7(1)	13(1) 	3(1)

C6	27(1) 	31(1)	36(1) 	-3(1)	10(1) 	6(1)

C7	22(1) 	26(1)	27(1) 	0(1)	3(1) 	1(1)

O1	21(1) 	26(1)	21(1) 	-7(1)	0(1) 	0(1)

O2	22(1) 	30(1)	24(1) 	-5(1)	-2(1) 	7(1)

O3	29(1) 	35(1)	25(1) 	-8(1)	-6(1) 	9(1)

C8	26(1) 	19(1)	19(1) 	-2(1)	6(1) 	-6(1)

C9	25(1) 	17(1)	18(1) 	1(1)	4(1) 	-5(1)

C10	24(1) 	19(1)	19(1) 	1(1)	3(1) 	-4(1)

C11	23(1) 	24(1)	21(1) 	-1(1)	2(1) 	-5(1)

C12	22(1) 	24(1)	28(1) 	1(1)	4(1) 	-3(1)

C13	27(1) 	19(1)	22(1) 	-1(1)	7(1) 	-4(1)

N1	25(1) 	21(1)	19(1) 	-1(1)	2(1) 	-4(1)

N2	38(1) 	19(1)	22(1) 	0(1)	-5(1) 	-5(1)

O4	38(1) 	18(1)	25(1) 	-4(1)	1(1) 	-5(1)