|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	04skc0007p(1

Empirical formula 	C8H14N2O7

Formula weight 	250.21

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 7.3760(15) Å	( = 88.86(3)°

b = 7.624(3) Å	( = 71.015(15)°

c = 10.211(3) Å	(  = 82.34(2)°

Volume	538.0(3) Å3

Z	2

Density (calculated)	1.545 Mg / m3

Absorption coefficient	0.137 mm(1

F(000)	264

Crystal	block; colourless

Crystal size	0.12 ( 0.10 ( 0.06 mm3

( range for data collection	2.95 ( 26.02°

Index ranges	(8 ( h ( 9, (9 ( k ( 9, (12 ( l ( 12

Reflections collected	9408

Independent reflections	2055 [Rint = 0.1435]

Completeness to ( = 26.02°	97.2 %

Max. and min. transmission	0.9919 and 0.9838

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2055 / 3 / 169

Goodness-of-fit on F2	1.078

Final R indices [F2 > 2((F2)]	R1 = 0.0670, wR2 = 0.1201

R indices (all data)	R1 = 0.1398, wR2 = 0.1423

Extinction coefficient	0.026(7)

Largest diff. peak and hole	0.291 and (0.313 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1834(4)	1015(5)	7608(3)	23(1)	1

C2	1434(4)	(749(5)	7176(3)	24(1)	1

C3	3329(4)	(1981(5)	6541(3)	24(1)	1

C4	2828(4)	(3795(5)	6318(3)	26(1)	1

O1B	2764(3)	1922(3)	6592(2)	28(1)	1

O1A	1267(3)	1473(3)	8849(2)	26(1)	1

O2	217(3)	(1617(3)	8313(2)	26(1)	1

O3	4428(3)	(1989(3)	7470(2)	26(1)	1

O4A	1735(3)	(3989(3)	5662(2)	31(1)	1

O4B	3639(3)	(5088(3)	6888(2)	28(1)	1

C24	3058(4)	6968(5)	11309(3)	25(1)	1

C25	2240(4)	5749(5)	12206(3)	27(1)	1

C22	2302(4)	4927(5)	10145(4)	26(1)	1

C26	3813(5)	8601(5)	11540(4)	36(1)	1

N21	1774(4)	4495(4)	11465(3)	29(1)	1

N23	3085(4)	6411(4)	10016(3)	26(1)	1

O1W	8118(3)	(1989(4)	5815(2)	33(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.239(4)

C1(O1B	1.288(4)

C1(C2	1.518(5)

C2(O2	1.428(4)

C2(C3	1.530(5)

C2(H2	1.0000

C3(O3	1.434(4)

C3(C4	1.518(5)

C3(H3	1.0000

C4(O4A	1.228(4)

C4(O4B	1.309(4)

O2(H2O	0.8400

O3(H3O	0.8400

O4B(H4	0.8400

C24(C25	1.350(5)

C24(N23	1.388(4)

C24(C26	1.483(5)

C25(N21	1.375(4)

C25(H25	0.9500

C22(N23	1.323(5)

C22(N21	1.324(4)

C22(H22	0.9500

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

N21(H21	0.8800

N23(H23	0.8800

O1W(H1W	0.839(19)

O1W(H2W	0.842(19)

O1A(C1(O1B	125.7(3)

O1A(C1(C2	120.0(3)

O1B(C1(C2	114.2(3)

O2(C2(C1	112.3(3)

O2(C2(C3	108.5(3)

C1(C2(C3	110.4(3)

O2(C2(H2	108.5

C1(C2(H2	108.5

C3(C2(H2	108.5

O3(C3(C4	113.1(3)

O3(C3(C2	107.6(3)

C4(C3(C2	108.0(3)

O3(C3(H3	109.3

C4(C3(H3	109.3

C2(C3(H3	109.3

O4A(C4(O4B	124.2(3)

O4A(C4(C3	121.4(3)

O4B(C4(C3	114.4(3)

C2(O2(H2O	109.5

C3(O3(H3O	109.5

C4(O4B(H4	109.5

C25(C24(N23	105.9(3)

C25(C24(C26	130.8(3)

N23(C24(C26	123.3(3)

C24(C25(N21	107.7(3)

C24(C25(H25	126.1

N21(C25(H25	126.1

N23(C22(N21	108.6(3)

N23(C22(H22	125.7

N21(C22(H22	125.7

C24(C26(H26A	109.5

C24(C26(H26B	109.5

H26A(C26(H26B	109.5

C24(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(N21(C25	108.7(3)

C22(N21(H21	125.7

C25(N21(H21	125.7

C22(N23(C24	109.2(3)

C22(N23(H23	125.4

C24(N23(H23	125.4

H1W(O1W(H2W	107(3)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	17(2) 	25(2)	27(2) 	(5(2)	(8(2) 	2(1)

C2	25(2) 	29(2)	17(2) 	2(2)	(4(1) 	(7(2)

C3	24(2) 	28(2)	23(2) 	1(2)	(9(1) 	(6(2)

C4	24(2) 	23(2)	25(2) 	(2(2)	(1(2) 	(4(2)

O1B	33(1) 	28(2)	23(1) 	4(1)	(9(1) 	(9(1)

O1A	24(1) 	28(2)	24(1) 	(3(1)	(4(1) 	(3(1)

O2	26(1) 	31(2)	19(1) 	(2(1)	(3(1) 	(10(1)

O3	20(1) 	32(2)	25(1) 	(1(1)	(7(1) 	(6(1)

O4A	34(1) 	28(2)	33(1) 	(3(1)	(17(1) 	(2(1)

O4B	31(1) 	20(2)	35(1) 	1(1)	(14(1) 	(5(1)

C24	19(2) 	31(2)	27(2) 	0(2)	(10(1) 	(1(2)

C25	27(2) 	31(2)	23(2) 	(5(2)	(8(2) 	(4(2)

C22	22(2) 	32(2)	24(2) 	0(2)	(7(2) 	(2(2)

C26	28(2) 	32(3)	46(2) 	(5(2)	(10(2) 	(5(2)

N21	24(1) 	34(2)	27(2) 	3(2)	(4(1) 	(7(1)

N23	23(1) 	30(2)	23(2) 	3(1)	(5(1) 	(3(1)

O1W	28(1) 	45(2)	26(1) 	1(1)	(9(1) 	(6(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O2(H2O...O1A	0.84	2.22	2.695(3)	116.2

O3(H3O...O1W	0.84	1.86	2.697(3)	171.0

N23(H23...O3i	0.88	1.91	2.783(4)	174.7

N21(H21...O2ii	0.88	1.96	2.765(4)	151.4

O2(H2O...O1Aii	0.84	2.08	2.743(3)	135.5

O4B(H4...O1Biii	0.84	1.67	2.501(3)	167.3

O1W(H1W...O1Biv	0.839(19)	1.904(19)	2.737(3)	172(5)

O1W(H2W...O4Av	0.842(19)	2.01(2)	2.849(4)	172(6)

Symmetry transformations used to generate equivalent atoms:

(i) x,y+1,z    (ii) (x,(y,(z+2    (iii) x,y(1,z    (iv)  (x+1,(y,(z+1

(v) x+1,y,z