|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0027p(1

Empirical formula 	C9H14N2O6

Formula weight 	246.22

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 7.5275(3) Å	( = 64.266(2)°

b = 9.4025(4) Å	( = 68.172(2)°

c = 9.9908(4) Å	(  = 74.175(2)°

Volume	586.06(4) Å3

Z	2

Density (calculated)	1.395 Mg / m3

Absorption coefficient	0.118 mm(1

F(000)	260

Crystal	fragment; colourless

Crystal size	0.08 ( 0.07 ( 0.05 mm3

( range for data collection	2.94 ( 27.48°

Index ranges	(9 ( h ( 9, (12 ( k ( 12, (12 ( l ( 12

Reflections collected	13608

Independent reflections	2677 [Rint = 0.0660]

Completeness to ( = 27.48°	99.7 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9941 and 0.9906

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2677 / 0 / 159

Goodness-of-fit on F2	1.146

Final R indices [F2 > 2((F2)]	R1 = 0.0963, wR2 = 0.2705

R indices (all data)	R1 = 0.1240, wR2 = 0.2858

Largest diff. peak and hole	0.806 and (0.400 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	3942(6)	1800(4)	1117(5)	20(1)	1

C2	5627(6)	1687(5)	1685(5)	20(1)	1

C3	7180(6)	360(5)	1330(5)	21(1)	1

C4	8866(6)	219(5)	1883(5)	22(1)	1

O1A	2350(4)	1482(4)	2129(4)	26(1)	1

O1B	4294(4)	2183(4)	(313(3)	28(1)	1

O2	5052(4)	1421(4)	3282(3)	26(1)	1

O3	6426(4)	(1096(3)	2094(3)	24(1)	1

O4A	9659(4)	1534(3)	1198(4)	26(1)	1

O4B	9408(5)	(988(4)	2847(4)	33(1)	1

C22	1658(7)	(4937(5)	6248(5)	28(1)	1

C24	2976(7)	(5454(6)	4106(6)	34(1)	1

C25	3043(7)	(3900(6)	3707(5)	29(1)	1

C26	1986(7)	(2048(5)	5174(5)	31(1)	1

C27	777(8)	(5132(6)	7890(5)	38(1)	1

N21	2200(5)	(3592(4)	5057(4)	24(1)	1

N23	2119(6)	(6070(5)	5676(5)	35(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1B	1.250(5)

C1(O1A	1.257(5)

C1(C2	1.534(6)

C2(O2	1.412(5)

C2(C3	1.527(5)

C2(H2	1.0000

C3(O3	1.405(5)

C3(C4	1.516(6)

C3(H3	1.0000

C4(O4B	1.214(5)

C4(O4A	1.310(5)

O2(H2OA	0.8400

O2(H2OB	0.8599

O3(H3O	0.8400

O4A(H4	0.8400

C22(N23	1.327(6)

C22(N21	1.340(5)

C22(C27	1.470(6)

C24(C25	1.348(7)

C24(N23	1.369(6)

C24(H24	0.9500

C25(N21	1.382(6)

C25(H25	0.9500

C26(N21	1.467(6)

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

N23(H23	0.8800

O1B(C1(O1A	126.3(4)

O1B(C1(C2	116.6(4)

O1A(C1(C2	117.1(3)

O2(C2(C3	110.9(3)

O2(C2(C1	112.7(3)

C3(C2(C1	108.3(3)

O2(C2(H2	108.3

C3(C2(H2	108.3

C1(C2(H2	108.3

O3(C3(C4	109.2(3)

O3(C3(C2	110.0(3)

C4(C3(C2	109.5(3)

O3(C3(H3	109.4

C4(C3(H3	109.4

C2(C3(H3	109.4

O4B(C4(O4A	124.5(4)

O4B(C4(C3	123.0(4)

O4A(C4(C3	112.5(3)

C2(O2(H2OA	109.5

C2(O2(H2OB	142.2

H2OA(O2(H2OB	58.0

C3(O3(H3O	109.5

C4(O4A(H4	109.5

N23(C22(N21	107.3(4)

N23(C22(C27	126.4(4)

N21(C22(C27	126.3(4)

C25(C24(N23	107.3(4)

C25(C24(H24	126.3

N23(C24(H24	126.3

C24(C25(N21	106.5(4)

C24(C25(H25	126.8

N21(C25(H25	126.8

N21(C26(H26A	109.5

N21(C26(H26B	109.5

H26A(C26(H26B	109.5

N21(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(C27(H27A	109.5

C22(C27(H27B	109.5

H27A(C27(H27B	109.5

C22(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C22(N21(C25	109.2(4)

C22(N21(C26	125.5(4)

C25(N21(C26	125.3(4)

C22(N23(C24	109.7(4)

C22(N23(H23	125.1

C24(N23(H23	125.1

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	23(2) 	15(2)	23(2) 	(5(2)	(10(2) 	(2(2)

C2	20(2) 	18(2)	25(2) 	(8(2)	(9(2) 	(4(2)

C3	19(2) 	21(2)	23(2) 	(10(2)	(6(2) 	(2(2)

C4	20(2) 	19(2)	25(2) 	(11(2)	(4(2) 	1(2)

O1A	18(1) 	27(2)	32(2) 	(8(1)	(8(1) 	(4(1)

O1B	28(2) 	32(2)	23(2) 	(8(1)	(9(1) 	(8(1)

O2	24(2) 	35(2)	25(2) 	(16(1)	(7(1) 	(2(1)

O3	26(2) 	18(1)	29(2) 	(7(1)	(11(1) 	(5(1)

O4A	22(2) 	24(2)	31(2) 	(4(1)	(12(1) 	(7(1)

O4B	32(2) 	23(2)	45(2) 	(2(1)	(23(2) 	(5(1)

C22	29(2) 	21(2)	25(2) 	(2(2)	(5(2) 	(4(2)

C24	36(3) 	29(2)	34(2) 	(15(2)	(7(2) 	3(2)

C25	27(2) 	31(2)	26(2) 	(9(2)	(6(2) 	(5(2)

C26	41(3) 	26(2)	30(2) 	(9(2)	(14(2) 	(7(2)

C27	47(3) 	30(2)	25(2) 	(2(2)	(8(2) 	(3(2)

N21	25(2) 	21(2)	22(2) 	(5(1)	(6(1) 	(4(1)

N23	35(2) 	21(2)	37(2) 	(5(2)	(8(2) 	(1(2)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O2(H2OA...O1A	0.84	2.20	2.662(4)	114.2

O2(H2OB...O2i	0.86	2.46	3.299(6)	166.5

O4A(H4...O1Aii	0.84	1.68	2.506(4)	169.4

N23(H23...O4Biii	0.88	2.00	2.841(5)	158.9

N23(H23...O3iii	0.88	2.29	2.886(5)	124.8

O3(H3O...O1Biv	0.84	1.83	2.666(4)	169.8

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y,(z+1    (ii) x+1,y,z    (iii) (x+1,(y(1,(z+1

(iv)  (x+1,(y,(z