|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0029p21m

Empirical formula 	C8H12N2O4

Formula weight 	200.20

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/m

Unit cell dimensions	a = 8.1472(7) Å	 = 90°

b = 6.4965(5) Å	 = 97.401(4)°

c = 9.0107(5) Å	  = 90°

Volume	472.95(6) Å3

Z	2

Density (calculated)	1.406 Mg / m3

Absorption coefficient	0.114 mm1

F(000)	212

Crystal	lath; colourless

Crystal size	0.12  0.06  0.01 mm3

 range for data collection	3.61  27.48°

Index ranges	10  h  10, 8  k  8, 11  l  11

Reflections collected	6255

Independent reflections	1184 [Rint = 0.0545]

Completeness to  = 27.48°	99.7 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9989 and 0.9865

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1184 / 0 / 88

Goodness-of-fit on F2	1.091

Final R indices [F2 > 2(F2)]	R1 = 0.0480, wR2 = 0.0990

R indices (all data)	R1 = 0.0687, wR2 = 0.1076

Largest diff. peak and hole	0.284 and 0.238 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	771(3)	2500	6467(2)	18(1)	1

C2	2331(3)	2500	5710(2)	20(1)	1

C3	3935(3)	2500	6766(2)	18(1)	1

C4	5430(3)	2500	5934(2)	17(1)	1

O1A	584(2)	2500	5568(2)	24(1)	1

O1B	854(2)	2500	7851(2)	23(1)	1

O4A	5365(2)	2500	4587(2)	26(1)	1

O4B	6831(2)	2500	6862(2)	23(1)	1

C22	10025(3)	2500	1452(2)	21(1)	1

C24	7421(3)	2500	390(3)	25(1)	1

C25	7411(3)	2500	1877(3)	24(1)	1

C26	11856(3)	2500	1634(3)	28(1)	1

N21	9036(3)	2500	2520(2)	23(1)	1

N23	9057(2)	2500	146(2)	22(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1B	1.240(3)

C1O1A	1.283(3)

C1C2	1.518(3)

C2C3	1.514(3)

C2H2A	0.9900

C2H2B	0.9900

C3C4	1.510(3)

C3H3A	0.9900

C3H3B	0.9900

C4O4A	1.208(3)

C4O4B	1.326(3)

O4BH4	0.8400

C22N23	1.330(3)

C22N21	1.333(3)

C22C26	1.479(3)

C24C25	1.341(3)

C24N23	1.378(3)

C24H24	0.9500

C25N21	1.375(3)

C25H25	0.9500

C26H26A	0.9800

C26H26B	0.9800

C26H26C	0.9800

N21H21	0.8800

N23H23	0.8800

O1BC1O1A	124.5(2)

O1BC1C2	120.75(19)

O1AC1C2	114.78(19)

C3C2C1	115.01(18)

C3C2H2A	108.5

C1C2H2A	108.5

C3C2H2B	108.5

C1C2H2B	108.5

H2AC2H2B	107.5

C4C3C2	111.97(18)

C4C3H3A	109.2

C2C3H3A	109.2

C4C3H3B	109.2

C2C3H3B	109.2

H3AC3H3B	107.9

O4AC4O4B	123.8(2)

O4AC4C3	124.4(2)

O4BC4C3	111.76(18)

C4O4BH4	109.5

N23C22N21	107.1(2)

N23C22C26	125.0(2)

N21C22C26	127.9(2)

C25C24N23	106.9(2)

C25C24H24	126.6

N23C24H24	126.6

C24C25N21	107.0(2)

C24C25H25	126.5

N21C25H25	126.5

C22C26H26A	109.5

C22C26H26B	109.5

H26AC26H26B	109.5

C22C26H26C	109.5

H26AC26H26C	109.5

H26BC26H26C	109.5

C22N21C25	109.53(19)

C22N21H21	125.2

C25N21H21	125.2

C22N23C24	109.52(19)

C22N23H23	125.2

C24N23H23	125.2

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	14(1) 	21(1)	18(1) 	0	3(1) 	0

C2	15(1) 	30(1)	16(1) 	0	3(1) 	0

C3	14(1) 	26(1)	15(1) 	0	4(1) 	0

C4	15(1) 	21(1)	16(1) 	0	3(1) 	0

O1A	12(1) 	42(1)	18(1) 	0	3(1) 	0

O1B	18(1) 	36(1)	15(1) 	0	4(1) 	0

O4A	18(1) 	45(1)	16(1) 	0	3(1) 	0

O4B	13(1) 	40(1)	18(1) 	0	4(1) 	0

C22	26(1) 	19(1)	18(1) 	0	5(1) 	0

C24	22(1) 	32(1)	21(1) 	0	5(1) 	0

C25	24(1) 	26(1)	22(1) 	0	7(1) 	0

C26	28(1) 	33(2)	23(1) 	0	3(1) 	0

N21	30(1) 	26(1)	14(1) 	0	5(1) 	0

N23	24(1) 	27(1)	16(1) 	0	6(1) 	0

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

O4BH4...O1Ai	0.84	1.70	2.535(2)	173.0

N21H21...O1Ai	0.88	1.87	2.724(2)	163.2

N23H23...O1Bii	0.88	1.84	2.684(2)	159.3

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y,z    (ii) x+1,y,z1