|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0061p21c

Empirical formula 	C6H11NO3

Formula weight 	145.16

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 10.7285(4) Å	( = 90°

b = 7.7897(3) Å	( = 106.793(2)°

c = 8.8064(3) Å	(  = 90°

Volume	704.58(4) Å3

Z	4

Density (calculated)	1.368 Mg / m3

Absorption coefficient	0.110 mm(1

F(000)	312

Crystal	rod; colourless

Crystal size	0.39 ( 0.28 ( 0.21 mm3

( range for data collection	3.28 ( 27.48°

Index ranges	(13 ( h ( 13, (10 ( k ( 10, (11 ( l ( 11

Reflections collected	8019

Independent reflections	1184 [Rint = 0.0455]

Completeness to ( = 27.48°	73.2 %

Max. and min. transmission	0.9774 and 0.9585

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1184 / 0 / 95

Goodness-of-fit on F2	1.091

Final R indices [F2 > 2((F2)]	R1 = 0.0407, wR2 = 0.1020

R indices (all data)	R1 = 0.0606, wR2 = 0.1106

Extinction coefficient	0.040(14)

Largest diff. peak and hole	0.171 and (0.172 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	6283(2)	9401(2)	6990(2)	18(1)	1

C2	5472(2)	9438(2)	5284(2)	19(1)	1

O1A	5971(1)	10370(1)	7962(1)	22(1)	1

O1B	7246(1)	8395(1)	7353(1)	25(1)	1

C22	6994(2)	10866(2)	11906(2)	23(1)	1

C23	7922(2)	10896(2)	13565(2)	26(1)	1

C25	9681(2)	9986(2)	12714(2)	25(1)	1

C26	8847(2)	9861(2)	11007(2)	21(1)	1

N21	7457(1)	9598(2)	10924(2)	19(1)	1

O24	9212(1)	11309(2)	13537(1)	28(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.2571(17)

C1(O1B	1.2627(19)

C1(C2	1.504(2)

C2(C2i	1.323(3)

C2(H2	0.9500

C22(N21	1.4893(17)

C22(C23	1.512(2)

C22(H22A	0.9900

C22(H22B	0.9900

C23(O24	1.4274(19)

C23(H23A	0.9900

C23(H23B	0.9900

C25(O24	1.4324(18)

C25(C26	1.514(2)

C25(H25A	0.9900

C25(H25B	0.9900

C26(N21	1.4852(19)

C26(H26A	0.9900

C26(H26B	0.9900

N21(H21A	0.9200

N21(H21B	0.9200

O1A(C1(O1B	124.05(15)

O1A(C1(C2	118.58(13)

O1B(C1(C2	117.37(12)

C2i(C2(C1	123.27(16)

C2i(C2(H2	118.4

C1(C2(H2	118.4

N21(C22(C23	109.55(13)

N21(C22(H22A	109.8

C23(C22(H22A	109.8

N21(C22(H22B	109.8

C23(C22(H22B	109.8

H22A(C22(H22B	108.2

O24(C23(C22	110.96(12)

O24(C23(H23A	109.4

C22(C23(H23A	109.4

O24(C23(H23B	109.4

C22(C23(H23B	109.4

H23A(C23(H23B	108.0

O24(C25(C26	110.82(13)

O24(C25(H25A	109.5

C26(C25(H25A	109.5

O24(C25(H25B	109.5

C26(C25(H25B	109.5

H25A(C25(H25B	108.1

N21(C26(C25	110.82(11)

N21(C26(H26A	109.5

C25(C26(H26A	109.5

N21(C26(H26B	109.5

C25(C26(H26B	109.5

H26A(C26(H26B	108.1

C26(N21(C22	112.21(12)

C26(N21(H21A	109.2

C22(N21(H21A	109.2

C26(N21(H21B	109.2

C22(N21(H21B	109.2

H21A(N21(H21B	107.9

C23(O24(C25	109.30(11)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y+2,(z+1

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	17(1) 	19(1)	17(1) 	1(1)	4(1) 	(2(1)

C2	21(1) 	22(1)	15(1) 	(1(1)	4(1) 	(1(1)

O1A	23(1) 	27(1)	15(1) 	(2(1)	2(1) 	4(1)

O1B	22(1) 	26(1)	22(1) 	(3(1)	(1(1) 	7(1)

C22	22(1) 	25(1)	22(1) 	(1(1)	8(1) 	2(1)

C23	28(1) 	29(1)	22(1) 	(6(1)	10(1) 	(5(1)

C25	19(1) 	31(1)	23(1) 	1(1)	3(1) 	(1(1)

C26	20(1) 	25(1)	19(1) 	1(1)	8(1) 	0(1)

N21	19(1) 	23(1)	16(1) 	1(1)	4(1) 	(1(1)

O24	26(1) 	31(1)	24(1) 	(7(1)	4(1) 	(8(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N21(H21B...O1A	0.92	1.80	2.7023(17)	167.2

N21(H21B...O1B	0.92	2.55	3.2256(16)	130.9

N21(H21A...O1Bii	0.92	1.78	2.6902(16)	167.4

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y+2,(z+1    (ii) x,(y+3/2,z+1/2