|  | # Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0061p21c

Empirical formula 	C6H11NO3

Formula weight 	145.16

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 10.7285(4) Å	 = 90°

b = 7.7897(3) Å	 = 106.793(2)°

c = 8.8064(3) Å	  = 90°

Volume	704.58(4) Å3

Z	4

Density (calculated)	1.368 Mg / m3

Absorption coefficient	0.110 mm1

F(000)	312

Crystal	rod; colourless

Crystal size	0.39  0.28  0.21 mm3

 range for data collection	3.28  27.48°

Index ranges	13  h  13, 10  k  10, 11  l  11

Reflections collected	8019

Independent reflections	1184 [Rint = 0.0455]

Completeness to  = 27.48°	73.2 %

Max. and min. transmission	0.9774 and 0.9585

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1184 / 0 / 95

Goodness-of-fit on F2	1.091

Final R indices [F2 > 2(F2)]	R1 = 0.0407, wR2 = 0.1020

R indices (all data)	R1 = 0.0606, wR2 = 0.1106

Extinction coefficient	0.040(14)

Largest diff. peak and hole	0.171 and 0.172 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	6283(2)	9401(2)	6990(2)	18(1)	1

C2	5472(2)	9438(2)	5284(2)	19(1)	1

O1A	5971(1)	10370(1)	7962(1)	22(1)	1

O1B	7246(1)	8395(1)	7353(1)	25(1)	1

C22	6994(2)	10866(2)	11906(2)	23(1)	1

C23	7922(2)	10896(2)	13565(2)	26(1)	1

C25	9681(2)	9986(2)	12714(2)	25(1)	1

C26	8847(2)	9861(2)	11007(2)	21(1)	1

N21	7457(1)	9598(2)	10924(2)	19(1)	1

O24	9212(1)	11309(2)	13537(1)	28(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1O1A	1.2571(17)

C1O1B	1.2627(19)

C1C2	1.504(2)

C2C2i	1.323(3)

C2H2	0.9500

C22N21	1.4893(17)

C22C23	1.512(2)

C22H22A	0.9900

C22H22B	0.9900

C23O24	1.4274(19)

C23H23A	0.9900

C23H23B	0.9900

C25O24	1.4324(18)

C25C26	1.514(2)

C25H25A	0.9900

C25H25B	0.9900

C26N21	1.4852(19)

C26H26A	0.9900

C26H26B	0.9900

N21H21A	0.9200

N21H21B	0.9200

O1AC1O1B	124.05(15)

O1AC1C2	118.58(13)

O1BC1C2	117.37(12)

C2iC2C1	123.27(16)

C2iC2H2	118.4

C1C2H2	118.4

N21C22C23	109.55(13)

N21C22H22A	109.8

C23C22H22A	109.8

N21C22H22B	109.8

C23C22H22B	109.8

H22AC22H22B	108.2

O24C23C22	110.96(12)

O24C23H23A	109.4

C22C23H23A	109.4

O24C23H23B	109.4

C22C23H23B	109.4

H23AC23H23B	108.0

O24C25C26	110.82(13)

O24C25H25A	109.5

C26C25H25A	109.5

O24C25H25B	109.5

C26C25H25B	109.5

H25AC25H25B	108.1

N21C26C25	110.82(11)

N21C26H26A	109.5

C25C26H26A	109.5

N21C26H26B	109.5

C25C26H26B	109.5

H26AC26H26B	108.1

C26N21C22	112.21(12)

C26N21H21A	109.2

C22N21H21A	109.2

C26N21H21B	109.2

C22N21H21B	109.2

H21AN21H21B	107.9

C23O24C25	109.30(11)

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y+2,z+1

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	17(1) 	19(1)	17(1) 	1(1)	4(1) 	2(1)

C2	21(1) 	22(1)	15(1) 	1(1)	4(1) 	1(1)

O1A	23(1) 	27(1)	15(1) 	2(1)	2(1) 	4(1)

O1B	22(1) 	26(1)	22(1) 	3(1)	1(1) 	7(1)

C22	22(1) 	25(1)	22(1) 	1(1)	8(1) 	2(1)

C23	28(1) 	29(1)	22(1) 	6(1)	10(1) 	5(1)

C25	19(1) 	31(1)	23(1) 	1(1)	3(1) 	1(1)

C26	20(1) 	25(1)	19(1) 	1(1)	8(1) 	0(1)

N21	19(1) 	23(1)	16(1) 	1(1)	4(1) 	1(1)

O24	26(1) 	31(1)	24(1) 	7(1)	4(1) 	8(1)

Table 5. Hydrogen bonds [Å and °].

DH···A	d(DH)	d(H···A)	d(D···A)	(DHA)

N21H21B...O1A	0.92	1.80	2.7023(17)	167.2

N21H21B...O1B	0.92	2.55	3.2256(16)	130.9

N21H21A...O1Bii	0.92	1.78	2.6902(16)	167.4

Symmetry transformations used to generate equivalent atoms:

(i) x+1,y+2,z+1    (ii) x,y+3/2,z+1/2