|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0065p21n

Empirical formula 	C16H32N2O8

Formula weight 	380.44

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 17.308(2) Å	( = 90°

b = 9.0088(14) Å	( = 105.305(7)°

c = 18.932(3) Å	(  = 90°

Volume	2847.2(7) Å3

Z	6

Density (calculated)	1.331 Mg / m3

Absorption coefficient	0.106 mm(1

F(000)	1236

Crystal	block; colourless

Crystal size	0.18 ( 0.11 ( 0.07 mm3

( range for data collection	2.93 ( 27.48°

Index ranges	(22 ( h ( 22, (11 ( k ( 11, (24 ( l ( 23

Reflections collected	51188

Independent reflections	6444 [Rint = 0.3562]

Completeness to ( = 27.48°	98.5 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9926 and 0.9812

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6444 / 0 / 364

Goodness-of-fit on F2	1.014

Final R indices [F2 > 2((F2)]	R1 = 0.1472, wR2 = 0.3334

R indices (all data)	R1 = 0.3760, wR2 = 0.4538

Largest diff. peak and hole	0.583 and (0.387 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	1754(5)	411(9)	1583(4)	43(2)	1

C2	2511(5)	(342(10)	1961(5)	58(3)	1

C3	2533(6)	(1159(10)	2619(5)	72(3)	1

C4	2478(5)	(163(10)	3261(5)	61(3)	1

C5	3198(6)	698(11)	3630(5)	61(3)	1

O1A	1115(3)	224(6)	1764(3)	48(2)	1

O1B	1782(3)	1303(6)	1056(3)	57(2)	1

O5A	3837(3)	593(7)	3479(4)	74(2)	1

O5B	3143(3)	1638(7)	4190(3)	62(2)	1

C21	4629(5)	(2210(9)	5261(5)	65(3)	1

C23	5246(4)	(4433(8)	4863(4)	38(2)	1

C24	5183(4)	(2085(8)	4183(4)	48(2)	1

N22	4774(4)	(3050(7)	4627(4)	47(2)	1

C31	8322(5)	10006(11)	1685(5)	54(2)	1

C32	7757(5)	11215(10)	1296(5)	58(3)	1

C33	7060(5)	10580(10)	736(4)	57(3)	1

C34	7313(4)	9921(9)	92(4)	47(2)	1

C35	6650(5)	9009(10)	(408(5)	56(2)	1

O31A	9012(3)	10013(7)	1598(3)	67(2)	1

O31B	8129(3)	9081(7)	2103(3)	59(2)	1

O35A	6847(3)	8227(8)	(910(3)	64(2)	1

O35B	5971(3)	9047(7)	(345(3)	63(2)	1

C41	5154(4)	7885(9)	787(4)	46(2)	1

C43	5206(4)	5609(8)	1509(4)	38(2)	1

C44	4721(4)	4520(9)	1808(4)	44(2)	1

C46	4763(5)	2294(9)	2535(5)	55(2)	1

C47	4623(5)	7897(9)	1872(4)	51(2)	1

C48	5538(5)	2367(9)	1635(5)	54(2)	1

N42	4747(3)	7007(7)	1245(3)	38(2)	1

N45	5211(3)	3237(7)	2140(3)	39(2)	1

C51	3260(5)	5491(10)	23(5)	49(2)	1

C52	2453(5)	4700(10)	(350(5)	53(2)	1

C53	2471(5)	3721(10)	(953(5)	56(2)	1

C54	2515(4)	4491(10)	(1649(4)	49(2)	1

C55	1744(5)	5326(10)	(2033(4)	49(2)	1

O51A	3212(3)	6411(6)	533(3)	47(2)	1

O51B	3850(3)	5308(6)	(179(3)	54(2)	1

O55A	1767(4)	6024(7)	(2643(3)	64(2)	1

O55B	1153(3)	5303(7)	(1828(3)	63(2)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.253(9)

C1(O1B	1.291(9)

C1(C2	1.481(10)

C2(C3	1.437(11)

C2(H2A	0.9900

C2(H2B	0.9900

C3(C4	1.534(12)

C3(H3A	0.9900

C3(H3B	0.9900

C4(C5	1.477(13)

C4(H4A	0.9900

C4(H4B	0.9900

C5(O5A	1.217(9)

C5(O5B	1.379(11)

O5B(H5	0.8400

C21(N22	1.495(10)

C21(H21A	0.9800

C21(H21B	0.9800

C21(H21C	0.9800

C23(N22	1.492(9)

C23(C23i	1.506(13)

C23(H23A	0.9900

C23(H23B	0.9900

C24(N22	1.508(9)

C24(H24A	0.9800

C24(H24B	0.9800

C24(H24C	0.9800

N22(H22	0.9300

C31(O31A	1.249(9)

C31(O31B	1.254(10)

C31(C32	1.518(12)

C32(C33	1.494(11)

C32(H32A	0.9900

C32(H32B	0.9900

C33(C34	1.522(10)

C33(H33A	0.9900

C33(H33B	0.9900

C34(C35	1.521(11)

C34(H34A	0.9900

C34(H34B	0.9900

C35(O35B	1.213(9)

C35(O35A	1.300(9)

O35A(H35	0.8400

C41(N42	1.484(8)

C41(H41A	0.9800

C41(H41B	0.9800

C41(H41C	0.9800

C43(C44	1.497(10)

C43(N42	1.502(9)

C43(H43A	0.9900

C43(H43B	0.9900

C44(N45	1.473(9)

C44(H44A	0.9900

C44(H44B	0.9900

C46(N45	1.479(9)

C46(H46A	0.9800

C46(H46B	0.9800

C46(H46C	0.9800

C47(N42	1.494(9)

C47(H47A	0.9800

C47(H47B	0.9800

C47(H47C	0.9800

C48(N45	1.460(9)

C48(H48A	0.9800

C48(H48B	0.9800

C48(H48C	0.9800

N42(H42	0.9300

N45(H45	0.9300

C51(O51B	1.192(8)

C51(O51A	1.292(9)

C51(C52	1.562(11)

C52(C53	1.449(11)

C52(H52A	0.9900

C52(H52B	0.9900

C53(C54	1.509(11)

C53(H53A	0.9900

C53(H53B	0.9900

C54(C55	1.537(11)

C54(H54A	0.9900

C54(H54B	0.9900

C55(O55B	1.186(8)

C55(O55A	1.326(9)

O55A(H55	0.8400

O1A(C1(O1B	120.7(7)

O1A(C1(C2	122.5(8)

O1B(C1(C2	116.8(8)

C3(C2(C1	118.1(8)

C3(C2(H2A	107.8

C1(C2(H2A	107.8

C3(C2(H2B	107.8

C1(C2(H2B	107.8

H2A(C2(H2B	107.1

C2(C3(C4	113.2(7)

C2(C3(H3A	108.9

C4(C3(H3A	108.9

C2(C3(H3B	108.9

C4(C3(H3B	108.9

H3A(C3(H3B	107.8

C5(C4(C3	117.4(8)

C5(C4(H4A	107.9

C3(C4(H4A	107.9

C5(C4(H4B	107.9

C3(C4(H4B	107.9

H4A(C4(H4B	107.2

O5A(C5(O5B	118.7(10)

O5A(C5(C4	123.6(9)

O5B(C5(C4	117.7(7)

C5(O5B(H5	109.5

N22(C21(H21A	109.5

N22(C21(H21B	109.5

H21A(C21(H21B	109.5

N22(C21(H21C	109.5

H21A(C21(H21C	109.5

H21B(C21(H21C	109.5

N22(C23(C23i	110.8(7)

N22(C23(H23A	109.5

C23i(C23(H23A	109.5

N22(C23(H23B	109.5

C23i(C23(H23B	109.5

H23A(C23(H23B	108.1

N22(C24(H24A	109.5

N22(C24(H24B	109.5

H24A(C24(H24B	109.5

N22(C24(H24C	109.5

H24A(C24(H24C	109.5

H24B(C24(H24C	109.5

C23(N22(C21	112.1(6)

C23(N22(C24	110.4(5)

C21(N22(C24	111.0(6)

C23(N22(H22	107.7

C21(N22(H22	107.7

C24(N22(H22	107.7

O31A(C31(O31B	120.7(8)

O31A(C31(C32	116.6(9)

O31B(C31(C32	122.6(8)

C33(C32(C31	111.4(7)

C33(C32(H32A	109.3

C31(C32(H32A	109.3

C33(C32(H32B	109.3

C31(C32(H32B	109.3

H32A(C32(H32B	108.0

C32(C33(C34	111.6(7)

C32(C33(H33A	109.3

C34(C33(H33A	109.3

C32(C33(H33B	109.3

C34(C33(H33B	109.3

H33A(C33(H33B	108.0

C35(C34(C33	112.3(7)

C35(C34(H34A	109.1

C33(C34(H34A	109.1

C35(C34(H34B	109.1

C33(C34(H34B	109.1

H34A(C34(H34B	107.9

O35B(C35(O35A	122.3(8)

O35B(C35(C34	121.1(8)

O35A(C35(C34	116.6(7)

C35(O35A(H35	109.5

N42(C41(H41A	109.5

N42(C41(H41B	109.5

H41A(C41(H41B	109.5

N42(C41(H41C	109.5

H41A(C41(H41C	109.5

H41B(C41(H41C	109.5

C44(C43(N42	112.0(6)

C44(C43(H43A	109.2

N42(C43(H43A	109.2

C44(C43(H43B	109.2

N42(C43(H43B	109.2

H43A(C43(H43B	107.9

N45(C44(C43	111.0(6)

N45(C44(H44A	109.4

C43(C44(H44A	109.4

N45(C44(H44B	109.4

C43(C44(H44B	109.4

H44A(C44(H44B	108.0

N45(C46(H46A	109.5

N45(C46(H46B	109.5

H46A(C46(H46B	109.5

N45(C46(H46C	109.5

H46A(C46(H46C	109.5

H46B(C46(H46C	109.5

N42(C47(H47A	109.5

N42(C47(H47B	109.5

H47A(C47(H47B	109.5

N42(C47(H47C	109.5

H47A(C47(H47C	109.5

H47B(C47(H47C	109.5

N45(C48(H48A	109.5

N45(C48(H48B	109.5

H48A(C48(H48B	109.5

N45(C48(H48C	109.5

H48A(C48(H48C	109.5

H48B(C48(H48C	109.5

C41(N42(C47	111.6(6)

C41(N42(C43	110.5(5)

C47(N42(C43	111.1(6)

C41(N42(H42	107.8

C47(N42(H42	107.8

C43(N42(H42	107.8

C48(N45(C44	114.9(6)

C48(N45(C46	111.6(6)

C44(N45(C46	110.3(6)

C48(N45(H45	106.5

C44(N45(H45	106.5

C46(N45(H45	106.5

O51B(C51(O51A	124.0(8)

O51B(C51(C52	122.1(8)

O51A(C51(C52	113.8(7)

C53(C52(C51	115.5(7)

C53(C52(H52A	108.4

C51(C52(H52A	108.4

C53(C52(H52B	108.4

C51(C52(H52B	108.4

H52A(C52(H52B	107.5

C52(C53(C54	115.2(8)

C52(C53(H53A	108.5

C54(C53(H53A	108.5

C52(C53(H53B	108.5

C54(C53(H53B	108.5

H53A(C53(H53B	107.5

C53(C54(C55	113.5(6)

C53(C54(H54A	108.9

C55(C54(H54A	108.9

C53(C54(H54B	108.9

C55(C54(H54B	108.9

H54A(C54(H54B	107.7

O55B(C55(O55A	121.3(8)

O55B(C55(C54	123.6(8)

O55A(C55(C54	115.0(6)

C55(O55A(H55	109.5

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y(1,(z+1

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	48(5) 	43(5)	34(5) 	(9(4)	3(4) 	15(4)

C2	47(5) 	66(6)	54(6) 	(18(5)	3(5) 	20(5)

C3	106(8) 	49(6)	71(8) 	16(5)	39(6) 	22(5)

C4	74(7) 	70(6)	37(5) 	9(5)	14(5) 	22(6)

C5	61(7) 	85(7)	49(6) 	32(6)	35(5) 	28(6)

O1A	36(3) 	60(4)	46(4) 	3(3)	10(3) 	4(3)

O1B	55(4) 	67(4)	55(4) 	(9(3)	26(3) 	(8(3)

O5A	52(4) 	92(5)	87(5) 	36(4)	34(4) 	15(4)

O5B	35(3) 	102(5)	46(4) 	3(4)	7(3) 	(6(3)

C21	61(6) 	55(6)	96(8) 	8(6)	52(6) 	5(5)

C23	28(4) 	45(5)	41(5) 	11(4)	10(3) 	9(4)

C24	41(5) 	45(5)	50(5) 	12(4)	2(4) 	(13(4)

N22	32(4) 	53(4)	53(5) 	2(4)	4(3) 	(3(3)

C31	46(5) 	88(7)	27(5) 	(2(5)	9(4) 	20(5)

C32	53(5) 	59(6)	51(6) 	(9(5)	(5(5) 	21(5)

C33	57(6) 	71(6)	37(5) 	(3(5)	0(4) 	25(5)

C34	41(5) 	65(6)	31(5) 	(8(4)	5(4) 	9(4)

C35	48(6) 	82(7)	35(5) 	8(5)	7(4) 	20(5)

O31A	50(4) 	81(5)	74(5) 	13(4)	22(3) 	21(3)

O31B	53(4) 	83(5)	38(4) 	(2(3)	7(3) 	9(3)

O35A	47(4) 	103(5)	46(4) 	(12(4)	21(3) 	(22(4)

O35B	34(3) 	100(5)	58(4) 	15(3)	18(3) 	6(3)

C41	41(5) 	62(6)	39(5) 	4(4)	16(4) 	(11(4)

C43	34(4) 	46(5)	35(5) 	3(4)	13(4) 	0(4)

C44	37(4) 	50(5)	48(5) 	0(4)	16(4) 	0(4)

C46	47(5) 	62(6)	60(6) 	5(5)	21(5) 	2(4)

C47	39(5) 	58(6)	59(6) 	(5(5)	18(4) 	1(4)

C48	49(5) 	58(6)	62(6) 	17(5)	25(5) 	22(4)

N42	26(4) 	46(4)	45(4) 	6(3)	15(3) 	(2(3)

N45	27(3) 	55(4)	32(4) 	(8(3)	5(3) 	(6(3)

C51	36(5) 	60(6)	52(6) 	6(5)	13(4) 	0(4)

C52	54(5) 	59(6)	53(6) 	(1(5)	23(5) 	0(5)

C53	42(5) 	60(6)	63(6) 	(4(5)	7(5) 	(9(4)

C54	43(5) 	68(6)	39(5) 	13(4)	15(4) 	(8(4)

C55	40(5) 	79(7)	25(5) 	0(5)	6(4) 	(2(5)

O51A	41(3) 	66(4)	36(3) 	0(3)	15(3) 	10(3)

O51B	37(3) 	80(4)	48(4) 	(12(3)	17(3) 	(8(3)

O55A	54(4) 	96(5)	40(4) 	8(3)	7(3) 	11(4)

O55B	34(3) 	105(5)	50(4) 	(14(3)	11(3) 	(11(3)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N42(H42...O51A	0.93	1.78	2.697(8)	168.2

N42(H42...O51B	0.93	2.44	3.133(8)	131.5

O5B(H5...O51Aii	0.84	1.71	2.542(7)	172.8

N22(H22...O1Bii	0.93	1.82	2.725(9)	164.7

N22(H22...O1Aii	0.93	2.38	3.095(8)	133.1

O35A(H35...O1Biii	0.84	1.67	2.498(7)	166.3

N45(H45...O31Aiv	0.93	2.09	2.895(8)	144.2

N45(H45...O31Biv	0.93	2.10	2.953(8)	152.4

O55A(H55...O31Bv	0.84	1.69	2.528(8)	172.4

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y(1,(z+1    (ii) (x+1/2,y(1/2,(z+1/2    (iii) (x+1,(y+1,(z

(iv)  (x+3/2,y(1/2,(z+1/2    (v) x(1/2,(y+3/2,z(1/2