|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	07skc0004p21c

Empirical formula 	C10H15NO5

Formula weight 	229.23

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 5.7683(9) Å	( = 90°

b = 13.702(3) Å	( = 97.458(11)°

c = 14.442(3) Å	(  = 90°

Volume	1131.8(3) Å3

Z	4

Density (calculated)	1.345 Mg / m3

Absorption coefficient	0.108 mm(1

F(000)	488

Crystal	needle; colourless

Crystal size	0.18 ( 0.02 ( 0.01 mm3

( range for data collection	2.97 ( 27.48°

Index ranges	(7 ( h ( 7, (17 ( k ( 17, (18 ( l ( 18

Reflections collected	12271

Independent reflections	2590 [Rint = 0.1974]

Completeness to ( = 27.48°	99.1 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9989 and 0.9808

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2590 / 0 / 150

Goodness-of-fit on F2	1.122

Final R indices [F2 > 2((F2)]	R1 = 0.1456, wR2 = 0.2529

R indices (all data)	R1 = 0.2799, wR2 = 0.3148

Largest diff. peak and hole	0.477 and (0.433 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	(2485(12)	10650(6)	988(5)	29(2)	1

C2	(2178(13)	9551(6)	987(6)	29(2)	1

C3	197(12)	9268(5)	1464(5)	24(2)	1

C4	672(13)	8196(6)	1276(5)	28(2)	1

C5	(5233(13)	11905(6)	1047(6)	35(2)	1

C6	3591(14)	6992(6)	1369(6)	35(2)	1

C22	2706(13)	9753(6)	2902(5)	30(2)	1

C23	2614(14)	10043(6)	3911(5)	30(2)	1

C25	(579(13)	9036(6)	4021(5)	33(2)	1

C26	(622(13)	8710(6)	3018(5)	32(2)	1

N21	341(10)	9491(5)	2477(4)	26(1)	1

O1A	(1029(9)	11236(4)	857(4)	41(2)	1

O1B	(4668(9)	10895(4)	1111(4)	31(1)	1

O4A	2992(9)	8007(4)	1472(4)	33(1)	1

O4B	(764(9)	7598(4)	1020(4)	35(1)	1

O24	1742(9)	9288(4)	4420(4)	35(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.195(9)

C1(O1B	1.337(8)

C1(C2	1.516(11)

C2(C3	1.502(10)

C2(H2A	0.9900

C2(H2B	0.9900

C3(N21	1.486(9)

C3(C4	1.525(11)

C3(H3	1.0000

C4(O4B	1.190(9)

C4(O4A	1.356(9)

C5(O1B	1.422(9)

C5(H5A	0.9800

C5(H5B	0.9800

C5(H5C	0.9800

C6(O4A	1.445(9)

C6(H6A	0.9800

C6(H6B	0.9800

C6(H6C	0.9800

C22(N21	1.465(9)

C22(C23	1.519(11)

C22(H22A	0.9900

C22(H22B	0.9900

C23(O24	1.400(9)

C23(H23A	0.9900

C23(H23B	0.9900

C25(O24	1.429(9)

C25(C26	1.514(10)

C25(H25A	0.9900

C25(H25B	0.9900

C26(N21	1.476(10)

C26(H26A	0.9900

C26(H26B	0.9900

O1A(C1(O1B	123.1(8)

O1A(C1(C2	125.6(7)

O1B(C1(C2	111.2(7)

C3(C2(C1	110.8(6)

C3(C2(H2A	109.5

C1(C2(H2A	109.5

C3(C2(H2B	109.5

C1(C2(H2B	109.5

H2A(C2(H2B	108.1

N21(C3(C2	109.3(6)

N21(C3(C4	112.6(6)

C2(C3(C4	109.9(6)

N21(C3(H3	108.3

C2(C3(H3	108.3

C4(C3(H3	108.3

O4B(C4(O4A	124.2(7)

O4B(C4(C3	125.8(7)

O4A(C4(C3	110.0(6)

O1B(C5(H5A	109.5

O1B(C5(H5B	109.5

H5A(C5(H5B	109.5

O1B(C5(H5C	109.5

H5A(C5(H5C	109.5

H5B(C5(H5C	109.5

O4A(C6(H6A	109.5

O4A(C6(H6B	109.5

H6A(C6(H6B	109.5

O4A(C6(H6C	109.5

H6A(C6(H6C	109.5

H6B(C6(H6C	109.5

N21(C22(C23	108.6(6)

N21(C22(H22A	110.0

C23(C22(H22A	110.0

N21(C22(H22B	110.0

C23(C22(H22B	110.0

H22A(C22(H22B	108.4

O24(C23(C22	111.7(7)

O24(C23(H23A	109.3

C22(C23(H23A	109.3

O24(C23(H23B	109.3

C22(C23(H23B	109.3

H23A(C23(H23B	107.9

O24(C25(C26	110.8(6)

O24(C25(H25A	109.5

C26(C25(H25A	109.5

O24(C25(H25B	109.5

C26(C25(H25B	109.5

H25A(C25(H25B	108.1

N21(C26(C25	109.4(6)

N21(C26(H26A	109.8

C25(C26(H26A	109.8

N21(C26(H26B	109.8

C25(C26(H26B	109.8

H26A(C26(H26B	108.3

C22(N21(C26	110.5(6)

C22(N21(C3	113.1(6)

C26(N21(C3	113.2(6)

C1(O1B(C5	116.6(6)

C4(O4A(C6	113.9(6)

C23(O24(C25	110.4(6)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	19(4) 	41(5)	25(4) 	(1(4)	(3(3) 	5(4)

C2	34(4) 	22(4)	29(4) 	2(4)	(6(3) 	4(4)

C3	24(4) 	21(4)	29(4) 	(2(3)	7(3) 	1(3)

C4	25(4) 	30(5)	28(4) 	2(4)	4(3) 	(1(4)

C5	27(4) 	35(5)	42(5) 	5(4)	4(4) 	(3(4)

C6	39(5) 	22(5)	42(5) 	(7(4)	(2(4) 	9(4)

C22	26(4) 	31(5)	30(4) 	7(4)	(5(3) 	(4(3)

C23	37(5) 	27(5)	26(4) 	3(4)	(1(4) 	3(4)

C25	30(4) 	38(5)	30(4) 	5(4)	8(4) 	(6(4)

C26	21(4) 	39(5)	35(4) 	(6(4)	5(4) 	(1(4)

N21	23(3) 	26(4)	29(3) 	0(3)	5(3) 	(3(3)

O1A	28(3) 	35(4)	62(4) 	3(3)	8(3) 	(5(3)

O1B	26(3) 	30(3)	38(3) 	(1(3)	8(2) 	6(2)

O4A	27(3) 	29(3)	43(3) 	(8(3)	3(3) 	7(2)

O4B	26(3) 	36(4)	41(3) 	(2(3)	4(3) 	(2(3)

O24	41(3) 	38(4)	26(3) 	3(3)	(2(2) 	(8(3)