|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	07skc0022p21n

Empirical formula 	C9H12N2O4

Formula weight 	212.21

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/n

Unit cell dimensions	a = 7.6480(7) Å	( = 90°

b = 11.6730(9) Å	( = 93.547(4)°

c = 11.2040(11) Å	(  = 90°

Volume	998.32(15) Å3

Z	4

Density (calculated)	1.412 Mg / m3

Absorption coefficient	0.112 mm(1

F(000)	448

Crystal	plate; colourless

Crystal size	0.08 ( 0.05 ( 0.01 mm3

( range for data collection	3.14 ( 27.48°

Index ranges	(9 ( h ( 9, (15 ( k ( 14, (14 ( l ( 14

Reflections collected	15218

Independent reflections	2279 [Rint = 0.1219]

Completeness to ( = 27.48°	99.8 %

Max. and min. transmission	0.9989 and 0.9911

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2279 / 0 / 141

Goodness-of-fit on F2	1.167

Final R indices [F2 > 2((F2)]	R1 = 0.1020, wR2 = 0.1603

R indices (all data)	R1 = 0.1724, wR2 = 0.1889

Largest diff. peak and hole	0.280 and (0.318 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	819(5)	450(3)	(6566(4)	24(1)	1

C2	1223(6)	1612(4)	(6052(4)	25(1)	1

C3	2326(6)	1756(3)	(5114(4)	25(1)	1

C4	2755(5)	2888(4)	(4570(4)	23(1)	1

O1A	1597(4)	(407(2)	(6097(2)	26(1)	1

O1B	(275(4)	390(2)	(7462(3)	29(1)	1

O4A	3851(4)	2795(2)	(3606(3)	29(1)	1

O4B	2158(4)	3796(2)	(4949(3)	32(1)	1

C22	4288(5)	1716(3)	(8042(4)	23(1)	1

C24	5684(5)	2749(4)	(6652(4)	25(1)	1

C25	6086(6)	1650(4)	(6425(4)	25(1)	1

C26	5307(6)	(242(3)	(7456(4)	27(1)	1

C27	3165(6)	1413(4)	(9120(4)	27(1)	1

N21	5215(5)	1011(3)	(7316(3)	25(1)	1

N23	4573(4)	2785(3)	(7658(3)	24(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.262(5)

C1(O1B	1.268(5)

C1(C2	1.498(6)

C2(C3	1.317(6)

C2(H2	0.9500

C3(C4	1.483(6)

C3(H3	0.9500

C4(O4B	1.220(5)

C4(O4A	1.330(5)

O4A(H4	0.8400

C22(N21	1.331(5)

C22(N23	1.333(5)

C22(C27	1.481(6)

C24(C25	1.340(6)

C24(N23	1.370(5)

C24(H24	0.9500

C25(N21	1.383(5)

C25(H25	0.9500

C26(N21	1.473(5)

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

N23(H23	0.8800

O1A(C1(O1B	123.8(4)

O1A(C1(C2	118.5(4)

O1B(C1(C2	117.7(4)

C3(C2(C1	121.9(4)

C3(C2(H2	119.0

C1(C2(H2	119.0

C2(C3(C4	123.8(4)

C2(C3(H3	118.1

C4(C3(H3	118.1

O4B(C4(O4A	123.8(4)

O4B(C4(C3	124.2(4)

O4A(C4(C3	112.0(4)

C4(O4A(H4	109.5

N21(C22(N23	108.1(4)

N21(C22(C27	127.7(4)

N23(C22(C27	124.2(4)

C25(C24(N23	108.0(4)

C25(C24(H24	126.0

N23(C24(H24	126.0

C24(C25(N21	106.5(4)

C24(C25(H25	126.7

N21(C25(H25	126.7

N21(C26(H26A	109.5

N21(C26(H26B	109.5

H26A(C26(H26B	109.5

N21(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(C27(H27A	109.5

C22(C27(H27B	109.5

H27A(C27(H27B	109.5

C22(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C22(N21(C25	108.8(3)

C22(N21(C26	125.2(4)

C25(N21(C26	126.0(4)

C22(N23(C24	108.5(4)

C22(N23(H23	125.8

C24(N23(H23	125.8

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	25(2) 	17(2)	31(2) 	(1(2)	3(2) 	(1(2)

C2	32(3) 	20(2)	23(2) 	3(2)	(1(2) 	3(2)

C3	27(2) 	21(2)	27(2) 	4(2)	(1(2) 	(2(2)

C4	19(2) 	25(2)	25(2) 	(2(2)	2(2) 	(4(2)

O1A	32(2) 	18(1)	28(2) 	1(1)	(6(1) 	2(1)

O1B	33(2) 	22(2)	30(2) 	1(1)	(11(1) 	(2(1)

O4A	34(2) 	21(2)	31(2) 	(5(1)	(9(2) 	0(1)

O4B	37(2) 	23(2)	34(2) 	3(1)	(6(2) 	1(1)

C22	23(2) 	22(2)	25(2) 	1(2)	3(2) 	4(2)

C24	28(2) 	25(2)	20(2) 	(1(2)	(4(2) 	(4(2)

C25	25(2) 	28(2)	22(2) 	0(2)	(3(2) 	4(2)

C26	34(2) 	19(2)	27(2) 	(1(2)	(5(2) 	1(2)

C27	31(2) 	24(2)	25(2) 	4(2)	(4(2) 	4(2)

N21	28(2) 	19(2)	27(2) 	0(2)	(2(2) 	1(2)

N23	24(2) 	22(2)	26(2) 	2(2)	(2(2) 	1(2)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O4A(H4...O1Bi	0.84	1.72	2.544(4)	165.6

N23(H23...O1Aii	0.88	1.78	2.655(4)	169.8

N23(H23...O1Bii	0.88	2.52	3.090(4)	123.4

Symmetry transformations used to generate equivalent atoms:

(i) x+1/2,(y+1/2,z+1/2    (ii) (x+1/2,y+1/2,(z(3/2