|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	07skc0027pna21

Empirical formula 	C7H10N2O4

Formula weight 	186.17

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pna21

Unit cell dimensions	a = 11.4966(19) Å	( = 90°

b = 18.702(3) Å	( = 90°

c = 3.9535(5) Å	(  = 90°

Volume	850.1(2) Å3

Z	4

Density (calculated)	1.455 Mg / m3

Absorption coefficient	0.120 mm(1

F(000)	392

Crystal	lath; colourless

Crystal size	0.19 ( 0.04 ( 0.01 mm3

( range for data collection	3.54 ( 27.45°

Index ranges	(14 ( h ( 14, (24 ( k ( 23, (4 ( l ( 5

Reflections collected	5441

Independent reflections	1860 [Rint = 0.0713]

Completeness to ( = 27.45°	99.5 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9988 and 0.9775

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1860 / 1 / 123

Goodness-of-fit on F2	1.110

Final R indices [F2 > 2((F2)]	R1 = 0.0789, wR2 = 0.1166

R indices (all data)	R1 = 0.1350, wR2 = 0.1396

Absolute structure parameter	3(3)

Largest diff. peak and hole	0.308 and (0.355 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	8671(4)	3501(2)	2786(12)	29(1)	1

C2	9052(4)	4162(2)	4734(12)	24(1)	1

C3	8119(4)	4681(2)	5844(12)	28(1)	1

O1A	9402(3)	3044(2)	2075(9)	34(1)	1

O1B	7594(3)	3458(2)	1962(10)	38(1)	1

O3A	7068(3)	4551(2)	4833(9)	33(1)	1

O3B	8385(3)	5200(2)	7599(10)	38(1)	1

C22	8059(4)	1602(2)	(2864(13)	27(1)	1

C24	9476(4)	870(2)	(4339(12)	31(1)	1

C25	9944(4)	1405(2)	(2558(12)	27(1)	1

C26	6898(4)	1917(2)	(2387(13)	36(1)	1

N21	9048(3)	1856(2)	(1672(9)	25(1)	1

N23	8299(3)	995(2)	(4514(10)	27(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.231(5)

C1(O1B	1.283(5)

C1(C2	1.521(6)

C2(C3	1.511(6)

C2(H2A	0.9900

C2(H2B	0.9900

C3(O3B	1.231(5)

C3(O3A	1.296(6)

O1B(H1	0.8400

C22(N21	1.319(6)

C22(N23	1.339(5)

C22(C26	1.471(6)

C24(C25	1.338(6)

C24(N23	1.375(6)

C24(H24	0.9500

C25(N21	1.376(5)

C25(H25	0.9500

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

N21(H21	0.8800

N23(H23	0.8800

O1A(C1(O1B	123.9(4)

O1A(C1(C2	118.9(4)

O1B(C1(C2	117.2(4)

C3(C2(C1	117.7(4)

C3(C2(H2A	107.9

C1(C2(H2A	107.9

C3(C2(H2B	107.9

C1(C2(H2B	107.9

H2A(C2(H2B	107.2

O3B(C3(O3A	123.6(4)

O3B(C3(C2	119.6(4)

O3A(C3(C2	116.9(4)

C1(O1B(H1	109.5

N21(C22(N23	107.6(4)

N21(C22(C26	126.3(4)

N23(C22(C26	126.1(4)

C25(C24(N23	107.2(4)

C25(C24(H24	126.4

N23(C24(H24	126.4

C24(C25(N21	106.9(4)

C24(C25(H25	126.5

N21(C25(H25	126.5

C22(C26(H26A	109.5

C22(C26(H26B	109.5

H26A(C26(H26B	109.5

C22(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(N21(C25	109.5(4)

C22(N21(H21	125.3

C25(N21(H21	125.3

C22(N23(C24	108.8(4)

C22(N23(H23	125.6

C24(N23(H23	125.6

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	32(3) 	25(2)	29(3) 	(4(2)	1(2) 	(7(2)

C2	25(2) 	22(2)	26(3) 	0(2)	3(2) 	0(2)

C3	31(3) 	22(2)	30(3) 	7(2)	6(2) 	3(2)

O1A	34(2) 	24(2)	45(2) 	(8(2)	2(2) 	3(1)

O1B	30(2) 	26(2)	56(2) 	(11(2)	(7(2) 	0(2)

O3A	21(2) 	32(2)	46(2) 	(6(2)	(1(2) 	0(1)

O3B	35(2) 	29(2)	50(2) 	(17(2)	(1(2) 	2(1)

C22	29(3) 	23(2)	28(3) 	2(2)	(1(2) 	(4(2)

C24	35(3) 	22(2)	36(3) 	(1(2)	5(2) 	1(2)

C25	24(2) 	26(2)	31(3) 	1(2)	(2(2) 	2(2)

C26	33(3) 	29(2)	45(4) 	0(3)	(3(3) 	5(2)

N21	25(2) 	22(2)	29(3) 	(7(2)	0(2) 	(1(2)

N23	28(2) 	19(2)	35(2) 	(3(2)	(3(2) 	(4(2)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O1B(H1...O3A	0.84	1.63	2.416(4)	155.2

N21(H21...O1A	0.88	1.82	2.701(4)	175.0

N23(H23...O3Bi	0.88	1.82	2.695(5)	174.0

Symmetry transformations used to generate equivalent atoms:

(i) (x+3/2,y(1/2,z(3/2