|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	ssf1337

Empirical formula 	C10H18N2O5

Formula weight 	246.26

Temperature 	120(2) K

Wavelength 	0.67100 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 4.8629(3) Å	( = 96.9510(10)°

b = 7.9978(5) Å	( = 94.4750(10)°

c = 16.5263(11) Å	(  = 107.3840(10)°

Volume	604.44(7) Å3

Z	2

Density (calculated)	1.353 Mg / m3

Absorption coefficient	0.109 mm(1

F(000)	264

Crystal	block; colourless

Crystal size	0.08 ( 0.06 ( 0.06 mm3

( range for data collection	2.97 ( 25.83°

Index ranges	(6 ( h ( 6, (10 ( k ( 10, (21 ( l ( 21

Reflections collected	5294

Independent reflections	2668 [Rint = 0.0347]

Completeness to ( = 25.83°	95.7 %

Max. and min. transmission	0.9935 and 0.9914

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2668 / 3 / 167

Goodness-of-fit on F2	1.051

Final R indices [F2 > 2((F2)]	R1 = 0.0516, wR2 = 0.1437

R indices (all data)	R1 = 0.0573, wR2 = 0.1504

Largest diff. peak and hole	0.383 and (0.293 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	7807(3)	4057(2)	3376(1)	16(1)	1

C2	6429(3)	5130(2)	3939(1)	19(1)	1

C3	5643(3)	4405(2)	4729(1)	17(1)	1

O1A	8634(2)	2844(1)	3615(1)	20(1)	1

O1B	8110(2)	4453(1)	2654(1)	24(1)	1

C22	7541(3)	9818(2)	(2385(1)	19(1)	1

C24	8726(3)	7968(2)	(1639(1)	22(1)	1

C25	7328(3)	8878(2)	(1177(1)	21(1)	1

C26	7221(3)	10795(2)	(3072(1)	26(1)	1

N21	6602(3)	10022(2)	(1654(1)	19(1)	1

N23	8838(3)	8571(2)	(2386(1)	21(1)	1

C31	6964(3)	6808(2)	1357(1)	15(1)	1

C32	8588(3)	5587(2)	1018(1)	15(1)	1

C33	9331(3)	5717(2)	150(1)	15(1)	1

O31A	6259(2)	6679(1)	2095(1)	22(1)	1

O31B	6304(2)	7856(1)	950(1)	19(1)	1

O1W	7898(3)	793(2)	4913(1)	40(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.2491(16)

C1(O1B	1.2797(16)

C1(C2	1.5162(18)

C2(C3	1.5224(17)

C2(H2A	0.9900

C2(H2B	0.9900

C3(C3i	1.528(2)

C3(H3A	0.9900

C3(H3B	0.9900

C22(N23	1.3297(17)

C22(N21	1.3328(18)

C22(C26	1.477(2)

C24(C25	1.349(2)

C24(N23	1.3781(19)

C24(H24	0.9500

C25(N21	1.3820(18)

C25(H25	0.9500

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

N21(H21	0.8800

N23(H23	0.8800

C31(O31B	1.2337(16)

C31(O31A	1.2994(15)

C31(C32	1.5132(17)

C32(C33	1.5142(17)

C32(H32A	0.9900

C32(H32B	0.9900

C33(C33ii	1.530(2)

C33(H33A	0.9900

C33(H33B	0.9900

O31A(H31	0.8400

O1W(H1W	0.814(18)

O1W(H2W	0.839(15)

O1A(C1(O1B	121.60(12)

O1A(C1(C2	120.90(11)

O1B(C1(C2	117.50(12)

C1(C2(C3	115.17(11)

C1(C2(H2A	108.5

C3(C2(H2A	108.5

C1(C2(H2B	108.5

C3(C2(H2B	108.5

H2A(C2(H2B	107.5

C2(C3(C3i	111.66(13)

C2(C3(H3A	109.3

C3i(C3(H3A	109.3

C2(C3(H3B	109.3

C3i(C3(H3B	109.3

H3A(C3(H3B	107.9

N23(C22(N21	107.53(12)

N23(C22(C26	125.85(13)

N21(C22(C26	126.62(13)

C25(C24(N23	107.14(13)

C25(C24(H24	126.4

N23(C24(H24	126.4

C24(C25(N21	106.51(12)

C24(C25(H25	126.7

N21(C25(H25	126.7

C22(C26(H26A	109.5

C22(C26(H26B	109.5

H26A(C26(H26B	109.5

C22(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(N21(C25	109.46(12)

C22(N21(H21	125.3

C25(N21(H21	125.3

C22(N23(C24	109.36(12)

C22(N23(H23	125.3

C24(N23(H23	125.3

O31B(C31(O31A	121.60(12)

O31B(C31(C32	121.74(11)

O31A(C31(C32	116.66(11)

C31(C32(C33	116.18(10)

C31(C32(H32A	108.2

C33(C32(H32A	108.2

C31(C32(H32B	108.2

C33(C32(H32B	108.2

H32A(C32(H32B	107.4

C32(C33(C33ii	110.84(13)

C32(C33(H33A	109.5

C33ii(C33(H33A	109.5

C32(C33(H33B	109.5

C33ii(C33(H33B	109.5

H33A(C33(H33B	108.1

C31(O31A(H31	109.5

H1W(O1W(H2W	111(3)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y+1,(z+1    (ii) (x+2,(y+1,(z

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	18(1) 	19(1)	14(1) 	2(1)	5(1) 	8(1)

C2	26(1) 	20(1)	15(1) 	4(1)	9(1) 	14(1)

C3	23(1) 	20(1)	13(1) 	4(1)	7(1) 	12(1)

O1A	28(1) 	23(1)	17(1) 	6(1)	9(1) 	16(1)

O1B	37(1) 	29(1)	15(1) 	8(1)	12(1) 	21(1)

C22	20(1) 	18(1)	20(1) 	0(1)	4(1) 	8(1)

C24	27(1) 	22(1)	24(1) 	7(1)	6(1) 	13(1)

C25	26(1) 	21(1)	20(1) 	5(1)	6(1) 	10(1)

C26	33(1) 	27(1)	22(1) 	5(1)	3(1) 	13(1)

N21	22(1) 	19(1)	21(1) 	2(1)	6(1) 	11(1)

N23	25(1) 	20(1)	21(1) 	3(1)	8(1) 	12(1)

C31	16(1) 	16(1)	15(1) 	1(1)	3(1) 	8(1)

C32	19(1) 	17(1)	13(1) 	3(1)	5(1) 	10(1)

C33	20(1) 	18(1)	13(1) 	2(1)	4(1) 	11(1)

O31A	30(1) 	28(1)	16(1) 	5(1)	10(1) 	19(1)

O31B	24(1) 	20(1)	19(1) 	4(1)	5(1) 	14(1)

O1W	48(1) 	45(1)	40(1) 	27(1)	14(1) 	24(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O31A(H31...O1B	0.84	1.62	2.4609(14)	174.8

O1W(H2W...O1A	0.839(15)	2.008(16)	2.8357(16)	169(2)

N21(H21...O31Biii	0.88	1.86	2.7277(15)	167.0

N23(H23...O1Aii	0.88	1.88	2.7529(15)	173.3

O1W(H1W...O1Wiv	0.814(18)	2.16(4)	2.723(3)	126(4)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y+1,(z+1    (ii) (x+2,(y+1,(z    (iii) (x+1,(y+2,(z

(iv)  (x+2,(y,(z+1