|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	ssg0301

Empirical formula 	C8H10N2O4

Formula weight 	198.18

Temperature 	120(2) K

Wavelength 	0.6710 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 7.7110(2) Å	( = 90°

b = 8.2850(4) Å	( = 90°

c = 13.8440(5) Å	(  = 90°

Volume	884.43(6) Å3

Z	4

Density (calculated)	1.488 Mg / m3

Absorption coefficient	0.121 mm(1

F(000)	416

Crystal	block; colourless

Crystal size	0.14 ( 0.10 ( 0.10 mm3

( range for data collection	5.71 ( 27.48°

Index ranges	(9 ( h ( 10, (10 ( k ( 10, (17 ( l ( 17

Reflections collected	7597

Independent reflections	1145 [Rint = 0.0556]

Completeness to ( = 27.48°	96.5 %

Absorption correction	None

Max. and min. transmission	0.9880 and 0.9833

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1145 / 0 / 129

Goodness-of-fit on F2	1.158

Final R indices [F2 > 2((F2)]	R1 = 0.0627, wR2 = 0.1723

R indices (all data)	R1 = 0.0637, wR2 = 0.1728

Absolute structure parameter	(10(10)

Largest diff. peak and hole	0.426 and (0.231 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	(4349(6)	1565(5)	8386(3)	29(1)	1

C2	(2473(6)	1612(5)	8042(3)	26(1)	1

C3	(1217(5)	1370(4)	8880(3)	24(1)	1

C4	665(5)	1571(5)	8513(3)	26(1)	1

C22	(1512(6)	(1624(4)	8871(3)	27(1)	1

C24	(1811(8)	(491(5)	10293(3)	37(1)	1

C25	(1968(8)	(2101(5)	10403(3)	38(1)	1

C26	(1890(7)	(4516(5)	9275(3)	37(1)	1

N21	(1801(5)	(2788(4)	9503(2)	27(1)	1

N23	(1511(5)	(223(4)	9327(2)	23(1)	1

O1A	(4766(4)	2113(4)	9163(2)	37(1)	1

O1B	(5391(4)	835(4)	7767(2)	42(1)	1

O4A	1579(4)	328(4)	8433(2)	35(1)	1

O4B	1065(4)	2976(4)	8289(2)	32(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.211(5)

C1(O1B	1.321(5)

C1(C2	1.523(6)

C2(C3	1.525(5)

C2(H2A	0.9900

C2(H2B	0.9900

C3(N23	1.475(4)

C3(C4	1.547(6)

C3(H3	1.0000

C4(O4B	1.244(5)

C4(O4A	1.252(5)

C22(N23	1.321(5)

C22(N21	1.321(5)

C22(H22	0.9500

C24(C25	1.348(6)

C24(N23	1.376(5)

C24(H24	0.9500

C25(N21	1.376(5)

C25(H25	0.9500

C26(N21	1.467(5)

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

O1B(H1	0.8400

O1A(C1(O1B	125.9(4)

O1A(C1(C2	121.3(4)

O1B(C1(C2	112.8(3)

C1(C2(C3	111.2(3)

C1(C2(H2A	109.4

C3(C2(H2A	109.4

C1(C2(H2B	109.4

C3(C2(H2B	109.4

H2A(C2(H2B	108.0

N23(C3(C2	109.9(3)

N23(C3(C4	112.2(3)

C2(C3(C4	109.4(3)

N23(C3(H3	108.4

C2(C3(H3	108.4

C4(C3(H3	108.4

O4B(C4(O4A	127.4(4)

O4B(C4(C3	114.5(4)

O4A(C4(C3	118.0(4)

N23(C22(N21	109.0(3)

N23(C22(H22	125.5

N21(C22(H22	125.5

C25(C24(N23	106.5(4)

C25(C24(H24	126.8

N23(C24(H24	126.8

C24(C25(N21	107.4(4)

C24(C25(H25	126.3

N21(C25(H25	126.3

N21(C26(H26A	109.5

N21(C26(H26B	109.5

H26A(C26(H26B	109.5

N21(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(N21(C25	108.2(3)

C22(N21(C26	125.3(3)

C25(N21(C26	126.4(3)

C22(N23(C24	108.8(3)

C22(N23(C3	125.9(3)

C24(N23(C3	125.3(3)

C1(O1B(H1	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	35(2) 	28(2)	26(2) 	1(2)	(1(2) 	3(2)

C2	34(2) 	25(2)	21(2) 	1(2)	(4(2) 	2(2)

C3	35(2) 	17(2)	20(2) 	2(1)	0(2) 	0(2)

C4	28(2) 	29(2)	21(2) 	0(2)	(1(2) 	(5(2)

C22	36(2) 	22(2)	22(2) 	(1(1)	6(2) 	(2(2)

C24	69(3) 	22(2)	20(2) 	(1(2)	5(2) 	(6(2)

C25	72(3) 	22(2)	21(2) 	1(2)	4(2) 	(1(2)

C26	59(3) 	18(2)	33(2) 	(1(2)	5(2) 	0(2)

N21	40(2) 	17(1)	23(2) 	(1(1)	6(1) 	(1(2)

N23	32(2) 	17(1)	20(1) 	0(1)	2(1) 	0(1)

O1A	40(2) 	40(2)	29(2) 	(4(1)	5(1) 	5(2)

O1B	34(2) 	51(2)	40(2) 	(11(2)	2(1) 	(3(2)

O4A	32(2) 	32(2)	41(2) 	3(1)	2(1) 	(2(1)

O4B	41(2) 	29(2)	27(1) 	5(1)	3(1) 	(7(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O1B(H1...O4Ai	0.84	1.74	2.546(5)	161.2

Symmetry transformations used to generate equivalent atoms:

(i) x(1,y,z