|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0077p212121

Empirical formula 	C4H6O6

Formula weight 	150.09

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 5.0003(3) Å	( = 90°

b = 5.9383(2) Å	( = 90°

c = 19.9866(10) Å	(  = 90°

Volume	593.47(5) Å3

Z	4

Density (calculated)	1.680 Mg / m3

Absorption coefficient	0.165 mm(1

F(000)	312

Crystal	block; colourless

Crystal size	0.12 ( 0.08 ( 0.06 mm3

( range for data collection	3.58 ( 27.47°

Index ranges	(6 ( h ( 6, (7 ( k ( 7, (25 ( l ( 25

Reflections collected	6315

Independent reflections	832 [Rint = 0.0773]

Completeness to ( = 27.47°	99.8 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9902 and 0.9805

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	832 / 0 / 95

Goodness-of-fit on F2	1.087

Final R indices [F2 > 2((F2)]	R1 = 0.0406, wR2 = 0.0817

R indices (all data)	R1 = 0.0504, wR2 = 0.0873

Absolute structure parameter	10(10)

Largest diff. peak and hole	0.246 and (0.265 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	5802(6)	9895(5)	501(1)	14(1)	1

C2	6471(6)	7678(5)	839(1)	13(1)	1

C3	5847(6)	7761(5)	1594(1)	15(1)	1

C4	6813(6)	5564(5)	1901(1)	14(1)	1

O1A	7497(4)	11001(4)	218(1)	18(1)	1

O1B	3254(4)	10444(4)	563(1)	16(1)	1

O2	9191(4)	7125(3)	742(1)	18(1)	1

O3	7126(5)	9626(3)	1895(1)	18(1)	1

O4A	8515(5)	5522(4)	2327(1)	21(1)	1

O4B	5593(5)	3815(3)	1635(1)	21(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.213(3)

C1(O1B	1.321(4)

C1(C2	1.517(4)

C2(O2	1.412(4)

C2(C3	1.542(4)

C2(H2	1.0000

C3(O3	1.413(3)

C3(C4	1.520(4)

C3(H3	1.0000

C4(O4A	1.204(3)

C4(O4B	1.316(4)

O1B(H1	0.8400

O2(H2A	0.8400

O3(H3A	0.8400

O4B(H4B	0.8400

O1A(C1(O1B	125.8(3)

O1A(C1(C2	121.6(3)

O1B(C1(C2	112.7(2)

O2(C2(C1	110.7(2)

O2(C2(C3	109.7(2)

C1(C2(C3	111.3(2)

O2(C2(H2	108.4

C1(C2(H2	108.4

C3(C2(H2	108.4

O3(C3(C4	110.9(2)

O3(C3(C2	110.5(2)

C4(C3(C2	107.7(2)

O3(C3(H3	109.3

C4(C3(H3	109.3

C2(C3(H3	109.3

O4A(C4(O4B	126.6(3)

O4A(C4(C3	121.8(3)

O4B(C4(C3	111.5(2)

C1(O1B(H1	109.5

C2(O2(H2A	109.5

C3(O3(H3A	109.5

C4(O4B(H4B	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	16(1) 	17(2)	9(1) 	(2(1)	(4(1) 	(2(1)

C2	12(1) 	12(1)	15(1) 	(1(1)	0(1) 	0(1)

C3	17(1) 	13(1)	15(1) 	(1(1)	(1(1) 	1(1)

C4	18(2) 	13(1)	11(1) 	2(1)	3(1) 	(1(1)

O1A	14(1) 	20(1)	21(1) 	5(1)	0(1) 	(2(1)

O1B	14(1) 	14(1)	21(1) 	5(1)	(1(1) 	0(1)

O2	16(1) 	15(1)	24(1) 	4(1)	4(1) 	3(1)

O3	26(1) 	8(1)	20(1) 	0(1)	(7(1) 	(1(1)

O4A	25(1) 	16(1)	22(1) 	3(1)	(8(1) 	2(1)

O4B	30(1) 	10(1)	21(1) 	1(1)	(5(1) 	(1(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O3(H3A...O4A	0.84	2.19	2.677(3)	116.6

O1B(H1...O1Ai	0.84	1.81	2.653(3)	175.1

O2(H2A...O1Bii	0.84	2.05	2.854(3)	161.2

O3(H3A...O4Aiii	0.84	2.05	2.731(3)	137.4

O4B(H4B...O3iv	0.84	1.85	2.654(3)	159.5

Symmetry transformations used to generate equivalent atoms:

(i) x(1/2,(y+5/2,(z    (ii) x+1,y,z    (iii) (x+2,y+1/2,(z+1/2

(iv)  x,y(1,z