|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0078p1

Empirical formula 	C12H25NO5

Formula weight 	263.33

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P1

Unit cell dimensions	a = 6.1782(3) Å	( = 100.526(2)°

b = 7.5786(3) Å	( = 91.585(2)°

c = 8.0969(3) Å	(  = 107.060(2)°

Volume	355.00(3) Å3

Z	1

Density (calculated)	1.232 Mg / m3

Absorption coefficient	0.095 mm(1

F(000)	144

Crystal	block; colourless

Crystal size	0.10 ( 0.10 ( 0.04 mm3

( range for data collection	3.45 ( 27.48°

Index ranges	(8 ( h ( 7, (9 ( k ( 8, (10 ( l ( 10

Reflections collected	6071

Independent reflections	1616 [Rint = 0.0394]

Completeness to ( = 27.48°	99.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9962 and 0.9906

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1616 / 3 / 171

Goodness-of-fit on F2	1.101

Final R indices [F2 > 2((F2)]	R1 = 0.0378, wR2 = 0.0813

R indices (all data)	R1 = 0.0407, wR2 = 0.0836

Absolute structure parameter	10(10)

Largest diff. peak and hole	0.184 and (0.186 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	8880(4)	3628(3)	6325(3)	18(1)	1

C2	9336(4)	1861(3)	6715(3)	20(1)	1

C3	10534(4)	984(3)	5318(3)	22(1)	1

C4	11089(4)	(679(3)	5822(3)	20(1)	1

O1A	10606(3)	4974(2)	6188(2)	23(1)	1

O1B	6859(3)	3617(2)	6200(2)	21(1)	1

O2	7292(3)	517(3)	6967(3)	29(1)	1

O4A	9736(3)	(2320(2)	5043(2)	28(1)	1

O4B	12602(3)	(480(2)	6885(2)	28(1)	1

C21	2739(4)	2445(4)	11246(3)	26(1)	1

C22	4657(4)	4311(4)	11398(3)	22(1)	1

C23	4381(4)	4968(3)	9730(3)	18(1)	1

C24	5757(4)	6912(3)	9418(3)	20(1)	1

C26	4361(5)	5671(4)	12967(3)	29(1)	1

C27	6922(4)	3896(4)	11630(3)	28(1)	1

C28	4865(4)	8501(3)	10245(3)	24(1)	1

C29	8324(4)	7448(4)	9793(3)	24(1)	1

N25	5348(3)	6729(3)	7517(3)	19(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1B	1.248(3)

C1(O1A	1.265(3)

C1(C2	1.531(3)

C2(O2	1.417(3)

C2(C3	1.527(3)

C2(H2	1.0000

C3(C4	1.519(3)

C3(H3A	0.9900

C3(H3B	0.9900

C4(O4B	1.209(3)

C4(O4A	1.311(3)

O2(H2A	0.8400

O4A(H4A	0.8400

C21(C22	1.538(3)

C21(H21A	0.9800

C21(H21B	0.9800

C21(H21C	0.9800

C22(C26	1.535(4)

C22(C27	1.535(3)

C22(C23	1.544(3)

C23(C24	1.540(3)

C23(H23A	0.9900

C23(H23B	0.9900

C24(C28	1.522(3)

C24(C29	1.524(3)

C24(N25	1.527(3)

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

C28(H28A	0.9800

C28(H28B	0.9800

C28(H28C	0.9800

C29(H29A	0.9800

C29(H29B	0.9800

C29(H29C	0.9800

N25(H25A	0.9100

N25(H25B	0.9100

N25(H25C	0.9100

O1B(C1(O1A	126.3(2)

O1B(C1(C2	117.3(2)

O1A(C1(C2	116.4(2)

O2(C2(C3	110.06(19)

O2(C2(C1	111.02(18)

C3(C2(C1	111.35(19)

O2(C2(H2	108.1

C3(C2(H2	108.1

C1(C2(H2	108.1

C4(C3(C2	109.18(19)

C4(C3(H3A	109.8

C2(C3(H3A	109.8

C4(C3(H3B	109.8

C2(C3(H3B	109.8

H3A(C3(H3B	108.3

O4B(C4(O4A	124.0(2)

O4B(C4(C3	122.3(2)

O4A(C4(C3	113.8(2)

C2(O2(H2A	109.5

C4(O4A(H4A	109.5

C22(C21(H21A	109.5

C22(C21(H21B	109.5

H21A(C21(H21B	109.5

C22(C21(H21C	109.5

H21A(C21(H21C	109.5

H21B(C21(H21C	109.5

C26(C22(C27	109.7(2)

C26(C22(C21	107.8(2)

C27(C22(C21	107.6(2)

C26(C22(C23	113.8(2)

C27(C22(C23	112.6(2)

C21(C22(C23	105.02(19)

C24(C23(C22	123.1(2)

C24(C23(H23A	106.6

C22(C23(H23A	106.6

C24(C23(H23B	106.6

C22(C23(H23B	106.6

H23A(C23(H23B	106.5

C28(C24(C29	110.6(2)

C28(C24(N25	106.35(18)

C29(C24(N25	105.91(19)

C28(C24(C23	113.42(19)

C29(C24(C23	115.87(19)

N25(C24(C23	103.68(18)

C22(C26(H26A	109.5

C22(C26(H26B	109.5

H26A(C26(H26B	109.5

C22(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C22(C27(H27A	109.5

C22(C27(H27B	109.5

H27A(C27(H27B	109.5

C22(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C24(C28(H28A	109.5

C24(C28(H28B	109.5

H28A(C28(H28B	109.5

C24(C28(H28C	109.5

H28A(C28(H28C	109.5

H28B(C28(H28C	109.5

C24(C29(H29A	109.5

C24(C29(H29B	109.5

H29A(C29(H29B	109.5

C24(C29(H29C	109.5

H29A(C29(H29C	109.5

H29B(C29(H29C	109.5

C24(N25(H25A	109.5

C24(N25(H25B	109.5

H25A(N25(H25B	109.5

C24(N25(H25C	109.5

H25A(N25(H25C	109.5

H25B(N25(H25C	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	22(1) 	17(1)	16(1) 	2(1)	2(1) 	6(1)

C2	17(1) 	19(1)	26(1) 	8(1)	2(1) 	5(1)

C3	27(1) 	16(1)	24(1) 	6(1)	6(1) 	7(1)

C4	18(1) 	16(1)	25(1) 	4(1)	5(1) 	4(1)

O1A	20(1) 	15(1)	32(1) 	7(1)	2(1) 	4(1)

O1B	20(1) 	19(1)	27(1) 	8(1)	4(1) 	7(1)

O2	20(1) 	22(1)	49(1) 	18(1)	10(1) 	7(1)

O4A	31(1) 	15(1)	38(1) 	5(1)	(8(1) 	6(1)

O4B	24(1) 	20(1)	38(1) 	7(1)	(6(1) 	3(1)

C21	26(1) 	25(1)	26(1) 	11(1)	7(1) 	5(1)

C22	23(1) 	24(1)	18(1) 	4(1)	2(1) 	7(1)

C23	17(1) 	18(1)	19(1) 	3(1)	2(1) 	4(1)

C24	19(1) 	19(1)	20(1) 	4(1)	2(1) 	6(1)

C26	36(1) 	30(2)	20(1) 	1(1)	2(1) 	10(1)

C27	27(1) 	28(1)	30(1) 	9(1)	(2(1) 	10(1)

C28	29(1) 	17(1)	28(1) 	5(1)	7(1) 	8(1)

C29	18(1) 	22(1)	29(1) 	4(1)	1(1) 	1(1)

N25	17(1) 	16(1)	24(1) 	5(1)	2(1) 	4(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O2(H2A...O1B	0.84	2.12	2.621(2)	117.6

N25(H25A...O1B	0.91	1.94	2.828(3)	164.4

O2(H2A...O4Bi	0.84	2.17	2.767(2)	128.3

N25(H25C...O1Ai	0.91	2.03	2.920(3)	166.4

O4A(H4A...O1Aii	0.84	1.74	2.582(2)	177.5

N25(H25B...O2iii	0.91	1.99	2.891(3)	171.1

Symmetry transformations used to generate equivalent atoms:

(i) x(1,y,z    (ii) x,y(1,z    (iii) x,y+1,z