|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0060p(1

Empirical formula 	C10H20N2O5

Formula weight 	248.28

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 6.5398(2) Å	( = 91.506(2)°

b = 9.4992(4) Å	( = 91.388(2)°

c = 10.2235(3) Å	(  = 107.346(2)°

Volume	605.68(4) Å3

Z	2

Density (calculated)	1.361 Mg / m3

Absorption coefficient	0.109 mm(1

F(000)	268

Crystal	block; colourless

Crystal size	0.39 ( 0.28 ( 0.21 mm3

( range for data collection	3.06 ( 27.50°

Index ranges	(8 ( h ( 8, (12 ( k ( 12, (13 ( l ( 12

Reflections collected	13251

Independent reflections	2778 [Rint = 0.0375]

Completeness to ( = 27.50°	99.4 %

Max. and min. transmission	0.9775 and 0.9588

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2778 / 3 / 165

Goodness-of-fit on F2	1.035

Final R indices [F2 > 2((F2)]	R1 = 0.0441, wR2 = 0.1041

R indices (all data)	R1 = 0.0653, wR2 = 0.1151

Extinction coefficient	0.032(7)

Largest diff. peak and hole	0.345 and (0.244 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	2481(2)	1600(2)	3383(1)	20(1)	1

C2	1221(2)	984(2)	2085(1)	21(1)	1

C3	2746(2)	819(2)	1028(2)	24(1)	1

C4	4363(3)	2285(2)	802(1)	25(1)	1

C5	7944(3)	3518(2)	359(2)	36(1)	1

C22	(4081(2)	(1600(2)	3021(1)	20(1)	1

C23	(2204(2)	(212(2)	3038(1)	21(1)	1

C25	236(2)	(1622(2)	2767(2)	22(1)	1

C26	(1602(2)	(3050(2)	2707(2)	22(1)	1

C27	(5253(3)	(4254(2)	3425(2)	26(1)	1

N21	(3422(2)	(2874(1)	3478(1)	19(1)	1

N24	(484(2)	(426(1)	2239(1)	20(1)	1

O1A	4160(2)	1300(1)	3642(1)	30(1)	1

O1B	1662(2)	2364(1)	4120(1)	23(1)	1

O4A	6267(2)	2150(1)	501(1)	30(1)	1

O4B	3984(2)	3457(1)	861(1)	37(1)	1

O1W	8155(2)	3543(2)	3902(2)	46(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.2385(18)

C1(O1B	1.2660(18)

C1(C2	1.549(2)

C2(N24	1.4801(18)

C2(C3	1.524(2)

C2(H2	1.0000

C3(C4	1.504(2)

C3(H3A	0.9900

C3(H3B	0.9900

C4(O4B	1.211(2)

C4(O4A	1.332(2)

C5(O4A	1.443(2)

C5(H5A	0.9800

C5(H5B	0.9800

C5(H5C	0.9800

C22(N21	1.4840(18)

C22(C23	1.509(2)

C22(H22A	0.9900

C22(H22B	0.9900

C23(N24	1.4648(18)

C23(H23A	0.9900

C23(H23B	0.9900

C25(N24	1.4642(19)

C25(C26	1.519(2)

C25(H25A	0.9900

C25(H25B	0.9900

C26(N21	1.4913(19)

C26(H26A	0.9900

C26(H26B	0.9900

C27(N21	1.4871(18)

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

N21(H21	0.9300

O1W(H1W	0.848(16)

O1W(H2W	0.821(16)

O1A(C1(O1B	124.79(13)

O1A(C1(C2	119.11(13)

O1B(C1(C2	116.09(13)

N24(C2(C3	110.65(11)

N24(C2(C1	112.91(11)

C3(C2(C1	110.52(12)

N24(C2(H2	107.5

C3(C2(H2	107.5

C1(C2(H2	107.5

C4(C3(C2	110.23(12)

C4(C3(H3A	109.6

C2(C3(H3A	109.6

C4(C3(H3B	109.6

C2(C3(H3B	109.6

H3A(C3(H3B	108.1

O4B(C4(O4A	123.37(14)

O4B(C4(C3	124.38(15)

O4A(C4(C3	112.24(13)

O4A(C5(H5A	109.5

O4A(C5(H5B	109.5

H5A(C5(H5B	109.5

O4A(C5(H5C	109.5

H5A(C5(H5C	109.5

H5B(C5(H5C	109.5

N21(C22(C23	111.31(11)

N21(C22(H22A	109.4

C23(C22(H22A	109.4

N21(C22(H22B	109.4

C23(C22(H22B	109.4

H22A(C22(H22B	108.0

N24(C23(C22	110.76(11)

N24(C23(H23A	109.5

C22(C23(H23A	109.5

N24(C23(H23B	109.5

C22(C23(H23B	109.5

H23A(C23(H23B	108.1

N24(C25(C26	109.97(12)

N24(C25(H25A	109.7

C26(C25(H25A	109.7

N24(C25(H25B	109.7

C26(C25(H25B	109.7

H25A(C25(H25B	108.2

N21(C26(C25	110.22(11)

N21(C26(H26A	109.6

C25(C26(H26A	109.6

N21(C26(H26B	109.6

C25(C26(H26B	109.6

H26A(C26(H26B	108.1

N21(C27(H27A	109.5

N21(C27(H27B	109.5

H27A(C27(H27B	109.5

N21(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C22(N21(C27	111.51(11)

C22(N21(C26	110.36(11)

C27(N21(C26	111.36(11)

C22(N21(H21	107.8

C27(N21(H21	107.8

C26(N21(H21	107.8

C25(N24(C23	109.10(11)

C25(N24(C2	115.40(11)

C23(N24(C2	111.17(11)

C4(O4A(C5	115.45(13)

H1W(O1W(H2W	109(2)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	19(1) 	20(1)	19(1) 	0(1)	1(1) 	2(1)

C2	22(1) 	21(1)	19(1) 	(1(1)	1(1) 	4(1)

C3	26(1) 	25(1)	21(1) 	(3(1)	1(1) 	6(1)

C4	31(1) 	23(1)	18(1) 	0(1)	3(1) 	5(1)

C5	31(1) 	33(1)	38(1) 	(2(1)	5(1) 	2(1)

C22	18(1) 	21(1)	22(1) 	0(1)	(1(1) 	7(1)

C23	20(1) 	19(1)	23(1) 	(1(1)	1(1) 	6(1)

C25	18(1) 	24(1)	24(1) 	(2(1)	2(1) 	9(1)

C26	24(1) 	21(1)	22(1) 	(3(1)	2(1) 	10(1)

C27	25(1) 	21(1)	28(1) 	(1(1)	(1(1) 	0(1)

N21	19(1) 	18(1)	19(1) 	(2(1)	(1(1) 	4(1)

N24	18(1) 	20(1)	20(1) 	(1(1)	2(1) 	5(1)

O1A	24(1) 	38(1)	31(1) 	(9(1)	(3(1) 	14(1)

O1B	25(1) 	25(1)	22(1) 	(5(1)	(2(1) 	9(1)

O4A	26(1) 	27(1)	34(1) 	(2(1)	5(1) 	4(1)

O4B	37(1) 	32(1)	45(1) 	5(1)	13(1) 	13(1)

O1W	32(1) 	31(1)	77(1) 	(8(1)	(8(1) 	15(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O1W(H1W...O1A	0.848(16)	1.996(16)	2.8376(19)	171(2)

N21(H21...O1Bi	0.93	1.74	2.6570(15)	170.2

O1W(H2W...O1Bii	0.821(16)	2.026(16)	2.8435(17)	174(2)

Symmetry transformations used to generate equivalent atoms:

(i) (x,(y,(z+1    (ii) x+1,y,z