|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	06skc0019p21

Empirical formula 	C14H17NO3S

Formula weight 	279.35

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21

Unit cell dimensions	a = 5.6889(4) Å	( = 90°

b = 8.9638(4) Å	( = 97.112(3)°

c = 13.2457(11) Å	(  = 90°

Volume	670.26(8) Å3

Z	2

Density (calculated)	1.384 Mg / m3

Absorption coefficient	0.245 mm(1

F(000)	296

Crystal	plate; colourless

Crystal size	0.07 ( 0.05 ( 0.01 mm3

( range for data collection	3.10 ( 27.48°

Index ranges	(7 ( h ( 7, (11 ( k ( 11, (17 ( l ( 17

Reflections collected	8540

Independent reflections	2844 [Rint = 0.0772]

Completeness to ( = 27.48°	99.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9976 and 0.9831

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2844 / 1 / 175

Goodness-of-fit on F2	1.035

Final R indices [F2 > 2((F2)]	R1 = 0.0579, wR2 = 0.0980

R indices (all data)	R1 = 0.0831, wR2 = 0.1066

Absolute structure parameter	(0.14(10)

Largest diff. peak and hole	0.337 and (0.354 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C4	3768(6)	3728(4)	5524(3)	20(1)	1

C3	2334(6)	2692(4)	5943(3)	21(1)	1

C2	3132(6)	1938(4)	6828(3)	20(1)	1

C1	5409(6)	2194(3)	7310(3)	15(1)	1

C6	6883(6)	3215(4)	6897(3)	17(1)	1

C5	6038(6)	3961(4)	6012(3)	21(1)	1

C7	2878(7)	4557(4)	4563(3)	28(1)	1

O1A	8979(3)	1147(3)	8478(2)	23(1)	1

O1B	5737(4)	2192(2)	9286(2)	22(1)	1

O1C	5220(4)	(172(2)	8422(2)	22(1)	1

S1	6429(1)	1255(1)	8459(1)	17(1)	1

C24	11450(6)	6653(3)	7684(3)	20(1)	1

C23	12171(6)	5346(4)	8183(3)	22(1)	1

C22	10981(6)	4766(4)	8946(3)	19(1)	1

C21	9019(6)	5520(4)	9207(3)	18(1)	1

C26	8267(6)	6819(4)	8728(3)	22(1)	1

C25	9500(6)	7393(4)	7977(3)	24(1)	1

C27	12740(7)	7264(4)	6846(3)	27(1)	1

N21	7765(5)	4915(3)	10018(2)	20(1)	1

Table 3. Bond lengths [Å] and angles [°].

C4(C5	1.386(5)

C4(C3	1.396(5)

C4(C7	1.506(5)

C3(C2	1.380(5)

C3(H3	0.9500

C2(C1	1.390(4)

C2(H2	0.9500

C1(C6	1.398(4)

C1(S1	1.773(3)

C6(C5	1.383(5)

C6(H6	0.9500

C5(H5	0.9500

C7(H7A	0.9800

C7(H7B	0.9800

C7(H7C	0.9800

O1A(S1	1.451(2)

O1B(S1	1.472(2)

O1C(S1	1.450(2)

C24(C23	1.382(5)

C24(C25	1.388(5)

C24(C27	1.508(5)

C23(C22	1.385(5)

C23(H23	0.9500

C22(C21	1.384(5)

C22(H22	0.9500

C21(C26	1.369(5)

C21(N21	1.465(4)

C26(C25	1.385(5)

C26(H26	0.9500

C25(H25	0.9500

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

N21(H21A	0.9100

N21(H21B	0.9100

N21(H21C	0.9100

C5(C4(C3	118.1(3)

C5(C4(C7	121.0(3)

C3(C4(C7	120.8(3)

C2(C3(C4	121.1(3)

C2(C3(H3	119.5

C4(C3(H3	119.5

C3(C2(C1	119.9(3)

C3(C2(H2	120.0

C1(C2(H2	120.0

C2(C1(C6	119.9(3)

C2(C1(S1	120.2(3)

C6(C1(S1	119.9(2)

C5(C6(C1	119.1(3)

C5(C6(H6	120.5

C1(C6(H6	120.5

C6(C5(C4	121.9(3)

C6(C5(H5	119.1

C4(C5(H5	119.1

C4(C7(H7A	109.5

C4(C7(H7B	109.5

H7A(C7(H7B	109.5

C4(C7(H7C	109.5

H7A(C7(H7C	109.5

H7B(C7(H7C	109.5

O1C(S1(O1A	114.27(15)

O1C(S1(O1B	111.01(14)

O1A(S1(O1B	112.59(14)

O1C(S1(C1	106.65(15)

O1A(S1(C1	105.46(14)

O1B(S1(C1	106.17(15)

C23(C24(C25	118.1(3)

C23(C24(C27	121.2(3)

C25(C24(C27	120.7(3)

C24(C23(C22	121.6(3)

C24(C23(H23	119.2

C22(C23(H23	119.2

C21(C22(C23	118.7(3)

C21(C22(H22	120.6

C23(C22(H22	120.6

C26(C21(C22	121.0(4)

C26(C21(N21	120.1(3)

C22(C21(N21	118.9(3)

C21(C26(C25	119.4(4)

C21(C26(H26	120.3

C25(C26(H26	120.3

C26(C25(C24	121.1(3)

C26(C25(H25	119.5

C24(C25(H25	119.5

C24(C27(H27A	109.5

C24(C27(H27B	109.5

H27A(C27(H27B	109.5

C24(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C21(N21(H21A	109.5

C21(N21(H21B	109.5

H21A(N21(H21B	109.5

C21(N21(H21C	109.5

H21A(N21(H21C	109.5

H21B(N21(H21C	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C4	23(2) 	20(2)	18(2) 	(1(2)	6(2) 	2(1)

C3	13(2) 	29(2)	21(2) 	(1(2)	1(2) 	0(1)

C2	18(2) 	19(2)	23(2) 	(1(2)	8(2) 	1(1)

C1	16(2) 	14(2)	16(2) 	1(1)	3(1) 	4(1)

C6	16(2) 	18(2)	16(2) 	(1(2)	6(2) 	4(1)

C5	23(2) 	20(2)	21(2) 	0(2)	8(2) 	(1(1)

C7	27(2) 	33(2)	23(2) 	0(2)	2(2) 	0(2)

O1A	14(1) 	29(1)	25(1) 	8(1)	2(1) 	5(1)

O1B	25(1) 	21(1)	20(1) 	(1(1)	7(1) 	2(1)

O1C	25(1) 	16(1)	24(2) 	4(1)	4(1) 	2(1)

S1	16(1) 	18(1)	16(1) 	2(1)	3(1) 	2(1)

C24	23(2) 	17(2)	20(2) 	(5(1)	2(2) 	(6(1)

C23	19(2) 	22(2)	24(2) 	(10(2)	4(2) 	3(2)

C22	23(2) 	11(2)	23(2) 	(1(2)	3(2) 	(2(1)

C21	17(2) 	26(2)	11(2) 	(4(2)	3(2) 	(1(1)

C26	21(2) 	21(2)	24(2) 	(6(2)	1(2) 	4(1)

C25	29(2) 	21(2)	21(2) 	2(2)	0(2) 	5(2)

C27	31(2) 	28(2)	22(2) 	(1(2)	6(2) 	0(2)

N21	19(2) 	22(2)	18(2) 	(5(1)	2(1) 	(1(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N21(H21B...O1B	0.91	1.92	2.820(4)	170.6

N21(H21A...O1Ai	0.91	2.01	2.776(4)	140.6

N21(H21C...O1Bii	0.91	2.19	3.072(4)	163.4

N21(H21C...O1Cii	0.91	2.37	2.833(4)	111.4

N21(H21C...S1ii	0.91	2.76	3.521(3)	141.4

Symmetry transformations used to generate equivalent atoms:

(i) (x+2,y+1/2,(z+2    (ii) (x+1,y+1/2,(z+2