|  | Departmental Single Crystal X-Ray Diffraction Service School of Chemistry - University of Southampton Contact: Dr Mark E Light, light@soton.ac.uk, ex 29429 |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	04skc0011p(18

Empirical formula 	C20H50Br2N2O8

Formula weight 	606.44

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group 	P(1

Unit cell dimensions	a = 13.912(2) Å	( = 64.325(8)°

b = 14.2967(7) Å	( = 78.777(9)°

c = 16.456(2) Å	(  = 89.720(7)°

Volume	2881.6(6) Å3

Z	4

Density (calculated)	1.398 Mg / m3

Absorption coefficient	2.854 mm(1

F(000)	1272

Crystal	block; colourless

Crystal size	0.10 ( 0.08 ( 0.03 mm3

( range for data collection	3.00 ( 27.48°

Index ranges	(18 ( h ( 18, (18 ( k ( 18, (21 ( l ( 21

Reflections collected	64930

Independent reflections	13207 [Rint = 0.0756]

Completeness to ( = 27.48°	99.9 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9193 and 0.7634

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	13207 / 17 / 704

Goodness-of-fit on F2	1.012

Final R indices [F2 > 2((F2)]	R1 = 0.0488, wR2 = 0.0976

R indices (all data)	R1 = 0.0859, wR2 = 0.1111

Largest diff. peak and hole	1.246 and (0.785 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit ). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Br01	1334(1)	3605(1)	7428(1)	30(1)	1

Br02	7746(1)	4155(1)	7311(1)	31(1)	1

Br03	6025(1)	(759(1)	7163(1)	31(1)	1

Br04	2343(1)	(1429(1)	7695(1)	37(1)	1

C1	4941(2)	5064(3)	7648(2)	21(1)	1

C2	5028(2)	4166(3)	7389(2)	20(1)	1

C3	4023(2)	3785(3)	7351(2)	21(1)	1

C4	4143(2)	2890(3)	7096(2)	21(1)	1

O1A	5155(2)	5067(2)	8317(2)	29(1)	1

O1B	4615(2)	5875(2)	7006(2)	27(1)	1

O2	5428(2)	3319(2)	8022(2)	25(1)	1

O3	3364(2)	3548(2)	8195(2)	28(1)	1

O4A	3756(2)	1981(2)	7761(2)	28(1)	1

O4B	4557(2)	3033(2)	6329(2)	32(1)	1

C21	7041(3)	5743(3)	9122(3)	30(1)	1

C22	7649(3)	5501(3)	10518(3)	29(1)	1

C23	8408(3)	4708(3)	9484(3)	33(1)	1

C24	6751(3)	4038(3)	10540(3)	27(1)	1

C25	6115(3)	6188(3)	9389(3)	33(1)	1

C26	8303(3)	6515(3)	10015(3)	31(1)	1

C27	8970(3)	3988(3)	10167(4)	52(1)	1

C28	6485(3)	3397(3)	10078(3)	35(1)	1

N21	7461(2)	5002(2)	9918(2)	20(1)	1

C31	8666(3)	14(3)	7589(3)	22(1)	1

C32	8738(2)	(872(3)	7313(2)	20(1)	1

C33	9748(3)	(1291(3)	7359(2)	22(1)	1

C34	9790(2)	(2169(3)	7078(3)	23(1)	1

O31A	8088(2)	7(2)	8235(2)	33(1)	1

O31B	9313(2)	819(2)	7001(2)	30(1)	1

O32	8017(2)	(1697(2)	7890(2)	27(1)	1

O33	9929(2)	(1562(2)	8243(2)	28(1)	1

O34A	9827(2)	(2001(2)	6283(2)	31(1)	1

O34B	9788(2)	(3105(2)	7753(2)	29(1)	1

C41	8212(3)	8697(3)	4127(2)	27(1)	1

C42	7694(3)	7904(3)	5792(2)	29(1)	1

C43	7971(4)	6767(3)	4983(3)	46(1)	1

C44	6535(3)	7771(4)	4860(3)	52(1)	1

C45	8263(3)	8694(3)	3202(3)	33(1)	1

C46	7148(3)	7041(3)	6693(3)	39(1)	1

C47	9039(4)	6656(4)	5023(3)	59(2)	1

C48	6026(3)	8723(5)	4829(4)	63(2)	1

N41	7601(2)	7784(2)	4939(2)	26(1)	1

C61A	5506(5)	(931(5)	10479(5)	21(2)	0.50

C62A	5991(19)	(1523(16)	9976(15)	32(5)	0.50

C63A	5682(5)	799(5)	9087(5)	24(2)	0.50

C64A	6540(10)	1231(13)	9284(9)	28(3)	0.50

C61B	5435(6)	(457(5)	9394(5)	26(2)	0.50

C62B	5872(16)	(1470(13)	9799(14)	27(4)	0.50

C63B	5845(5)	340(6)	10378(5)	28(2)	0.50

C64B	6631(11)	1133(13)	9631(8)	38(4)	0.50

N61	5000	0	10000	23(1)	1

C71A	359(5)	(1015(5)	10740(5)	23(2)	0.50

C72A	691(9)	(1830(9)	10412(8)	40(2)	0.50

C73A	793(6)	529(6)	9200(5)	34(2)	0.50

C74A	1724(8)	891(10)	9354(10)	40(2)	0.50

C71B	373(6)	(595(5)	9475(5)	28(2)	0.50

C72B	769(8)	(1602(8)	10082(8)	35(2)	0.50

C73B	831(5)	392(6)	10294(5)	31(2)	0.50

C74B	1671(8)	1047(10)	9558(10)	35(2)	0.50

N71	0	0	10000	24(1)	1

C81	6497(3)	3520(3)	4875(3)	37(1)	1

C82	6928(3)	1872(3)	4897(3)	41(1)	1

C83	8160(3)	3409(3)	4044(3)	38(1)	1

C84	7778(3)	2608(3)	5713(3)	41(1)	1

C85	6754(3)	4506(3)	4940(3)	38(1)	1

C86	7706(4)	1100(3)	4868(3)	59(2)	1

C87	7864(3)	3635(3)	3137(3)	30(1)	1

C88	7024(3)	2042(3)	6650(3)	33(1)	1

N81	7355(2)	2828(2)	4896(2)	23(1)	1

O1W	4006(2)	329(2)	7501(3)	56(1)	1

O2W	4391(2)	(2428(2)	7201(3)	45(1)	1

O3W	9335(2)	2448(3)	7327(3)	58(1)	1

O4W	9740(3)	5350(2)	7321(3)	41(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(O1A	1.197(4)

C1(O1B	1.336(4)

C1(C2	1.515(5)

C2(O2	1.410(4)

C2(C3	1.526(4)

C2(H2	1.0000

C3(O3	1.409(4)

C3(C4	1.508(5)

C3(H3	1.0000

C4(O4B	1.209(4)

C4(O4A	1.312(4)

O1B(H1	0.8400

O2(H2A	0.8400

O3(H3A	0.8400

O4A(H4	0.8400

C21(N21	1.507(5)

C21(C25	1.507(5)

C21(H21A	0.9900

C21(H21B	0.9900

C22(N21	1.505(4)

C22(C26	1.514(5)

C22(H22A	0.9900

C22(H22B	0.9900

C23(C27	1.505(6)

C23(N21	1.521(5)

C23(H23A	0.9900

C23(H23B	0.9900

C24(C28	1.506(5)

C24(N21	1.523(4)

C24(H24A	0.9900

C24(H24B	0.9900

C25(H25A	0.9800

C25(H25B	0.9800

C25(H25C	0.9800

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

C28(H28A	0.9800

C28(H28B	0.9800

C28(H28C	0.9800

C31(O31A	1.198(4)

C31(O31B	1.333(4)

C31(C32	1.517(5)

C32(O32	1.403(4)

C32(C33	1.528(5)

C32(H32	1.0000

C33(O33	1.408(4)

C33(C34	1.511(5)

C33(H33	1.0000

C34(O34A	1.213(4)

C34(O34B	1.317(4)

O31B(H31	0.8400

O32(H32A	0.8400

O33(H33A	0.8400

O34B(H34	0.8400

C41(N41	1.507(4)

C41(C45	1.513(5)

C41(H41A	0.9900

C41(H41B	0.9900

C42(C46	1.511(5)

C42(N41	1.514(4)

C42(H42A	0.9900

C42(H42B	0.9900

C43(C47	1.505(7)

C43(N41	1.516(5)

C43(H43A	0.9900

C43(H43B	0.9900

C44(N41	1.515(5)

C44(C48	1.517(7)

C44(H44A	0.9900

C44(H44B	0.9900

C45(H45A	0.9800

C45(H45B	0.9800

C45(H45C	0.9800

C46(H46A	0.9800

C46(H46B	0.9800

C46(H46C	0.9800

C47(H47A	0.9800

C47(H47B	0.9800

C47(H47C	0.9800

C48(H48A	0.9800

C48(H48B	0.9800

C48(H48C	0.9800

C61A(N61	1.478(6)

C61A(C62A	1.496(16)

C61A(H61A	0.9900

C61A(H61B	0.9900

C62A(H62A	0.9800

C62A(H62B	0.9800

C62A(H62C	0.9800

C63A(C64A	1.497(12)

C63A(N61	1.559(6)

C63A(H63A	0.9900

C63A(H63B	0.9900

C64A(H64A	0.9800

C64A(H64B	0.9800

C64A(H64C	0.9800

C61B(N61	1.453(7)

C61B(C62B	1.492(15)

C61B(H61C	0.9900

C61B(H61D	0.9900

C62B(H62D	0.9800

C62B(H62E	0.9800

C62B(H62F	0.9800

C63B(C64B	1.508(13)

C63B(N61	1.599(7)

C63B(H63C	0.9900

C63B(H63D	0.9900

C64B(H64D	0.9800

C64B(H64E	0.9800

C64B(H64F	0.9800

N61(C61Bi	1.453(7)

N61(C61Ai	1.478(6)

N61(C63Ai	1.559(6)

N61(C63Bi	1.599(7)

C71A(C72A	1.518(13)

C71A(N71	1.592(7)

C71A(H71A	0.9900

C71A(H71B	0.9900

C72A(H72A	0.9800

C72A(H72B	0.9800

C72A(H72C	0.9800

C73A(N71	1.450(7)

C73A(C74A	1.503(12)

C73A(H73A	0.9900

C73A(H73B	0.9900

C74A(H74A	0.9800

C74A(H74B	0.9800

C74A(H74C	0.9800

C71B(N71	1.482(7)

C71B(C72B	1.528(11)

C71B(H71C	0.9900

C71B(H71D	0.9900

C72B(H72D	0.9800

C72B(H72E	0.9800

C72B(H72F	0.9800

C73B(C74B	1.479(13)

C73B(N71	1.531(7)

C73B(H73C	0.9900

C73B(H73D	0.9900

C74B(H74D	0.9800

C74B(H74E	0.9800

C74B(H74F	0.9800

N71(C73Aii	1.450(7)

N71(C71Bii	1.482(7)

N71(C73Bii	1.531(7)

N71(C71Aii	1.592(7)

C81(C85	1.509(6)

C81(N81	1.544(5)

C81(H81A	0.9900

C81(H81B	0.9900

C82(N81	1.492(5)

C82(C86	1.551(7)

C82(H82A	0.9900

C82(H82B	0.9900

C83(N81	1.516(5)

C83(C87	1.524(6)

C83(H83A	0.9900

C83(H83B	0.9900

C84(N81	1.479(5)

C84(C88	1.559(6)

C84(H84A	0.9900

C84(H84B	0.9900

C85(H85A	0.9800

C85(H85B	0.9800

C85(H85C	0.9800

C86(H86A	0.9800

C86(H86B	0.9800

C86(H86C	0.9800

C87(H87A	0.9800

C87(H87B	0.9800

C87(H87C	0.9800

C88(H88A	0.9800

C88(H88B	0.9800

C88(H88C	0.9800

O1W(H1W	0.832(18)

O1W(H2W	0.831(18)

O2W(H21W	0.833(19)

O2W(H22W	0.840(19)

O3W(H31W	0.829(19)

O3W(H32W	0.838(19)

O4W(H41W	0.71(5)

O4W(H42W	0.88(7)

O1A(C1(O1B	124.2(3)

O1A(C1(C2	125.5(3)

O1B(C1(C2	110.3(3)

O2(C2(C1	111.8(3)

O2(C2(C3	108.4(3)

C1(C2(C3	110.7(3)

O2(C2(H2	108.6

C1(C2(H2	108.6

C3(C2(H2	108.6

O3(C3(C4	114.7(3)

O3(C3(C2	108.9(3)

C4(C3(C2	108.9(3)

O3(C3(H3	108.1

C4(C3(H3	108.1

C2(C3(H3	108.1

O4B(C4(O4A	124.5(3)

O4B(C4(C3	120.8(3)

O4A(C4(C3	114.7(3)

C1(O1B(H1	109.5

C2(O2(H2A	109.5

C3(O3(H3A	109.5

C4(O4A(H4	109.5

N21(C21(C25	115.0(3)

N21(C21(H21A	108.5

C25(C21(H21A	108.5

N21(C21(H21B	108.5

C25(C21(H21B	108.5

H21A(C21(H21B	107.5

N21(C22(C26	114.9(3)

N21(C22(H22A	108.5

C26(C22(H22A	108.5

N21(C22(H22B	108.5

C26(C22(H22B	108.5

H22A(C22(H22B	107.5

C27(C23(N21	114.3(3)

C27(C23(H23A	108.7

N21(C23(H23A	108.7

C27(C23(H23B	108.7

N21(C23(H23B	108.7

H23A(C23(H23B	107.6

C28(C24(N21	115.3(3)

C28(C24(H24A	108.5

N21(C24(H24A	108.5

C28(C24(H24B	108.5

N21(C24(H24B	108.5

H24A(C24(H24B	107.5

C21(C25(H25A	109.5

C21(C25(H25B	109.5

H25A(C25(H25B	109.5

C21(C25(H25C	109.5

H25A(C25(H25C	109.5

H25B(C25(H25C	109.5

C22(C26(H26A	109.5

C22(C26(H26B	109.5

H26A(C26(H26B	109.5

C22(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C23(C27(H27A	109.5

C23(C27(H27B	109.5

H27A(C27(H27B	109.5

C23(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C24(C28(H28A	109.5

C24(C28(H28B	109.5

H28A(C28(H28B	109.5

C24(C28(H28C	109.5

H28A(C28(H28C	109.5

H28B(C28(H28C	109.5

C22(N21(C21	111.3(3)

C22(N21(C23	111.5(3)

C21(N21(C23	105.6(3)

C22(N21(C24	106.5(3)

C21(N21(C24	111.4(3)

C23(N21(C24	110.7(3)

O31A(C31(O31B	124.2(3)

O31A(C31(C32	124.7(3)

O31B(C31(C32	111.1(3)

O32(C32(C31	111.7(3)

O32(C32(C33	108.4(3)

C31(C32(C33	110.5(3)

O32(C32(H32	108.7

C31(C32(H32	108.7

C33(C32(H32	108.7

O33(C33(C34	114.8(3)

O33(C33(C32	109.1(3)

C34(C33(C32	108.8(3)

O33(C33(H33	108.0

C34(C33(H33	108.0

C32(C33(H33	108.0

O34A(C34(O34B	123.8(3)

O34A(C34(C33	121.2(3)

O34B(C34(C33	115.0(3)

C31(O31B(H31	109.5

C32(O32(H32A	109.5

C33(O33(H33A	109.5

C34(O34B(H34	109.5

N41(C41(C45	114.9(3)

N41(C41(H41A	108.5

C45(C41(H41A	108.5

N41(C41(H41B	108.5

C45(C41(H41B	108.5

H41A(C41(H41B	107.5

C46(C42(N41	114.8(3)

C46(C42(H42A	108.6

N41(C42(H42A	108.6

C46(C42(H42B	108.6

N41(C42(H42B	108.6

H42A(C42(H42B	107.5

C47(C43(N41	115.1(4)

C47(C43(H43A	108.5

N41(C43(H43A	108.5

C47(C43(H43B	108.5

N41(C43(H43B	108.5

H43A(C43(H43B	107.5

N41(C44(C48	115.2(4)

N41(C44(H44A	108.5

C48(C44(H44A	108.5

N41(C44(H44B	108.5

C48(C44(H44B	108.5

H44A(C44(H44B	107.5

C41(C45(H45A	109.5

C41(C45(H45B	109.5

H45A(C45(H45B	109.5

C41(C45(H45C	109.5

H45A(C45(H45C	109.5

H45B(C45(H45C	109.5

C42(C46(H46A	109.5

C42(C46(H46B	109.5

H46A(C46(H46B	109.5

C42(C46(H46C	109.5

H46A(C46(H46C	109.5

H46B(C46(H46C	109.5

C43(C47(H47A	109.5

C43(C47(H47B	109.5

H47A(C47(H47B	109.5

C43(C47(H47C	109.5

H47A(C47(H47C	109.5

H47B(C47(H47C	109.5

C44(C48(H48A	109.5

C44(C48(H48B	109.5

H48A(C48(H48B	109.5

C44(C48(H48C	109.5

H48A(C48(H48C	109.5

H48B(C48(H48C	109.5

C41(N41(C42	106.5(3)

C41(N41(C44	111.0(3)

C42(N41(C44	110.6(3)

C41(N41(C43	110.5(3)

C42(N41(C43	110.9(3)

C44(N41(C43	107.4(3)

N61(C61A(C62A	120.4(9)

N61(C61A(H61A	107.2

C62A(C61A(H61A	107.2

N61(C61A(H61B	107.2

C62A(C61A(H61B	107.2

H61A(C61A(H61B	106.9

C61A(C62A(H62A	109.5

C61A(C62A(H62B	109.5

H62A(C62A(H62B	109.5

C61A(C62A(H62C	109.5

H62A(C62A(H62C	109.5

H62B(C62A(H62C	109.5

C64A(C63A(N61	110.8(7)

C64A(C63A(H63A	109.5

N61(C63A(H63A	109.5

C64A(C63A(H63B	109.5

N61(C63A(H63B	109.5

H63A(C63A(H63B	108.1

C63A(C64A(H64A	109.5

C63A(C64A(H64B	109.5

H64A(C64A(H64B	109.5

C63A(C64A(H64C	109.5

H64A(C64A(H64C	109.5

H64B(C64A(H64C	109.5

N61(C61B(C62B	118.7(9)

N61(C61B(H61C	107.6

C62B(C61B(H61C	107.6

N61(C61B(H61D	107.6

C62B(C61B(H61D	107.6

H61C(C61B(H61D	107.1

C61B(C62B(H62D	109.5

C61B(C62B(H62E	109.5

H62D(C62B(H62E	109.5

C61B(C62B(H62F	109.5

H62D(C62B(H62F	109.5

H62E(C62B(H62F	109.5

C64B(C63B(N61	114.0(6)

C64B(C63B(H63C	108.8

N61(C63B(H63C	108.8

C64B(C63B(H63D	108.8

N61(C63B(H63D	108.8

H63C(C63B(H63D	107.7

C63B(C64B(H64D	109.5

C63B(C64B(H64E	109.5

H64D(C64B(H64E	109.5

C63B(C64B(H64F	109.5

H64D(C64B(H64F	109.5

H64E(C64B(H64F	109.5

C61Bi(N61(C61B	180.0(4)

C61Bi(N61(C61A	112.2(4)

C61B(N61(C61A	67.8(4)

C61Bi(N61(C61Ai	67.8(4)

C61B(N61(C61Ai	112.2(4)

C61A(N61(C61Ai	180.0(6)

C61Bi(N61(C63A	113.3(4)

C61B(N61(C63A	66.7(4)

C61A(N61(C63A	111.4(4)

C61Ai(N61(C63A	68.6(4)

C61Bi(N61(C63Ai	66.7(4)

C61B(N61(C63Ai	113.3(4)

C61A(N61(C63Ai	68.6(4)

C61Ai(N61(C63Ai	111.4(4)

C63A(N61(C63Ai	180.000(1)

C61Bi(N61(C63B	70.6(4)

C61B(N61(C63B	109.4(4)

C61A(N61(C63B	71.8(4)

C61Ai(N61(C63B	108.2(4)

C63A(N61(C63B	78.3(4)

C63Ai(N61(C63B	101.7(4)

C61Bi(N61(C63Bi	109.4(4)

C61B(N61(C63Bi	70.6(4)

C61A(N61(C63Bi	108.2(4)

C61Ai(N61(C63Bi	71.8(4)

C63A(N61(C63Bi	101.7(4)

C63Ai(N61(C63Bi	78.3(4)

C63B(N61(C63Bi	180.0(5)

C72A(C71A(N71	115.5(6)

C72A(C71A(H71A	108.4

N71(C71A(H71A	108.4

C72A(C71A(H71B	108.4

N71(C71A(H71B	108.4

H71A(C71A(H71B	107.5

C71A(C72A(H72A	109.5

C71A(C72A(H72B	109.5

H72A(C72A(H72B	109.5

C71A(C72A(H72C	109.5

H72A(C72A(H72C	109.5

H72B(C72A(H72C	109.5

N71(C73A(C74A	117.4(7)

N71(C73A(H73A	108.0

C74A(C73A(H73A	108.0

N71(C73A(H73B	108.0

C74A(C73A(H73B	108.0

H73A(C73A(H73B	107.2

C73A(C74A(H74A	109.5

C73A(C74A(H74B	109.5

H74A(C74A(H74B	109.5

C73A(C74A(H74C	109.5

H74A(C74A(H74C	109.5

H74B(C74A(H74C	109.5

N71(C71B(C72B	111.3(7)

N71(C71B(H71C	109.4

C72B(C71B(H71C	109.4

N71(C71B(H71D	109.4

C72B(C71B(H71D	109.4

H71C(C71B(H71D	108.0

C71B(C72B(H72D	109.5

C71B(C72B(H72E	109.5

H72D(C72B(H72E	109.5

C71B(C72B(H72F	109.5

H72D(C72B(H72F	109.5

H72E(C72B(H72F	109.5

C74B(C73B(N71	117.3(7)

C74B(C73B(H73C	108.0

N71(C73B(H73C	108.0

C74B(C73B(H73D	108.0

N71(C73B(H73D	108.0

H73C(C73B(H73D	107.2

C73B(C74B(H74D	109.5

C73B(C74B(H74E	109.5

H74D(C74B(H74E	109.5

C73B(C74B(H74F	109.5

H74D(C74B(H74F	109.5

H74E(C74B(H74F	109.5

C73Aii(N71(C73A	180.000(1)

C73Aii(N71(C71B	116.2(4)

C73A(N71(C71B	63.8(4)

C73Aii(N71(C71Bii	63.8(4)

C73A(N71(C71Bii	116.2(4)

C71B(N71(C71Bii	180.0(4)

C73Aii(N71(C73B	108.8(4)

C73A(N71(C73B	71.2(4)

C71B(N71(C73B	111.5(4)

C71Bii(N71(C73B	68.5(4)

C73Aii(N71(C73Bii	71.2(4)

C73A(N71(C73Bii	108.8(4)

C71B(N71(C73Bii	68.5(4)

C71Bii(N71(C73Bii	111.5(4)

C73B(N71(C73Bii	180.0(5)

C73Aii(N71(C71A	69.9(4)

C73A(N71(C71A	110.1(4)

C71B(N71(C71A	76.0(4)

C71Bii(N71(C71A	104.0(4)

C73B(N71(C71A	74.3(4)

C73Bii(N71(C71A	105.7(4)

C73Aii(N71(C71Aii	110.1(4)

C73A(N71(C71Aii	69.9(4)

C71B(N71(C71Aii	104.0(4)

C71Bii(N71(C71Aii	76.0(4)

C73B(N71(C71Aii	105.7(4)

C73Bii(N71(C71Aii	74.3(4)

C71A(N71(C71Aii	180.0(5)

C85(C81(N81	114.2(3)

C85(C81(H81A	108.7

N81(C81(H81A	108.7

C85(C81(H81B	108.7

N81(C81(H81B	108.7

H81A(C81(H81B	107.6

N81(C82(C86	112.7(4)

N81(C82(H82A	109.0

C86(C82(H82A	109.0

N81(C82(H82B	109.0

C86(C82(H82B	109.0

H82A(C82(H82B	107.8

N81(C83(C87	114.4(3)

N81(C83(H83A	108.7

C87(C83(H83A	108.7

N81(C83(H83B	108.7

C87(C83(H83B	108.7

H83A(C83(H83B	107.6

N81(C84(C88	113.8(3)

N81(C84(H84A	108.8

C88(C84(H84A	108.8

N81(C84(H84B	108.8

C88(C84(H84B	108.8

H84A(C84(H84B	107.7

C81(C85(H85A	109.5

C81(C85(H85B	109.5

H85A(C85(H85B	109.5

C81(C85(H85C	109.5

H85A(C85(H85C	109.5

H85B(C85(H85C	109.5

C82(C86(H86A	109.5

C82(C86(H86B	109.5

H86A(C86(H86B	109.5

C82(C86(H86C	109.5

H86A(C86(H86C	109.5

H86B(C86(H86C	109.5

C83(C87(H87A	109.5

C83(C87(H87B	109.5

H87A(C87(H87B	109.5

C83(C87(H87C	109.5

H87A(C87(H87C	109.5

H87B(C87(H87C	109.5

C84(C88(H88A	109.5

C84(C88(H88B	109.5

H88A(C88(H88B	109.5

C84(C88(H88C	109.5

H88A(C88(H88C	109.5

H88B(C88(H88C	109.5

C84(N81(C82	113.3(3)

C84(N81(C83	107.6(3)

C82(N81(C83	111.2(3)

C84(N81(C81	110.2(3)

C82(N81(C81	105.4(3)

C83(N81(C81	108.9(3)

H1W(O1W(H2W	108(3)

H21W(O2W(H22W	108(3)

H31W(O3W(H32W	107(3)

H41W(O4W(H42W	107(5)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y,(z+2    (ii) (x,(y,(z+2

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Br01	23(1) 	22(1)	44(1) 	(14(1)	(11(1) 	3(1)

Br02	20(1) 	25(1)	50(1) 	(18(1)	(8(1) 	2(1)

Br03	23(1) 	27(1)	46(1) 	(19(1)	(10(1) 	3(1)

Br04	22(1) 	23(1)	60(1) 	(13(1)	(10(1) 	3(1)

C1	14(2) 	20(2)	26(2) 	(10(2)	(2(1) 	0(1)

C2	15(2) 	18(2)	25(2) 	(9(2)	(4(1) 	2(1)

C3	17(2) 	24(2)	27(2) 	(16(2)	(4(2) 	3(1)

C4	16(2) 	23(2)	28(2) 	(13(2)	(9(2) 	2(1)

O1A	34(2) 	32(2)	28(2) 	(17(1)	(13(1) 	5(1)

O1B	34(2) 	19(1)	34(2) 	(13(1)	(17(1) 	7(1)

O2	19(1) 	22(1)	35(2) 	(10(1)	(9(1) 	2(1)

O3	15(1) 	40(2)	37(2) 	(25(1)	1(1) 	(1(1)

O4A	36(2) 	22(1)	30(2) 	(15(1)	(6(1) 	0(1)

O4B	34(2) 	38(2)	29(2) 	(22(1)	2(1) 	(4(1)

C21	39(2) 	27(2)	22(2) 	(9(2)	(9(2) 	1(2)

C22	34(2) 	30(2)	25(2) 	(13(2)	(7(2) 	0(2)

C23	26(2) 	30(2)	43(2) 	(22(2)	8(2) 	3(2)

C24	28(2) 	23(2)	27(2) 	(10(2)	(3(2) 	2(2)

C25	35(2) 	26(2)	41(2) 	(14(2)	(20(2) 	10(2)

C26	28(2) 	34(2)	37(2) 	(21(2)	(9(2) 	0(2)

C27	32(2) 	32(2)	82(4) 	(19(2)	(8(2) 	8(2)

C28	35(2) 	27(2)	43(3) 	(18(2)	(4(2) 	(1(2)

N21	22(2) 	17(1)	19(2) 	(6(1)	(3(1) 	3(1)

C31	21(2) 	21(2)	27(2) 	(8(2)	(11(2) 	5(1)

C32	19(2) 	18(2)	23(2) 	(9(2)	(5(1) 	0(1)

C33	22(2) 	20(2)	26(2) 	(10(2)	(9(2) 	3(1)

C34	14(2) 	20(2)	34(2) 	(14(2)	(1(2) 	3(1)

O31A	41(2) 	28(1)	29(2) 	(15(1)	1(1) 	1(1)

O31B	29(2) 	19(1)	40(2) 	(15(1)	0(1) 	0(1)

O32	17(1) 	22(1)	42(2) 	(12(1)	(8(1) 	1(1)

O33	22(1) 	33(1)	39(2) 	(22(1)	(14(1) 	8(1)

O34A	36(2) 	31(2)	29(2) 	(16(1)	(3(1) 	6(1)

O34B	33(2) 	20(1)	36(2) 	(15(1)	(8(1) 	5(1)

C41	33(2) 	20(2)	25(2) 	(8(2)	(2(2) 	(1(2)

C42	35(2) 	30(2)	25(2) 	(14(2)	(9(2) 	2(2)

C43	89(4) 	21(2)	28(2) 	(13(2)	(5(2) 	(2(2)

C44	36(3) 	78(4)	46(3) 	(34(3)	(5(2) 	(21(2)

C45	37(2) 	37(2)	25(2) 	(13(2)	(6(2) 	12(2)

C46	59(3) 	30(2)	24(2) 	(11(2)	(5(2) 	3(2)

C47	87(4) 	45(3)	43(3) 	(19(2)	(11(3) 	35(3)

C48	27(2) 	115(5)	58(3) 	(45(3)	(16(2) 	18(3)

N41	31(2) 	25(2)	21(2) 	(11(1)	(3(1) 	(7(1)

C61A	25(4) 	16(3)	20(4) 	(5(3)	(8(3) 	3(3)

C62A	47(9) 	34(7)	41(9) 	(28(6)	(35(6) 	30(6)

C63A	31(4) 	14(3)	19(4) 	(4(3)	3(3) 	2(3)

C64A	19(5) 	26(5)	37(7) 	(11(6)	(9(5) 	5(4)

C61B	32(4) 	22(4)	21(4) 	(11(3)	0(3) 	5(3)

C62B	26(6) 	27(7)	32(8) 	(13(6)	(12(7) 	10(5)

C63B	29(4) 	27(4)	30(4) 	(11(3)	(15(3) 	7(3)

C64B	26(5) 	26(6)	60(10) 	(15(8)	(19(7) 	(1(4)

N61	24(2) 	16(2)	22(2) 	(5(2)	2(2) 	(1(2)

C71A	26(4) 	23(4)	18(4) 	(6(3)	(6(3) 	(1(3)

C72A	37(5) 	29(4)	43(6) 	(13(3)	8(3) 	(2(3)

C73A	32(4) 	37(5)	21(4) 	(5(4)	4(3) 	(2(3)

C74A	37(5) 	29(4)	43(6) 	(13(3)	8(3) 	(2(3)

C71B	40(5) 	26(4)	24(4) 	(14(3)	(11(3) 	7(3)

C72B	33(4) 	27(4)	47(6) 	(20(3)	(5(3) 	4(3)

C73B	33(4) 	28(4)	40(5) 	(22(4)	(14(4) 	1(3)

C74B	33(4) 	27(4)	47(6) 	(20(3)	(5(3) 	4(3)

N71	22(2) 	29(2)	20(2) 	(10(2)	(5(2) 	0(2)

C81	31(2) 	40(2)	37(2) 	(16(2)	(7(2) 	9(2)

C82	42(3) 	35(2)	45(3) 	(20(2)	(3(2) 	(5(2)

C83	30(2) 	37(2)	42(3) 	(15(2)	(3(2) 	3(2)

C84	44(3) 	43(3)	40(3) 	(18(2)	(16(2) 	6(2)

C85	48(3) 	32(2)	35(2) 	(18(2)	(6(2) 	11(2)

C86	93(4) 	27(2)	48(3) 	(17(2)	6(3) 	1(2)

C87	35(2) 	28(2)	25(2) 	(10(2)	(5(2) 	3(2)

C88	50(3) 	27(2)	23(2) 	(11(2)	(12(2) 	7(2)

N81	20(2) 	26(2)	23(2) 	(12(1)	(4(1) 	0(1)

O1W	30(2) 	43(2)	121(3) 	(56(2)	(26(2) 	13(2)

O2W	26(2) 	33(2)	84(2) 	(38(2)	(2(2) 	(2(1)

O3W	26(2) 	47(2)	135(3) 	(67(2)	(24(2) 	10(2)

O4W	24(2) 	35(2)	80(2) 	(39(2)	(12(2) 	7(1)

Table 5. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O2(H2A...Br02	0.84	2.43	3.248(2)	163.7

O3(H3A...Br01	0.84	2.49	3.298(3)	161.1

O4A(H4...O1W	0.84	1.77	2.587(4)	165.5

O31B(H31...O3W	0.84	1.78	2.607(4)	167.9

O32(H32A...Br03	0.84	2.46	3.282(2)	166.1

O1W(H1W...Br03	0.832(18)	2.45(2)	3.273(3)	174(4)

O1W(H2W...Br04	0.831(18)	2.46(2)	3.292(3)	175(4)

O2W(H21W...Br04	0.833(19)	2.47(2)	3.299(3)	174(5)

O2W(H22W...Br03	0.840(19)	2.44(2)	3.276(3)	174(5)

O3W(H32W...Br02	0.838(19)	2.45(2)	3.281(3)	169(5)

O4W(H42W...Br02	0.88(7)	2.40(7)	3.272(3)	175(5)

O1B(H1...O2Wiii	0.84	1.77	2.593(4)	165.3

O33(H33A...Br04iv	0.84	2.47	3.287(3)	163.5

O3W(H31W...Br01iv	0.829(19)	2.48(2)	3.311(3)	175(5)

O4W(H41W...Br01iv	0.71(5)	2.60(5)	3.299(3)	172(5)

O34B(H34...O4Wv	0.84	1.77	2.602(4)	170.1

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y,(z+2    (ii) (x,(y,(z+2    (iii) x,y+1,z

(iv)  x+1,y,z    (v) x,y(1,z