|  | Single Crystal X-Ray Diffraction Service National Crystallography Service Contact: Dr S.K.Callear, S.K.Callear@soton.ac.uk |
| --- | --- |

Table 1. Crystal data and structure refinement details.

Identification code 	2009src0169   (SM18I)

Empirical formula 	C8H14INO2Si

Formula weight 	311.19

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21

Unit cell dimensions	a = 8.4342(3) Å	( = 90°

b = 7.2543(2) Å	( = 103.079(2)°

c = 9.6610(3) Å	(  = 90°

Volume	575.73(3) Å3

Z	2

Density (calculated)	1.795 Mg / m3

Absorption coefficient	2.857 mm(1

F(000)	304

Crystal	block; yellow

Crystal size	0.18 ( 0.16 ( 0.04 mm3

( range for data collection	3.55 ( 27.47°

Index ranges	(10 ( h ( 10, (9 ( k ( 9, (12 ( l ( 12

Reflections collected	6956

Independent reflections	2582 [Rint = 0.0328]

Completeness to ( = 27.47°	99.8 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.8943 and 0.6273

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	2582 / 1 / 121

Goodness-of-fit on F2	1.030

Final R indices [F2 > 2((F2)]	R1 = 0.0242, wR2 = 0.0481

R indices (all data)	R1 = 0.0271, wR2 = 0.0495

Absolute structure parameter	0.48(4)

Largest diff. peak and hole	0.510 and (0.424 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP-3 (L.G. Farrugia, J. Appl. Cryst. (1997) 30, 565).

Special details:

All hydrogens fixed using a standard riding model.

ADDSYM suggest space group P21/m, resulting in a glide plane along the plane of the molecule. However, as C4 is out of the plane of the rest of the molecule, this would mean that this atom appears as disordered. Therefore it was deemed more correct to keep the structure in P21. Instead the Flack parameter suggested a 'racemic twin', suggesting that whether C4 is above or below the plane of the ring is dependent upon its neighbours  within a layer and therefore each layer can take a different conformation. The 'racemic twin' refined with a batch scale factor of 0.48158.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C2	10658(4)	2828(14)	3683(3)	16(1)	1

C3	11481(5)	2637(6)	5196(4)	22(1)	1

C4	13174(4)	3480(5)	5476(4)	22(1)	1

C5	14095(4)	2709(9)	4436(4)	22(2)	1

C6	13205(4)	2929(18)	2912(3)	16(1)	1

C7	10460(3)	3053(19)	1184(3)	15(1)	1

C8	7130(13)	831(11)	1018(10)	17(2)	1

C9	7221(13)	5153(11)	1195(11)	23(2)	1

N1	11457(3)	2937(14)	2658(2)	14(1)	1

O2	9084(3)	2834(12)	3305(2)	21(1)	1

O6	13820(2)	3013(11)	1909(2)	21(1)	1

Si1	8314(1)	2964(5)	1435(1)	15(1)	1

I1	11899(1)	(1973(1)	2483(1)	19(1)	1

Table 3. Bond lengths [Å] and angles [°].

C2(O2	1.295(4)

C2(N1	1.320(4)

C2(C3	1.476(4)

C3(C4	1.520(5)

C4(C5	1.510(5)

C5(C6	1.502(5)

C6(O6	1.200(4)

C6(N1	1.438(4)

C7(N1	1.484(3)

C7(Si1	1.881(3)

C8(Si1	1.837(9)

C9(Si1	1.824(9)

O2(Si1	1.779(2)

O2(C2(N1	117.0(3)

O2(C2(C3	120.1(3)

N1(C2(C3	122.9(3)

C2(C3(C4	110.5(4)

C5(C4(C3	109.7(3)

C6(C5(C4	113.2(4)

O6(C6(N1	118.4(3)

O6(C6(C5	125.8(3)

N1(C6(C5	115.7(3)

N1(C7(Si1	103.13(18)

C2(N1(C6	123.3(3)

C2(N1(C7	116.7(2)

C6(N1(C7	120.0(2)

C2(O2(Si1	113.7(2)

O2(Si1(C9	103.5(4)

O2(Si1(C8	103.5(4)

C9(Si1(C8	118.13(16)

O2(Si1(C7	89.55(11)

C9(Si1(C7	115.3(6)

C8(Si1(C7	119.5(6)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C2	15(1) 	15(4)	17(1) 	(2(2)	4(1) 	(3(2)

C3	24(2) 	28(4)	13(2) 	3(2)	1(1) 	0(2)

C4	18(2) 	28(3)	18(2) 	(5(1)	(5(1) 	(1(1)

C5	13(2) 	28(5)	19(2) 	(2(2)	(5(1) 	3(2)

C6	12(1) 	13(3)	24(1) 	0(4)	4(1) 	(6(3)

C7	17(1) 	16(1)	11(1) 	0(5)	1(1) 	(5(5)

C8	13(3) 	21(3)	19(3) 	(2(2)	7(2) 	(4(3)

C9	21(4) 	20(3)	25(4) 	2(3)	(1(3) 	(2(3)

N1	12(1) 	14(2)	15(1) 	(4(3)	1(1) 	2(3)

O2	12(1) 	36(3)	16(1) 	5(2)	4(1) 	1(2)

O6	14(1) 	25(1)	25(1) 	(2(4)	6(1) 	6(4)

Si1	12(1) 	17(1)	16(1) 	3(1)	2(1) 	2(1)

I1	21(1) 	16(1)	20(1) 	(1(1)	1(1) 	(1(1)