|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	04src0553    (3-178)

Empirical formula 	C37H60ClFeO4P2Rh

Formula weight 	825.00

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pbca

Unit cell dimensions	a = 16.8121(12) Å	( = 90°

b = 19.229(2) Å	( = 90°

c = 22.968(3) Å	(  = 90°

Volume	7425.3(14) Å3

Z	8

Density (calculated)	1.476 Mg / m3

Absorption coefficient	1.031 mm(1

F(000)	3456

Crystal	block; orange

Crystal size	0.35 ( 0.30 ( 0.25 mm3

( range for data collection	3.11 ( 27.50°

Index ranges	(21 ( h ( 20, (24 ( k ( 20, (29 ( l ( 29

Reflections collected	43259

Independent reflections	8466 [Rint = 0.0377]

Completeness to ( = 27.50°	99.3 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.7826 and 0.7142

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	8466 / 0 / 448

Goodness-of-fit on F2	1.039

Final R indices [F2 > 2((F2)]	R1 = 0.0340, wR2 = 0.0902

R indices (all data)	R1 = 0.0491, wR2 = 0.1007

Extinction coefficient	0.00039(11)

Largest diff. peak and hole	1.037 and (0.850 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C31	5413(2)	1618(2)	5031(1)	39(1)	1

C32	5815(2)	2228(2)	5123(1)	34(1)	1

C33	6325(2)	2123(2)	5663(1)	38(1)	1

C34	6937(2)	1617(2)	5428(1)	39(1)	1

C35	6561(2)	1002(2)	5341(1)	45(1)	1

C36	5682(2)	1120(2)	5508(1)	47(1)	1

C37	5793(2)	1628(2)	6020(1)	48(1)	1

O1	3625(1)	1325(2)	4774(1)	64(1)	1

O2	2933(2)	1727(2)	3977(2)	112(2)	1

O3	2906(2)	603(2)	4193(2)	131(2)	1

O4	2239(2)	1327(2)	4786(1)	74(1)	1

C1	5881(1)	1355(1)	3039(1)	15(1)	1

C2	5408(1)	732(1)	3100(1)	18(1)	1

C3	4941(2)	499(1)	3619(1)	24(1)	1

C4	5427(1)	371(1)	2552(1)	23(1)	1

C5	4990(2)	(290(2)	2416(2)	35(1)	1

C6	5901(1)	758(1)	2158(1)	22(1)	1

C7	6055(2)	573(2)	1532(1)	36(1)	1

C8	6187(1)	1364(1)	2446(1)	19(1)	1

C9	6679(2)	1899(2)	2134(1)	28(1)	1

C10	7475(1)	516(1)	3462(1)	16(1)	1

C11	7769(1)	494(1)	2867(1)	20(1)	1

C12	8276(2)	1002(2)	2541(1)	28(1)	1

C13	7476(2)	(129(1)	2603(1)	21(1)	1

C14	7672(2)	(376(2)	1999(1)	34(1)	1

C15	7001(2)	(494(1)	3020(1)	21(1)	1

C16	6606(2)	(1185(2)	2927(1)	32(1)	1

C17	6992(1)	(100(1)	3548(1)	17(1)	1

C18	6588(2)	(328(1)	4095(1)	25(1)	1

C19	4835(1)	2226(1)	3658(1)	21(1)	1

C20	4441(2)	2292(2)	3059(1)	27(1)	1

C21	4611(2)	2865(2)	4021(1)	32(1)	1

C22	6474(1)	2760(1)	3404(1)	22(1)	1

C23	6103(2)	3213(2)	2930(1)	33(1)	1

C24	6656(2)	3215(2)	3934(2)	35(1)	1

C25	8249(2)	455(2)	4553(1)	29(1)	1

C26	8700(2)	778(2)	5067(2)	49(1)	1

C27	8816(2)	(23(2)	4222(1)	37(1)	1

C28	8369(2)	1782(1)	3869(1)	27(1)	1

C29	9211(2)	1566(2)	3685(2)	38(1)	1

C30	8431(2)	2338(2)	4350(2)	38(1)	1

P1	5917(1)	1977(1)	3637(1)	15(1)	1

P2	7668(1)	1082(1)	4086(1)	19(1)	1

Fe1	6554(1)	496(1)	2887(1)	14(1)	1

Rh1	6501(1)	1568(1)	4523(1)	18(1)	1

Cl1	2926(1)	1257(1)	4440(1)	24(1)	1

Table 3. Bond lengths [Å] and angles [°].

C31(C32	1.370(5)

C31(C36	1.523(5)

C31(Rh1	2.171(3)

C31(H31	0.96(4)

C32(C33	1.520(4)

C32(Rh1	2.200(3)

C32(H32	0.97(4)

C33(C34	1.516(5)

C33(C37	1.542(5)

C33(H33	1.0000

C34(C35	1.356(5)

C34(Rh1	2.205(3)

C34(H34	0.99(4)

C35(C36	1.543(5)

C35(Rh1	2.174(3)

C35(H35	0.83(3)

C36(C37	1.541(5)

C36(H36	1.0000

C37(H37A	0.9900

C37(H37B	0.9900

O1(Cl1	1.409(2)

O2(Cl1	1.396(3)

O3(Cl1	1.380(3)

O4(Cl1	1.408(2)

C1(C2	1.445(3)

C1(C8	1.457(3)

C1(P1	1.822(2)

C1(Fe1	2.033(2)

C2(C4	1.438(3)

C2(C3	1.495(3)

C2(Fe1	2.040(2)

C3(H3A	0.9800

C3(H3B	0.9800

C3(H3C	0.9800

C4(C6	1.416(4)

C4(C5	1.501(4)

C4(Fe1	2.060(2)

C5(H5A	0.9800

C5(H5B	0.9800

C5(H5C	0.9800

C6(C8	1.423(4)

C6(C7	1.502(3)

C6(Fe1	2.065(2)

C7(H7A	0.9800

C7(H7B	0.9800

C7(H7C	0.9800

C8(C9	1.502(4)

C8(Fe1	2.048(2)

C9(H9A	0.9800

C9(H9B	0.9800

C9(H9C	0.9800

C10(C17	1.449(3)

C10(C11	1.454(3)

C10(P2	1.829(2)

C10(Fe1	2.036(2)

C11(C13	1.430(4)

C11(C12	1.497(3)

C11(Fe1	2.043(2)

C12(H12A	0.9800

C12(H12B	0.9800

C12(H12C	0.9800

C13(C15	1.431(4)

C13(C14	1.502(4)

C13(Fe1	2.065(2)

C14(H14A	0.9800

C14(H14B	0.9800

C14(H14C	0.9800

C15(C17	1.431(3)

C15(C16	1.500(4)

C15(Fe1	2.069(2)

C16(H16A	0.9800

C16(H16B	0.9800

C16(H16C	0.9800

C17(C18	1.495(3)

C17(Fe1	2.040(2)

C18(H18A	0.9800

C18(H18B	0.9800

C18(H18C	0.9800

C19(C21	1.532(3)

C19(C20	1.532(4)

C19(P1	1.882(2)

C19(H19	1.0000

C20(H20A	0.9800

C20(H20B	0.9800

C20(H20C	0.9800

C21(H21A	0.9800

C21(H21B	0.9800

C21(H21C	0.9800

C22(C23	1.526(4)

C22(C24	1.531(4)

C22(P1	1.852(2)

C22(H22	1.0000

C23(H23A	0.9800

C23(H23B	0.9800

C23(H23C	0.9800

C24(H24A	0.9800

C24(H24B	0.9800

C24(H24C	0.9800

C25(C27	1.527(4)

C25(C26	1.536(4)

C25(P2	1.884(3)

C25(H25	1.0000

C26(H26A	0.9800

C26(H26B	0.9800

C26(H26C	0.9800

C27(H27A	0.9800

C27(H27B	0.9800

C27(H27C	0.9800

C28(C29	1.535(4)

C28(C30	1.541(4)

C28(P2	1.857(3)

C28(H28	1.0000

C29(H29A	0.9800

C29(H29B	0.9800

C29(H29C	0.9800

C30(H30A	0.9800

C30(H30B	0.9800

C30(H30C	0.9800

P1(Rh1	2.3931(6)

P2(Rh1	2.3944(7)

C32(C31(C36	106.3(3)

C32(C31(Rh1	72.89(17)

C36(C31(Rh1	96.2(2)

C32(C31(H31	129(2)

C36(C31(H31	122(2)

Rh1(C31(H31	114(2)

C31(C32(C33	106.8(3)

C31(C32(Rh1	70.58(17)

C33(C32(Rh1	97.94(19)

C31(C32(H32	124(2)

C33(C32(H32	126(2)

Rh1(C32(H32	114(2)

C34(C33(C32	100.3(2)

C34(C33(C37	100.8(3)

C32(C33(C37	100.9(3)

C34(C33(H33	117.3

C32(C33(H33	117.3

C37(C33(H33	117.3

C35(C34(C33	107.2(3)

C35(C34(Rh1	70.72(18)

C33(C34(Rh1	97.87(19)

C35(C34(H34	128.5(19)

C33(C34(H34	121.5(19)

Rh1(C34(H34	114.4(18)

C34(C35(C36	106.4(3)

C34(C35(Rh1	73.22(19)

C36(C35(Rh1	95.5(2)

C34(C35(H35	133(3)

C36(C35(H35	119(3)

Rh1(C35(H35	112(3)

C31(C36(C37	100.7(3)

C31(C36(C35	101.5(2)

C37(C36(C35	99.6(3)

C31(C36(H36	117.3

C37(C36(H36	117.3

C35(C36(H36	117.3

C36(C37(C33	93.2(2)

C36(C37(H37A	113.1

C33(C37(H37A	113.1

C36(C37(H37B	113.1

C33(C37(H37B	113.1

H37A(C37(H37B	110.5

C2(C1(C8	107.1(2)

C2(C1(P1	119.31(17)

C8(C1(P1	133.29(18)

C2(C1(Fe1	69.47(13)

C8(C1(Fe1	69.65(13)

P1(C1(Fe1	130.18(12)

C4(C2(C1	107.6(2)

C4(C2(C3	124.5(2)

C1(C2(C3	127.9(2)

C4(C2(Fe1	70.21(13)

C1(C2(Fe1	68.96(13)

C3(C2(Fe1	128.40(18)

C2(C3(H3A	109.5

C2(C3(H3B	109.5

H3A(C3(H3B	109.5

C2(C3(H3C	109.5

H3A(C3(H3C	109.5

H3B(C3(H3C	109.5

C6(C4(C2	108.6(2)

C6(C4(C5	125.9(2)

C2(C4(C5	125.4(2)

C6(C4(Fe1	70.11(13)

C2(C4(Fe1	68.72(13)

C5(C4(Fe1	128.75(19)

C4(C5(H5A	109.5

C4(C5(H5B	109.5

H5A(C5(H5B	109.5

C4(C5(H5C	109.5

H5A(C5(H5C	109.5

H5B(C5(H5C	109.5

C4(C6(C8	108.9(2)

C4(C6(C7	125.7(3)

C8(C6(C7	125.4(3)

C4(C6(Fe1	69.73(14)

C8(C6(Fe1	69.14(13)

C7(C6(Fe1	128.77(18)

C6(C7(H7A	109.5

C6(C7(H7B	109.5

H7A(C7(H7B	109.5

C6(C7(H7C	109.5

H7A(C7(H7C	109.5

H7B(C7(H7C	109.5

C6(C8(C1	107.8(2)

C6(C8(C9	121.8(2)

C1(C8(C9	130.4(2)

C6(C8(Fe1	70.38(15)

C1(C8(Fe1	68.50(13)

C9(C8(Fe1	128.93(18)

C8(C9(H9A	109.5

C8(C9(H9B	109.5

H9A(C9(H9B	109.5

C8(C9(H9C	109.5

H9A(C9(H9C	109.5

H9B(C9(H9C	109.5

C17(C10(C11	107.1(2)

C17(C10(P2	118.62(18)

C11(C10(P2	133.92(18)

C17(C10(Fe1	69.32(13)

C11(C10(Fe1	69.40(13)

P2(C10(Fe1	130.96(12)

C13(C11(C10	107.8(2)

C13(C11(C12	122.0(2)

C10(C11(C12	130.2(2)

C13(C11(Fe1	70.46(14)

C10(C11(Fe1	68.84(13)

C12(C11(Fe1	125.36(18)

C11(C12(H12A	109.5

C11(C12(H12B	109.5

H12A(C12(H12B	109.5

C11(C12(H12C	109.5

H12A(C12(H12C	109.5

H12B(C12(H12C	109.5

C11(C13(C15	108.7(2)

C11(C13(C14	125.5(2)

C15(C13(C14	125.7(2)

C11(C13(Fe1	68.80(13)

C15(C13(Fe1	69.88(13)

C14(C13(Fe1	129.78(18)

C13(C14(H14A	109.5

C13(C14(H14B	109.5

H14A(C14(H14B	109.5

C13(C14(H14C	109.5

H14A(C14(H14C	109.5

H14B(C14(H14C	109.5

C13(C15(C17	108.2(2)

C13(C15(C16	125.9(2)

C17(C15(C16	125.9(2)

C13(C15(Fe1	69.61(14)

C17(C15(Fe1	68.52(13)

C16(C15(Fe1	129.25(19)

C15(C16(H16A	109.5

C15(C16(H16B	109.5

H16A(C16(H16B	109.5

C15(C16(H16C	109.5

H16A(C16(H16C	109.5

H16B(C16(H16C	109.5

C15(C17(C10	108.2(2)

C15(C17(C18	124.2(2)

C10(C17(C18	127.5(2)

C15(C17(Fe1	70.73(14)

C10(C17(Fe1	69.02(13)

C18(C17(Fe1	128.76(17)

C17(C18(H18A	109.5

C17(C18(H18B	109.5

H18A(C18(H18B	109.5

C17(C18(H18C	109.5

H18A(C18(H18C	109.5

H18B(C18(H18C	109.5

C21(C19(C20	108.5(2)

C21(C19(P1	117.06(18)

C20(C19(P1	114.60(17)

C21(C19(H19	105.2

C20(C19(H19	105.2

P1(C19(H19	105.2

C19(C20(H20A	109.5

C19(C20(H20B	109.5

H20A(C20(H20B	109.5

C19(C20(H20C	109.5

H20A(C20(H20C	109.5

H20B(C20(H20C	109.5

C19(C21(H21A	109.5

C19(C21(H21B	109.5

H21A(C21(H21B	109.5

C19(C21(H21C	109.5

H21A(C21(H21C	109.5

H21B(C21(H21C	109.5

C23(C22(C24	108.9(2)

C23(C22(P1	117.57(18)

C24(C22(P1	109.57(19)

C23(C22(H22	106.8

C24(C22(H22	106.8

P1(C22(H22	106.8

C22(C23(H23A	109.5

C22(C23(H23B	109.5

H23A(C23(H23B	109.5

C22(C23(H23C	109.5

H23A(C23(H23C	109.5

H23B(C23(H23C	109.5

C22(C24(H24A	109.5

C22(C24(H24B	109.5

H24A(C24(H24B	109.5

C22(C24(H24C	109.5

H24A(C24(H24C	109.5

H24B(C24(H24C	109.5

C27(C25(C26	108.5(2)

C27(C25(P2	115.2(2)

C26(C25(P2	115.8(2)

C27(C25(H25	105.4

C26(C25(H25	105.4

P2(C25(H25	105.4

C25(C26(H26A	109.5

C25(C26(H26B	109.5

H26A(C26(H26B	109.5

C25(C26(H26C	109.5

H26A(C26(H26C	109.5

H26B(C26(H26C	109.5

C25(C27(H27A	109.5

C25(C27(H27B	109.5

H27A(C27(H27B	109.5

C25(C27(H27C	109.5

H27A(C27(H27C	109.5

H27B(C27(H27C	109.5

C29(C28(C30	108.8(2)

C29(C28(P2	117.6(2)

C30(C28(P2	110.7(2)

C29(C28(H28	106.4

C30(C28(H28	106.4

P2(C28(H28	106.4

C28(C29(H29A	109.5

C28(C29(H29B	109.5

H29A(C29(H29B	109.5

C28(C29(H29C	109.5

H29A(C29(H29C	109.5

H29B(C29(H29C	109.5

C28(C30(H30A	109.5

C28(C30(H30B	109.5

H30A(C30(H30B	109.5

C28(C30(H30C	109.5

H30A(C30(H30C	109.5

H30B(C30(H30C	109.5

C1(P1(C22	109.42(12)

C1(P1(C19	98.88(11)

C22(P1(C19	106.80(11)

C1(P1(Rh1	116.03(8)

C22(P1(Rh1	107.81(9)

C19(P1(Rh1	117.30(8)

C10(P2(C28	109.43(12)

C10(P2(C25	99.04(12)

C28(P2(C25	106.76(13)

C10(P2(Rh1	114.54(8)

C28(P2(Rh1	110.46(9)

C25(P2(Rh1	115.83(10)

C1(Fe1(C10	107.19(9)

C1(Fe1(C2	41.57(9)

C10(Fe1(C2	123.93(9)

C1(Fe1(C17	121.95(9)

C10(Fe1(C17	41.67(9)

C2(Fe1(C17	106.70(10)

C1(Fe1(C11	124.14(10)

C10(Fe1(C11	41.76(9)

C2(Fe1(C11	161.84(10)

C17(Fe1(C11	69.79(10)

C1(Fe1(C8	41.84(9)

C10(Fe1(C8	122.31(10)

C2(Fe1(C8	69.68(10)

C17(Fe1(C8	159.21(10)

C11(Fe1(C8	106.95(10)

C1(Fe1(C4	69.30(9)

C10(Fe1(C4	160.86(10)

C2(Fe1(C4	41.08(9)

C17(Fe1(C4	123.07(10)

C11(Fe1(C4	155.72(10)

C8(Fe1(C4	68.41(10)

C1(Fe1(C6	69.22(10)

C10(Fe1(C6	157.82(10)

C2(Fe1(C6	68.78(10)

C17(Fe1(C6	158.90(10)

C11(Fe1(C6	120.94(10)

C8(Fe1(C6	40.48(10)

C4(Fe1(C6	40.16(11)

C1(Fe1(C13	160.76(10)

C10(Fe1(C13	69.26(9)

C2(Fe1(C13	156.05(10)

C17(Fe1(C13	68.76(9)

C11(Fe1(C13	40.75(10)

C8(Fe1(C13	122.93(10)

C4(Fe1(C13	120.32(10)

C6(Fe1(C13	106.55(10)

C1(Fe1(C15	157.57(10)

C10(Fe1(C15	69.28(9)

C2(Fe1(C15	120.81(10)

C17(Fe1(C15	40.75(9)

C11(Fe1(C15	68.85(10)

C8(Fe1(C15	158.80(10)

C4(Fe1(C15	106.41(10)

C6(Fe1(C15	122.50(10)

C13(Fe1(C15	40.51(10)

C31(Rh1(C35	66.24(13)

C31(Rh1(C32	36.53(12)

C35(Rh1(C32	76.84(13)

C31(Rh1(C34	76.82(12)

C35(Rh1(C34	36.06(14)

C32(Rh1(C34	63.88(12)

C31(Rh1(P1	95.55(9)

C35(Rh1(P1	156.74(11)

C32(Rh1(P1	97.36(8)

C34(Rh1(P1	157.53(9)

C31(Rh1(P2	158.88(10)

C35(Rh1(P2	97.39(10)

C32(Rh1(P2	156.58(9)

C34(Rh1(P2	98.00(9)

P1(Rh1(P2	96.19(2)

O3(Cl1(O2	106.0(3)

O3(Cl1(O4	107.4(2)

O2(Cl1(O4	112.0(2)

O3(Cl1(O1	109.2(2)

O2(Cl1(O1	110.41(18)

O4(Cl1(O1	111.56(17)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C31	25(2) 	74(2)	17(1) 	(1(1)	6(1) 	(3(1)

C32	39(2) 	43(2)	19(1) 	(4(1)	8(1) 	12(1)

C33	44(2) 	53(2)	19(1) 	(11(1)	1(1) 	1(2)

C34	37(2) 	61(2)	18(1) 	(5(1)	(7(1) 	9(2)

C35	73(3) 	46(2)	14(1) 	9(1)	5(1) 	22(2)

C36	65(2) 	53(2)	23(2) 	5(1)	13(2) 	(14(2)

C37	56(2) 	70(3)	18(1) 	3(1)	7(1) 	8(2)

O1	38(1) 	120(3)	34(1) 	19(2)	(15(1) 	(23(1)

O2	45(2) 	203(4)	89(2) 	108(3)	(13(2) 	(20(2)

O3	84(3) 	105(3)	203(5) 	(113(3)	(15(3) 	10(2)

O4	37(1) 	133(3)	50(2) 	5(2)	20(1) 	10(2)

C1	14(1) 	13(1)	17(1) 	0(1)	1(1) 	2(1)

C2	12(1) 	18(1)	23(1) 	(3(1)	2(1) 	0(1)

C3	20(1) 	18(1)	32(1) 	0(1)	8(1) 	(4(1)

C4	13(1) 	25(1)	30(1) 	(10(1)	(3(1) 	2(1)

C5	20(1) 	31(2)	55(2) 	(23(1)	(7(1) 	(1(1)

C6	15(1) 	34(2)	18(1) 	(6(1)	(4(1) 	7(1)

C7	27(2) 	61(2)	20(1) 	(12(1)	(5(1) 	16(1)

C8	16(1) 	25(1)	15(1) 	3(1)	0(1) 	6(1)

C9	31(1) 	33(2)	21(1) 	10(1)	7(1) 	6(1)

C10	14(1) 	16(1)	20(1) 	0(1)	(1(1) 	2(1)

C11	14(1) 	24(1)	21(1) 	3(1)	2(1) 	4(1)

C12	15(1) 	41(2)	30(1) 	9(1)	4(1) 	(1(1)

C13	19(1) 	24(1)	21(1) 	(3(1)	0(1) 	9(1)

C14	33(2) 	43(2)	26(1) 	(7(1)	2(1) 	19(1)

C15	23(1) 	16(1)	24(1) 	(4(1)	(3(1) 	4(1)

C16	39(2) 	18(1)	37(2) 	(8(1)	(8(1) 	2(1)

C17	18(1) 	15(1)	18(1) 	0(1)	(1(1) 	1(1)

C18	28(1) 	23(1)	22(1) 	5(1)	0(1) 	(3(1)

C19	19(1) 	20(1)	24(1) 	(1(1)	2(1) 	3(1)

C20	21(1) 	31(2)	31(1) 	(3(1)	(4(1) 	6(1)

C21	31(2) 	32(2)	34(2) 	(13(1)	(1(1) 	12(1)

C22	21(1) 	15(1)	31(1) 	3(1)	0(1) 	(3(1)

C23	30(2) 	22(2)	47(2) 	17(1)	3(1) 	2(1)

C24	41(2) 	16(1)	49(2) 	(6(1)	(6(1) 	(6(1)

C25	33(2) 	25(2)	31(2) 	1(1)	(13(1) 	2(1)

C26	50(2) 	53(2)	44(2) 	(16(2)	(30(2) 	20(2)

C27	36(2) 	23(2)	52(2) 	(6(1)	(21(2) 	11(1)

C28	16(1) 	19(1)	45(2) 	(4(1)	(4(1) 	(1(1)

C29	16(1) 	36(2)	61(2) 	(9(1)	(2(1) 	0(1)

C30	25(1) 	22(2)	67(2) 	(14(2)	(3(1) 	(4(1)

P1	15(1) 	12(1)	16(1) 	0(1)	1(1) 	0(1)

P2	17(1) 	16(1)	23(1) 	(2(1)	(5(1) 	0(1)

Fe1	12(1) 	14(1)	15(1) 	(2(1)	0(1) 	1(1)

Rh1	19(1) 	20(1)	14(1) 	0(1)	(1(1) 	0(1)

Cl1	22(1) 	32(1)	17(1) 	(2(1)	2(1) 	(2(1)