	
	Single Crystal X-Ray Diffraction Service
National Crystallography Service
Contact: Dr S.K.Callear, S.K.Callear@soton.ac.uk


[image: image1.png]



Table 1. Crystal data and structure refinement details.

	


Identification code 
2009src0463 (HP162) 

Empirical formula 
C8H5N3O2
Formula weight 
175.15

Temperature 
120(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P21/c 

Unit cell dimensions
a = 19.7544(4) Å
( = 90°


b = 7.01690(10) Å
( = 103.2100(10)°


c = 11.6931(2) Å
(  = 90°

Volume
1577.95(5) Å3
Z
8

Density (calculated)
1.475 Mg / m3
Absorption coefficient
0.111 mm(1
F(000)
720

Crystal
block; pale orange

Crystal size
0.45 ( 0.26 ( 0.14 mm3
( range for data collection
3.09 ( 25.00°

Index ranges
(23 ( h ( 23, (8 ( k ( 8, (13 ( l ( 13

Reflections collected
18938

Independent reflections
2769 [Rint = 0.0559]

Completeness to ( = 25.00°
99.8 % 

Absorption correction
Semi(empirical from equivalents

Max. and min. transmission
0.9846 and 0.9518

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
2769 / 166 / 287

Goodness-of-fit on F2
1.035

Final R indices [F2 > 2((F2)]
R1 = 0.0436, wR2 = 0.1107

R indices (all data)
R1 = 0.0561, wR2 = 0.1206

Largest diff. peak and hole
0.250 and (0.308 e Å(3
	


Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: Sheldrick, G. M. SADABS - Bruker Nonius area detector scaling and absorption correction - V2.10 Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: ORTEP-3 (L.G. Farrugia, J. Appl. Cryst. (1997) 30, 565).

Special details: 

All hydrogens fixed using a standard riding model, except H11A, H11B N31A, N31B where the N-H bond distance was restrained using DANG. 

The disorder in the furan ring C1-O5 was modelled using PARTs; the occupancy of B is 15.731%.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 
x
y
z
Ueq
S.o.f.
C1
(337(3)
2237(18)
10155(6)
25(1)
0.843(6)

C2
(639(3)
2031(10)
11073(5)
38(1)
0.843(6)

C3
(1339(2)
1489(7)
10576(3)
41(1)
0.843(6)

C4
(1408(1)
1381(4)
9417(3)
38(1)
0.843(6)

O5
(798(2)
1819(6)
9124(2)
33(1)
0.843(6)

C1B
(296(14)
2040(110)
10310(30)
25(6)
0.157(6)

C2B
(885(13)
1680(40)
9492(17)
27(4)
0.157(6)

C3B
(1397(11)
1290(50)
10140(20)
41(1)
0.157(6)

C4B
(1088(10)
1560(20)
11283(17)
40(3)
0.157(6)

O5B
(424(9)
2130(40)
11405(14)
34(4)
0.157(6)

C6
360(1)
2775(2)
10106(2)
24(1)
1

C8
1182(1)
3410(3)
9201(2)
24(1)
1

C9
1411(1)
3714(2)
10387(2)
23(1)
1

C12
2067(1)
4388(3)
10996(2)
25(1)
1

C21
4202(1)
1688(2)
10106(2)
23(1)
1

C22
3935(1)
1384(3)
11052(2)
31(1)
1

C23
3237(1)
730(3)
10582(2)
39(1)
1

C24
3141(1)
683(3)
9419(2)
36(1)
1

C26
4876(1)
2380(2)
10032(2)
22(1)
1

C28
5672(1)
3328(3)
9136(2)
23(1)
1

C29
5916(1)
3444(3)
10335(2)
22(1)
1

C32
6584(1)
4026(3)
10962(2)
25(1)
1

O7
507(1)
2816(2)
9007(1)
25(1)
1

N11
1457(1)
3574(3)
8271(1)
32(1)
1

N13
2603(1)
4951(3)
11488(1)
35(1)
1

O27
5006(1)
2648(2)
8933(1)
23(1)
1

N31
5922(1)
3760(3)
8213(1)
30(1)
1

N33
7131(1)
4494(3)
11460(1)
34(1)
1

N10
871(1)
3290(2)
10948(1)
24(1)
1

O25
3730(1)
1268(2)
9089(1)
32(1)
1

N30
5392(1)
2823(2)
10885(1)
23(1)
1

	


Table 3. Bond lengths [Å] and angles [°].

	


C1(C2
1.350(6)

C1(O5
1.366(5)

C1(C6
1.442(5)

C2(C3
1.424(5)

C2(H2
0.9500

C3(C4
1.333(5)

C3(H3
0.9500

C4(O5
1.361(4)

C4(H4
0.9500

C1B(C2B
1.35(2)

C1B(O5B
1.36(2)

C1B(C6
1.47(2)

C2B(C3B
1.424(17)

C2B(H2B
0.9500

C3B(C4B
1.347(18)

C3B(H3B
0.9500

C4B(O5B
1.348(15)

C4B(H4B
0.9500

C6(N10
1.290(2)

C6(O7
1.381(2)

C8(N11
1.328(2)

C8(O7
1.365(2)

C8(C9
1.374(2)

C9(N10
1.406(2)

C9(C12
1.410(2)

C12(N13
1.152(2)

C21(C22
1.347(3)

C21(O25
1.366(2)

C21(C26
1.439(2)

C22(C23
1.438(3)

C22(H22
0.9500

C23(C24
1.330(3)

C23(H23
0.9500

C24(O25
1.370(2)

C24(H24
0.9500

C26(N30
1.291(2)

C26(O27
1.379(2)

C28(N31
1.320(2)

C28(O27
1.369(2)

C28(C29
1.376(2)

C29(N30
1.407(2)

C29(C32
1.416(3)

C32(N33
1.151(2)

N11(H11A
0.904(15)

N11(H11B
0.865(15)

N31(H31A
0.899(14)

N31(H31B
0.890(15)

C2(C1(O5
110.6(4)

C2(C1(C6
131.3(5)

O5(C1(C6
118.2(4)

C1(C2(C3
105.6(4)

C1(C2(H2
127.2

C3(C2(H2
127.2

C4(C3(C2
107.1(3)

C4(C3(H3
126.4

C2(C3(H3
126.4

C3(C4(O5
110.5(3)

C3(C4(H4
124.7

O5(C4(H4
124.7

C4(O5(C1
106.1(3)

C2B(C1B(O5B
111.1(16)

C2B(C1B(C6
127(2)

O5B(C1B(C6
120(2)

C1B(C2B(C3B
105.1(15)

C1B(C2B(H2B
127.5

C3B(C2B(H2B
127.5

C4B(C3B(C2B
106.6(14)

C4B(C3B(H3B
126.7

C2B(C3B(H3B
126.7

C3B(C4B(O5B
110.9(14)

C3B(C4B(H4B
124.6

O5B(C4B(H4B
124.6

C4B(O5B(C1B
105.7(14)

N10(C6(O7
114.24(15)

N10(C6(C1
129.1(3)

O7(C6(C1
116.6(3)

N10(C6(C1B
122.8(11)

O7(C6(C1B
122.7(12)

C1(C6(C1B
9(3)

N11(C8(O7
117.19(15)

N11(C8(C9
135.31(17)

O7(C8(C9
107.50(15)

C8(C9(N10
109.06(15)

C8(C9(C12
127.97(16)

N10(C9(C12
122.96(16)

N13(C12(C9
179.5(2)

C22(C21(O25
111.30(16)

C22(C21(C26
130.14(17)

O25(C21(C26
118.56(15)

C21(C22(C23
104.95(17)

C21(C22(H22
127.5

C23(C22(H22
127.5

C24(C23(C22
107.43(17)

C24(C23(H23
126.3

C22(C23(H23
126.3

C23(C24(O25
110.38(17)

C23(C24(H24
124.8

O25(C24(H24
124.8

N30(C26(O27
113.97(15)

N30(C26(C21
127.80(16)

O27(C26(C21
118.23(15)

N31(C28(O27
117.49(15)

N31(C28(C29
135.23(17)

O27(C28(C29
107.24(15)

C28(C29(N30
108.96(15)

C28(C29(C32
127.72(16)

N30(C29(C32
123.30(15)

N33(C32(C29
179.2(2)

C8(O7(C6
104.82(13)

C8(N11(H11A
119.4(12)

C8(N11(H11B
119.2(13)

H11A(N11(H11B
120.7(18)

C28(O27(C26
105.12(13)

C28(N31(H31A
118.2(13)

C28(N31(H31B
117.2(13)

H31A(N31(H31B
121.0(18)

C6(N10(C9
104.39(15)

C21(O25(C24
105.93(15)

C26(N30(C29
104.72(14)

	


Symmetry transformations used to generate equivalent atoms: 

	


Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom
U11
U22
U33
U23
U13
U12
C1
23(2) 
16(2)
35(2) 
4(3)
5(2) 
2(2)

C2
37(3) 
35(2)
42(3) 
6(2)
11(2) 
(1(2)

C3
26(2) 
33(2)
69(4) 
8(3)
20(2) 
(3(1)

C4
22(1) 
28(1)
63(2) 
(4(1)
10(1) 
(6(1)

O5
21(1) 
33(1)
43(2) 
(7(1)
2(1) 
(4(1)

C1B
17(7) 
29(15)
23(8) 
14(8)
(7(6) 
(3(9)

C2B
29(9) 
18(7)
36(8) 
(11(8)
10(6) 
(7(6)

C3B
26(2) 
33(2)
69(4) 
8(3)
20(2) 
(3(1)

C4B
46(9) 
21(7)
64(7) 
8(8)
33(7) 
(10(7)

O5B
43(8) 
29(6)
35(7) 
4(6)
21(5) 
(11(7)

C6
23(1) 
20(1)
28(1) 
2(1)
6(1) 
2(1)

C8
18(1) 
23(1)
29(1) 
(1(1)
3(1) 
(2(1)

C9
20(1) 
23(1)
24(1) 
1(1)
3(1) 
(1(1)

C12
24(1) 
29(1)
21(1) 
1(1)
5(1) 
1(1)

C21
20(1) 
20(1)
25(1) 
0(1)
1(1) 
2(1)

C22
40(1) 
31(1)
23(1) 
(1(1)
11(1) 
0(1)

C23
32(1) 
32(1)
59(2) 
2(1)
26(1) 
(1(1)

C24
18(1) 
37(1)
51(1) 
2(1)
3(1) 
(4(1)

C26
22(1) 
21(1)
21(1) 
2(1)
5(1) 
1(1)

C28
20(1) 
23(1)
25(1) 
(2(1)
4(1) 
(1(1)

C29
20(1) 
25(1)
21(1) 
(1(1)
3(1) 
0(1)

C32
26(1) 
28(1)
22(1) 
0(1)
6(1) 
(1(1)

O7
20(1) 
28(1)
26(1) 
(3(1)
2(1) 
(3(1)

N11
24(1) 
46(1)
26(1) 
(8(1)
5(1) 
(11(1)

N13
24(1) 
50(1)
29(1) 
(2(1)
2(1) 
(6(1)

O27
19(1) 
28(1)
21(1) 
(1(1)
4(1) 
(3(1)

N31
24(1) 
47(1)
20(1) 
(3(1)
6(1) 
(11(1)

N33
26(1) 
44(1)
29(1) 
(1(1)
4(1) 
(9(1)

N10
21(1) 
24(1)
27(1) 
3(1)
4(1) 
0(1)

O25
26(1) 
36(1)
33(1) 
(1(1)
2(1) 
(4(1)

N30
20(1) 
26(1)
24(1) 
1(1)
5(1) 
0(1)

	


Table 5. Hydrogen bonds [Å and °].

 D(H···A
d(D(H)
d(H···A)
d(D···A)
((DHA)

 N11(H11A...N10i
0.904(15)
2.106(15)
2.999(2)
169.7(17)

 N11(H11B...N33ii
0.865(15)
2.195(15)
3.052(2)
170.6(18)

 N31(H31A...N30i
0.899(14)
2.017(15)
2.905(2)
168.9(18)

 N31(H31B...N13ii
0.890(15)
2.107(15)
2.995(2)
175.0(18) 
	


Symmetry transformations used to generate equivalent atoms: 

(i) x,(y+1/2,z(1/2    (ii) (x+1,(y+1,(z+2  
	








1

15/05/09 13:19:42                    Dr T Gelbrich          
98src212

User:

PAGE  
2
15/05/2009                    Dr. S.K. Callear          
                      2009SRC0463

User: Dr J. Spencer

