|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00SRC180

Empirical formula 	C10H8S2

Formula weight 	192.28

Temperature 	150(2) K

Wavelength 	0.71073 Å

## Crystal system 	Orthorhombic

Space group 	Pccn

Unit cell dimensions	a = 7.4172(4) Å

b = 21.2420(6) Å

c = 5.6592(17) Å

Volume	891.6(3) Å3

Z	4

Density (calculated)	1.432 Mg / m3

Absorption coefficient	0.531 mm-1

F(000)	400

Crystal	colourless plate

Crystal size	0.25 ( 0.20 ( 0.02 mm3

( range for data collection	3.84 ( 25.03°

Index ranges	(7 ( h ( 8, (24 ( k ( 25, (5 ( l ( 6

Reflections collected	2663

Independent reflections	775 [Rint = 0.0411]

Completeness to ( = 25.03°	98.2 %

Absorption correction	Empirical

Max. and min. transmission	0.9895 and 0.8787

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	775 / 0 / 71

Goodness-of-fit on F2	0.997

Final R indices [F2 > 2((F2)]	R1 = 0.0419, wR2 = 0.1096

R indices (all data)	R1 = 0.0578, wR2 = 0.1189

Largest diff. peak and hole	0.436 and (0.361 e Å-3

Diffractometer: Enraf Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Data collection and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Cartr, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Program used to solve structure: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Program used to refine structure: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details: All hydrogen atoms were located from the difference map and fully refined.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

C1	9279(3)	3574(1)	534(4)	25(1)	1

C2	9856(3)	4157(1)	1233(4)	24(1)	1

C3	10750(4)	4129(1)	3473(4)	28(1)	1

C4	10843(3)	3528(1)	4380(4)	24(1)	1

C5	9630(3)	4719(1)	(211(5)	29(1)	1

S1	9852(1)	2998(1)	2518(1)	29(1)	1

Table 3. Bond lengths [Å] and angles [°].

C1(C2	1.368(3)

C1(S1	1.713(2)

C2(C3	1.432(4)

C2(C5	1.457(4)

C3(C4	1.378(3)

C4(S1	1.708(2)

C5(C5i	1.336(5)

C2(C1(S1	112.25(19)

C1(C2(C3	111.3(2)

C1(C2(C5	122.9(2)

C3(C2(C5	125.7(2)

C4(C3(C2	113.0(2)

C3(C4(S1	111.02(19)

C5i(C5(C2	125.8(3)

C4(S1(C1	92.36(13)

Symmetry transformations used to generate equivalent atoms:

(i) (x+2,(y+1,(z

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

C1	20(1) 	30(1)	25(1) 	(1(1)	(1(1) 	(2(1)

C2	19(1) 	26(1)	27(1) 	(2(1)	1(1) 	2(1)

C3	26(1) 	29(1)	28(1) 	(3(1)	(2(1) 	0(1)

C4	20(1) 	32(1)	20(1) 	(1(1)	(2(1) 	2(1)

C5	22(1) 	35(1)	28(2) 	0(1)	(1(1) 	2(1)

S1	30(1) 	25(1)	31(1) 	1(1)	1(1) 	(2(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1	8660(30)	3473(10)	(800(40)	21(6)	1

H3	11220(40)	4517(12)	4370(50)	48(8)	1

H4	11230(30)	3419(11)	5650(40)	25(7)	1

H5	8910(40)	4661(12)	(1610(50)	50(8)	1