|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	99SRC289

Empirical formula 	C10H12NO2

Formula weight 	178.21

Temperature 	298(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 5.3172(14) Å

b = 8.805(3) Å	( = 91.694(17)°

c = 20.641(7) Å

Volume	966.0(5) Å3

Z	4

Density (calculated)	1.225 Mg / m3

Absorption coefficient	0.086 mm-1

F(000)	380

Crystal	Colourless block

Crystal size	0.20 ( 0.10 ( 0.10 mm3

( range for data collection	3.04 ( 24.23°

Index ranges	(6 ( h ( 6, (10 ( k ( 10, (22 ( l ( 23

Reflections collected	5679

Independent reflections	1515 [Rint = 0.1359]

Completeness to ( = 24.23°	90.9 %

Absorption correction	Empirical, SORTAV

Max. and min. transmission	0.9915 and 0.9831

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1515 / 0 / 121

Goodness-of-fit on F2	0.906

Final R indices [F2 > 2((F2)]	R1 = 0.0653, wR2 = 0.1412

R indices (all data)	R1 = 0.2100, wR2 = 0.2014

Extinction coefficient	0.019(4)

Largest diff. peak and hole	0.171 and (0.231 e Å-3

Diffractometer: Enraf Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Program used to solve structure:

SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Program used to refine structure: SHELXL97 (G. M. Sheldrick

(1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

O1	5629(4)	3620(3)	6448(2)	96(1)	1

O2	3069(5)	3289(3)	4886(1)	101(1)	1

N1	3992(5)	3864(3)	5922(2)	68(1)	1

C6	7062(6)	4083(4)	7533(2)	57(1)	1

C1	6755(6)	4931(4)	8085(2)	70(1)	1

C2	8345(6)	4758(4)	8621(2)	76(1)	1

C3	10277(7)	3731(4)	8610(2)	77(1)	1

C4	10602(7)	2869(4)	8065(2)	77(1)	1

C5	9011(6)	3048(4)	7528(2)	69(1)	1

C9	4437(7)	3096(4)	5366(2)	72(1)	1

C8	2044(6)	4994(4)	5954(2)	84(1)	1

C7	5352(6)	4351(4)	6988(2)	67(1)	1

C10	6647(7)	2041(4)	5362(2)	91(1)	1

Table 3. Bond lengths [Å] and angles [°].

O1(C7	1.300(4)

O1(N1	1.388(4)

O2(C9	1.222(4)

N1(C9	1.360(5)

N1(C8	1.439(4)

C6(C1	1.375(5)

C6(C5	1.380(4)

C6(C7	1.445(5)

C1(C2	1.381(5)

C2(C3	1.369(5)

C3(C4	1.372(5)

C4(C5	1.383(5)

C9(C10	1.498(5)

C7(O1(N1	120.7(3)

C9(N1(O1	117.5(3)

C9(N1(C8	121.8(3)

O1(N1(C8	120.5(3)

C1(C6(C5	118.2(3)

C1(C6(C7	117.9(3)

C5(C6(C7	123.9(3)

C6(C1(C2	121.2(3)

C3(C2(C1	120.1(4)

C2(C3(C4	119.4(4)

C3(C4(C5	120.3(4)

C6(C5(C4	120.7(4)

O2(C9(N1	120.0(4)

O2(C9(C10	122.0(4)

N1(C9(C10	118.0(3)

O1(C7(C6	120.2(3)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

O1	90(2) 	87(2)	110(2) 	7(2)	3(2) 	(7(2)

O2	97(2) 	134(2)	69(2) 	(5(2)	(21(2) 	(1(2)

N1	63(2) 	79(2)	60(2) 	4(2)	(14(2) 	1(2)

C6	61(2) 	49(2)	62(3) 	(4(2)	4(2) 	(1(2)

C1	68(2) 	62(2)	81(3) 	1(2)	1(2) 	4(2)

C2	86(2) 	72(3)	70(3) 	(8(2)	10(2) 	(1(2)

C3	83(3) 	68(3)	78(3) 	10(2)	(13(2) 	(10(2)

C4	81(3) 	58(2)	92(3) 	(1(2)	(3(2) 	6(2)

C5	72(2) 	68(3)	69(3) 	(2(2)	2(2) 	3(2)

C9	76(3) 	80(3)	61(3) 	1(2)	0(2) 	(18(2)

C8	71(2) 	94(3)	86(3) 	8(3)	(10(2) 	12(2)

C7	76(2) 	64(3)	62(3) 	(10(2)	5(2) 	2(2)

C10	98(3) 	92(3)	82(3) 	(19(3)	4(2) 	5(3)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1	5452	5634	8097	85	1

H2	8103	5340	8990	91	1

H3	11360	3619	8969	92	1

H4	11899	2162	8057	93	1

H5	9256	2464	7160	83	1

H8A	1156	5053	5543	126	1

H8B	2784	5962	6056	126	1

H8C	893	4719	6284	126	1

H7	4050	5048	7024	81	1

H10A	6697	1451	5753	136	1

H10B	8169	2622	5335	136	1

H10C	6491	1376	4994	136	1