|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	00src186

Empirical formula 	C13H10OS4

Formula weight 	310.45

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pbcn

Unit cell dimensions	a = 14.5002(3) Å	( = 90°

b = 13.4816(3) Å	( = 90°

c = 7.00910(10) Å	(  = 90°

Volume	1370.18(5) Å3

Z	4

Density (calculated)	1.505 Mg / m3

Absorption coefficient	0.676 mm(1

F(000)	640

Crystal	Block; colourless

Crystal size	0.20 ( 0.20 ( 0.15 mm3

( range for data collection	3.02 ( 25.99°

Index ranges	(15 ( h ( 17, (16 ( k ( 15, (8 ( l ( 8

Reflections collected	5309

Independent reflections	1343 [Rint = 0.0298]

Completeness to ( = 25.99°	99.3 %

Max. and min. transmission	0.9054 and 0.8766

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1343 / 0 / 93

Goodness-of-fit on F2	1.081

Final R indices [F2 > 2((F2)]	R1 = 0.0380, wR2 = 0.1020

R indices (all data)	R1 = 0.0426, wR2 = 0.1049

Extinction coefficient	0.0000(19)

Largest diff. peak and hole	0.672 and (0.600 e Å(3

Diffractometer: Enraf Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426 Program used to solve structure: DIRDIF-96 (P. T. Beurskens, G. Beurskens, W. P. Bosman, R. de Gelder, S. Garcia-Granda, R. O. Gould, R. Israël & J. M. M. Smits (1996). Crystallography Laboratory, University of Nijmegen, The Netherlands.  Program used to refine structure: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

S1	991(1)	566(1)	2117(1)	29(1)	1

S2	1918(1)	4213(1)	2888(1)	33(1)	1

O1	0	(1068(2)	2500	48(1)	1

C1	586(2)	3455(2)	5353(3)	36(1)	1

C2	1109(1)	3339(2)	3530(3)	25(1)	1

C3	1075(1)	2588(2)	2217(3)	23(1)	1

C4	2226(2)	3557(2)	893(4)	40(1)	1

C5	1730(2)	2721(2)	705(3)	35(1)	1

C6	458(2)	1725(1)	2340(3)	22(1)	1

C10	0	(172(2)	2500	32(1)	1

Table 3. Bond lengths [Å] and angles [°].

S1(C6	1.751(2)

S1(C10	1.7688(18)

S2(C4	1.714(3)

S2(C2	1.722(2)

O1(C10	1.207(4)

C1(C2	1.494(3)

C2(C3	1.369(3)

C3(C5	1.434(3)

C3(C6	1.470(3)

C4(C5	1.344(3)

C6(C6i	1.347(4)

C10(S1i	1.7688(18)

C6(S1(C10	97.45(11)

C4(S2(C2	92.15(11)

C3(C2(C1	129.32(18)

C3(C2(S2	110.79(15)

C1(C2(S2	119.85(16)

C2(C3(C5	112.36(19)

C2(C3(C6	124.59(18)

C5(C3(C6	123.03(19)

C5(C4(S2	111.92(17)

C4(C5(C3	112.8(2)

C6i(C6(C3	127.58(11)

C6i(C6(S1	116.78(7)

C3(C6(S1	115.62(15)

O1(C10(S1	124.24(8)

O1(C10(S1i	124.24(8)

S1(C10(S1i	111.53(17)

Symmetry transformations used to generate equivalent atoms:

(i) (x,y,(z+1/2

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

S1	35(1) 	21(1)	31(1) 	(2(1)	(9(1) 	8(1)

S2	27(1) 	24(1)	48(1) 	7(1)	5(1) 	(5(1)

O1	74(2) 	17(1)	54(2) 	0	(28(1) 	0

C1	43(1) 	35(1)	30(1) 	(10(1)	5(1) 	(16(1)

C2	22(1) 	23(1)	29(1) 	4(1)	2(1) 	(3(1)

C3	21(1) 	22(1)	25(1) 	4(1)	2(1) 	4(1)

C4	35(1) 	36(1)	50(1) 	11(1)	21(1) 	3(1)

C5	36(1) 	32(1)	38(1) 	3(1)	14(1) 	9(1)

C6	29(1) 	18(1)	18(1) 	(1(1)	(2(1) 	5(1)

C10	47(2) 	20(2)	29(2) 	0	(17(1) 	0

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	766	4077	5974	50(20)	0.45(7)

H1B	724	2896	6200	80(30)	0.45(7)

H1C	(77	3468	5080	80(30)	0.45(7)

H1D	176	2884	5528	24(15)	0.55(7)

H1E	218	4065	5302	70(20)	0.55(7)

H1F	1019	3493	6422	42(17)	0.55(7)

H4	2692	3760	24	47(7)	1

H5	1805	2267	(320	38(7)	1