|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	01src280

Empirical formula 	C34H24Fe2O2

Formula weight 	576.23

Temperature 	150(2) K

Wavelength 	0.71073 Å

Crystal system 	Triclinic

Space group

Unit cell dimensions	a = 9.9133(2) Å	( = 83.1230(10)°

b = 11.0918(4) Å	( = 66.0480(12)°

c = 11.8105(4) Å	(  = 83.6670(12)°

Volume	1175.54(6) Å3

Z	2

Density (calculated)	1.628 Mg / m3

Absorption coefficient	1.268 mm(1

F(000)	592

Crystal	Plate; dark-brown

Crystal size	0.50 ( 0.15 ( 0.02 mm3

( range for data collection	3.01 ( 25.25°

Index ranges	(11 ( h ( 11, (13 ( k ( 13, (13 ( l ( 14

Reflections collected	9641

Independent reflections	4203 [Rint = 0.0746]

Completeness to ( = 25.25°	98.8 %

Max. and min. transmission	0.9751 and 0.5698

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4203 / 0 / 367

Goodness-of-fit on F2	1.002

Final R indices [F2 > 2((F2)]	R1 = 0.0494, wR2 = 0.1079

R indices (all data)	R1 = 0.0615, wR2 = 0.1121

Largest diff. peak and hole	0.924 and (0.735 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill Ewald sphere). Data collection and cell

refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography,

part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing,

Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426 Program used to solve structure: DIRDIF-96 (P. T. Beurskens, G. Beurskens, W. P. Bosman, R. de Gelder, S. Garcia-Granda, R. O. Gould, R. Israël & J. M. M. Smits (1996). Crystallography Laboratory, University of Nijmegen, The Netherlands.  Program used to refine structure: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany).

Further information:  http://www.soton.ac.uk/~xservice/strat.htm

Special details:

The asymmetric unit contains the half of two molecules.

The geometries of the two independent molecules differ slightly (the Fig. shows the fit of O1-O1’, C13-C13’, C17-C17’ where one molecule is inverted)

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Fe1	1724(1)	866(1)	1120(1)	30(1)	1

O1	5956(3)	(1959(3)	3667(3)	43(1)	1

C1	1410(4)	(82(3)	2803(4)	32(1)	1

C2	1931(5)	(886(3)	1816(4)	33(1)	1

C3	888(5)	(775(4)	1269(4)	35(1)	1

C4	(255(5)	87(4)	1871(4)	37(1)	1

C5	58(4)	519(4)	2807(4)	36(1)	1

C6	3343(5)	2022(4)	702(4)	45(1)	1

C7	3668(5)	1316(4)	(315(4)	48(1)	1

C8	2465(6)	1565(5)	(680(4)	54(1)	1

C9	1459(6)	2388(5)	80(5)	61(1)	1

C10	1995(5)	2684(4)	911(5)	50(1)	1

C11	2169(4)	132(3)	3594(3)	30(1)	1

C12	3424(4)	(569(3)	3594(3)	30(1)	1

C13	4184(4)	(291(3)	4288(3)	28(1)	1

C14	3650(4)	699(3)	5037(3)	28(1)	1

C15	2360(4)	1353(3)	5086(3)	32(1)	1

C16	1620(4)	1076(4)	4395(3)	34(1)	1

C17	5532(4)	(1052(3)	4252(3)	31(1)	1

Fe1'	(4372(1)	3961(1)	2246(1)	29(1)	1

O1'	(1235(3)	2903(3)	6106(3)	44(1)	1

C1'	(2281(4)	3605(3)	2165(3)	30(1)	1

C2'	(2268(4)	3901(4)	931(4)	36(1)	1

C3'	(3088(5)	3034(4)	731(4)	40(1)	1

C4'	(3608(5)	2209(4)	1814(4)	40(1)	1

C5'	(3107(4)	2557(3)	2684(4)	36(1)	1

C6'	(5294(5)	5396(4)	3317(5)	48(1)	1

C7'	(5273(5)	5700(4)	2111(4)	45(1)	1

C8'	(6109(4)	4847(4)	1905(4)	40(1)	1

C9'	(6627(4)	4033(4)	2981(4)	39(1)	1

C10'	(6108(5)	4364(4)	3855(4)	42(1)	1

C11'	(1558(4)	4264(3)	2749(3)	30(1)	1

C12'	(1459(4)	3795(3)	3870(3)	30(1)	1

C13'	(724(4)	4394(3)	4400(3)	27(1)	1

C14'	(90(4)	5479(3)	3833(3)	28(1)	1

C15'	(206(4)	5965(4)	2723(4)	34(1)	1

C16'	(934(4)	5367(4)	2207(4)	35(1)	1

C17'	(679(4)	3857(3)	5609(3)	30(1)	1

Table 3. Bond lengths [Å] and angles [°].

Fe1(C9	2.024(5)

Fe1(C6	2.030(4)

Fe1(C8	2.030(4)

Fe1(C5	2.033(4)

Fe1(C10	2.036(4)

Fe1(C2	2.040(4)

Fe1(C4	2.040(4)

Fe1(C3	2.042(4)

Fe1(C7	2.047(4)

Fe1(C1	2.055(4)

O1(C17	1.227(4)

C1(C5	1.428(6)

C1(C2	1.442(5)

C1(C11	1.471(5)

C2(C3	1.414(5)

C2(H2	0.9500

C3(C4	1.405(6)

C3(H3	0.9500

C4(C5	1.410(5)

C4(H4	0.9500

C5(H5	0.9500

C6(C10	1.395(7)

C6(C7	1.420(6)

C6(H6	0.9500

C7(C8	1.415(7)

C7(H7	0.9500

C8(C9	1.379(8)

C8(H8	0.9500

C9(C10	1.374(7)

C9(H9	0.9500

C10(H10	0.9500

C11(C12	1.392(5)

C11(C16	1.407(5)

C12(C13	1.395(5)

C12(H12	0.9500

C13(C14	1.413(5)

C13(C17	1.488(5)

C14(C15	1.382(5)

C14(C17i	1.488(5)

C15(C16	1.377(5)

C15(H15	0.9500

C16(H16	0.9500

C17(C14i	1.488(5)

Fe1'(C1'	2.033(4)

Fe1'(C2'	2.033(4)

Fe1'(C10'	2.037(4)

Fe1'(C9'	2.039(4)

Fe1'(C5'	2.043(4)

Fe1'(C3'	2.045(4)

Fe1'(C8'	2.045(4)

Fe1'(C6'	2.048(4)

Fe1'(C7'	2.050(4)

Fe1'(C4'	2.053(4)

O1'(C17'	1.218(4)

C1'(C5'	1.424(5)

C1'(C2'	1.450(5)

C1'(C11'	1.471(5)

C2'(C3'	1.423(6)

C2'(H2'	0.9500

C3'(C4'	1.424(6)

C3'(H3'	0.9500

C4'(C5'	1.416(6)

C4'(H4'	0.9500

C5'(H5'	0.9500

C6'(C10'	1.407(6)

C6'(C7'	1.416(7)

C6'(H6'	0.9500

C7'(C8'	1.426(6)

C7'(H7'	0.9500

C8'(C9'	1.411(6)

C8'(H8'	0.9500

C9'(C10'	1.424(6)

C9'(H9'	0.9500

C10'(H10'	0.9500

C11'(C16'	1.395(5)

C11'(C12'	1.401(5)

C12'(C13'	1.394(5)

C12'(H12'	0.9500

C13'(C14'	1.386(5)

C13'(C17'	1.495(5)

C14'(C15'	1.401(5)

C14'(C17'ii	1.486(5)

C15'(C16'	1.375(5)

C15'(H15'	0.9500

C16'(H16'	0.9500

C17'(C14'ii	1.486(5)

C9(Fe1(C6	67.5(2)

C9(Fe1(C8	39.8(2)

C6(Fe1(C8	67.81(18)

C9(Fe1(C5	117.3(2)

C6(Fe1(C5	126.76(17)

C8(Fe1(C5	151.24(19)

C9(Fe1(C10	39.6(2)

C6(Fe1(C10	40.12(19)

C8(Fe1(C10	66.8(2)

C5(Fe1(C10	107.07(19)

C9(Fe1(C2	165.1(2)

C6(Fe1(C2	121.21(18)

C8(Fe1(C2	129.0(2)

C5(Fe1(C2	68.71(17)

C10(Fe1(C2	154.65(19)

C9(Fe1(C4	106.7(2)

C6(Fe1(C4	163.29(19)

C8(Fe1(C4	118.47(17)

C5(Fe1(C4	40.51(15)

C10(Fe1(C4	125.60(19)

C2(Fe1(C4	68.37(16)

C9(Fe1(C3	126.8(2)

C6(Fe1(C3	155.59(19)

C8(Fe1(C3	109.22(18)

C5(Fe1(C3	67.99(16)

C10(Fe1(C3	163.03(19)

C2(Fe1(C3	40.52(15)

C4(Fe1(C3	40.26(16)

C9(Fe1(C7	67.8(2)

C6(Fe1(C7	40.75(18)

C8(Fe1(C7	40.61(19)

C5(Fe1(C7	165.63(18)

C10(Fe1(C7	67.68(19)

C2(Fe1(C7	109.91(18)

C4(Fe1(C7	153.44(18)

C3(Fe1(C7	120.93(18)

C9(Fe1(C1	151.7(2)

C6(Fe1(C1	108.64(16)

C8(Fe1(C1	167.1(2)

C5(Fe1(C1	40.88(16)

C10(Fe1(C1	119.14(18)

C2(Fe1(C1	41.22(15)

C4(Fe1(C1	68.62(16)

C3(Fe1(C1	68.53(15)

C7(Fe1(C1	128.71(18)

C5(C1(C2	106.5(3)

C5(C1(C11	126.8(4)

C2(C1(C11	126.7(4)

C5(C1(Fe1	68.7(2)

C2(C1(Fe1	68.8(2)

C11(C1(Fe1	124.4(3)

C3(C2(C1	107.8(4)

C3(C2(Fe1	69.8(2)

C1(C2(Fe1	69.9(2)

C3(C2(H2	126.1

C1(C2(H2	126.1

Fe1(C2(H2	125.7

C4(C3(C2	108.8(3)

C4(C3(Fe1	69.8(2)

C2(C3(Fe1	69.7(2)

C4(C3(H3	125.6

C2(C3(H3	125.6

Fe1(C3(H3	126.6

C3(C4(C5	108.1(4)

C3(C4(Fe1	70.0(2)

C5(C4(Fe1	69.5(2)

C3(C4(H4	126.0

C5(C4(H4	126.0

Fe1(C4(H4	126.2

C4(C5(C1	108.8(4)

C4(C5(Fe1	70.0(2)

C1(C5(Fe1	70.4(2)

C4(C5(H5	125.6

C1(C5(H5	125.6

Fe1(C5(H5	125.6

C10(C6(C7	107.8(4)

C10(C6(Fe1	70.1(2)

C7(C6(Fe1	70.3(2)

C10(C6(H6	126.1

C7(C6(H6	126.1

Fe1(C6(H6	125.1

C8(C7(C6	106.1(4)

C8(C7(Fe1	69.0(2)

C6(C7(Fe1	69.0(2)

C8(C7(H7	127.0

C6(C7(H7	127.0

Fe1(C7(H7	126.6

C9(C8(C7	108.7(4)

C9(C8(Fe1	69.9(3)

C7(C8(Fe1	70.4(2)

C9(C8(H8	125.6

C7(C8(H8	125.6

Fe1(C8(H8	125.7

C10(C9(C8	108.7(5)

C10(C9(Fe1	70.7(3)

C8(C9(Fe1	70.4(3)

C10(C9(H9	125.7

C8(C9(H9	125.7

Fe1(C9(H9	124.9

C9(C10(C6	108.8(5)

C9(C10(Fe1	69.7(3)

C6(C10(Fe1	69.7(2)

C9(C10(H10	125.6

C6(C10(H10	125.6

Fe1(C10(H10	126.5

C12(C11(C16	117.8(3)

C12(C11(C1	122.7(3)

C16(C11(C1	119.6(4)

C11(C12(C13	121.4(3)

C11(C12(H12	119.3

C13(C12(H12	119.3

C12(C13(C14	119.6(3)

C12(C13(C17	119.9(3)

C14(C13(C17	120.5(3)

C15(C14(C13	118.8(3)

C15(C14(C17i	120.3(3)

C13(C14(C17i	121.0(3)

C16(C15(C14	121.3(3)

C16(C15(H15	119.4

C14(C15(H15	119.4

C15(C16(C11	121.0(4)

C15(C16(H16	119.5

C11(C16(H16	119.5

O1(C17(C13	121.1(3)

O1(C17(C14i	120.4(4)

C13(C17(C14i	118.5(3)

C1'(Fe1'(C2'	41.80(15)

C1'(Fe1'(C10'	121.69(16)

C2'(Fe1'(C10'	158.72(17)

C1'(Fe1'(C9'	158.51(16)

C2'(Fe1'(C9'	158.63(17)

C10'(Fe1'(C9'	40.90(17)

C1'(Fe1'(C5'	40.91(15)

C2'(Fe1'(C5'	69.06(17)

C10'(Fe1'(C5'	107.23(18)

C9'(Fe1'(C5'	122.98(17)

C1'(Fe1'(C3'	69.32(16)

C2'(Fe1'(C3'	40.84(16)

C10'(Fe1'(C3'	159.02(18)

C9'(Fe1'(C3'	122.97(17)

C5'(Fe1'(C3'	68.38(17)

C1'(Fe1'(C8'	159.08(17)

C2'(Fe1'(C8'	122.44(17)

C10'(Fe1'(C8'	68.61(18)

C9'(Fe1'(C8'	40.42(17)

C5'(Fe1'(C8'	158.87(17)

C3'(Fe1'(C8'	107.67(17)

C1'(Fe1'(C6'	107.00(17)

C2'(Fe1'(C6'	122.92(18)

C10'(Fe1'(C6'	40.30(18)

C9'(Fe1'(C6'	67.86(17)

C5'(Fe1'(C6'	122.99(19)

C3'(Fe1'(C6'	159.28(19)

C8'(Fe1'(C6'	68.09(18)

C1'(Fe1'(C7'	122.38(17)

C2'(Fe1'(C7'	107.08(17)

C10'(Fe1'(C7'	68.40(18)

C9'(Fe1'(C7'	68.17(17)

C5'(Fe1'(C7'	158.84(18)

C3'(Fe1'(C7'	123.14(19)

C8'(Fe1'(C7'	40.75(17)

C6'(Fe1'(C7'	40.43(19)

C1'(Fe1'(C4'	68.95(16)

C2'(Fe1'(C4'	68.85(17)

C10'(Fe1'(C4'	122.76(18)

C9'(Fe1'(C4'	107.83(17)

C5'(Fe1'(C4'	40.44(16)

C3'(Fe1'(C4'	40.68(17)

C8'(Fe1'(C4'	123.09(17)

C6'(Fe1'(C4'	158.7(2)

C7'(Fe1'(C4'	159.35(18)

C5'(C1'(C2'	107.0(3)

C5'(C1'(C11'	127.2(3)

C2'(C1'(C11'	125.8(3)

C5'(C1'(Fe1'	69.9(2)

C2'(C1'(Fe1'	69.1(2)

C11'(C1'(Fe1'	126.5(3)

C3'(C2'(C1'	107.6(4)

C3'(C2'(Fe1'	70.0(2)

C1'(C2'(Fe1'	69.1(2)

C3'(C2'(H2'	126.2

C1'(C2'(H2'	126.2

Fe1'(C2'(H2'	126.3

C4'(C3'(C2'	108.4(4)

C4'(C3'(Fe1'	69.9(2)

C2'(C3'(Fe1'	69.1(2)

C4'(C3'(H3'	125.8

C2'(C3'(H3'	125.8

Fe1'(C3'(H3'	126.7

C5'(C4'(C3'	108.0(4)

C5'(C4'(Fe1'	69.4(2)

C3'(C4'(Fe1'	69.4(2)

C5'(C4'(H4'	126.0

C3'(C4'(H4'	126.0

Fe1'(C4'(H4'	126.8

C4'(C5'(C1'	109.0(4)

C4'(C5'(Fe1'	70.1(2)

C1'(C5'(Fe1'	69.2(2)

C4'(C5'(H5'	125.5

C1'(C5'(H5'	125.5

Fe1'(C5'(H5'	126.8

C10'(C6'(C7'	108.9(4)

C10'(C6'(Fe1'	69.5(2)

C7'(C6'(Fe1'	69.9(2)

C10'(C6'(H6'	125.5

C7'(C6'(H6'	125.5

Fe1'(C6'(H6'	126.7

C6'(C7'(C8'	107.5(4)

C6'(C7'(Fe1'	69.7(2)

C8'(C7'(Fe1'	69.4(2)

C6'(C7'(H7'	126.3

C8'(C7'(H7'	126.3

Fe1'(C7'(H7'	126.2

C9'(C8'(C7'	107.7(4)

C9'(C8'(Fe1'	69.5(2)

C7'(C8'(Fe1'	69.8(2)

C9'(C8'(H8'	126.1

C7'(C8'(H8'	126.1

Fe1'(C8'(H8'	126.1

C8'(C9'(C10'	108.5(4)

C8'(C9'(Fe1'	70.0(2)

C10'(C9'(Fe1'	69.5(2)

C8'(C9'(H9'	125.8

C10'(C9'(H9'	125.8

Fe1'(C9'(H9'	126.3

C6'(C10'(C9'	107.3(4)

C6'(C10'(Fe1'	70.2(2)

C9'(C10'(Fe1'	69.6(2)

C6'(C10'(H10'	126.3

C9'(C10'(H10'	126.3

Fe1'(C10'(H10'	125.4

C16'(C11'(C12'	117.6(3)

C16'(C11'(C1'	121.6(3)

C12'(C11'(C1'	120.8(3)

C13'(C12'(C11'	120.9(3)

C13'(C12'(H12'	119.6

C11'(C12'(H12'	119.6

C14'(C13'(C12'	120.4(3)

C14'(C13'(C17'	121.2(3)

C12'(C13'(C17'	118.3(3)

C13'(C14'(C15'	119.0(3)

C13'(C14'(C17'ii	121.4(3)

C15'(C14'(C17'ii	119.6(3)

C16'(C15'(C14'	120.1(4)

C16'(C15'(H15'	119.9

C14'(C15'(H15'	119.9

C15'(C16'(C11'	121.9(4)

C15'(C16'(H16'	119.1

C11'(C16'(H16'	119.1

O1'(C17'(C14'ii	121.4(3)

O1'(C17'(C13'	121.2(3)

C14'ii(C17'(C13'	117.4(3)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,(y,(z+1    (ii) (x,(y+1,(z+1

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Fe1	34(1) 	33(1)	25(1) 	1(1)	(13(1) 	(4(1)

O1	53(2) 	44(2)	41(2) 	(20(1)	(27(2) 	12(1)

C1	35(2) 	33(2)	28(2) 	0(2)	(12(2) 	(5(2)

C2	40(2) 	25(2)	33(2) 	(1(2)	(16(2) 	(2(2)

C3	41(2) 	39(2)	29(2) 	(1(2)	(16(2) 	(12(2)

C4	35(2) 	45(2)	35(2) 	1(2)	(19(2) 	(9(2)

C5	36(2) 	39(2)	27(2) 	1(2)	(7(2) 	(7(2)

C6	49(3) 	51(3)	42(3) 	10(2)	(24(2) 	(23(2)

C7	41(3) 	44(3)	38(3) 	3(2)	4(2) 	(6(2)

C8	66(3) 	74(3)	28(2) 	14(2)	(22(2) 	(35(3)

C9	63(3) 	50(3)	70(4) 	29(3)	(34(3) 	(10(3)

C10	54(3) 	30(2)	56(3) 	2(2)	(12(2) 	(11(2)

C11	32(2) 	35(2)	20(2) 	3(2)	(9(2) 	(8(2)

C12	37(2) 	30(2)	22(2) 	(4(2)	(10(2) 	(4(2)

C13	36(2) 	31(2)	17(2) 	0(1)	(10(2) 	(6(2)

C14	35(2) 	31(2)	17(2) 	1(2)	(9(2) 	(4(2)

C15	40(2) 	32(2)	23(2) 	(4(2)	(11(2) 	(2(2)

C16	34(2) 	38(2)	29(2) 	(4(2)	(13(2) 	1(2)

C17	41(2) 	33(2)	19(2) 	(3(2)	(10(2) 	(3(2)

Fe1'	28(1) 	31(1)	27(1) 	(5(1)	(9(1) 	0(1)

O1'	61(2) 	37(2)	39(2) 	10(1)	(25(2) 	(18(1)

C1'	23(2) 	37(2)	26(2) 	(4(2)	(6(2) 	5(2)

C2'	33(2) 	45(2)	23(2) 	(2(2)	(4(2) 	1(2)

C3'	39(2) 	49(3)	32(2) 	(17(2)	(13(2) 	10(2)

C4'	41(2) 	33(2)	50(3) 	(14(2)	(22(2) 	6(2)

C5'	38(2) 	33(2)	37(2) 	0(2)	(18(2) 	3(2)

C6'	36(2) 	45(3)	61(3) 	(29(2)	(15(2) 	10(2)

C7'	35(2) 	28(2)	57(3) 	1(2)	(7(2) 	6(2)

C8'	32(2) 	43(2)	43(2) 	(7(2)	(16(2) 	7(2)

C9'	29(2) 	41(2)	44(3) 	(6(2)	(11(2) 	(2(2)

C10'	35(2) 	54(3)	29(2) 	(12(2)	(4(2) 	4(2)

C11'	26(2) 	34(2)	23(2) 	(5(2)	(3(2) 	1(2)

C12'	29(2) 	27(2)	26(2) 	2(2)	(5(2) 	(2(2)

C13'	24(2) 	28(2)	24(2) 	(3(2)	(6(2) 	3(2)

C14'	26(2) 	29(2)	22(2) 	1(2)	(5(2) 	3(2)

C15'	37(2) 	35(2)	28(2) 	7(2)	(10(2) 	(10(2)

C16'	36(2) 	40(2)	27(2) 	6(2)	(12(2) 	(5(2)

C17'	26(2) 	28(2)	29(2) 	2(2)	(5(2) 	(2(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H2	2818	(1399	1576	25(10)	1

H3	949	(1212	603	42(12)	1

H4	(1093	335	1680	33(11)	1

H5	(534	1113	3352	47(13)	1

H6	3937	2041	1160	51(13)	1

H7	4521	784	(676	46(12)	1

H8	2366	1221	(1339	100(20)	1

H9	548	2700	37	110(20)	1

H10	1524	3246	1525	77(18)	1

H12	3772	(1250	3110	32(10)	1

H15	1976	2005	5607	49(13)	1

H16	724	1530	4459	31(10)	1

H2'	(1796	4555	359	43(12)	1

H3'	(3259	3010	(1	56(14)	1

H4'	(4189	1542	1932	33(11)	1

H5'	(3291	2156	3485	28(10)	1

H6'	(4833	5821	3701	85(19)	1

H7'	(4790	6353	1543	38(11)	1

H8'	(6286	4830	1175	59(15)	1

H9'	(7221	3375	3102	31(10)	1

H10'	(6280	3962	4653	32(10)	1

H12'	(1899	3058	4274	25(9)	1

H15'	220	6709	2325	40(11)	1

H16'	(1016	5715	1460	48(13)	1