|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	02scr305

Empirical formula 	C22H28NO2P

Formula weight 	369.42

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	P212121

Unit cell dimensions	a = 9.7279(2) Å	( = 90°

b = 10.2527(2) Å	( = 90°

c = 20.2703(4) Å	(  = 90°

Volume	2021.70(7) Å3

Z	4

Density (calculated)	1.214 Mg / m3

Absorption coefficient	0.151 mm(1

F(000)	792

Crystal	Block; Colourless

Crystal size	0.18 ( 0.18 ( 0.12 mm3

( range for data collection	3.06 ( 25.02°

Index ranges	(10 ( h ( 11, (10 ( k ( 12, (24 ( l ( 20

Reflections collected	9715

Independent reflections	3537 [Rint = 0.0467]

Completeness to ( = 25.02°	99.3 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9821 and 0.9733

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3537 / 0 / 348

Goodness-of-fit on F2	1.022

Final R indices [F2 > 2((F2)]	R1 = 0.0375, wR2 = 0.0783

R indices (all data)	R1 = 0.0497, wR2 = 0.0832

Absolute structure parameter	(0.05(9)

Extinction coefficient	0.0093(13)

Largest diff. peak and hole	0.235 and (0.192 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

P1	4771(1)	8903(1)	9412(1)	23(1)	1

O2	5(1)	5749(1)	8251(1)	26(1)	1

O1	304(2)	7752(1)	8734(1)	28(1)	1

N1	1902(2)	6136(2)	8811(1)	23(1)	1

C5	3669(2)	7882(2)	8876(1)	22(1)	1

C12	4851(2)	10892(2)	8425(1)	27(1)	1

C17	3557(2)	10076(2)	9759(1)	26(1)	1

C6	694(2)	6646(2)	8612(1)	22(1)	1

C1	2829(2)	6864(2)	9257(1)	23(1)	1

C7	(1377(2)	6035(2)	7988(1)	27(1)	1

C11	5567(2)	9943(2)	8779(1)	23(1)	1

C16	6968(2)	9797(2)	8653(1)	29(1)	1

C2	3708(3)	5769(2)	9543(1)	30(1)	1

C18	2176(2)	10203(2)	9586(1)	29(1)	1

C15	7612(3)	10552(2)	8179(1)	34(1)	1

C9	(2371(2)	6282(3)	8553(1)	32(1)	1

C13	5506(3)	11651(3)	7957(1)	35(1)	1

C3	3795(2)	4773(2)	8981(1)	30(1)	1

C4	2375(2)	4801(2)	8675(1)	24(1)	1

C10	(1735(3)	4770(2)	7642(2)	36(1)	1

C22	4090(3)	10928(2)	10230(1)	33(1)	1

C8	(1303(3)	7155(3)	7507(2)	33(1)	1

C19	1379(3)	11165(2)	9873(1)	39(1)	1

C20	1933(3)	12014(2)	10332(1)	44(1)	1

C14	6892(3)	11468(2)	7833(1)	34(1)	1

C21	3291(3)	11890(3)	10512(1)	42(1)	1

Table 3. Bond lengths [Å] and angles [°].

P1(C17	1.826(2)

P1(C11	1.840(2)

P1(C5	1.851(2)

O2(C6	1.352(2)

O2(C7	1.475(2)

O1(C6	1.221(2)

N1(C6	1.348(3)

N1(C4	1.470(3)

N1(C1	1.479(3)

C5(C1	1.536(3)

C5(H5B	0.98(2)

C5(H5A	0.99(2)

C12(C13	1.382(3)

C12(C11	1.396(3)

C12(H12	0.99(3)

C17(C18	1.395(3)

C17(C22	1.394(3)

C1(C2	1.526(3)

C1(H1	1.00(2)

C7(C8	1.508(3)

C7(C10	1.515(3)

C7(C9	1.520(3)

C11(C16	1.394(3)

C16(C15	1.384(3)

C16(H16	0.92(2)

C2(C3	1.534(3)

C2(H2B	0.96(3)

C2(H2A	0.95(3)

C18(C19	1.382(3)

C18(H18	0.93(2)

C15(C14	1.365(4)

C15(H15	0.96(2)

C9(H9C	1.02(3)

C9(H9B	0.97(3)

C9(H9A	1.02(3)

C13(C14	1.385(4)

C13(H13	0.91(3)

C3(C4	1.514(3)

C3(H3B	1.02(3)

C3(H3A	1.01(2)

C4(H4A	1.00(2)

C4(H4B	1.00(2)

C10(H10A	0.98(3)

C10(H10B	1.02(3)

C10(H10C	0.98(3)

C22(C21	1.380(4)

C22(H22	0.95(2)

C8(H8B	0.95(3)

C8(H8C	0.98(3)

C8(H8A	0.97(3)

C19(C20	1.383(4)

C19(H19	0.90(2)

C20(C21	1.377(4)

C20(H20	0.96(3)

C14(H14	0.95(3)

C21(H21	1.03(3)

C17(P1(C11	99.12(10)

C17(P1(C5	102.94(11)

C11(P1(C5	99.30(10)

C6(O2(C7	120.79(16)

C6(N1(C4	125.23(18)

C6(N1(C1	121.28(18)

C4(N1(C1	113.22(17)

C1(C5(P1	113.37(15)

C1(C5(H5B	109.7(13)

P1(C5(H5B	109.9(12)

C1(C5(H5A	108.6(13)

P1(C5(H5A	103.3(13)

H5B(C5(H5A	111.9(18)

C13(C12(C11	121.0(2)

C13(C12(H12	122.0(16)

C11(C12(H12	117.0(16)

C18(C17(C22	118.2(2)

C18(C17(P1	126.00(18)

C22(C17(P1	115.80(18)

O1(C6(N1	124.8(2)

O1(C6(O2	125.9(2)

N1(C6(O2	109.32(18)

N1(C1(C2	101.72(17)

N1(C1(C5	111.07(17)

C2(C1(C5	113.15(19)

N1(C1(H1	107.1(13)

C2(C1(H1	113.6(12)

C5(C1(H1	109.7(13)

O2(C7(C8	109.96(18)

O2(C7(C10	101.96(17)

C8(C7(C10	111.3(2)

O2(C7(C9	109.91(18)

C8(C7(C9	113.0(2)

C10(C7(C9	110.2(2)

C16(C11(C12	118.0(2)

C16(C11(P1	118.49(18)

C12(C11(P1	123.54(16)

C15(C16(C11	120.6(2)

C15(C16(H16	124.7(15)

C11(C16(H16	114.7(15)

C1(C2(C3	103.76(19)

C1(C2(H2B	112.7(14)

C3(C2(H2B	114.7(14)

C1(C2(H2A	110.9(16)

C3(C2(H2A	107.8(15)

H2B(C2(H2A	107(2)

C19(C18(C17	120.0(2)

C19(C18(H18	117.9(15)

C17(C18(H18	122.1(14)

C14(C15(C16	120.6(3)

C14(C15(H15	122.6(14)

C16(C15(H15	116.8(14)

C7(C9(H9C	108.7(16)

C7(C9(H9B	109.5(16)

H9C(C9(H9B	107(2)

C7(C9(H9A	111.5(14)

H9C(C9(H9A	106(2)

H9B(C9(H9A	113.8(19)

C12(C13(C14	119.8(3)

C12(C13(H13	121.0(16)

C14(C13(H13	118.9(17)

C4(C3(C2	103.97(19)

C4(C3(H3B	111.0(15)

C2(C3(H3B	108.4(14)

C4(C3(H3A	110.1(12)

C2(C3(H3A	114.3(12)

H3B(C3(H3A	109.0(19)

N1(C4(C3	103.06(17)

N1(C4(H4A	107.9(11)

C3(C4(H4A	109.7(10)

N1(C4(H4B	110.7(12)

C3(C4(H4B	111.5(13)

H4A(C4(H4B	113.4(17)

C7(C10(H10A	109.9(14)

C7(C10(H10B	111.6(16)

H10A(C10(H10B	107(2)

C7(C10(H10C	108.2(14)

H10A(C10(H10C	111.3(19)

H10B(C10(H10C	109(2)

C21(C22(C17	121.4(3)

C21(C22(H22	121.7(14)

C17(C22(H22	116.9(14)

C7(C8(H8B	108.3(15)

C7(C8(H8C	112.3(15)

H8B(C8(H8C	110(2)

C7(C8(H8A	112.5(15)

H8B(C8(H8A	106(2)

H8C(C8(H8A	107(2)

C18(C19(C20	120.9(3)

C18(C19(H19	119.3(15)

C20(C19(H19	119.8(15)

C21(C20(C19	119.6(3)

C21(C20(H20	122.4(16)

C19(C20(H20	117.9(16)

C15(C14(C13	120.0(2)

C15(C14(H14	123.4(15)

C13(C14(H14	116.6(15)

C20(C21(C22	119.8(3)

C20(C21(H21	117.6(18)

C22(C21(H21	122.7(18)

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

P1	22(1) 	25(1)	22(1) 	(1(1)	(2(1) 	(3(1)

O2	21(1) 	21(1)	36(1) 	(5(1)	(7(1) 	0(1)

O1	27(1) 	21(1)	36(1) 	(2(1)	(2(1) 	2(1)

N1	20(1) 	21(1)	27(1) 	(3(1)	(1(1) 	0(1)

C5	21(1) 	24(1)	22(1) 	(3(1)	1(1) 	2(1)

C12	27(1) 	33(1)	22(1) 	0(1)	(1(1) 	(4(1)

C17	33(1) 	22(1)	21(1) 	1(1)	6(1) 	(5(1)

C6	21(1) 	22(1)	25(1) 	1(1)	1(1) 	(2(1)

C1	22(1) 	24(1)	24(1) 	0(1)	0(1) 	(3(1)

C7	20(1) 	23(1)	39(1) 	(1(1)	(7(1) 	0(1)

C11	24(1) 	24(1)	23(1) 	(7(1)	3(1) 	(6(1)

C16	30(1) 	22(1)	35(1) 	(8(1)	4(1) 	0(1)

C2	31(1) 	26(1)	33(2) 	3(1)	(7(1) 	(4(1)

C18	29(1) 	26(1)	32(1) 	(1(1)	8(1) 	(3(1)

C15	31(1) 	33(1)	39(1) 	(12(1)	13(1) 	(10(1)

C9	23(1) 	27(1)	47(2) 	4(1)	0(1) 	0(1)

C13	47(2) 	33(1)	26(1) 	1(1)	(3(1) 	(8(1)

C3	29(1) 	23(1)	39(2) 	(2(1)	(7(1) 	3(1)

C4	23(1) 	20(1)	30(1) 	1(1)	2(1) 	1(1)

C10	30(1) 	27(1)	51(2) 	(2(1)	(15(1) 	0(1)

C22	40(2) 	35(1)	24(1) 	(4(1)	6(1) 	(6(1)

C8	28(1) 	28(1)	43(2) 	3(1)	(7(1) 	(1(1)

C19	32(2) 	32(1)	54(2) 	3(2)	16(1) 	3(1)

C20	64(2) 	23(1)	46(2) 	(6(1)	32(2) 	(2(1)

C14	48(2) 	30(2)	24(1) 	(7(1)	12(1) 	(17(1)

C21	59(2) 	38(2)	30(2) 	(7(1)	13(1) 	(11(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H5B	3050(20)	8440(20)	8617(11)	27(6)	1

H16	7400(20)	9170(20)	8902(11)	34(7)	1

H8B	(2170(30)	7230(20)	7293(12)	39(7)	1

H1	2240(20)	7310(20)	9591(11)	30(6)	1

H5A	4340(20)	7420(20)	8591(12)	29(6)	1

H2B	4580(30)	6070(20)	9703(12)	39(6)	1

H10A	(1650(20)	4040(20)	7949(12)	33(7)	1

H3B	4520(30)	5080(30)	8654(13)	46(8)	1

H4A	1759(19)	4188(19)	8915(9)	11(5)	1

H9C	(3320(30)	6500(30)	8360(14)	50(8)	1

H12	3860(30)	10990(30)	8522(13)	44(7)	1

H22	5020(30)	10810(20)	10349(11)	29(6)	1

H14	7290(30)	12000(20)	7500(12)	35(7)	1

H8C	(1070(20)	7980(30)	7724(13)	36(7)	1

H18	1760(20)	9650(20)	9283(12)	32(7)	1

H15	8570(30)	10390(20)	8104(11)	26(6)	1

H2A	3260(30)	5360(20)	9904(13)	43(7)	1

H8A	(630(30)	7010(20)	7163(13)	39(7)	1

H3A	4030(20)	3850(20)	9128(11)	26(6)	1

H10B	(1090(30)	4590(30)	7256(15)	52(8)	1

H9B	(2490(30)	5490(30)	8807(13)	49(8)	1

H10C	(2680(30)	4840(20)	7473(11)	36(6)	1

H19	500(30)	11250(20)	9748(11)	29(6)	1

H20	1330(30)	12650(30)	10526(14)	50(8)	1

H13	5060(30)	12320(20)	7757(12)	42(8)	1

H9A	(2080(20)	7060(30)	8828(12)	40(7)	1

H21	3660(30)	12520(30)	10866(16)	71(10)	1

H4B	2410(20)	4640(20)	8190(11)	26(6)	1