|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	02src242

Empirical formula 	C19H29Cl6FeIN2

Formula weight 	680.89

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 13.853(5) Å	( = 90.000(5)°

b = 12.661(5) Å	( = 105.906(5)°

c = 16.390(5) Å	(  = 90.000(5)°

Volume	2764.6(17) Å3

Z	4

Density (calculated)	1.636 Mg / m3

Absorption coefficient	2.252 mm(1

F(000)	1352

Crystal	Plate; Yellow

Crystal size	0.10 ( 0.08 ( 0.02 mm3

( range for data collection	3.06 ( 25.03°

Index ranges	(16 ( h ( 16, (15 ( k ( 15, (19 ( l ( 19

Reflections collected	20925

Independent reflections	4818 [Rint = 0.0944]

Completeness to ( = 25.03°	98.6 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9563 and 0.8062

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4818 / 0 / 267

Goodness-of-fit on F2	0.993

Final R indices [F2 > 2((F2)]	R1 = 0.0563, wR2 = 0.1323

R indices (all data)	R1 = 0.1014, wR2 = 0.1527

Largest diff. peak and hole	2.832 and (1.118 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

All hydrogen atoms were fixed.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

I1	5971(1)	(599(1)	7205(1)	29(1)	1

Fe1	2183(1)	319(1)	7083(1)	30(1)	1

Cl4	5615(2)	2321(2)	8672(1)	42(1)	1

Cl1	8673(2)	(561(2)	6417(2)	69(1)	1

Cl2	7634(2)	1405(2)	5922(2)	65(1)	1

Cl6	6814(3)	949(3)	9972(2)	87(1)	1

Cl5	7660(2)	1889(2)	8724(2)	74(1)	1

Cl3	9252(2)	1298(3)	7443(2)	83(1)	1

C3	1065(6)	579(7)	5981(5)	35(2)	1

N1	4138(5)	2030(5)	5790(4)	28(1)	1

N2	1254(5)	3192(6)	5545(5)	41(2)	1

C9	2961(7)	864(10)	8234(5)	54(3)	1

C8	3307(8)	(110(11)	8120(6)	62(3)	1

C2	1749(5)	1435(6)	6169(4)	26(2)	1

C16	319(7)	2845(8)	4940(6)	56(3)	1

C5	2643(6)	(78(6)	6059(5)	30(2)	1

C1	2732(5)	1051(6)	6212(4)	25(2)	1

C15	1487(6)	2565(7)	6323(5)	33(2)	1

C14	5168(6)	2434(7)	6208(6)	39(2)	1

C7	2508(10)	(815(9)	7998(6)	67(3)	1

C13	4200(7)	1182(7)	5187(5)	39(2)	1

C4	1611(6)	(335(7)	5905(5)	38(2)	1

C18	8243(6)	609(8)	6775(6)	48(2)	1

C11	3715(6)	1599(7)	6499(4)	29(2)	1

C12	3511(7)	2913(8)	5347(6)	49(2)	1

C17	1168(8)	4303(8)	5767(8)	63(3)	1

C19	6565(7)	1354(7)	8935(5)	43(2)	1

C6	1624(8)	(213(10)	8043(6)	60(3)	1

C10	1943(7)	839(9)	8191(5)	47(2)	1

Table 3. Bond lengths [Å] and angles [°].

Fe1(C5	2.016(8)

Fe1(C1	2.017(7)

Fe1(C9	2.020(9)

Fe1(C2	2.027(7)

Fe1(C7	2.035(10)

Fe1(C8	2.038(9)

Fe1(C10	2.041(9)

Fe1(C6	2.049(9)

Fe1(C4	2.051(8)

Fe1(C3	2.058(7)

Cl4(C19	1.762(8)

Cl1(C18	1.757(11)

Cl2(C18	1.743(10)

Cl6(C19	1.718(9)

Cl5(C19	1.780(10)

Cl3(C18	1.754(9)

C3(C4	1.407(12)

C3(C2	1.416(11)

C3(H3	0.9500

N1(C13	1.477(10)

N1(C12	1.479(11)

N1(C14	1.494(10)

N1(C11	1.537(9)

N2(C15	1.460(10)

N2(C17	1.465(13)

N2(C16	1.466(11)

C9(C8	1.354(16)

C9(C10	1.393(13)

C9(H9	0.9500

C8(C7	1.393(17)

C8(H8	0.9500

C2(C1	1.430(11)

C2(C15	1.514(11)

C16(H16A	0.9800

C16(H16B	0.9800

C16(H16C	0.9800

C5(C4	1.419(11)

C5(C1	1.451(11)

C5(H5	0.9500

C1(C11	1.486(11)

C15(H15A	0.9900

C15(H15B	0.9900

C14(H14A	0.9800

C14(H14B	0.9800

C14(H14C	0.9800

C7(C6	1.461(16)

C7(H7	0.9500

C13(H13A	0.9800

C13(H13B	0.9800

C13(H13C	0.9800

C4(H4	0.9500

C18(H18	1.0000

C11(H11A	0.9900

C11(H11B	0.9900

C12(H12A	0.9800

C12(H12B	0.9800

C12(H12C	0.9800

C17(H17A	0.9800

C17(H17B	0.9800

C17(H17C	0.9800

C19(H19	1.0000

C6(C10	1.403(16)

C6(H6	0.9500

C10(H10	0.9500

C5(Fe1(C1	42.2(3)

C5(Fe1(C9	130.8(4)

C1(Fe1(C9	107.3(3)

C5(Fe1(C2	69.9(3)

C1(Fe1(C2	41.4(3)

C9(Fe1(C2	115.2(4)

C5(Fe1(C7	112.4(4)

C1(Fe1(C7	142.7(4)

C9(Fe1(C7	66.4(5)

C2(Fe1(C7	175.6(4)

C5(Fe1(C8	106.5(4)

C1(Fe1(C8	111.3(4)

C9(Fe1(C8	39.0(5)

C2(Fe1(C8	143.7(4)

C7(Fe1(C8	40.0(5)

C5(Fe1(C10	170.6(4)

C1(Fe1(C10	131.8(4)

C9(Fe1(C10	40.1(4)

C2(Fe1(C10	110.2(4)

C7(Fe1(C10	68.2(4)

C8(Fe1(C10	67.5(4)

C5(Fe1(C6	146.1(4)

C1(Fe1(C6	171.8(4)

C9(Fe1(C6	67.2(4)

C2(Fe1(C6	134.3(4)

C7(Fe1(C6	41.9(5)

C8(Fe1(C6	68.6(4)

C10(Fe1(C6	40.1(4)

C5(Fe1(C4	40.8(3)

C1(Fe1(C4	69.0(3)

C9(Fe1(C4	170.7(4)

C2(Fe1(C4	68.0(3)

C7(Fe1(C4	111.0(4)

C8(Fe1(C4	133.4(5)

C10(Fe1(C4	148.5(4)

C6(Fe1(C4	117.4(4)

C5(Fe1(C3	69.0(3)

C1(Fe1(C3	69.1(3)

C9(Fe1(C3	147.7(4)

C2(Fe1(C3	40.6(3)

C7(Fe1(C3	136.1(5)

C8(Fe1(C3	173.3(5)

C10(Fe1(C3	117.5(4)

C6(Fe1(C3	112.0(4)

C4(Fe1(C3	40.1(3)

C4(C3(C2	107.8(7)

C4(C3(Fe1	69.7(5)

C2(C3(Fe1	68.5(4)

C4(C3(H3	126.1

C2(C3(H3	126.1

Fe1(C3(H3	127.2

C13(N1(C12	110.8(7)

C13(N1(C14	109.4(6)

C12(N1(C14	109.0(7)

C13(N1(C11	110.6(6)

C12(N1(C11	110.2(6)

C14(N1(C11	106.8(6)

C15(N2(C17	108.6(8)

C15(N2(C16	111.8(7)

C17(N2(C16	109.8(7)

C8(C9(C10	111.3(10)

C8(C9(Fe1	71.2(6)

C10(C9(Fe1	70.8(5)

C8(C9(H9	124.3

C10(C9(H9	124.3

Fe1(C9(H9	125.2

C9(C8(C7	107.8(10)

C9(C8(Fe1	69.8(5)

C7(C8(Fe1	69.9(6)

C9(C8(H8	126.1

C7(C8(H8	126.1

Fe1(C8(H8	125.8

C3(C2(C1	108.7(7)

C3(C2(C15	125.7(7)

C1(C2(C15	125.6(6)

C3(C2(Fe1	70.9(4)

C1(C2(Fe1	68.9(4)

C15(C2(Fe1	124.9(5)

N2(C16(H16A	109.5

N2(C16(H16B	109.5

H16A(C16(H16B	109.5

N2(C16(H16C	109.5

H16A(C16(H16C	109.5

H16B(C16(H16C	109.5

C4(C5(C1	106.9(7)

C4(C5(Fe1	70.9(5)

C1(C5(Fe1	69.0(4)

C4(C5(H5	126.6

C1(C5(H5	126.6

Fe1(C5(H5	125.2

C2(C1(C5	107.0(6)

C2(C1(C11	129.4(7)

C5(C1(C11	122.8(7)

C2(C1(Fe1	69.7(4)

C5(C1(Fe1	68.9(4)

C11(C1(Fe1	118.7(5)

N2(C15(C2	112.0(7)

N2(C15(H15A	109.2

C2(C15(H15A	109.2

N2(C15(H15B	109.2

C2(C15(H15B	109.2

H15A(C15(H15B	107.9

N1(C14(H14A	109.5

N1(C14(H14B	109.5

H14A(C14(H14B	109.5

N1(C14(H14C	109.5

H14A(C14(H14C	109.5

H14B(C14(H14C	109.5

C8(C7(C6	107.6(10)

C8(C7(Fe1	70.1(6)

C6(C7(Fe1	69.5(6)

C8(C7(H7	126.2

C6(C7(H7	126.2

Fe1(C7(H7	125.7

N1(C13(H13A	109.5

N1(C13(H13B	109.5

H13A(C13(H13B	109.5

N1(C13(H13C	109.5

H13A(C13(H13C	109.5

H13B(C13(H13C	109.5

C3(C4(C5	109.6(7)

C3(C4(Fe1	70.3(5)

C5(C4(Fe1	68.3(4)

C3(C4(H4	125.2

C5(C4(H4	125.2

Fe1(C4(H4	127.9

Cl2(C18(Cl3	109.9(6)

Cl2(C18(Cl1	110.7(5)

Cl3(C18(Cl1	110.1(5)

Cl2(C18(H18	108.7

Cl3(C18(H18	108.7

Cl1(C18(H18	108.7

C1(C11(N1	115.7(6)

C1(C11(H11A	108.4

N1(C11(H11A	108.4

C1(C11(H11B	108.4

N1(C11(H11B	108.4

H11A(C11(H11B	107.4

N1(C12(H12A	109.5

N1(C12(H12B	109.5

H12A(C12(H12B	109.5

N1(C12(H12C	109.5

H12A(C12(H12C	109.5

H12B(C12(H12C	109.5

N2(C17(H17A	109.5

N2(C17(H17B	109.5

H17A(C17(H17B	109.5

N2(C17(H17C	109.5

H17A(C17(H17C	109.5

H17B(C17(H17C	109.5

Cl6(C19(Cl4	112.6(5)

Cl6(C19(Cl5	110.8(5)

Cl4(C19(Cl5	107.9(5)

Cl6(C19(H19	108.5

Cl4(C19(H19	108.5

Cl5(C19(H19	108.5

C10(C6(C7	106.0(9)

C10(C6(Fe1	69.7(5)

C7(C6(Fe1	68.5(5)

C10(C6(H6	127.0

C7(C6(H6	127.0

Fe1(C6(H6	126.3

C9(C10(C6	107.3(10)

C9(C10(Fe1	69.1(5)

C6(C10(Fe1	70.2(5)

C9(C10(H10	126.3

C6(C10(H10	126.3

Fe1(C10(H10	125.9

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

I1	30(1) 	27(1)	28(1) 	(2(1)	5(1) 	(2(1)

Fe1	33(1) 	30(1)	26(1) 	6(1)	9(1) 	1(1)

Cl4	39(1) 	42(1)	41(1) 	(3(1)	5(1) 	10(1)

Cl1	60(2) 	64(2)	93(2) 	(2(2)	36(1) 	3(1)

Cl2	78(2) 	68(2)	48(1) 	(3(1)	17(1) 	10(1)

Cl6	148(3) 	72(2)	42(1) 	13(1)	26(2) 	48(2)

Cl5	58(2) 	53(2)	112(2) 	0(2)	25(2) 	(2(1)

Cl3	53(2) 	116(3)	76(2) 	(26(2)	13(1) 	(24(2)

C3	27(4) 	35(5)	39(4) 	3(4)	4(3) 	3(4)

N1	31(3) 	33(4)	23(3) 	0(3)	9(3) 	(6(3)

N2	34(4) 	30(4)	51(4) 	18(3)	0(3) 	2(3)

C9	51(6) 	88(9)	20(4) 	(1(5)	7(4) 	(19(6)

C8	56(6) 	93(10)	38(5) 	28(6)	14(5) 	23(7)

C2	27(4) 	20(4)	28(4) 	4(3)	4(3) 	(2(3)

C16	49(6) 	51(6)	53(6) 	4(5)	(13(5) 	2(5)

C5	38(4) 	22(4)	28(4) 	(6(3)	7(3) 	(2(3)

C1	34(4) 	18(4)	21(3) 	2(3)	5(3) 	(1(3)

C15	23(4) 	36(5)	41(4) 	4(4)	9(3) 	1(3)

C14	33(5) 	40(5)	44(5) 	(4(4)	11(4) 	(3(4)

C7	113(10) 	40(7)	50(6) 	22(5)	28(6) 	11(7)

C13	47(5) 	48(6)	27(4) 	(12(4)	18(4) 	(4(4)

C4	45(5) 	24(5)	44(5) 	(6(4)	12(4) 	(10(4)

C18	34(5) 	66(7)	49(5) 	(7(5)	18(4) 	(15(5)

C11	32(4) 	31(5)	22(4) 	2(3)	7(3) 	7(3)

C12	39(5) 	56(6)	55(6) 	30(5)	21(4) 	6(4)

C17	55(6) 	33(6)	84(8) 	18(5)	(7(5) 	7(5)

C19	47(5) 	31(5)	39(5) 	(6(4)	(8(4) 	12(4)

C6	56(6) 	92(9)	38(5) 	5(5)	22(4) 	(19(6)

C10	51(6) 	62(7)	28(4) 	0(4)	12(4) 	10(5)