|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	02src283

Empirical formula 	C17H27FeIN2

Formula weight 	442.16

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Orthorhombic

Space group 	Pbca

Unit cell dimensions	a = 12.1886(2) Å	( = 90°

b = 9.59230(10) Å	( = 90°

c = 31.3227(5) Å	(  = 90°

Volume	3662.15(9) Å3

Z	8

Density (calculated)	1.604 Mg / m3

Absorption coefficient	2.506 mm(1

F(000)	1776

Crystal	Block; Orange

Crystal size	0.40 ( 0.30 ( 0.20 mm3

( range for data collection	3.00 ( 25.03°

Index ranges	(14 ( h ( 13, (11 ( k ( 11, (37 ( l ( 37

Reflections collected	13599

Independent reflections	3191 [Rint = 0.0417]

Completeness to ( = 25.03°	98.5 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.6341 and 0.4339

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3191 / 0 / 298

Goodness-of-fit on F2	1.110

Final R indices [F2 > 2((F2)]	R1 = 0.0285, wR2 = 0.0579

R indices (all data)	R1 = 0.0358, wR2 = 0.0600

Largest diff. peak and hole	0.477 and (0.418 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

I1	9120(1)	6377(1)	6713(1)	26(1)	1

Fe1	9201(1)	2164(1)	5580(1)	19(1)	1

N1	9441(2)	1846(3)	6984(1)	21(1)	1

N2	12186(2)	3234(3)	6322(1)	30(1)	1

C15	11228(3)	3586(4)	6055(1)	27(1)	1

C5	9369(2)	452(3)	5960(1)	21(1)	1

C8	8933(3)	4082(4)	5320(1)	28(1)	1

C6	7568(3)	2572(4)	5516(1)	30(1)	1

C12	9341(3)	301(4)	7023(1)	32(1)	1

C10	8008(3)	2105(4)	5125(1)	29(1)	1

C13	8712(3)	2529(4)	7306(1)	29(1)	1

C16	13072(3)	2689(5)	6065(2)	39(1)	1

C11	9080(3)	2321(4)	6541(1)	21(1)	1

C2	10587(2)	2300(3)	5942(1)	20(1)	1

C14	10597(3)	2296(5)	7064(1)	31(1)	1

C1	9699(2)	1697(3)	6178(1)	17(1)	1

C3	10770(3)	1428(3)	5579(1)	23(1)	1

C4	10027(3)	301(3)	5593(1)	25(1)	1

C9	8851(3)	3037(4)	5001(1)	29(1)	1

C17	12587(3)	4435(5)	6560(1)	42(1)	1

C7	8138(3)	3794(4)	5638(1)	28(1)	1

Table 3. Bond lengths [Å] and angles [°].

Fe1(C1	2.018(3)

Fe1(C2	2.038(3)

Fe1(C3	2.039(3)

Fe1(C6	2.038(3)

Fe1(C7	2.039(3)

Fe1(C10	2.038(3)

Fe1(C8	2.039(3)

Fe1(C5	2.039(3)

Fe1(C9	2.042(4)

Fe1(C4	2.051(3)

N1(C12	1.492(4)

N1(C14	1.495(4)

N1(C13	1.496(4)

N1(C11	1.523(4)

N2(C16	1.445(5)

N2(C17	1.456(5)

N2(C15	1.476(4)

C15(C2	1.503(5)

C15(H15B	1.07(3)

C15(H15A	1.04(4)

C5(C4	1.409(5)

C5(C1	1.433(4)

C5(H5	0.93(3)

C8(C7	1.418(5)

C8(C9	1.417(5)

C8(H8	0.96(3)

C6(C10	1.412(5)

C6(C7	1.415(5)

C6(H6	0.90(4)

C12(H12B	0.92(4)

C12(H12C	0.99(4)

C12(H12A	0.98(4)

C10(C9	1.416(5)

C10(H10	0.89(3)

C13(H13A	0.99(3)

C13(H13C	0.87(3)

C13(H13B	0.90(4)

C16(H16C	1.02(4)

C16(H16A	0.98(5)

C16(H16B	1.00(5)

C11(C1	1.492(4)

C11(H11A	0.96(3)

C11(H11B	0.98(3)

C2(C3	1.427(4)

C2(C1	1.431(4)

C14(H14A	1.00(4)

C14(H14C	0.96(4)

C14(H14B	0.87(4)

C3(C4	1.412(5)

C3(H3	0.93(3)

C4(H4	0.92(3)

C9(H9	0.94(4)

C17(H17A	1.00(4)

C17(H17B	1.06(4)

C17(H17C	1.04(5)

C7(H7	1.01(3)

C1(Fe1(C2	41.34(12)

C1(Fe1(C3	69.02(13)

C2(Fe1(C3	41.00(13)

C1(Fe1(C6	115.31(13)

C2(Fe1(C6	148.38(14)

C3(Fe1(C6	169.25(15)

C1(Fe1(C7	106.20(14)

C2(Fe1(C7	115.37(14)

C3(Fe1(C7	149.54(14)

C6(Fe1(C7	40.60(14)

C1(Fe1(C10	149.08(13)

C2(Fe1(C10	169.21(14)

C3(Fe1(C10	131.21(14)

C6(Fe1(C10	40.54(14)

C7(Fe1(C10	68.29(15)

C1(Fe1(C8	128.31(14)

C2(Fe1(C8	107.34(14)

C3(Fe1(C8	117.55(14)

C6(Fe1(C8	68.32(14)

C7(Fe1(C8	40.69(14)

C10(Fe1(C8	68.30(14)

C1(Fe1(C5	41.36(12)

C2(Fe1(C5	69.12(12)

C3(Fe1(C5	68.13(13)

C6(Fe1(C5	108.06(14)

C7(Fe1(C5	129.02(14)

C10(Fe1(C5	117.26(14)

C8(Fe1(C5	167.60(14)

C1(Fe1(C9	167.77(14)

C2(Fe1(C9	129.84(13)

C3(Fe1(C9	109.69(14)

C6(Fe1(C9	68.29(14)

C7(Fe1(C9	68.39(15)

C10(Fe1(C9	40.60(14)

C8(Fe1(C9	40.63(14)

C5(Fe1(C9	150.42(14)

C1(Fe1(C4	68.93(13)

C2(Fe1(C4	68.78(13)

C3(Fe1(C4	40.38(13)

C6(Fe1(C4	130.41(14)

C7(Fe1(C4	167.97(14)

C10(Fe1(C4	109.86(14)

C8(Fe1(C4	150.79(14)

C5(Fe1(C4	40.29(13)

C9(Fe1(C4	118.52(14)

C12(N1(C14	110.5(3)

C12(N1(C13	109.3(3)

C14(N1(C13	108.7(3)

C12(N1(C11	110.5(3)

C14(N1(C11	109.8(3)

C13(N1(C11	108.1(3)

C16(N2(C17	108.6(3)

C16(N2(C15	111.0(3)

C17(N2(C15	112.0(3)

N2(C15(C2	110.9(3)

N2(C15(H15B	108.6(16)

C2(C15(H15B	108.1(15)

N2(C15(H15A	112.3(19)

C2(C15(H15A	109(2)

H15B(C15(H15A	107(2)

C4(C5(C1	108.3(3)

C4(C5(Fe1	70.34(19)

C1(C5(Fe1	68.53(18)

C4(C5(H5	127.8(18)

C1(C5(H5	123.9(18)

Fe1(C5(H5	125.8(17)

C7(C8(C9	108.0(3)

C7(C8(Fe1	69.64(19)

C9(C8(Fe1	69.8(2)

C7(C8(H8	128(2)

C9(C8(H8	124(2)

Fe1(C8(H8	124(2)

C10(C6(C7	108.1(3)

C10(C6(Fe1	69.73(19)

C7(C6(Fe1	69.74(18)

C10(C6(H6	128(2)

C7(C6(H6	124(2)

Fe1(C6(H6	127(2)

N1(C12(H12B	107(2)

N1(C12(H12C	107(2)

H12B(C12(H12C	110(3)

N1(C12(H12A	108(2)

H12B(C12(H12A	109(3)

H12C(C12(H12A	115(3)

C6(C10(C9	108.2(3)

C6(C10(Fe1	69.7(2)

C9(C10(Fe1	69.9(2)

C6(C10(H10	123(2)

C9(C10(H10	128(2)

Fe1(C10(H10	121(2)

N1(C13(H13A	108.4(19)

N1(C13(H13C	109(2)

H13A(C13(H13C	109(3)

N1(C13(H13B	108(2)

H13A(C13(H13B	109(3)

H13C(C13(H13B	113(3)

N2(C16(H16C	109(2)

N2(C16(H16A	105(3)

H16C(C16(H16A	110(3)

N2(C16(H16B	114(2)

H16C(C16(H16B	112(3)

H16A(C16(H16B	108(3)

C1(C11(N1	115.4(3)

C1(C11(H11A	110.2(17)

N1(C11(H11A	104.2(18)

C1(C11(H11B	110.1(17)

N1(C11(H11B	102.7(18)

H11A(C11(H11B	114(2)

C3(C2(C1	107.0(3)

C3(C2(C15	125.9(3)

C1(C2(C15	127.1(3)

C3(C2(Fe1	69.53(18)

C1(C2(Fe1	68.58(17)

C15(C2(Fe1	127.9(2)

N1(C14(H14A	106(2)

N1(C14(H14C	108(2)

H14A(C14(H14C	112(3)

N1(C14(H14B	108(2)

H14A(C14(H14B	111(3)

H14C(C14(H14B	112(3)

C2(C1(C5	107.7(3)

C2(C1(C11	127.9(3)

C5(C1(C11	123.7(3)

C2(C1(Fe1	70.09(18)

C5(C1(Fe1	70.11(18)

C11(C1(Fe1	117.8(2)

C4(C3(C2	108.9(3)

C4(C3(Fe1	70.30(18)

C2(C3(Fe1	69.47(17)

C4(C3(H3	126.5(19)

C2(C3(H3	125(2)

Fe1(C3(H3	123.6(19)

C3(C4(C5	108.2(3)

C3(C4(Fe1	69.32(18)

C5(C4(Fe1	69.37(18)

C3(C4(H4	125(2)

C5(C4(H4	126(2)

Fe1(C4(H4	125(2)

C8(C9(C10	107.8(3)

C8(C9(Fe1	69.6(2)

C10(C9(Fe1	69.5(2)

C8(C9(H9	126(2)

C10(C9(H9	126(2)

Fe1(C9(H9	124(2)

N2(C17(H17A	119(2)

N2(C17(H17B	117(2)

H17A(C17(H17B	70(3)

N2(C17(H17C	112(2)

H17A(C17(H17C	120(3)

H17B(C17(H17C	113(3)

C6(C7(C8	107.9(3)

C6(C7(Fe1	69.66(19)

C8(C7(Fe1	69.67(19)

C6(C7(H7	125.5(18)

C8(C7(H7	126.6(19)

Fe1(C7(H7	123.5(18)

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

I1	24(1) 	24(1)	29(1) 	(5(1)	1(1) 	1(1)

Fe1	18(1) 	20(1)	20(1) 	(1(1)	(1(1) 	1(1)

N1	21(1) 	23(1)	20(2) 	2(1)	0(1) 	0(1)

N2	23(1) 	37(2)	30(2) 	1(1)	(4(1) 	(5(1)

C15	24(2) 	28(2)	29(2) 	0(2)	0(2) 	0(2)

C5	20(2) 	18(2)	25(2) 	0(1)	(5(1) 	1(1)

C8	30(2) 	23(2)	32(2) 	6(2)	(1(2) 	1(2)

C6	17(2) 	40(2)	33(2) 	11(2)	(3(2) 	4(2)

C12	45(2) 	23(2)	29(2) 	7(2)	1(2) 	3(2)

C10	30(2) 	29(2)	27(2) 	2(2)	(12(2) 	1(2)

C13	24(2) 	40(2)	22(2) 	(3(2)	4(2) 	(1(2)

C16	21(2) 	58(3)	40(2) 	4(2)	2(2) 	(7(2)

C11	21(2) 	23(2)	18(2) 	0(1)	(1(1) 	1(1)

C2	18(1) 	22(2)	21(2) 	2(1)	(1(1) 	1(1)

C14	23(2) 	49(3)	20(2) 	(1(2)	(1(2) 	(1(2)

C1	17(1) 	19(2)	16(2) 	(2(1)	(2(1) 	2(1)

C3	21(2) 	29(2)	21(2) 	1(2)	1(1) 	4(1)

C4	28(2) 	23(2)	22(2) 	(8(2)	(6(1) 	9(2)

C9	30(2) 	32(2)	26(2) 	6(2)	(2(2) 	2(2)

C17	41(2) 	45(2)	38(2) 	(2(2)	(8(2) 	(21(2)

C7	27(2) 	26(2)	31(2) 	4(2)	0(2) 	11(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H15B	10700(20)	4270(30)	6233(10)	15(8)	1

H10	7810(20)	1310(30)	5001(10)	15(8)	1

H13A	8770(20)	3550(30)	7269(10)	17(8)	1

H12B	9560(30)	70(40)	7296(13)	37(10)	1

H11A	9180(20)	3310(30)	6546(10)	6(7)	1

H11B	8310(20)	2030(30)	6531(9)	10(7)	1

H5	8800(20)	(120(30)	6052(9)	8(7)	1

H6	7020(30)	2190(40)	5667(12)	38(11)	1

H8	9460(30)	4820(40)	5315(11)	27(9)	1

H4	9970(30)	(390(30)	5389(11)	27(9)	1

H3	11270(20)	1620(30)	5364(11)	17(8)	1

H14A	10590(30)	3330(40)	7051(12)	32(10)	1

H16C	12810(30)	1790(40)	5922(13)	43(11)	1

H14C	11050(30)	1900(40)	6845(12)	27(9)	1

H16A	13660(30)	2480(40)	6269(15)	60(13)	1

H13C	8030(30)	2270(40)	7262(11)	29(10)	1

H17A	12850(30)	4310(40)	6860(13)	38(11)	1

H7	8020(20)	4330(30)	5914(12)	25(9)	1

H9	9300(30)	2950(40)	4760(12)	31(10)	1

H12C	8560(30)	60(40)	6985(12)	40(11)	1

H17B	12030(30)	4900(40)	6775(15)	55(13)	1

H12A	9850(30)	(120(40)	6818(12)	31(10)	1

H14B	10790(30)	2010(40)	7316(13)	30(10)	1

H16B	13360(30)	3370(40)	5851(15)	52(12)	1

H13B	8960(30)	2300(40)	7568(15)	42(11)	1

H15A	11450(30)	4110(40)	5776(13)	36(10)	1

H17C	12970(30)	5150(50)	6361(15)	65(14)	1