|  | University of Southampton · Department of Chemistry # EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	02src488

Empirical formula 	C32H40N2O8

Formula weight 	580.66

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2

Unit cell dimensions	a = 19.403(2) Å	 = 90°

b = 8.9915(11) Å	 = 93.313(4)°

c = 17.855(2) Å	  = 90°

Volume	3109.8(7) Å3

Z	4

Density (calculated)	1.240 Mg / m3

Absorption coefficient	0.089 mm1

F(000)	1240

Crystal	Block; Colourless

Crystal size	0.28  0.16  0.12 mm3

 range for data collection	3.02  25.02°

Index ranges	22  h  21, 10  k  10, 21  l  21

Reflections collected	9511

Independent reflections	4596 [Rint = 0.1615]

Completeness to  = 25.02°	94.2 %

Absorption correction	Semiempirical from equivalents

Max. and min. transmission	0.9894 and 0.9755

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	4596 / 1 / 384

Goodness-of-fit on F2	0.980

Final R indices [F2 > 2(F2)]	R1 = 0.0942, wR2 = 0.2282

R indices (all data)	R1 = 0.1777, wR2 = 0.2782

Absolute structure parameter	4(3)

Extinction coefficient	0.0055(16)

Largest diff. peak and hole	0.375 and 0.366 e Å3

Diffractometer: Nonius KappaCCD area detector ( scans and  scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 3337; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

The absolute structure could not be determined accurately.

All hydrogen atoms are fixed.

Table 2. Atomic coordinates [ 104], equivalent isotropic displacement parameters [Å2  103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

O8	4402(3)	8727(6)	1991(3)	45(1)	1

O6	6123(3)	10904(8)	944(3)	57(2)	1

O7	4916(3)	10966(7)	1921(3)	51(2)	1

O1	8110(3)	7404(7)	2690(4)	62(2)	1

O5	6406(3)	12299(7)	1942(3)	46(1)	1

N1	7328(3)	9710(7)	3773(3)	40(2)	1

N2	6372(3)	9969(7)	2910(3)	38(2)	1

O2	8664(3)	9620(7)	2708(3)	56(2)	1

C30	4952(4)	9644(12)	1952(4)	44(2)	1

O4	6643(3)	7496(7)	798(3)	55(2)	1

C20	8110(4)	8737(11)	2607(5)	46(2)	1

O3	7521(3)	9175(8)	800(4)	66(2)	1

C17	4128(4)	8647(12)	4124(4)	53(2)	1

C8	8046(4)	10035(8)	4946(4)	37(2)	1

C15	5082(4)	10042(11)	3682(4)	48(2)	1

C3	7115(4)	10326(10)	3047(4)	42(2)	1

C14	5466(4)	8763(10)	3658(4)	46(2)	1

C7	7754(4)	10731(10)	4238(5)	46(2)	1

C6	6262(4)	9637(9)	2111(4)	39(2)	1

C26	6256(4)	11113(10)	1671(5)	40(2)	1

C2	6216(4)	8822(10)	3454(4)	38(2)	1

C29	5598(4)	8733(10)	1910(4)	43(2)	1

C13	8579(4)	8935(10)	4900(5)	48(2)	1

C4	7494(4)	9630(9)	2374(4)	43(2)	1

C1	6680(4)	9228(9)	4121(4)	42(2)	1

C23	7077(5)	8528(11)	1117(5)	54(2)	1

C32	3215(4)	8323(11)	2135(5)	56(2)	1

C19	5191(4)	7417(10)	3889(5)	48(2)	1

C11	8672(4)	8608(10)	6218(5)	51(2)	1

C10	8125(5)	9711(12)	6283(5)	65(3)	1

C5	6933(4)	8728(11)	1943(4)	45(2)	1

C22	9808(5)	9575(11)	2266(5)	60(3)	1

C31	3736(4)	9469(10)	2040(5)	50(2)	1

C16	4397(4)	9968(10)	3912(5)	50(2)	1

C24	6700(5)	7246(14)	10(5)	67(3)	1

C21	9351(4)	8916(12)	2830(5)	58(3)	1

C9	7855(4)	10337(9)	5636(5)	39(2)	1

C18	4525(5)	7352(13)	4117(5)	57(3)	1

C27	6128(6)	12190(14)	480(5)	70(3)	1

C12	8874(5)	8319(10)	5524(5)	53(2)	1

C28	6050(8)	11758(15)	307(6)	91(4)	1

C25	6082(6)	6473(15)	265(6)	80(3)	1

Table 3. Bond lengths [Å] and angles [°].

O8C30	1.354(10)

O8C31	1.460(10)

O6C26	1.323(10)

O6C27	1.422(12)

O7C30	1.192(10)

O1C20	1.208(11)

O5C26	1.199(10)

N1C3	1.448(10)

N1C7	1.461(10)

N1C1	1.498(10)

N2C6	1.461(10)

N2C2	1.460(10)

N2C3	1.485(10)

O2C20	1.339(10)

O2C21	1.480(10)

C30C29	1.502(12)

O4C23	1.356(11)

O4C24	1.435(11)

C20C4	1.479(12)

O3C23	1.206(11)

C17C16	1.361(13)

C17C18	1.397(14)

C17H17	0.9500

C8C9	1.336(11)

C8C13	1.438(12)

C8C7	1.492(12)

C15C14	1.372(12)

C15C16	1.413(12)

C15H15	0.9500

C3C4	1.574(12)

C3H3	1.0000

C14C19	1.395(12)

C14C2	1.520(11)

C7H7A	0.9900

C7H7B	0.9900

C6C26	1.542(12)

C6C29	1.548(11)

C6C5	1.580(11)

C2C1	1.495(11)

C2H2	1.0000

C29H29A	0.9900

C29H29B	0.9900

C13C12	1.342(12)

C13H13	0.9500

C4C5	1.530(11)

C4H4	1.0000

C1H1A	0.9900

C1H1B	0.9900

C23C5	1.528(11)

C32C31	1.460(12)

C32H32A	0.9800

C32H32B	0.9800

C32H32C	0.9800

C19C18	1.377(12)

C19H19	0.9500

C11C12	1.346(12)

C11C10	1.462(14)

C11H11	0.9500

C10C9	1.362(13)

C10H10	0.9500

C5H5	1.0000

C22C21	1.502(12)

C22H22A	0.9800

C22H22B	0.9800

C22H22C	0.9800

C31H31A	0.9900

C31H31B	0.9900

C16H16	0.9500

C24C25	1.448(14)

C24H24A	0.9900

C24H24B	0.9900

C21H21A	0.9900

C21H21B	0.9900

C9H9	0.9500

C18H18	0.9500

C27C28	1.457(15)

C27H27A	0.9900

C27H27B	0.9900

C12H12	0.9500

C28H28A	0.9800

C28H28B	0.9800

C28H28C	0.9800

C25H25A	0.9800

C25H25B	0.9800

C25H25C	0.9800

C30O8C31	115.4(6)

C26O6C27	116.6(7)

C3N1C7	113.0(6)

C3N1C1	106.2(6)

C7N1C1	114.0(6)

C6N2C2	118.7(6)

C6N2C3	106.9(5)

C2N2C3	106.3(6)

C20O2C21	118.3(7)

O7C30O8	124.4(8)

O7C30C29	126.1(8)

O8C30C29	109.5(8)

C23O4C24	116.0(7)

O1C20O2	125.3(8)

O1C20C4	124.5(7)

O2C20C4	110.2(8)

C16C17C18	120.3(8)

C16C17H17	119.8

C18C17H17	119.8

C9C8C13	115.6(7)

C9C8C7	125.8(8)

C13C8C7	118.6(7)

C14C15C16	119.5(8)

C14C15H15	120.3

C16C15H15	120.3

N1C3N2	106.8(6)

N1C3C4	114.2(7)

N2C3C4	106.3(6)

N1C3H3	109.8

N2C3H3	109.8

C4C3H3	109.8

C15C14C19	119.9(7)

C15C14C2	120.5(8)

C19C14C2	119.3(8)

N1C7C8	113.1(7)

N1C7H7A	109.0

C8C7H7A	109.0

N1C7H7B	109.0

C8C7H7B	109.0

H7AC7H7B	107.8

N2C6C26	108.5(7)

N2C6C29	114.0(6)

C26C6C29	110.6(6)

N2C6C5	102.5(6)

C26C6C5	109.2(6)

C29C6C5	111.6(7)

O5C26O6	123.5(8)

O5C26C6	124.4(8)

O6C26C6	111.9(7)

N2C2C1	102.6(7)

N2C2C14	114.9(6)

C1C2C14	111.0(6)

N2C2H2	109.3

C1C2H2	109.3

C14C2H2	109.3

C30C29C6	112.8(7)

C30C29H29A	109.0

C6C29H29A	109.0

C30C29H29B	109.0

C6C29H29B	109.0

H29AC29H29B	107.8

C12C13C8	120.7(9)

C12C13H13	119.7

C8C13H13	119.7

C20C4C5	113.2(7)

C20C4C3	114.0(7)

C5C4C3	104.2(6)

C20C4H4	108.4

C5C4H4	108.4

C3C4H4	108.4

N1C1C2	102.9(6)

N1C1H1A	111.2

C2C1H1A	111.2

N1C1H1B	111.2

C2C1H1B	111.2

H1AC1H1B	109.1

O3C23O4	125.1(8)

O3C23C5	124.8(9)

O4C23C5	110.0(8)

C31C32H32A	109.5

C31C32H32B	109.5

H32AC32H32B	109.5

C31C32H32C	109.5

H32AC32H32C	109.5

H32BC32H32C	109.5

C18C19C14	120.4(9)

C18C19H19	119.8

C14C19H19	119.8

C12C11C10	117.1(8)

C12C11H11	121.4

C10C11H11	121.4

C9C10C11	117.3(9)

C9C10H10	121.4

C11C10H10	121.4

C23C5C4	112.6(7)

C23C5C6	116.4(6)

C4C5C6	101.6(6)

C23C5H5	108.7

C4C5H5	108.7

C6C5H5	108.7

C21C22H22A	109.5

C21C22H22B	109.5

H22AC22H22B	109.5

C21C22H22C	109.5

H22AC22H22C	109.5

H22BC22H22C	109.5

O8C31C32	107.8(7)

O8C31H31A	110.1

C32C31H31A	110.1

O8C31H31B	110.1

C32C31H31B	110.1

H31AC31H31B	108.5

C17C16C15	120.2(8)

C17C16H16	119.9

C15C16H16	119.9

O4C24C25	107.4(8)

O4C24H24A	110.2

C25C24H24A	110.2

O4C24H24B	110.2

C25C24H24B	110.2

H24AC24H24B	108.5

O2C21C22	107.1(7)

O2C21H21A	110.3

C22C21H21A	110.3

O2C21H21B	110.3

C22C21H21B	110.3

H21AC21H21B	108.5

C8C9C10	125.8(9)

C8C9H9	117.1

C10C9H9	117.1

C19C18C17	119.6(9)

C19C18H18	120.2

C17C18H18	120.2

O6C27C28	109.9(10)

O6C27H27A	109.7

C28C27H27A	109.7

O6C27H27B	109.7

C28C27H27B	109.7

H27AC27H27B	108.2

C13C12C11	123.5(10)

C13C12H12	118.3

C11C12H12	118.3

C27C28H28A	109.5

C27C28H28B	109.5

H28AC28H28B	109.5

C27C28H28C	109.5

H28AC28H28C	109.5

H28BC28H28C	109.5

C24C25H25A	109.5

C24C25H25B	109.5

H25AC25H25B	109.5

C24C25H25C	109.5

H25AC25H25C	109.5

H25BC25H25C	109.5

Table 4. Anisotropic displacement parameters [Å2 103]. The anisotropic displacement

factor exponent takes the form: 2 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

O8	18(3) 	39(3)	77(4) 	1(3)	6(2) 	3(3)

O6	45(4) 	78(5)	48(4) 	6(3)	6(3) 	5(3)

O7	26(3) 	32(4)	95(4) 	5(3)	5(3) 	2(3)

O1	30(3) 	41(4)	116(5) 	2(3)	13(3) 	4(3)

O5	23(3) 	46(4)	69(4) 	7(3)	1(3) 	3(3)

N1	23(4) 	35(4)	60(4) 	4(3)	1(3) 	7(3)

N2	22(4) 	42(4)	50(4) 	4(3)	2(3) 	1(3)

O2	23(3) 	44(4)	101(4) 	5(3)	8(3) 	10(3)

C30	28(5) 	53(7)	51(5) 	0(4)	1(4) 	0(5)

O4	33(3) 	66(4)	68(4) 	18(3)	12(3) 	11(3)

C20	17(5) 	42(6)	82(6) 	3(5)	14(4) 	18(4)

O3	39(4) 	81(5)	81(4) 	5(3)	20(3) 	15(3)

C17	23(5) 	72(7)	64(5) 	6(5)	9(4) 	20(5)

C8	27(5) 	26(5)	60(5) 	5(4)	3(4) 	17(4)

C15	26(5) 	63(6)	56(5) 	6(4)	8(4) 	9(5)

C3	13(4) 	52(5)	63(5) 	4(4)	8(4) 	12(4)

C14	24(5) 	51(6)	62(5) 	0(4)	2(4) 	5(5)

C7	25(5) 	38(6)	76(6) 	3(4)	3(4) 	6(4)

C6	14(4) 	41(5)	62(5) 	6(4)	10(3) 	2(4)

C26	11(4) 	42(6)	66(6) 	3(4)	9(4) 	5(4)

C2	26(5) 	44(5)	46(4) 	6(4)	7(3) 	8(4)

C29	21(4) 	42(5)	66(5) 	8(4)	6(4) 	6(4)

C13	38(5) 	46(6)	59(5) 	5(4)	0(4) 	10(5)

C4	22(4) 	38(5)	70(5) 	10(4)	4(4) 	1(4)

C1	22(4) 	42(5)	62(5) 	4(4)	11(4) 	3(4)

C23	35(6) 	52(6)	75(6) 	8(5)	11(5) 	8(5)

C32	21(5) 	64(7)	82(6) 	1(5)	3(4) 	9(4)

C19	28(5) 	49(6)	67(5) 	4(5)	2(4) 	4(4)

C11	37(5) 	39(5)	75(6) 	14(5)	15(4) 	20(5)

C10	59(7) 	76(8)	62(6) 	11(5)	3(5) 	53(6)

C5	25(5) 	56(6)	54(5) 	2(4)	1(4) 	1(4)

C22	31(5) 	60(7)	91(7) 	8(5)	11(5) 	15(5)

C31	28(5) 	45(5)	78(6) 	3(4)	5(4) 	17(4)

C16	19(5) 	43(6)	86(6) 	12(4)	4(4) 	2(4)

C24	45(6) 	89(8)	67(6) 	24(6)	13(5) 	9(6)

C21	23(5) 	63(7)	89(6) 	6(5)	9(4) 	12(5)

C9	33(5) 	21(4)	63(6) 	1(4)	3(4) 	19(4)

C18	29(5) 	71(7)	70(6) 	12(5)	1(4) 	11(5)

C27	59(7) 	104(9)	47(6) 	18(6)	1(5) 	12(6)

C12	52(6) 	37(6)	70(7) 	9(4)	7(5) 	28(4)

C28	112(11) 	80(9)	80(8) 	6(6)	1(7) 	1(8)

C25	62(8) 	90(9)	86(8) 	8(6)	1(6) 	32(7)

Table 5. Hydrogen coordinates [ 104] and isotropic displacement parameters [Å2  103].

Atom 	x	y	z	Ueq	S.o.f.

H17	3668	8605	4277	63	1

H15	5274	10968	3546	58	1

H3	7182	11429	3054	51	1

H7A	7472	11602	4366	56	1

H7B	8138	11092	3945	56	1

H2	6354	7829	3261	46	1

H29A	5620	8332	1396	52	1

H29B	5577	7879	2258	52	1

H13	8725	8641	4423	57	1

H4	7641	10456	2044	52	1

H1A	6481	10048	4409	50	1

H1B	6765	8363	4456	50	1

H32A	3202	7648	1703	83	1

H32B	2762	8792	2169	83	1

H32C	3331	7761	2595	83	1

H19	5464	6541	3890	57	1

H11	8876	8117	6646	61	1

H10	7964	9979	6758	79	1

H5	6904	7724	2180	54	1

H22A	9609	9383	1759	91	1

H22B	10268	9122	2325	91	1

H22C	9847	10651	2347	91	1

H31A	3623	10047	1578	60	1

H31B	3753	10160	2473	60	1

H16	4125	10845	3919	59	1

H24A	7114	6637	75	80	1

H24B	6743	8205	256	80	1

H21A	9314	7826	2760	70	1

H21B	9543	9116	3346	70	1

H9	7500	11053	5681	47	1

H18	4337	6431	4269	68	1

H27A	6568	12733	575	84	1

H27B	5746	12860	602	84	1

H12	9245	7643	5473	64	1

H28A	6408	11035	416	136	1

H28B	6095	12639	624	136	1

H28C	5594	11310	410	136	1

H25A	6042	5531	6	119	1

H25B	6107	6271	802	119	1

H25C	5677	7092	185	119	1