|  | University of Southampton · Department of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	03src0247

Empirical formula 	C77H58Cl2Mn4N18O17

Formula weight 	1798.07

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	P21/c

Unit cell dimensions	a = 26.5518(7) Å	( = 90°

b = 20.3208(3) Å	( = 101.0100(10)°

c = 14.0403(4) Å	(  = 90°

Volume	7436.1(3) Å3

Z	4

Density (calculated)	1.606 Mg / m3

Absorption coefficient	0.821 mm(1

F(000)	3664

Crystal	Slab; Dark Red

Crystal size	0.26 ( 0.16 ( 0.04 mm3

( range for data collection	3.07 ( 27.50°

Index ranges	(30 ( h ( 34, (22 ( k ( 26, (18 ( l ( 18

Reflections collected	77828

Independent reflections	16946 [Rint = 0.1192]

Completeness to ( = 27.50°	99.2 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9679 and 0.8149

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	16946 / 33 / 1083

Goodness-of-fit on F2	0.965

Final R indices [F2 > 2((F2)]	R1 = 0.0605, wR2 = 0.1239

R indices (all data)	R1 = 0.1484, wR2 = 0.1566

Largest diff. peak and hole	0.811 and (0.624 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

All hydrogen atoms are fixed.

The visible charge is consistent with 2 x Mn(II) and 2 x Mn(III) ions.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Mn1	8263(1)	(328(1)	2889(1)	26(1)	1

Mn2	7865(1)	(951(1)	155(1)	29(1)	1

Mn3	6670(1)	166(1)	152(1)	29(1)	1

Mn4	7187(1)	1027(1)	2735(1)	28(1)	1

C1	8666(2)	(190(2)	5204(3)	38(1)	1

C2	8980(2)	(6(3)	6055(3)	46(1)	1

C3	9368(2)	430(3)	6016(3)	48(1)	1

C4	9436(2)	675(2)	5132(3)	43(1)	1

C5	9097(2)	478(2)	4299(3)	31(1)	1

C6	9131(2)	718(2)	3314(3)	30(1)	1

C7	9449(2)	1207(2)	3101(3)	38(1)	1

C8	9433(2)	1396(2)	2150(3)	42(1)	1

C9	9097(2)	1082(2)	1416(3)	37(1)	1

C10	8789(2)	588(2)	1677(3)	30(1)	1

C11	8423(2)	184(2)	970(3)	28(1)	1

C12	8040(2)	(39(2)	(1449(3)	31(1)	1

C13	7759(2)	(434(2)	(2208(3)	31(1)	1

C14	7740(2)	(213(2)	(3160(3)	36(1)	1

C15	7472(2)	(561(2)	(3947(3)	41(1)	1

C16	7232(2)	(1141(2)	(3777(3)	41(1)	1

C17	7246(2)	(1378(2)	(2845(3)	35(1)	1

C18	7512(2)	(1026(2)	(2034(3)	31(1)	1

N1	8716(1)	45(2)	4334(2)	29(1)	1

N2	8799(1)	416(2)	2592(2)	26(1)	1

N3	8404(1)	302(2)	59(2)	33(1)	1

N4	8082(1)	(153(2)	(513(2)	28(1)	1

O1	8169(1)	(275(1)	1328(2)	30(1)	1

O2	7512(1)	(1251(1)	(1160(2)	33(1)	1

C21	6163(2)	(670(2)	(1751(3)	39(1)	1

C22	6029(2)	(834(2)	(2728(3)	43(1)	1

C23	6176(2)	(419(2)	(3387(3)	44(1)	1

C24	6468(2)	130(2)	(3077(3)	38(1)	1

C25	6599(2)	259(2)	(2088(3)	30(1)	1

C26	6948(2)	805(2)	(1672(3)	30(1)	1

C27	7191(2)	1231(2)	(2210(3)	34(1)	1

C28	7540(2)	1679(2)	(1722(3)	41(1)	1

C29	7642(2)	1701(2)	(718(3)	35(1)	1

C30	7375(2)	1273(2)	(230(3)	28(1)	1

C31	7427(2)	1235(2)	842(3)	28(1)	1

C32	8163(2)	1800(2)	2927(3)	30(1)	1

C33	8260(2)	1803(2)	3961(3)	29(1)	1

C34	8705(2)	2144(2)	4430(3)	37(1)	1

C35	8833(2)	2170(2)	5428(3)	43(1)	1

C36	8519(2)	1866(2)	5977(3)	41(1)	1

C37	8080(2)	1550(2)	5552(3)	37(1)	1

C38	7931(2)	1516(2)	4528(3)	30(1)	1

N21	6438(1)	(134(2)	(1437(2)	33(1)	1

N22	7035(1)	839(2)	(699(2)	26(1)	1

N23	7781(1)	1595(2)	1364(2)	29(1)	1

N24	7784(1)	1505(2)	2363(2)	28(1)	1

O21	7121(1)	834(1)	1187(2)	29(1)	1

O22	7500(1)	1219(1)	4148(2)	36(1)	1

C41	9218(2)	(1298(2)	2864(3)	36(1)	1

C42	9500(2)	(1878(2)	2941(3)	38(1)	1

C43	9263(2)	(2439(2)	3167(3)	37(1)	1

C44	8763(2)	(2417(2)	3314(3)	33(1)	1

C45	8513(2)	(1816(2)	3248(3)	27(1)	1

C46	7977(2)	(1732(2)	3401(3)	27(1)	1

C47	7682(2)	(2244(2)	3658(3)	31(1)	1

C48	7195(2)	(2113(2)	3803(3)	30(1)	1

C49	6999(2)	(1475(2)	3671(3)	30(1)	1

C50	7314(2)	(995(2)	3396(3)	24(1)	1

C51	7150(2)	(304(2)	3193(3)	25(1)	1

C52	6161(2)	749(2)	3147(3)	34(1)	1

C53	5994(2)	1413(2)	2984(3)	33(1)	1

C54	5504(2)	1581(3)	3157(3)	46(1)	1

C55	5319(2)	2207(3)	3034(4)	55(1)	1

C56	5621(2)	2691(3)	2719(4)	52(1)	1

C57	6100(2)	2545(2)	2535(3)	43(1)	1

C58	6299(2)	1897(2)	2658(3)	35(1)	1

N41	8738(1)	(1256(2)	3020(2)	30(1)	1

N42	7792(1)	(1124(2)	3277(2)	25(1)	1

N43	6691(1)	(141(2)	3271(2)	29(1)	1

N44	6607(1)	527(2)	3053(2)	29(1)	1

O41	7491(1)	102(1)	2935(2)	27(1)	1

O42	6762(1)	1784(1)	2479(2)	38(1)	1

C61	5810(2)	1288(2)	105(3)	43(1)	1

C62	5379(2)	1602(2)	290(3)	45(1)	1

C63	5059(2)	1256(2)	776(3)	44(1)	1

C64	5184(2)	609(2)	1053(3)	40(1)	1

C65	5626(2)	329(2)	842(3)	31(1)	1

C66	5802(2)	(350(2)	1129(3)	31(1)	1

C67	5539(2)	(791(2)	1618(3)	38(1)	1

C68	5745(2)	(1406(2)	1845(3)	39(1)	1

C69	6204(2)	(1583(2)	1591(3)	36(1)	1

C70	6452(2)	(1112(2)	1132(3)	30(1)	1

C71	6965(2)	(1206(2)	877(3)	28(1)	1

C72	7939(2)	(2297(2)	995(3)	33(1)	1

C73	8442(2)	(2399(2)	823(3)	32(1)	1

C74	8670(2)	(3029(2)	1030(3)	37(1)	1

C75	9166(2)	(3150(2)	947(3)	43(1)	1

C76	9457(2)	(2638(2)	668(3)	36(1)	1

C77	9251(2)	(2026(2)	452(3)	35(1)	1

C78	8738(2)	(1894(2)	506(3)	29(1)	1

N61	5935(1)	666(2)	360(2)	35(1)	1

N62	6251(1)	(517(2)	901(2)	29(1)	1

N63	7199(1)	(1760(2)	1105(2)	33(1)	1

N64	7681(1)	(1748(2)	834(2)	30(1)	1

O61	7157(1)	(707(1)	473(2)	28(1)	1

O62	8544(1)	(1306(1)	244(2)	38(1)	1

O81	8916(1)	1143(2)	(1772(3)	79(1)	1

O82	9793(1)	983(2)	(1763(2)	52(1)	1

O83	9428(1)	2039(2)	(2020(2)	40(1)	1

O84	9532(1)	1545(2)	(477(2)	50(1)	1

Cl1	9413(1)	1424(1)	(1510(1)	40(1)	1

O85A	5551(6)	(2852(10)	534(8)	68(4)	0.564(4)

O86A	5386(3)	(2817(5)	(1135(5)	91(2)	0.564(4)

O87A	6152(7)	(2407(9)	(362(13)	139(8)	0.564(4)

O88A	5930(3)	(3590(3)	(442(5)	63(2)	0.564(4)

Cl2A	5786(5)	(2922(6)	(300(8)	46(1)	0.564(4)

O85B	5437(9)	(2708(13)	208(12)	68(4)	0.436(4)

O86B	5682(4)	(3319(6)	(1059(7)	91(2)	0.436(4)

O87B	5933(10)	(2236(11)	(818(18)	139(8)	0.436(4)

O88B	6279(3)	(3013(5)	303(6)	63(2)	0.436(4)

Cl2B	5822(6)	(2827(8)	(343(11)	46(1)	0.436(4)

C91	4872(3)	(4472(4)	(1092(5)	83(2)	1

C92	4632(3)	(3999(3)	(545(5)	81(2)	1

N91	5050(3)	(4850(3)	(1528(5)	101(2)	1

C93	9270(4)	(678(4)	(1299(5)	102(3)	1

C94	9468(3)	(345(4)	(458(7)	112(3)	1

N93	9045(4)	(972(3)	(1885(6)	130(3)	1

C95	6705(2)	2047(3)	5292(4)	64(2)	1

O95	6761(2)	1351(2)	5339(2)	54(1)	1

Table 3. Bond lengths [Å] and angles [°].

Mn1(O1	2.162(3)

Mn1(N2	2.169(3)

Mn1(N42	2.177(3)

Mn1(O41	2.241(3)

Mn1(N41	2.255(3)

Mn1(N1	2.281(3)

Mn2(O62	1.923(3)

Mn2(N64	1.988(3)

Mn2(O2	1.999(3)

Mn2(N4	2.010(3)

Mn2(O61	2.073(3)

Mn2(O1	2.177(3)

Mn3(N22	2.166(3)

Mn3(N62	2.171(3)

Mn3(O21	2.175(3)

Mn3(O61	2.192(3)

Mn3(N61	2.267(4)

Mn3(N21	2.281(3)

Mn4(O42	1.900(3)

Mn4(N44	1.967(3)

Mn4(N24	2.012(3)

Mn4(O22	2.036(3)

Mn4(O41	2.043(3)

Mn4(O21	2.183(3)

C1(N1	1.341(5)

C1(C2	1.372(6)

C1(H1	0.9500

C2(C3	1.369(7)

C2(H2	0.9500

C3(C4	1.381(7)

C3(H3	0.9500

C4(C5	1.390(6)

C4(H4	0.9500

C5(N1	1.349(5)

C5(C6	1.485(6)

C6(N2	1.357(5)

C6(C7	1.373(6)

C7(C8	1.382(6)

C7(H7	0.9500

C8(C9	1.385(6)

C8(H8	0.9500

C9(C10	1.386(6)

C9(H9	0.9500

C10(N2	1.328(5)

C10(C11	1.496(6)

C11(N3	1.293(5)

C11(O1	1.306(5)

C12(N4	1.318(5)

C12(C13	1.426(6)

C12(H12	0.9500

C13(C14	1.402(6)

C13(C18	1.413(6)

C14(C15	1.388(6)

C14(H14	0.9500

C15(C16	1.382(7)

C15(H15	0.9500

C16(C17	1.388(6)

C16(H16	0.9500

C17(C18	1.415(6)

C17(H17	0.9500

C18(O2	1.311(5)

N3(N4	1.404(5)

C21(N21	1.337(5)

C21(C22	1.391(6)

C21(H21	0.9500

C22(C23	1.363(7)

C22(H22	0.9500

C23(C24	1.381(7)

C23(H23	0.9500

C24(C25	1.391(6)

C24(H24	0.9500

C25(N21	1.345(5)

C25(C26	1.490(6)

C26(N22	1.343(5)

C26(C27	1.387(6)

C27(C28	1.383(6)

C27(H27	0.9500

C28(C29	1.385(6)

C28(H28	0.9500

C29(C30	1.383(6)

C29(H29	0.9500

C30(N22	1.340(5)

C30(C31	1.488(6)

C31(N23	1.301(5)

C31(O21	1.308(5)

C32(N24	1.300(5)

C32(C33	1.426(6)

C32(H32	0.9500

C33(C38	1.415(6)

C33(C34	1.417(6)

C34(C35	1.379(6)

C34(H34	0.9500

C35(C36	1.382(7)

C35(H35	0.9500

C36(C37	1.366(6)

C36(H36	0.9500

C37(C38	1.418(6)

C37(H37	0.9500

C38(O22	1.313(5)

N23(N24	1.413(4)

C41(N41	1.339(5)

C41(C42	1.388(6)

C41(H41	0.9500

C42(C43	1.368(6)

C42(H42	0.9500

C43(C44	1.383(6)

C43(H43	0.9500

C44(C45	1.386(6)

C44(H44	0.9500

C45(N41	1.351(5)

C45(C46	1.490(6)

C46(N42	1.330(5)

C46(C47	1.390(6)

C47(C48	1.374(6)

C47(H47	0.9500

C48(C49	1.396(6)

C48(H48	0.9500

C49(C50	1.386(6)

C49(H49	0.9500

C50(N42	1.335(5)

C50(C51	1.482(6)

C51(N43	1.287(5)

C51(O41	1.326(5)

C52(N44	1.299(5)

C52(C53	1.426(6)

C52(H52	0.9500

C53(C58	1.403(6)

C53(C54	1.411(6)

C54(C55	1.364(7)

C54(H54	0.9500

C55(C56	1.394(7)

C55(H55	0.9500

C56(C57	1.376(7)

C56(H56	0.9500

C57(C58	1.418(6)

C57(H57	0.9500

C58(O42	1.323(5)

N43(N44	1.399(5)

C61(N61	1.339(6)

C61(C62	1.376(7)

C61(H61	0.9500

C62(C63	1.381(7)

C62(H62	0.9500

C63(C64	1.393(7)

C63(H63	0.9500

C64(C65	1.388(6)

C64(H64	0.9500

C65(N61	1.346(5)

C65(C66	1.487(6)

C66(N62	1.338(5)

C66(C67	1.392(6)

C67(C68	1.377(6)

C67(H67	0.9500

C68(C69	1.381(6)

C68(H68	0.9500

C69(C70	1.388(6)

C69(H69	0.9500

C70(N62	1.335(5)

C70(C71	1.486(6)

C71(N63	1.297(5)

C71(O61	1.312(5)

C72(N64	1.306(5)

C72(C73	1.419(6)

C72(H72	0.9500

C73(C78	1.415(6)

C73(C74	1.423(6)

C74(C75	1.364(7)

C74(H74	0.9500

C75(C76	1.396(7)

C75(H75	0.9500

C76(C77	1.369(6)

C76(H76	0.9500

C77(C78	1.404(6)

C77(H77	0.9500

C78(O62	1.324(5)

N63(N64	1.403(5)

O81(Cl1	1.421(4)

O82(Cl1	1.444(3)

O83(Cl1	1.446(3)

O84(Cl1	1.444(3)

O85A(Cl2A	1.435(9)

O86A(Cl2A	1.440(10)

O87A(Cl2A	1.442(11)

O88A(Cl2A	1.434(11)

O85B(Cl2B	1.418(12)

O86B(Cl2B	1.417(13)

O87B(Cl2B	1.430(13)

O88B(Cl2B	1.421(13)

C91(N91	1.139(8)

C91(C92	1.451(9)

C92(H92A	0.9800

C92(H92B	0.9800

C92(H92C	0.9800

C93(N93	1.096(10)

C93(C94	1.376(10)

C94(H94A	0.9800

C94(H94B	0.9800

C94(H94C	0.9800

C95(O95	1.424(7)

C95(H95A	0.9800

C95(H95B	0.9800

C95(H95C	0.9800

O95(H95	0.8400

O1(Mn1(N2	73.95(11)

O1(Mn1(N42	109.26(11)

N2(Mn1(N42	174.24(12)

O1(Mn1(O41	94.55(10)

N2(Mn1(O41	111.75(11)

N42(Mn1(O41	73.11(11)

O1(Mn1(N41	94.56(11)

N2(Mn1(N41	102.80(12)

N42(Mn1(N41	72.42(12)

O41(Mn1(N41	145.45(11)

O1(Mn1(N1	145.58(11)

N2(Mn1(N1	71.70(12)

N42(Mn1(N1	104.78(12)

O41(Mn1(N1	100.07(11)

N41(Mn1(N1	90.81(12)

O62(Mn2(N64	88.67(13)

O62(Mn2(O2	102.32(13)

N64(Mn2(O2	94.53(12)

O62(Mn2(N4	89.14(13)

N64(Mn2(N4	177.71(14)

O2(Mn2(N4	86.58(12)

O62(Mn2(O61	162.29(12)

N64(Mn2(O61	76.95(13)

O2(Mn2(O61	89.24(11)

N4(Mn2(O61	105.09(12)

O62(Mn2(O1	88.94(12)

N64(Mn2(O1	103.95(12)

O2(Mn2(O1	158.63(11)

N4(Mn2(O1	75.35(11)

O61(Mn2(O1	84.64(11)

N22(Mn3(N62	175.25(12)

N22(Mn3(O21	74.09(11)

N62(Mn3(O21	110.04(11)

N22(Mn3(O61	108.38(11)

N62(Mn3(O61	73.75(12)

O21(Mn3(O61	98.02(10)

N22(Mn3(N61	105.97(13)

N62(Mn3(N61	72.05(13)

O21(Mn3(N61	90.63(12)

O61(Mn3(N61	145.64(12)

N22(Mn3(N21	72.26(12)

N62(Mn3(N21	103.64(12)

O21(Mn3(N21	146.33(12)

O61(Mn3(N21	91.35(11)

N61(Mn3(N21	99.66(12)

O42(Mn4(N44	89.94(14)

O42(Mn4(N24	91.65(13)

N44(Mn4(N24	177.23(14)

O42(Mn4(O22	98.41(13)

N44(Mn4(O22	93.97(13)

N24(Mn4(O22	88.04(12)

O42(Mn4(O41	167.07(12)

N44(Mn4(O41	78.40(13)

N24(Mn4(O41	99.78(12)

O22(Mn4(O41	88.06(11)

O42(Mn4(O21	91.41(12)

N44(Mn4(O21	102.41(12)

N24(Mn4(O21	75.28(12)

O22(Mn4(O21	160.91(12)

O41(Mn4(O21	85.74(10)

N1(C1(C2	123.2(5)

N1(C1(H1	118.4

C2(C1(H1	118.4

C3(C2(C1	118.5(4)

C3(C2(H2	120.7

C1(C2(H2	120.7

C2(C3(C4	119.9(4)

C2(C3(H3	120.1

C4(C3(H3	120.1

C3(C4(C5	118.5(5)

C3(C4(H4	120.7

C5(C4(H4	120.7

N1(C5(C4	121.7(4)

N1(C5(C6	115.3(3)

C4(C5(C6	122.9(4)

N2(C6(C7	120.2(4)

N2(C6(C5	113.6(4)

C7(C6(C5	126.1(4)

C6(C7(C8	120.3(4)

C6(C7(H7	119.8

C8(C7(H7	119.8

C7(C8(C9	119.2(4)

C7(C8(H8	120.4

C9(C8(H8	120.4

C8(C9(C10	117.8(4)

C8(C9(H9	121.1

C10(C9(H9	121.1

N2(C10(C9	122.9(4)

N2(C10(C11	112.8(4)

C9(C10(C11	124.3(4)

N3(C11(O1	126.0(4)

N3(C11(C10	116.8(4)

O1(C11(C10	117.1(3)

N4(C12(C13	125.3(4)

N4(C12(H12	117.3

C13(C12(H12	117.3

C14(C13(C18	120.2(4)

C14(C13(C12	116.8(4)

C18(C13(C12	122.9(4)

C15(C14(C13	121.1(4)

C15(C14(H14	119.5

C13(C14(H14	119.5

C16(C15(C14	118.7(4)

C16(C15(H15	120.6

C14(C15(H15	120.6

C15(C16(C17	121.9(4)

C15(C16(H16	119.1

C17(C16(H16	119.1

C16(C17(C18	120.2(4)

C16(C17(H17	119.9

C18(C17(H17	119.9

O2(C18(C13	122.8(4)

O2(C18(C17	119.2(4)

C13(C18(C17	118.0(4)

C1(N1(C5	118.1(4)

C1(N1(Mn1	124.3(3)

C5(N1(Mn1	117.1(3)

C10(N2(C6	119.5(3)

C10(N2(Mn1	118.6(3)

C6(N2(Mn1	121.9(3)

C11(N3(N4	110.3(3)

C12(N4(N3	112.3(3)

C12(N4(Mn2	129.1(3)

N3(N4(Mn2	117.5(2)

C11(O1(Mn1	117.2(2)

C11(O1(Mn2	107.7(2)

Mn1(O1(Mn2	133.65(13)

C18(O2(Mn2	132.4(3)

N21(C21(C22	122.7(4)

N21(C21(H21	118.6

C22(C21(H21	118.6

C23(C22(C21	118.0(4)

C23(C22(H22	121.0

C21(C22(H22	121.0

C22(C23(C24	120.1(4)

C22(C23(H23	119.9

C24(C23(H23	119.9

C23(C24(C25	119.1(4)

C23(C24(H24	120.5

C25(C24(H24	120.5

N21(C25(C24	121.0(4)

N21(C25(C26	115.5(3)

C24(C25(C26	123.4(4)

N22(C26(C27	120.9(4)

N22(C26(C25	114.3(4)

C27(C26(C25	124.8(4)

C28(C27(C26	118.6(4)

C28(C27(H27	120.7

C26(C27(H27	120.7

C27(C28(C29	120.6(4)

C27(C28(H28	119.7

C29(C28(H28	119.7

C30(C29(C28	117.7(4)

C30(C29(H29	121.2

C28(C29(H29	121.2

N22(C30(C29	122.1(4)

N22(C30(C31	112.7(3)

C29(C30(C31	125.2(4)

N23(C31(O21	125.1(4)

N23(C31(C30	117.3(4)

O21(C31(C30	117.6(4)

N24(C32(C33	126.2(4)

N24(C32(H32	116.9

C33(C32(H32	116.9

C38(C33(C34	119.3(4)

C38(C33(C32	124.0(4)

C34(C33(C32	116.6(4)

C35(C34(C33	120.8(4)

C35(C34(H34	119.6

C33(C34(H34	119.6

C34(C35(C36	119.4(4)

C34(C35(H35	120.3

C36(C35(H35	120.3

C37(C36(C35	121.4(4)

C37(C36(H36	119.3

C35(C36(H36	119.3

C36(C37(C38	121.1(4)

C36(C37(H37	119.5

C38(C37(H37	119.5

O22(C38(C33	123.0(4)

O22(C38(C37	119.2(4)

C33(C38(C37	117.8(4)

C21(N21(C25	119.0(4)

C21(N21(Mn3	124.6(3)

C25(N21(Mn3	116.4(3)

C30(N22(C26	120.2(4)

C30(N22(Mn3	118.4(3)

C26(N22(Mn3	121.3(3)

C31(N23(N24	110.7(3)

C32(N24(N23	113.8(3)

C32(N24(Mn4	128.3(3)

N23(N24(Mn4	117.7(2)

C31(O21(Mn3	116.3(2)

C31(O21(Mn4	108.6(2)

Mn3(O21(Mn4	135.05(13)

C38(O22(Mn4	130.2(3)

N41(C41(C42	123.8(4)

N41(C41(H41	118.1

C42(C41(H41	118.1

C43(C42(C41	117.5(4)

C43(C42(H42	121.2

C41(C42(H42	121.2

C42(C43(C44	120.3(4)

C42(C43(H43	119.9

C44(C43(H43	119.9

C43(C44(C45	118.6(4)

C43(C44(H44	120.7

C45(C44(H44	120.7

N41(C45(C44	122.1(4)

N41(C45(C46	114.6(4)

C44(C45(C46	123.3(4)

N42(C46(C47	121.2(4)

N42(C46(C45	115.2(4)

C47(C46(C45	123.6(4)

C48(C47(C46	119.1(4)

C48(C47(H47	120.5

C46(C47(H47	120.5

C47(C48(C49	119.8(4)

C47(C48(H48	120.1

C49(C48(H48	120.1

C50(C49(C48	117.5(4)

C50(C49(H49	121.2

C48(C49(H49	121.2

N42(C50(C49	122.3(4)

N42(C50(C51	114.4(3)

C49(C50(C51	123.3(4)

N43(C51(O41	124.8(4)

N43(C51(C50	118.5(4)

O41(C51(C50	116.8(3)

N44(C52(C53	125.0(4)

N44(C52(H52	117.5

C53(C52(H52	117.5

C58(C53(C54	119.7(4)

C58(C53(C52	122.4(4)

C54(C53(C52	118.0(4)

C55(C54(C53	121.7(5)

C55(C54(H54	119.1

C53(C54(H54	119.1

C54(C55(C56	118.8(5)

C54(C55(H55	120.6

C56(C55(H55	120.6

C57(C56(C55	121.1(5)

C57(C56(H56	119.4

C55(C56(H56	119.4

C56(C57(C58	120.8(5)

C56(C57(H57	119.6

C58(C57(H57	119.6

O42(C58(C53	123.8(4)

O42(C58(C57	118.4(4)

C53(C58(C57	117.8(4)

C41(N41(C45	117.6(4)

C41(N41(Mn1	125.1(3)

C45(N41(Mn1	117.3(3)

C46(N42(C50	120.1(3)

C46(N42(Mn1	120.5(3)

C50(N42(Mn1	119.4(3)

C51(N43(N44	110.2(3)

C52(N44(N43	115.2(3)

C52(N44(Mn4	127.8(3)

N43(N44(Mn4	116.8(3)

C51(O41(Mn4	109.7(2)

C51(O41(Mn1	116.2(2)

Mn4(O41(Mn1	133.96(13)

C58(O42(Mn4	130.1(3)

N61(C61(C62	124.1(5)

N61(C61(H61	118.0

C62(C61(H61	118.0

C61(C62(C63	118.0(5)

C61(C62(H62	121.0

C63(C62(H62	121.0

C62(C63(C64	118.8(4)

C62(C63(H63	120.6

C64(C63(H63	120.6

C65(C64(C63	119.7(4)

C65(C64(H64	120.2

C63(C64(H64	120.2

N61(C65(C64	121.3(4)

N61(C65(C66	114.8(4)

C64(C65(C66	123.9(4)

N62(C66(C67	120.5(4)

N62(C66(C65	114.7(4)

C67(C66(C65	124.7(4)

C68(C67(C66	118.9(4)

C68(C67(H67	120.5

C66(C67(H67	120.5

C67(C68(C69	120.5(4)

C67(C68(H68	119.8

C69(C68(H68	119.8

C68(C69(C70	117.4(4)

C68(C69(H69	121.3

C70(C69(H69	121.3

N62(C70(C69	122.3(4)

N62(C70(C71	113.5(4)

C69(C70(C71	124.2(4)

N63(C71(O61	124.7(4)

N63(C71(C70	118.0(4)

O61(C71(C70	117.2(4)

N64(C72(C73	125.1(4)

N64(C72(H72	117.5

C73(C72(H72	117.5

C78(C73(C72	123.1(4)

C78(C73(C74	118.5(4)

C72(C73(C74	118.3(4)

C75(C74(C73	121.7(4)

C75(C74(H74	119.2

C73(C74(H74	119.2

C74(C75(C76	118.9(4)

C74(C75(H75	120.6

C76(C75(H75	120.6

C77(C76(C75	121.4(4)

C77(C76(H76	119.3

C75(C76(H76	119.3

C76(C77(C78	120.8(4)

C76(C77(H77	119.6

C78(C77(H77	119.6

O62(C78(C77	119.2(4)

O62(C78(C73	122.1(4)

C77(C78(C73	118.7(4)

C61(N61(C65	118.1(4)

C61(N61(Mn3	124.4(3)

C65(N61(Mn3	117.3(3)

C70(N62(C66	120.3(4)

C70(N62(Mn3	118.6(3)

C66(N62(Mn3	121.1(3)

C71(N63(N64	109.6(3)

C72(N64(N63	114.4(3)

C72(N64(Mn2	127.6(3)

N63(N64(Mn2	117.8(3)

C71(O61(Mn2	110.7(2)

C71(O61(Mn3	116.7(3)

Mn2(O61(Mn3	132.32(13)

C78(O62(Mn2	131.8(3)

O81(Cl1(O84	110.1(2)

O81(Cl1(O82	110.2(3)

O84(Cl1(O82	108.8(2)

O81(Cl1(O83	109.4(2)

O84(Cl1(O83	109.3(2)

O82(Cl1(O83	109.10(19)

O88A(Cl2A(O85A	112.1(10)

O88A(Cl2A(O86A	101.7(8)

O85A(Cl2A(O86A	106.4(9)

O88A(Cl2A(O87A	118.5(12)

O85A(Cl2A(O87A	112.3(11)

O86A(Cl2A(O87A	104.1(10)

O86B(Cl2B(O85B	112.8(15)

O86B(Cl2B(O88B	110.0(11)

O85B(Cl2B(O88B	108.3(13)

O86B(Cl2B(O87B	108.2(14)

O85B(Cl2B(O87B	110.2(15)

O88B(Cl2B(O87B	107.2(13)

N91(C91(C92	178.5(8)

C91(C92(H92A	109.5

C91(C92(H92B	109.5

H92A(C92(H92B	109.5

C91(C92(H92C	109.5

H92A(C92(H92C	109.5

H92B(C92(H92C	109.5

N93(C93(C94	167.4(12)

C93(C94(H94A	109.5

C93(C94(H94B	109.5

H94A(C94(H94B	109.5

C93(C94(H94C	109.5

H94A(C94(H94C	109.5

H94B(C94(H94C	109.5

O95(C95(H95A	109.5

O95(C95(H95B	109.5

H95A(C95(H95B	109.5

O95(C95(H95C	109.5

H95A(C95(H95C	109.5

H95B(C95(H95C	109.5

C95(O95(H95	109.5

Symmetry transformations used to generate equivalent atoms:

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Mn1	28(1) 	24(1)	25(1) 	0(1)	6(1) 	(4(1)

Mn2	34(1) 	27(1)	24(1) 	(4(1)	2(1) 	3(1)

Mn3	31(1) 	29(1)	27(1) 	1(1)	8(1) 	(3(1)

Mn4	30(1) 	27(1)	26(1) 	(2(1)	5(1) 	1(1)

C1	46(3) 	41(3)	27(2) 	2(2)	7(2) 	6(2)

C2	63(3) 	49(3)	26(2) 	5(2)	8(2) 	7(3)

C3	56(3) 	53(3)	27(3) 	(10(2)	(7(2) 	7(3)

C4	46(3) 	49(3)	31(3) 	(8(2)	(1(2) 	(3(2)

C5	32(2) 	30(2)	30(2) 	(4(2)	6(2) 	4(2)

C6	30(2) 	27(2)	35(2) 	(3(2)	7(2) 	(5(2)

C7	35(3) 	38(3)	41(3) 	(9(2)	6(2) 	(11(2)

C8	49(3) 	34(3)	48(3) 	(6(2)	19(2) 	(20(2)

C9	54(3) 	28(2)	32(2) 	(2(2)	16(2) 	(10(2)

C10	38(3) 	26(2)	26(2) 	(1(2)	7(2) 	(1(2)

C11	32(2) 	26(2)	27(2) 	(1(2)	6(2) 	2(2)

C12	34(3) 	31(2)	28(2) 	2(2)	6(2) 	7(2)

C13	37(3) 	31(2)	25(2) 	(1(2)	6(2) 	6(2)

C14	40(3) 	41(3)	28(2) 	3(2)	11(2) 	3(2)

C15	49(3) 	52(3)	22(2) 	3(2)	6(2) 	5(2)

C16	40(3) 	50(3)	28(2) 	(11(2)	(2(2) 	11(2)

C17	41(3) 	32(2)	30(2) 	(4(2)	3(2) 	3(2)

C18	35(3) 	32(2)	24(2) 	(2(2)	5(2) 	10(2)

N1	31(2) 	31(2)	26(2) 	0(2)	5(2) 	1(2)

N2	29(2) 	22(2)	27(2) 	(5(1)	4(2) 	(5(2)

N3	47(2) 	25(2)	25(2) 	(3(2)	3(2) 	(2(2)

N4	38(2) 	22(2)	24(2) 	(5(1)	2(2) 	4(2)

O1	34(2) 	25(2)	29(2) 	2(1)	4(1) 	(9(1)

O2	48(2) 	28(2)	22(2) 	0(1)	2(1) 	1(1)

C21	34(3) 	40(3)	42(3) 	(4(2)	7(2) 	(4(2)

C22	34(3) 	41(3)	48(3) 	(14(2)	(4(2) 	(5(2)

C23	44(3) 	52(3)	32(3) 	(8(2)	(3(2) 	3(2)

C24	35(3) 	45(3)	32(2) 	1(2)	5(2) 	3(2)

C25	31(2) 	33(2)	26(2) 	(1(2)	7(2) 	1(2)

C26	32(2) 	33(2)	27(2) 	0(2)	7(2) 	5(2)

C27	46(3) 	32(2)	27(2) 	4(2)	10(2) 	1(2)

C28	57(3) 	34(2)	37(3) 	3(2)	19(2) 	(12(2)

C29	46(3) 	32(2)	29(2) 	1(2)	11(2) 	(10(2)

C30	30(2) 	26(2)	28(2) 	1(2)	8(2) 	3(2)

C31	36(3) 	22(2)	28(2) 	3(2)	9(2) 	3(2)

C32	32(2) 	24(2)	34(2) 	(2(2)	8(2) 	1(2)

C33	34(2) 	22(2)	30(2) 	(2(2)	2(2) 	1(2)

C34	34(3) 	30(2)	46(3) 	(7(2)	6(2) 	2(2)

C35	38(3) 	39(3)	45(3) 	(12(2)	(9(2) 	(3(2)

C36	44(3) 	36(3)	37(3) 	(4(2)	(4(2) 	6(2)

C37	49(3) 	30(2)	31(2) 	0(2)	7(2) 	4(2)

C38	37(3) 	23(2)	30(2) 	(4(2)	5(2) 	2(2)

N21	30(2) 	35(2)	32(2) 	(2(2)	3(2) 	1(2)

N22	30(2) 	28(2)	22(2) 	0(1)	9(2) 	0(2)

N23	32(2) 	29(2)	28(2) 	1(2)	8(2) 	(2(2)

N24	37(2) 	23(2)	24(2) 	(2(1)	8(2) 	(2(2)

O21	31(2) 	32(2)	25(2) 	(1(1)	6(1) 	(4(1)

O22	43(2) 	34(2)	31(2) 	(5(1)	8(1) 	(10(1)

C41	34(3) 	37(3)	38(3) 	4(2)	11(2) 	(1(2)

C42	31(3) 	54(3)	30(2) 	5(2)	8(2) 	7(2)

C43	42(3) 	40(3)	31(2) 	2(2)	6(2) 	11(2)

C44	41(3) 	30(2)	27(2) 	3(2)	7(2) 	3(2)

C45	36(2) 	27(2)	19(2) 	0(2)	6(2) 	(4(2)

C46	31(2) 	30(2)	18(2) 	(2(2)	1(2) 	(3(2)

C47	40(3) 	26(2)	25(2) 	(1(2)	2(2) 	1(2)

C48	37(3) 	25(2)	25(2) 	(2(2)	2(2) 	(8(2)

C49	34(2) 	35(2)	22(2) 	(4(2)	4(2) 	(5(2)

C50	29(2) 	28(2)	17(2) 	(2(2)	5(2) 	(4(2)

C51	29(2) 	26(2)	21(2) 	(1(2)	9(2) 	(5(2)

C52	33(3) 	40(3)	27(2) 	2(2)	4(2) 	2(2)

C53	30(2) 	40(3)	28(2) 	0(2)	5(2) 	8(2)

C54	40(3) 	57(3)	42(3) 	5(2)	15(2) 	8(3)

C55	43(3) 	63(4)	62(3) 	15(3)	21(3) 	20(3)

C56	53(3) 	43(3)	62(3) 	8(3)	19(3) 	19(3)

C57	39(3) 	40(3)	50(3) 	5(2)	11(2) 	10(2)

C58	33(3) 	40(3)	31(2) 	0(2)	7(2) 	3(2)

N41	28(2) 	33(2)	29(2) 	3(2)	6(2) 	2(2)

N42	33(2) 	21(2)	20(2) 	(1(1)	3(2) 	0(2)

N43	30(2) 	29(2)	29(2) 	1(2)	7(2) 	1(2)

N44	28(2) 	31(2)	26(2) 	(2(2)	4(2) 	(1(2)

O41	31(2) 	24(1)	26(2) 	1(1)	5(1) 	(2(1)

O42	35(2) 	34(2)	49(2) 	1(1)	16(2) 	6(1)

C61	34(3) 	43(3)	52(3) 	7(2)	8(2) 	1(2)

C62	45(3) 	43(3)	44(3) 	6(2)	3(2) 	4(2)

C63	35(3) 	50(3)	45(3) 	(3(2)	3(2) 	11(2)

C64	33(3) 	51(3)	34(2) 	(2(2)	6(2) 	(1(2)

C65	24(2) 	45(3)	24(2) 	(3(2)	4(2) 	(4(2)

C66	32(2) 	38(2)	21(2) 	(5(2)	2(2) 	(8(2)

C67	32(3) 	44(3)	39(3) 	(3(2)	10(2) 	(6(2)

C68	41(3) 	39(3)	39(3) 	0(2)	13(2) 	(11(2)

C69	43(3) 	32(2)	31(2) 	(2(2)	3(2) 	(10(2)

C70	33(2) 	33(2)	23(2) 	(5(2)	3(2) 	(6(2)

C71	35(2) 	28(2)	20(2) 	(6(2)	2(2) 	(8(2)

C72	42(3) 	27(2)	27(2) 	(3(2)	3(2) 	(5(2)

C73	36(3) 	32(2)	23(2) 	(2(2)	(1(2) 	(1(2)

C74	42(3) 	27(2)	38(3) 	2(2)	(3(2) 	1(2)

C75	48(3) 	29(2)	47(3) 	4(2)	(3(2) 	6(2)

C76	42(3) 	33(2)	28(2) 	(3(2)	(3(2) 	9(2)

C77	43(3) 	31(2)	29(2) 	(2(2)	0(2) 	2(2)

C78	34(2) 	29(2)	21(2) 	2(2)	(4(2) 	5(2)

N61	34(2) 	36(2)	33(2) 	1(2)	4(2) 	1(2)

N62	31(2) 	32(2)	23(2) 	(1(2)	4(2) 	(5(2)

N63	35(2) 	31(2)	31(2) 	(2(2)	5(2) 	(2(2)

N64	35(2) 	27(2)	26(2) 	(2(2)	3(2) 	(1(2)

O61	31(2) 	26(2)	28(2) 	1(1)	7(1) 	(3(1)

O62	37(2) 	31(2)	45(2) 	7(1)	5(2) 	6(1)

O81	54(2) 	101(3)	74(3) 	29(2)	(5(2) 	(41(2)

O82	74(3) 	42(2)	41(2) 	(3(2)	18(2) 	9(2)

O83	42(2) 	43(2)	36(2) 	11(1)	10(1) 	(2(2)

O84	58(2) 	67(2)	28(2) 	6(2)	17(2) 	10(2)

Cl1	43(1) 	47(1)	31(1) 	7(1)	8(1) 	(6(1)

O85A	68(7) 	87(9)	60(9) 	(17(7)	41(7) 	(9(5)

O86A	82(5) 	130(7)	56(4) 	(16(4)	1(4) 	17(4)

O87A	142(17) 	155(11)	151(18) 	(76(10)	105(13) 	(89(11)

O88A	55(3) 	72(4)	66(4) 	12(3)	24(3) 	37(3)

Cl2A	42(2) 	58(3)	39(1) 	(8(2)	10(1) 	8(2)

O85B	68(7) 	87(9)	60(9) 	(17(7)	41(7) 	(9(5)

O86B	82(5) 	130(7)	56(4) 	(16(4)	1(4) 	17(4)

O87B	142(17) 	155(11)	151(18) 	(76(10)	105(13) 	(89(11)

O88B	55(3) 	72(4)	66(4) 	12(3)	24(3) 	37(3)

Cl2B	42(2) 	58(3)	39(1) 	(8(2)	10(1) 	8(2)

C91	99(5) 	78(5)	84(5) 	(26(4)	49(4) 	(33(4)

C92	95(5) 	84(5)	72(4) 	(23(4)	33(4) 	(26(4)

N91	104(5) 	94(5)	125(5) 	(30(4)	70(4) 	(20(4)

C93	202(10) 	70(5)	42(4) 	20(3)	45(5) 	80(6)

C94	104(6) 	76(5)	154(9) 	36(6)	17(6) 	16(5)

N93	210(9) 	68(5)	107(6) 	10(4)	18(6) 	46(5)

C95	76(4) 	76(4)	43(3) 	(5(3)	17(3) 	15(3)

O95	65(3) 	61(2)	37(2) 	(1(2)	16(2) 	(4(2)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1	8400	(499	5231	46	1

H2	8929	(178	6659	56	1

H3	9590	564	6596	57	1

H4	9708	971	5093	51	1

H7	9680	1417	3610	46	1

H8	9651	1737	2002	50	1

H9	9077	1201	755	44	1

H12	8212	337	(1632	37	1

H14	7914	180	(3269	43	1

H15	7453	(403	(4590	49	1

H16	7052	(1384	(4313	49	1

H17	7075	(1777	(2751	42	1

H21	6054	(950	(1287	46	1

H22	5841	(1223	(2930	51	1

H23	6078	(508	(4061	52	1

H24	6577	416	(3533	45	1

H27	7120	1216	(2899	41	1

H28	7711	1973	(2079	49	1

H29	7887	1999	(376	42	1

H32	8396	2036	2620	36	1

H34	8917	2357	4051	44	1

H35	9134	2394	5736	51	1

H36	8612	1879	6664	49	1

H37	7871	1349	5948	44	1

H41	9376	(908	2689	43	1

H42	9844	(1884	2842	45	1

H43	9443	(2846	3223	45	1

H44	8594	(2807	3458	39	1

H47	7816	(2679	3734	37	1

H48	6991	(2456	3991	36	1

H49	6663	(1373	3766	36	1

H52	5927	445	3339	40	1

H54	5297	1249	3364	55	1

H55	4989	2313	3162	66	1

H56	5495	3128	2630	62	1

H57	6300	2883	2322	51	1

H61	6033	1528	(223	52	1

H62	5305	2044	88	54	1

H63	4759	1456	920	53	1

H64	4967	362	1384	47	1

H67	5223	(668	1792	45	1

H68	5570	(1710	2180	47	1

H69	6344	(2011	1724	43	1

H72	7776	(2656	1248	39	1

H74	8473	(3374	1231	45	1

H75	9310	(3576	1077	52	1

H76	9805	(2716	628	43	1

H77	9458	(1687	263	42	1

H92A	4346	(4210	(312	122	1

H92B	4503	(3626	(963	122	1

H92C	4885	(3842	10	122	1

H94A	9203	(300	(63	168	1

H94B	9582	93	(619	168	1

H94C	9760	(590	(92	168	1

H95A	6906	2245	5881	96	1

H95B	6342	2162	5241	96	1

H95C	6828	2214	4723	96	1

H95	6983	1234	5020	80	1

Table 6. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

O95(H95...O22	0.84	2.01	2.823(5)	164.1

Symmetry transformations used to generate equivalent atoms: