|  | University of Southampton · School of Chemistry EPSRC National Crystallography Service |  |
| --- | --- | --- |

Table 1. Crystal data and structure refinement.

Identification code 	03src0627a

Empirical formula 	C30H54Co2F12N20O16S4

Formula weight 	1425.03

Temperature 	120(2) K

Wavelength 	0.71073 Å

Crystal system 	Monoclinic

Space group 	C2/c

Unit cell dimensions	a = 18.8487(4) Å	( = 90°

b = 17.6656(4) Å	( = 104.0540(10)°

c = 17.0546(4) Å	(  = 90°

Volume	5508.8(2) Å3

Z	4

Density (calculated)	1.718 Mg / m3

Absorption coefficient	0.875 mm(1

F(000)	2912

Crystal	Slab; Dark Pink

Crystal size	0.22 ( 0.06 ( 0.02 mm3

( range for data collection	3.16 ( 27.46°

Index ranges	(24 ( h ( 24, (22 ( k ( 22, (22 ( l ( 22

Reflections collected	35727

Independent reflections	6299 [Rint = 0.1399]

Completeness to ( = 27.46°	99.7 %

Absorption correction	Semi(empirical from equivalents

Max. and min. transmission	0.9827 and 0.8307

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6299 / 57 / 460

Goodness-of-fit on F2	1.024

Final R indices [F2 > 2((F2)]	R1 = 0.0549, wR2 = 0.1233

R indices (all data)	R1 = 0.0822, wR2 = 0.1389

Extinction coefficient	0.00104(15)

Largest diff. peak and hole	0.880 and (0.608 e Å(3

Diffractometer: Nonius KappaCCD area detector (( scans and ( scans to fill asymmetric unit sphere). Cell determination: DirAx (Duisenberg, A.J.M.(1992). J. Appl. Cryst. 25, 92-96.) Data collection: Collect (Collect: Data collection software, R. Hooft, Nonius B.V., 1998). Data reduction and cell refinement: Denzo (Z. Otwinowski & W. Minor, Methods in Enzymology (1997) Vol. 276: Macromolecular Crystallography, part A, pp. 307(326; C. W. Carter, Jr. & R. M. Sweet, Eds., Academic Press). Absorption correction: SORTAV (R. H. Blessing, Acta Cryst. A51 (1995) 33(37; R. H. Blessing, J. Appl. Cryst. 30 (1997) 421(426). Structure solution: SHELXS97 (G. M. Sheldrick, Acta Cryst. (1990) A46 467(473). Structure refinement: SHELXL97 (G. M. Sheldrick (1997), University of Göttingen, Germany). Graphics: Cameron - A Molecular Graphics Package. (D. M. Watkin, L. Pearce and C. K. Prout, Chemical Crystallography Laboratory, University of Oxford, 1993).

Special details:

All hydrogen atoms were fixed.

One of the triflate anions was disordered over two sites.

Table 2. Atomic coordinates [( 104], equivalent isotropic displacement parameters [Å2 ( 103] and site occupancy factors. Ueq is defined as one third of the trace of the orthogonalized Uij tensor.

Atom 	x	y	z	Ueq	S.o.f.

Co1	4210(1)	2230(1)	6664(1)	22(1)	1

C1	2782(2)	591(2)	7309(3)	48(1)	1

C2	3403(2)	1058(2)	7180(2)	30(1)	1

C3	4171(2)	878(2)	7551(2)	30(1)	1

C4	4384(2)	265(2)	8162(2)	41(1)	1

N1	2637(2)	1891(2)	6334(2)	43(1)	1

N2	3313(2)	1671(2)	6745(2)	28(1)	1

N3	4627(2)	1308(2)	7302(2)	28(1)	1

C11	5037(2)	1588(2)	4631(2)	39(1)	1

C12	4898(2)	1881(2)	5399(2)	23(1)	1

C13	5453(2)	2248(2)	6028(2)	24(1)	1

C14	6238(2)	2256(2)	5989(2)	35(1)	1

N11	3670(2)	1585(2)	5021(2)	33(1)	1

N12	4264(1)	1829(2)	5580(2)	24(1)	1

N13	5209(1)	2547(2)	6604(2)	25(1)	1

C21	3323(2)	4475(2)	6629(2)	38(1)	1

C22	3710(2)	3734(2)	6808(2)	25(1)	1

C23	4134(2)	3518(2)	7623(2)	25(1)	1

C24	4346(2)	4094(2)	8272(2)	45(1)	1

N21	3274(2)	3313(2)	5509(2)	33(1)	1

N22	3699(1)	3218(2)	6268(2)	25(1)	1

N23	4305(1)	2812(2)	7693(2)	26(1)	1

C31	3742(4)	2079(3)	2133(3)	85(2)	1

N31	3242(2)	1778(2)	2594(2)	53(1)	1

O31	3472(2)	1332(2)	3125(2)	57(1)	1

O32	2621(2)	1998(3)	2423(3)	115(2)	1

C41	2486(2)	1055(2)	244(3)	47(1)	1

O41	2691(1)	(376(1)	301(2)	34(1)	1

O42	3431(2)	396(2)	(369(2)	48(1)	1

O43	3643(2)	424(2)	1093(2)	47(1)	1

F41	2147(2)	1024(2)	848(2)	87(1)	1

F42	1987(2)	1038(2)	(440(2)	97(1)	1

F43	2806(1)	1733(1)	298(2)	54(1)	1

S41	3140(1)	290(1)	327(1)	30(1)	1

C51A	4990(4)	3839(4)	3534(5)	50(2)	0.500(3)

O51A	4848(4)	3505(3)	4926(3)	54(2)	0.500(3)

O52A	3881(5)	3104(6)	3788(5)	38(2)	0.500(3)

O53A	4003(3)	4428(3)	4172(4)	43(1)	0.500(3)

F51A	5457(6)	4391(6)	3795(8)	56(3)	0.500(3)

F52A	5359(3)	3214(3)	3484(3)	48(1)	0.500(3)

F53A	4609(3)	4036(3)	2766(3)	65(2)	0.500(3)

S51A	4343(1)	3725(1)	4149(1)	33(1)	0.500(3)

C51B	4931(4)	4070(4)	4384(4)	42(2)	0.500(3)

O51B	4880(4)	3000(3)	3380(4)	45(1)	0.500(3)

O52B	3922(3)	3973(3)	3058(3)	44(2)	0.500(3)

O53B	3950(6)	3038(7)	4136(5)	45(2)	0.500(3)

F51B	5332(5)	4519(5)	4034(7)	50(2)	0.500(3)

F52B	5394(3)	3661(3)	4934(3)	55(1)	0.500(3)

F53B	4515(3)	4522(3)	4737(3)	60(2)	0.500(3)

S51B	4344(1)	3464(1)	3648(1)	36(1)	0.500(3)

Table 3. Bond lengths [Å] and angles [°].

Co1(N13	1.991(3)

Co1(N2	1.991(3)

Co1(N23	2.004(3)

Co1(N12	2.006(3)

Co1(N3	2.010(3)

Co1(N22	2.029(3)

C1(C2	1.490(5)

C1(H1A	0.9800

C1(H1B	0.9800

C1(H1C	0.9800

C2(N2	1.300(4)

C2(C3	1.468(5)

C3(N3	1.292(4)

C3(C4	1.489(5)

C4(H4A	0.9800

C4(H4B	0.9800

C4(H4C	0.9800

N1(N2	1.354(4)

N1(H1D	0.8800

N1(H1E	0.8800

N3(N3i	1.406(5)

C11(C12	1.490(5)

C11(H11A	0.9800

C11(H11B	0.9800

C11(H11C	0.9800

C12(N12	1.307(4)

C12(C13	1.457(4)

C13(N13	1.294(4)

C13(C14	1.497(4)

C14(H14A	0.9800

C14(H14B	0.9800

C14(H14C	0.9800

N11(N12	1.352(4)

N11(H11D	0.8800

N11(H11E	0.8800

N13(N23i	1.401(4)

C21(C22	1.494(4)

C21(H21A	0.9800

C21(H21B	0.9800

C21(H21C	0.9800

C22(N22	1.291(4)

C22(C23	1.475(5)

C23(N23	1.287(4)

C23(C24	1.485(5)

C24(H24A	0.9800

C24(H24B	0.9800

C24(H24C	0.9800

N21(N22	1.357(4)

N21(H21D	0.8800

N21(H21E	0.8800

N23(N13i	1.401(4)

C31(N31	1.465(7)

C31(H31A	0.9800

C31(H31B	0.9800

C31(H31C	0.9800

N31(O31	1.200(5)

N31(O32	1.201(5)

C41(F42	1.308(5)

C41(F43	1.333(4)

C41(F41	1.339(5)

C41(S41	1.812(4)

O41(S41	1.444(2)

O42(S41	1.435(3)

O43(S41	1.434(3)

C51A(F51A	1.317(11)

C51A(F52A	1.318(8)

C51A(F53A	1.376(9)

C51A(S51A	1.803(7)

O51A(S51A	1.483(6)

O52A(S51A	1.442(9)

O53A(S51A	1.402(5)

C51B(F52B	1.329(8)

C51B(F51B	1.333(10)

C51B(F53B	1.357(8)

C51B(S51B	1.808(7)

O51B(S51B	1.458(6)

O52B(S51B	1.437(5)

O53B(S51B	1.452(8)

N13(Co1(N2	166.54(11)

N13(Co1(N23	90.98(11)

N2(Co1(N23	95.18(11)

N13(Co1(N12	77.98(10)

N2(Co1(N12	97.01(11)

N23(Co1(N12	167.15(11)

N13(Co1(N3	90.36(11)

N2(Co1(N3	77.69(11)

N23(Co1(N3	90.09(11)

N12(Co1(N3	96.48(11)

N13(Co1(N22	96.86(10)

N2(Co1(N22	96.15(11)

N23(Co1(N22	77.52(11)

N12(Co1(N22	97.07(11)

N3(Co1(N22	165.71(11)

C2(C1(H1A	109.5

C2(C1(H1B	109.5

H1A(C1(H1B	109.5

C2(C1(H1C	109.5

H1A(C1(H1C	109.5

H1B(C1(H1C	109.5

N2(C2(C3	113.8(3)

N2(C2(C1	123.2(3)

C3(C2(C1	122.9(3)

N3(C3(C2	113.3(3)

N3(C3(C4	124.7(3)

C2(C3(C4	121.9(3)

C3(C4(H4A	109.5

C3(C4(H4B	109.5

H4A(C4(H4B	109.5

C3(C4(H4C	109.5

H4A(C4(H4C	109.5

H4B(C4(H4C	109.5

N2(N1(H1D	120.0

N2(N1(H1E	120.0

H1D(N1(H1E	120.0

C2(N2(N1	120.6(3)

C2(N2(Co1	117.3(2)

N1(N2(Co1	122.1(2)

C3(N3(N3i	120.7(3)

C3(N3(Co1	116.8(2)

N3i(N3(Co1	118.24(13)

C12(C11(H11A	109.5

C12(C11(H11B	109.5

H11A(C11(H11B	109.5

C12(C11(H11C	109.5

H11A(C11(H11C	109.5

H11B(C11(H11C	109.5

N12(C12(C13	113.1(3)

N12(C12(C11	123.3(3)

C13(C12(C11	123.5(3)

N13(C13(C12	114.6(3)

N13(C13(C14	124.6(3)

C12(C13(C14	120.9(3)

C13(C14(H14A	109.5

C13(C14(H14B	109.5

H14A(C14(H14B	109.5

C13(C14(H14C	109.5

H14A(C14(H14C	109.5

H14B(C14(H14C	109.5

N12(N11(H11D	120.0

N12(N11(H11E	120.0

H11D(N11(H11E	120.0

C12(N12(N11	120.2(3)

C12(N12(Co1	116.5(2)

N11(N12(Co1	123.0(2)

C13(N13(N23i	120.5(3)

C13(N13(Co1	116.1(2)

N23i(N13(Co1	118.7(2)

C22(C21(H21A	109.5

C22(C21(H21B	109.5

H21A(C21(H21B	109.5

C22(C21(H21C	109.5

H21A(C21(H21C	109.5

H21B(C21(H21C	109.5

N22(C22(C23	113.7(3)

N22(C22(C21	123.4(3)

C23(C22(C21	123.0(3)

N23(C23(C22	113.8(3)

N23(C23(C24	125.4(3)

C22(C23(C24	120.8(3)

C23(C24(H24A	109.5

C23(C24(H24B	109.5

H24A(C24(H24B	109.5

C23(C24(H24C	109.5

H24A(C24(H24C	109.5

H24B(C24(H24C	109.5

N22(N21(H21D	120.0

N22(N21(H21E	120.0

H21D(N21(H21E	120.0

C22(N22(N21	119.8(3)

C22(N22(Co1	116.4(2)

N21(N22(Co1	123.1(2)

C23(N23(N13i	120.0(3)

C23(N23(Co1	116.7(2)

N13i(N23(Co1	118.6(2)

N31(C31(H31A	109.5

N31(C31(H31B	109.5

H31A(C31(H31B	109.5

N31(C31(H31C	109.5

H31A(C31(H31C	109.5

H31B(C31(H31C	109.5

O31(N31(O32	123.1(5)

O31(N31(C31	118.9(4)

O32(N31(C31	118.1(5)

F42(C41(F43	107.3(4)

F42(C41(F41	108.1(4)

F43(C41(F41	106.1(3)

F42(C41(S41	112.4(3)

F43(C41(S41	112.1(3)

F41(C41(S41	110.6(3)

O43(S41(O42	115.61(18)

O43(S41(O41	114.49(16)

O42(S41(O41	114.79(16)

O43(S41(C41	103.53(18)

O42(S41(C41	103.16(19)

O41(S41(C41	102.84(16)

F51A(C51A(F52A	108.8(7)

F51A(C51A(F53A	106.7(8)

F52A(C51A(F53A	108.1(7)

F51A(C51A(S51A	112.1(6)

F52A(C51A(S51A	112.7(5)

F53A(C51A(S51A	108.2(5)

O53A(S51A(O52A	117.0(5)

O53A(S51A(O51A	113.9(4)

O52A(S51A(O51A	111.9(5)

O53A(S51A(C51A	107.2(3)

O52A(S51A(C51A	105.0(5)

O51A(S51A(C51A	99.8(4)

F52B(C51B(F51B	107.0(7)

F52B(C51B(F53B	110.9(6)

F51B(C51B(F53B	107.5(7)

F52B(C51B(S51B	110.7(5)

F51B(C51B(S51B	111.1(7)

F53B(C51B(S51B	109.6(5)

O52B(S51B(O53B	116.9(5)

O52B(S51B(O51B	116.1(4)

O53B(S51B(O51B	112.2(6)

O52B(S51B(C51B	104.8(3)

O53B(S51B(C51B	102.8(5)

O51B(S51B(C51B	101.4(4)

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,y,(z+3/2

Table 4. Anisotropic displacement parameters [Å2( 103]. The anisotropic displacement

factor exponent takes the form: (2( 2[h2a*2U11 + ... + 2 h k a* b* U12 ].

Atom	U11	U22	U33	U23	U13	U12

Co1	23(1) 	20(1)	21(1) 	1(1)	0(1) 	2(1)

C1	56(2) 	50(3)	42(2) 	(4(2)	21(2) 	(24(2)

C2	37(2) 	29(2)	25(2) 	(2(1)	10(1) 	(8(1)

C3	44(2) 	19(2)	27(2) 	(1(1)	9(2) 	(4(1)

C4	59(2) 	26(2)	40(2) 	8(2)	13(2) 	(3(2)

N1	28(2) 	46(2)	49(2) 	(3(2)	(1(1) 	0(1)

N2	29(1) 	29(2)	26(1) 	(4(1)	5(1) 	(2(1)

N3	34(1) 	26(1)	22(1) 	(1(1)	4(1) 	(2(1)

C11	32(2) 	53(2)	31(2) 	(10(2)	6(2) 	4(2)

C12	21(2) 	23(2)	23(2) 	1(1)	2(1) 	(1(1)

C13	25(2) 	21(2)	25(2) 	5(1)	3(1) 	0(1)

C14	25(2) 	43(2)	36(2) 	(2(2)	6(2) 	(7(2)

N11	22(1) 	39(2)	34(2) 	(5(1)	(2(1) 	(7(1)

N12	22(1) 	21(1)	26(1) 	2(1)	1(1) 	0(1)

N13	23(1) 	20(1)	26(1) 	(1(1)	(3(1) 	2(1)

C21	34(2) 	24(2)	48(2) 	5(2)	(5(2) 	3(1)

C22	21(2) 	19(2)	33(2) 	2(1)	3(1) 	(2(1)

C23	20(1) 	25(2)	30(2) 	(2(1)	6(1) 	0(1)

C24	53(2) 	32(2)	40(2) 	(12(2)	(9(2) 	11(2)

N21	29(2) 	41(2)	24(2) 	3(1)	1(1) 	11(1)

N22	17(1) 	30(2)	26(1) 	6(1)	2(1) 	0(1)

N23	24(1) 	22(1)	27(1) 	2(1)	(4(1) 	(1(1)

C31	143(6) 	65(4)	52(3) 	(10(3)	33(4) 	(1(4)

N31	56(2) 	51(2)	41(2) 	(19(2)	(9(2) 	26(2)

O31	64(2) 	44(2)	52(2) 	(8(2)	(6(2) 	3(2)

O32	72(3) 	166(5)	86(3) 	(24(3)	(21(2) 	69(3)

C41	44(2) 	29(2)	67(3) 	(13(2)	12(2) 	2(2)

O41	30(1) 	23(1)	47(2) 	(6(1)	7(1) 	(2(1)

O42	59(2) 	42(2)	48(2) 	(2(1)	26(1) 	0(1)

O43	44(2) 	40(2)	48(2) 	(1(1)	(6(1) 	(9(1)

F41	86(2) 	46(2)	155(3) 	(13(2)	79(2) 	10(2)

F42	68(2) 	49(2)	133(3) 	(21(2)	(51(2) 	26(1)

F43	67(2) 	25(1)	69(2) 	(7(1)	13(1) 	2(1)

S41	26(1) 	25(1)	37(1) 	(5(1)	5(1) 	0(1)

C51A	39(4) 	40(5)	75(6) 	1(4)	19(4) 	(3(4)

O51A	83(5) 	45(4)	26(3) 	6(3)	(2(3) 	10(3)

O52A	25(3) 	33(3)	54(6) 	0(4)	8(4) 	(5(2)

O53A	39(3) 	42(3)	54(4) 	(3(3)	20(3) 	8(2)

F51A	32(3) 	40(4)	102(9) 	7(4)	26(4) 	(3(3)

F52A	45(3) 	40(3)	67(3) 	8(2)	32(3) 	9(2)

F53A	97(4) 	60(3)	43(3) 	13(3)	30(3) 	22(3)

S51A	38(1) 	29(1)	37(1) 	(3(1)	21(1) 	(2(1)

C51B	40(4) 	39(4)	42(4) 	6(4)	1(4) 	(8(3)

O51B	54(4) 	37(3)	51(4) 	(4(3)	28(3) 	6(3)

O52B	38(3) 	44(3)	40(3) 	(2(3)	(13(2) 	11(2)

O53B	42(5) 	49(5)	49(5) 	(5(5)	24(5) 	(10(3)

F51B	40(5) 	42(4)	61(5) 	13(4)	(1(3) 	(11(4)

F52B	49(3) 	57(3)	42(3) 	24(2)	(19(2) 	(10(2)

F53B	74(4) 	53(3)	54(3) 	(15(3)	18(3) 	8(3)

S51B	33(1) 	40(1)	36(1) 	(3(1)	9(1) 	(2(1)

Table 5. Hydrogen coordinates [( 104] and isotropic displacement parameters [Å2 ( 103].

Atom 	x	y	z	Ueq	S.o.f.

H1A	2495	888	7608	71	1

H1B	2974	138	7620	71	1

H1C	2470	441	6785	71	1

H4A	4273	(228	7897	62	1

H4B	4109	321	8578	62	1

H4C	4909	298	8413	62	1

H1D	2253	1618	6360	51	1

H1E	2581	2306	6041	51	1

H11A	4863	1065	4545	58	1

H11B	5563	1604	4664	58	1

H11C	4778	1904	4179	58	1

H14A	6295	2585	5546	52	1

H14B	6391	1740	5894	52	1

H14C	6542	2446	6501	52	1

H11D	3710	1460	4534	40	1

H11E	3244	1550	5144	40	1

H21A	3493	4737	6203	57	1

H21B	3426	4787	7119	57	1

H21C	2795	4386	6449	57	1

H24A	3924	4214	8490	68	1

H24B	4512	4555	8049	68	1

H24C	4743	3895	8705	68	1

H21D	3007	3725	5386	39	1

H21E	3265	2963	5140	39	1

H31A	3858	1681	1784	127	1

H31B	4194	2252	2508	127	1

H31C	3510	2505	1801	127	1

Table 6. Hydrogen bonds [Å and °].

D(H···A	d(D(H)	d(H···A)	d(D···A)	((DHA)

N1(H1D...O52Aii	0.88	2.15	2.818(10)	132.5

N1(H1D...O53Bii	0.88	2.30	2.905(12)	125.9

N11(H11D...O31	0.88	2.35	3.194(4)	162.2

N11(H11E...O41iii	0.88	2.37	2.937(4)	122.7

N21(H21D...O41iv	0.88	2.21	3.060(4)	162.4

N21(H21E...O53B	0.88	2.39	2.965(10)	123.7

Symmetry transformations used to generate equivalent atoms:

(i) (x+1,y,(z+3/2    (ii) (x+1/2,(y+1/2,(z+1    (iii) x,(y,z+1/2

(iv)  (x+1/2,y+1/2,(z+1/2